BILL OF QUANTITIES

Description & Rate of items based on Schedule/ Market (offered Rates).

M&R TO GODOWNS PANOAKIL (4 NOS.) REPAIR OF PLATE

FORM FLOORING DOOR COMPOUND WALL).

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Dismantling cement concrete 1:2:4. (S.I.No.19 (c) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 302 | CFT | 3327/50 | %CFT | 10049/- |

| 2/- | Excavation in foundation of Building Bridges and other structures including dag belling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft. In ordinary soil. (S.I.No.18 (b) P-05). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 192 | CFT | 3176/25 | %0CFT | 610/- |

| 3/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:4:8). (S.I.No:4 (b) P-15). |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 64 | CFT | 9416/28 |  | %CFT | 6026/- |
| 4/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) RCC work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1493 | CFT | 337/- | P.CFT |  | 503141/- |
| 5/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 41.75 |  | Cwt | 5001/70 | P.CWT |  | 793819/- |

| 6/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 3” thick (S.I.No:4 (c) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1209 | SFT | 4411/82 | %SFT | 53339/- |

|  | BUILDINGS SCHEDULE ITEM TOTAL | RS: | 782031/- |
| --- | --- | --- | --- |

| PART "A" | ________________%Above/Below Buildings Schedule Items | Total Rs:- |  |
| --- | --- | --- | --- |

| CONTRACTOR |  | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION SUKKUR |
| --- | --- | --- |

MATERIAL STATEMENT

| S.# | ITEMS OF WORK |  | QTY |  | CEMENT | H/SAND | BAJRI | STONE METAL | BRICKS | STEEL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01. | C.C 1:4:8 |  | 192 |  | 18 | 92 | - | 188 | - | - |
| 02. | RCC work 1:2:4 |  | 1493 |  | 263 | 657 | 1314 | - | - | - |
| 03. | Fabrication |  | 35.91 |  | - | - | - | - | - | 1.79 |
| 04. | P/L 2”thick topping |  | 1209 |  | 53 | 178 | 278 | - | - | - |
|  |  | QTY |  | 334 |  | 927 | 1592 | 188 | - | 1.79 |
|  |  | RATE |  | 135.33 |  | 4548.92 | 1292.92 | 1162.68 | 773.84 | 2257.76 |
|  |  | UNIT |  | P.Bag |  | %CFT | %CFT | %CFT | %0NOS. | P.TON |
|  | AMOUNT |  |  | 45200/- |  | 42168/- | 20583/- | 2186/- | - | 4041/- |
|  |  |  |  |  |  |  | TOTAL RS. |  | 114178/- |  |

|  | ASSISTANT ENGINEER PROVINCIAL BUILDING SUB-DIVISION SUKKUR |
| --- | --- |