SCHEDULE “B”

NAME OF WORK: -   ADP No: 477 (ILMI) Infra Structure Development

Hyderabad  Division District  Badin

@ GBPS Haji Uris Laghari  Tal: S.F.Rahu

| S.No: | Description | Qnty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

01. 	Dismantling CC Plain  (SINO13 P-11)

= 97.0		 	@ 3327.50      	%Cft 		Rs: 3228/-

(Rupees Three thousand three hundred twenty seven & Ps fifty ) only

- Dismantling RCC reinforcement  and cement concrete  and straightens.

= 799.0		 @ 5445.0      	%Sft 		Rs: 43506/-

(Rupees Five thousand four hundred forty five & Ps Zero) Only

- Dismantling brick work in cement mortar  ratio 1:6 (SINO13 P-11)

= 532			 @ 1285.63      	%Sft 		Rs: 6840/-

(Rupees One thousand two hundred eighty five & Ps Sixty three) only

03.	Cement concrete stone ballast 1 ½” thick 2 gauge ratio 1:5:10 (S.I.No:4 P-17)

= 127.0		@ 8694.95		%Cft		Rs: 11043/-

(Rupees Eight thousand six hundred ninety four & Ps ninety five) Only

04.	Removing Cement or Lime Plaster ( S.I.No 53-P14)

= 840.0		@ 121.0		%Sft		Rs: 1016/-

(Rupees One hundred Twenty one & Ps Zeero) only

- Excavation in foundation of building briges and other structure I/c dagbelling

dressing around the structure with excavated earth watering a dramming lead upto

one chain and lift upto 5 feet (S.I.No. 18 / P.04)

= 321.0		@ 3176.25		%0Cft 	Rs: 1020/-

(Rupees three thousands one hundred Seventy six & Ps Twenty Five) only

- Cement concert or stone ballast 1-1/2” to 2” gauge ratio 1:5:10 (S.I.No. 4 P-14)

= 568.0		@ 8694.95		%Cft		Rs: 49387/-

(Rupees Eghit thousand six hundred ninty four & Ps ninty five ) only

07.	Pacca brick work in foundation and plinth in cement sand ratio1:6 (S.I.No:4P-22)

= 679.0		@ 11948.36		%Cft		Rs: 81129/-

(Rupees Eleven thousands nine hundred forty eight & Ps thirty six) only

08.	RCC work i/c all labour and material except the cosat of steel reinforcement

i/c cutting bending and binding which will be paid sepeterelly This rate also i/c all kinds of moulds lifting shuttering curing rendering and finishing exposed surface i/c screening and washing of shingle (a) R.C work in roof slab, beems colums rafts lintels and other structural members laid in situe or precast laid in position complete in all respect ratio 1:2:4

(S.I No. 6 P-19)

= 632			@ 337.0		P.Cft		Rs: 212984 /-

(Rupees Three hundred thirty seven & Ps zero ) only

09.	Fabrication of mild steel and reinforcement cement corcret i/c cutting bending lying in position and making joints and fastenings i/c the cost of binding wire also

removal of rust from bars (S.I.No. 7 P.No. 4)

(A)Tor Steel.

= 31.03		@ 5001.70		P.Cwt		 Rs.155203/-

(Rupees Five thousand one & Ps seventy ) only

B) Mild Steel

= 2.82			@ 4820.20		P.Cwt		Rs: 13593/-

(Rupees Four thousand eight hundred twenty & Ps twenty ) only

10.	Filling watering and ramming earth under floor surplus earth from foundation

One chain and lift upto 5” feet (S.I.No. 21 / P-4).

= 214.0		@ 1512.50		%0Cft		Rs:324/-

(Rupees one thousands five hundred twelve & Ps fifty  ) only

11.	Filling watering and ramming earth under floor surplus earth from foundation

One chain and lift upto 5” feet (S.I.No. 21 / P-4).

= 392.0		@ 3630.0		%0Cft		Rs: 1423/-

(Rupees three thousand six hundred thirty & Ps zero ) only

12.	Pacca brick work in ground floor i/c striking joint in cement sand ratio

1:6 (S.I.No. 5 / P – 27)

= 351.0		@ 12674.36		% Cft		Rs. 44487/-

(Rupees Twelve thousand six hundred seventy four & Ps thirty six) Only

13.	Pacca brick work in Other than building  i/c striking joint in cement sand ratio

1:6 (S.I.No. 7 / P – 22)

= 938			@ 12346.65		%Sft		Rs: 115812/-

(Rupees Twelve thousand three hundred forty six & Ps sixty five ) only

14.	Applying floating coat 1/32”thick (S.I.No: 14-P-52)

= 840.0		@ 660.0		%Sft		Rs: 5544/-

(Rupees Six hundred sixty & Ps zero) only

15.       Cement plaster 1:6 upto 20’ height ½” thick  (S.I.No. 13-b- P-52)

= 4765.0		@ 2206.60		%Sft		Rs: 105144/-

(Rupees Two thousand two hundred six & Ps sixty ) only

16. 	Cement plaster 1:4 upto 20’ height 3/8” thick  (S.I.No. 11-a-P-52)

= 4663.0 		@ 2197.52 	      	%Sft       	  Rs: 102470/-

(Rupees Two thousand one hundred  ninety seven ) only

17.       Cement plaster 1:4 upto 20’ height  ¾”  thick  (S.I.No. 13-b- P-52)

= 208.0		@ 3015.76	       	%Sft	    	Rs: 6273/-

(Rupees Three thousand fifteen & Ps seventy six) Only

18.       Extra  Labour  rate  for  making  pattas  bend  (S.I.No. 13-b- P-52)

= 416.0		@ 19.36	       	P.Rft	    	Rs: 8054/-

(Rupees Nineteen & Ps thirty six) Only

19.	Cement pointing struck of joints on walls ratio 1:2 (S.I.No. 19-a- P.No:53)

= 2016.0		@ 1287.44		% Sft		Rs: 25955 /-

(Rupees One thousand two hundred eighty seven & Ps forty four

20.	Making notice board made with cement (S.I.No. 1 / P-94).

= 64.0		@ 58.11		  P.Sft		Rs. 3719/-

(Rupees Fifty eight & Ps eleven  ) only

21.	P/L 2” thick topping cement concert 1:2:4 i/c surface finishing and

dividing in to panels (S.I.No. 16-e- P.No. 42)

= 1621.0		@ 3275.50		%Sft		Rs: 53096/-

(Rupees Three thousand two hundred seventy five & Ps fifty) only

22.	P/F iron / steel grill with angle iron frame 1-1/2”x1-1/2”x1/4” approved design i/c painting

3 coats etc complete (wt: not to be less than 3.7 lbs/sq: bar ft) of finished grill

(S.I.No: 31-P-93)

= 24.0			 @ 180.50		   P.Sft            Rs. 4332/-

(Rupees One  hundred eighty  & Ps fifty  ) only

23.	M/F Steel Grated Door with 1/16” sheeting i/c angle iron frame 2”x2”x3/8”

& ¾ square bars 4” centre to center with loocking araijment.(S.I.No:24/P-91)

= 50.0			@ 726.72		P.Sft		Rs: 36336/-

(Rupees Seven  hundred Twenty six & Ps seventy two) only

24.	Lying floor of approved coloured glazed tiles ¼” thick laid in white cement

And pigment on a bed of ¾” thick CM 1:2 (S.I,No:25-P-42)

= 86.0			@ 27747.06		%Sft		Rs: 18313/-

(Rupees Twenty seven  thousands seven hundred forty seven & Ps six) only

25.	Glazed tiles ¼” thick dado jointed in white cement and laid over 1:2

CSM ratio ¾” thick i/c finishing (S.I.No:37/P-44)

= 245.0		@ 28253.61		% Sft		Rs. 69333/-

(Rupees twenty eight thousand two hundred fifty three & Ps sixty one  ) only

26.	P/F 3/8”thick marble tiles of approved quality and color and shads size

8”x4”x/6”x4 in dado on floor or wall facing in required floor or patterns

of  style  specification jointed in white cement  and pigment  over a base

of 1:2 grey cement mortar ¾”(SINO 68 P-48).

= 152.0		@ 186.04		% Sft		Rs. 28278/-

(Rupees One hundred eighty six & Ps four ) only

27.	Ist class deodar wood wrought joinery doors and windows etc fixed in

Postion i/c chowkets, hold fasts, iron tower bolts, handles and cords with

Hooks etc deodar paneled and glazed or gully glazed 1 ¾” thick (only shutters)

(S.I.No. 7-b-P-58)

= 71.0			@ 902.93		P.Sft		Rs. 64108/-

(Rupees Nine hundred two & Ps Ninety three  ) only

28.	White Washing  two coats. (S.I.No. 15 P.No.54-f)

= 965.0		@ 829.95		%Sft		Rs: 8009/-

(Rupees Eight hundred twenty nine & Ps Ninty five  ) only

29.	Primary coats of chalks under distempering (S.I.No. 23 P.No. 58)

= 4550.0		@ 442.75		% Sft		Rs. 20145/-

(Rupees Four hundred forty two & Ps seventy five ) only

30.	Distempering three coats (S.I.No. 24-c- P.No. 54)

= 4550.0		@ 1079.65		% Sft		Rs: 49124/-

(Rupees One Thousand Seventy nine & Ps sixty five ) only

31.       Colour wash two coats.(SINO 25(b) P-54)

= 2016.0		  @ 859.90		%Sft		  Rs: 17336/-

(Rupees Eight hundred fifty nine & Ps ninety) Only

32.	Painting New Surface Painting door & windows any type (S.I.No 5(C) P-69)

= 142.0	   	   @ 2116.41		%Sft 		   Rs: 3005 /-

(Rupees Two thousand One hundred sixteen & Ps forty one) Only

33.	Painting New Surface Painting guard bars  any type (S.I.No 5(C) P-69)

= 100.0	   	   @ 1270.83		%Sft 		   Rs: 1271 /-

(Rupees one  thousand two  hundred seventy & Ps eighty three) Only

34.	Painting  Old Surface Painting door & windows any type (S.I.No 5(C) P-69)

= 128.0	   	   @ 1160.04		%Sft 		   Rs: 1485/-

(Rupees One thousand one hundred sixty & Ps four ) only

___________

Total  Rs: 1366831/=

Non Schedule Item.

01.	Verona Marble ¼” thick dado jointed in white cement and laid over 1:2

CSM ratio ¾” thick i/c surface in  finishing (RA)

= 528.0		@ 310.43		%Sft		Rs: 163907/-

(Rupees Three hundred ten & Ps forty three) Only

P A R T-B

01.	P/F squatting type white glazed of flushing elstern with internal fitting and

flush pipe with band & making req: No.of holes in walls & plinth floor for pipe

connection and making good in CC 1:2:4 (1) W.C are not less than 19” clear

opening between flushing rims & 3 gallons flushing tanks with 4 dia c.i trap &

c.i thumble (S.I.No. 1-B P.No. 1)

= 2.0			@ 4802.60		P.No.		Rs.9605/-

(Rupees four thousand eight hundred two & Ps sixty) only

02.	S/F Consealed tee-stop cock of superior quality with C.P head ½” dia

(S.I.No: 12-b P-18)

= 2.0			@ 889.46		P.No		Rs: 1779/-

(Rupees Eight hundred eighty nine & Ps forty six) Only

03.	S/F Long bib  cock of superior quality with C.P head ½” dia

(S.I.No: 13-a P-19)

= 3.0			@ 1109.46		P.No		Rs: 3328/-

(Rupees One thousand  one  hundred nine & Ps forty six) Only

04.	S/F fiber glass tank to approved quality & design & walls thickness as

specified i/c cost of nuts builts & fixing in plate form of cement concert

1:3:6 ratio and making connection for in let and outlet and over flow pipes

etc complete (a) 400 gallons wall thickness (3.5 mm) (S.I.No. 3-A P.No. 20)

= 1.0			@ 21989.61		P.No		Rs:21990/-

(Rupees Twenty one thousand nine hundred eighty nine & Ps sixty one) only

05.	Full way handle  valves  (China). (S.I.No.5-i P.No.17)

A	½” dia

= 1.0			@ 200.42		P.Rft		Rs. 200/-

(Rupees Two hundred & Ps forty two) only

B	¾” dia

= 1.0			@ 271.92		P.Rft		Rs. 272/-

(Rupees Two hundred  seventy one & Ps ninety two) only

06.	Providing RCC pipes with colours class B digging the trenches to required plinth

& fixing in position cutting fitting & jointing with max phalt composition &

cement mortar ratio 1:1 & testing with water presser to hand of 4’ ft above the to

of heights pipe & refilling with excavated stuff (S.I.No. 2 P.No. 21)

G.I Pipe	= 18.0			@ 146.57		P.Sft		Rs. 2638/-

(Rupees one hundred forty six & Ps fifty seven) only

07.	Providing G.I pipes specials & clamps etc i/c fixing cutting & fitting complete

with & i/c the cost of breaking through walls & roofs making good etc paintings

2 coats after cleaning the pipe etc with zine paint with pigment to match the

colour of the building & testing with water to presser head of 200’ ft & handling

(S.I.No. 1 P.No. 11)

¾” dia

= 30.0			@ 86.36		P.Rft		Rs. 2591/-

(Rupees eighty six & Ps thirty six) only

½” dia

= 30.0			@ 73.21		P.Rft		Rs. 2196/-

(Rupees seventy three & Ps twenty one) 	only

08.	Providing lying uPVC pressure pipes of Clas “d” (Equivalent make) fixing

and jointing (S.I.No: 3-A P-23)

= 200.0		@ 28.0		P.Rft		Rs: 5600/-

(Rupees Twenty eight & Ps zero) only

_________

Total Rs:	50199/-

Non Schedule Item

01	P/F water pumping set ½ H.P 2800 RPM single phase 220 volts 1”x1” section

And delivery 40 ft head including base plaste and also making CC 1:3:6

Plateform of required size and fixing with nuts. (Electric Schedule)

(S.I.No. 10 / P-32)

= 1.0		@ 14417.70		P.No			Rs:14418/-

(Rupees Fourteen Thousand four hundred seventee) & Ps seventy

CONTRACTOR 					EXECUTIVE ENGINEER

EDUCATION WORKS DIVISION

BADIN.