PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Chairman Office Building 1st Phase (Sr No. 91)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 1176.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 3,735 |
| 2. | 324.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%Cft | 30,509 |
| 3. | 670.00 | Pucca brick work cement sand mortar 1:6 in foundation | 11948.36 | P%Cft | 80,054 |
| 4. | 972.00 | Filling, Watering and ramming earth under floor with new earth etc. (GSI No 22 P-04). | 3630.00 | P%0Cft | 3,528 |
| 5. | 85.00 | Damp proof course with (xement sand and shingle concrete (1:2:4) i/c 2 coats of asphaltic mixture (GSI No 28 P-18). | 4982.18 | P%Sft | 4,235 |
| 6. | 518.00 | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and apttern of STILE specification jointed in white cement etc (GSI No 60 P-46). | 30509.77 | P%Sft | 158,041 |
| 7. | 873.00 | Pucca brick work Ground Floor i/c striking of joints of up to20’ height in cement sand mortar (1:4), (G.S.I No.7 (c) P-26) | 12674.36 | P. Cft | 110,647 |
| 8. | 319.26 | R.C.C in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 107,591 |
| 9. | 12.82 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 64,122 |
| 10. | 2286.50 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 52,222 |
| 11. | 529.37 | C.C Topping 3" thick. (GSI No. 16 (d) P-41) | 4411.82 | P%Sft | 23,355 |
| 12. | 70.00 | Providing & Fixing G.I frames / Choukhats of size 7" x 2" or 4 1/2" x 3" for windows using 20 guage G.I sheet i/c welded hinges and fixing at site with necessary hold fasts etc. (GSI No 28 P-92) | 240.50 | P. Rft | 16,835 |
| 13. | 115.50 | Providing & Fixing in position, Doors, windows and ventilators of 2" x 2 x: 1/4" angle iron frames and 1 x 3/4" thick commercial ply wood veneer shutters of deoda wood etc. (GSI No 8 P-57) | 933.75 | P.Sft | 107,848 |
| 14. | 2286.50 | Distemper (GSI No. 24 (a,b). | 1646.15 | P. %Sft | 37,639 |
| 15. | 10.00 | Fabrication of heavy steel work with angles, tees flat iron, iron and sheet iron for making trusses, Girders, tanks etc i/c cutting riveting, handing assembling and fixing but eluding erection in position (GSI No 2 P-91). | 4928.49 | P. Cwt | 49,285 |
| 16. | 49.50 | Supplying & fixing in position iron/steel grill of 3/4" x 1/4" size flat iron of approved design i/c painting 3 coats etc complete (GSI No. 26 P-92) | 180.50 | P. Sft | 8,935 |
| 17. | 1.00 | European type white & coloured glased W.C Pan (Superior Quality) | 5980.00 | P. Each | 5,980 |
| 18. | 180.00 | Providing G.I Pipes, specials and clamps etc, i/c fixing cutting & fitting complete with i/c the cost of breaking through walls and roof, making good etc, painting two coats after cleaning the pipe etc, with white zink paint with pigment to match the colour 5 of the building and testing with water to a pressure head of 200 feet and handling. | 95.79 | P.Rft | 17,242 |
| 19. | 2.00 | Supplying & Fixing Bib cocks (PHSI No. 1 (iii))b | 546.92 | Each | 1,094 |
| 20. |  | G.I China Filling |  |  |  |
| (i) | 3.00 | G.I Socket 1/2" | 18.00 | Each | 54 |
| (ii) | 8.00 | G.I L- Bow 1/2" | 22.00 | Each | 176 |
| (iii) | 3.00 | G.I Tee 1/2" | 20.50 | Each | 62 |
| (iv) | 2.00 | G.I Union | 43.00 | Each | 86 |
| 21. | 15.00 | Wiring for light or fan point with 3/0.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or coloumn as required. (GSOEI No 124 P-15) | 1130.00 | P. Point | 16,950 |
| 22 | 15.00 | Wiring for plug point with 3/.029 PVC insulated wire 20mm (3/4") PVC conduit recessed in the wall or coloumn as required. (GSOEI No 126 P-15) | 985.00 | Each | 14,755 |

|  | Total Amount |  | Rs. 914,999.0 |  |
| --- | --- | --- | --- | --- |
| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted |  | Rs._______________ |  |  |
| Total |  | Rs._______________ |  |  |
| Grand Total |  | Rs._______________ |  |  |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Chairman Office Building 2nd Phase (Sr No. 92)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 1176.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 3,735 |
| 2. | 324.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%Cft | 30,509 |
| 3. | 670.00 | Pucca brick work cement sand mortar 1:6 in foundation | 11948.36 | P%Cft | 80,054 |
| 4. | 972.00 | Filling, Watering and ramming earth under floor with new earth etc. (GSI No 22 P-04). | 3630.00 | P%0Cft | 3,528 |
| 5. | 85.00 | Damp proof course with (xement sand and shingle concrete (1:2:4) i/c 2 coats of asphaltic mixture (GSI No 28 P-18). | 4982.18 | P%Sft | 4,235 |
| 6. | 518.00 | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and apttern of STILE specification jointed in white cement etc (GSI No 60 P-46). | 30509.77 | P%Sft | 158,041 |
| 7. | 873.00 | Pucca brick work Ground Floor i/c striking of joints of up to20’ height in cement sand mortar (1:4), (G.S.I No.7 (c) P-26) | 12674.36 | P. Cft | 110,647 |
| 8. | 319.26 | R.C.C in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 107,591 |
| 9. | 12.82 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 64,122 |
| 10. | 2286.50 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 52,222 |
| 11. | 529.37 | C.C Topping 3" thick. (GSI No. 16 (d) P-41) | 4411.82 | P%Sft | 23,355 |
| 12. | 70.00 | Providing & Fixing G.I frames / Choukhats of size 7" x 2" or 4 1/2" x 3" for windows using 20 guage G.I sheet i/c welded hinges and fixing at site with necessary hold fasts etc. (GSI No 28 P-92) | 240.50 | P. Rft | 16,835 |
| 13. | 115.50 | Providing & Fixing in position, Doors, windows and ventilators of 2" x 2 x: 1/4" angle iron frames and 1 x 3/4" thick commercial ply wood veneer shutters of deoda wood etc. (GSI No 8 P-57) | 933.75 | P.Sft | 107,848 |
| 14. | 2286.50 | Distemper (GSI No. 24 (a,b). | 1646.15 | P. %Sft | 37,639 |
| 15. | 10.00 | Fabrication of heavy steel work with angles, tees flat iron, iron and sheet iron for making trusses, Girders, tanks etc i/c cutting riveting, handing assembling and fixing but eluding erection in position (GSI No 2 P-91). | 4928.49 | P. Cwt | 49,285 |
| 16. | 49.50 | Supplying & fixing in position iron/steel grill of 3/4" x 1/4" size flat iron of approved design i/c painting 3 coats etc complete (GSI No. 26 P-92) | 180.50 | P. Sft | 8,935 |
| 17. | 1.00 | European type white & coloured glased W.C Pan (Superior Quality) | 5980.00 | P. Each | 5,980 |
| 18. | 180.00 | Providing G.I Pipes, specials and clamps etc, i/c fixing cutting & fitting complete with i/c the cost of breaking through walls and roof, making good etc, painting two coats after cleaning the pipe etc, with white zink paint with pigment to match the colour 5 of the building and testing with water to a pressure head of 200 feet and handling. | 95.79 | P.Rft | 17,242 |
| 19. | 2.00 | Supplying & Fixing Bib cocks (PHSI No. 1 (iii))b | 546.92 | Each | 1,094 |
| 20. |  | G.I China Filling |  |  |  |
| (i) | 3.00 | G.I Socket 1/2" | 18.00 | Each | 54 |
| (ii) | 8.00 | G.I L- Bow 1/2" | 22.00 | Each | 176 |
| (iii) | 3.00 | G.I Tee 1/2" | 20.50 | Each | 62 |
| (iv) | 2.00 | G.I Union | 43.00 | Each | 86 |
| 21. | 15.00 | Wiring for light or fan point with 3/0.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or coloumn as required. (GSOEI No 124 P-15) | 1130.00 | P. Point | 16,950 |
| 22 | 15.00 | Wiring for plug point with 3/.029 PVC insulated wire 20mm (3/4") PVC conduit recessed in the wall or coloumn as required. (GSOEI No 126 P-15) | 985.00 | Each | 14,755 |

|  | Total Amount |  | Rs. 914,999.0 |  |
| --- | --- | --- | --- | --- |
| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted |  | Rs._______________ |  |  |
| Total |  | Rs._______________ |  |  |
| Grand Total |  | Rs._______________ |  |  |

Contractor 			                       Engineer/Procuring Agency