S. No: 35

BILL OF QUANTITES

(A) Description and rate of items based on composite schedule of rates.

NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF SECONDARY SCHOOLS IN DISTRICT KHAIRPUR (24 UNITS) @ GBHS PIR HAYAT SHAH TALUKA S.DERO DISTRICT KHAIRPUR SEMIS CODE: 415080276 (Lev: Block & C/Wall)

| Sr. No. | ITEM OF WORKS | No: L: B: D: | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling Cement Concrete plain 1:2:4 (S.I No; 19 C P- 10) |  |  |  |  |  |
|  |  |  | 15 | 3327/50 | %Sft | Rs.499/- |
| 2. | Removing cement or lime plaster from roof or walls (S.I No; 53 P- 13). |  |  |  |  |  |
|  |  |  | 378 | 121/05 | %Sft | Rs. 457/- |
| 3. | Dismantling cement concrete Reinforced 1:2:4. (S.I No 19 c P- 10) |  |  |  |  |  |
|  |  |  | 64 | 5445/- | %Sft | Rs. 3484/- |
| 4. | Pacca Brick Work in foundation and plinth in cement sand mortar ratio 1:6. (S.I.No: 4e P.No: 21). |  |  |  |  |  |
|  |  |  | 1883 | 11948/36 | %Cft | Rs. 224988/- |
| 5. | Reinforcement Cement Concrete Work i/c all labour and material except the cost of steel reinforcements & its labour for bending & binding which will be paid separately .This rate also i/c all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface @ R.C.C work in roof slab beams columns rafts lintels and other structures members laid in situ or precast laid in position in complete in all respects ratio 1:2:4 . (S.I No: 6 a P-16) |  |  |  |  |  |
|  |  |  | 571 | 337/- | P.Cft | Rs. 192427/- |
| 6. | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). |  |  |  |  |  |
|  |  |  | 25.491 | 5001/70 | P.Cwt | Rs. 127498/- |
| 7. | Pacca brick work in other then building in cement sand mortar Ratio 1:6. (S.I.No.5 e P.No.20). |  |  |  |  |  |
|  |  |  | 5754 | 12316/65 | %Cft | Rs. 710428/- |
| 8. | Cement plaster 1:6 up to 20 heights ½” thick. (S.I.No.13 b P.No.51). |  |  |  |  |  |
|  |  |  | 12423 | 2206/60 | %Sft | Rs. 274126/- |
| 9 | Cement plaster 1:4 up to 20 heights 3/8” thick. (S.I.No.11 a P.No.51). |  |  |  |  |  |
|  |  |  | 12423 | 2197/52 | %Sft | Rs. 272998/- |
| 10 | Cement pointing struck joints on walls ratio 1:2 (S.I No 19 P.No 52) |  |  |  |  |  |
|  |  |  | 7178 | 1213/58 | % Sft | Rs.87111/- |
| 11. | Supplying and fixing borden glass on coat yard walls including 1:3:6 Cement conrete coping ( S.I NO 61 P-104) |  |  |  |  |  |
|  |  |  | 744 | 70/44 | P.CFT | Rs. 52407/- |
| 12. | P.L Hala tiles glazed 8”x8” x ¼ on floors walls in required pattern of steel specified jointed in white cement pigment over 1:2 gray cement mortor ¾ thick & filling paints with slurry of white cement etc complete.(S.I No: 61 P- 47). |  |  |  |  |  |
|  |  |  | 128 | 34520/31 | %0 Sft | Rs. 44186/- |
| 13. | Cement concrete plain i/c placing compacting and curing complete i/c screening & washing at stone aggregate without etc complete ratio 1:2:4. (S.I No: 5 A P- 15) |  |  |  |  |  |
|  |  |  | 15 | 14429/25 | % SFT | Rs. 2164/- |
| 14. | Laying floor of approved white glazed tiles ¼ thick in white cement 1:2 over ¾ thick mortor 1:2 complete (S.I No. 25 P-43). |  |  |  |  |  |
|  |  |  | 91 | 27678/86 | %Sft | Rs. 25188/- |
| 15 | White glazed tiles 6x4” thick Dedo jointed in white cement lead over 1:2 cement sand mortor ¾ thick finishing etc (S.I.No.37 P.No.44). |  |  |  |  |  |
|  |  |  | 216 | 28253/61 | %Sft | Rs. 61028/- |
| 16. | Colour washing of two coats . (S.I.No 25 (b) P.53) |  |  |  |  |  |
|  |  |  | 20252 | 859/90 | % Sft | Rs. 174149/- |
|  |  |  |  |  | Total: | Rs. 2253138/- |

PART “B” WATER SUPPLY & SANITERY FITTING

NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF SECONDARY SCHOOLS IN DISTRICT KHAIRPUR (24 UNITS) @ GBHS PIR HAYAT SHAH TALUKA S.DERO DISTRICT KHAIRPUR SEMIS CODE: 415080276 (Lev: Block & C/Wall)

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

1.      S/F squirting type white glazed earth were W C pan with internal fitting and flush papers and making required and making good CC i/c fixing in position etc .(S.I No.(B) – P-1) LAV:3X1				3 No  		4802/60	Each 	            14408/=

2.      Providing and fixing in position nylon connection complete with ½ dia brass stop cock with

Pair of brass nuts and lining joints to nylon connection. (S.I No.23 P- 06).

LAV: 3X1			3 No		447/15		Each		1341/=

3.      Providing and fixing 4” x 4” inch dia C.I brass brach of the required degree with access doors rubber washer 3/8” thick and nuts and extra painting to match the color of building (S.I No.4 P-09).

LAV: 3X1.			3 No 		224/60		P.No 		674/=

4.      Providing and fixing 4” x 4”x 4” inch dia C.I  brach of the required degree with access doors rubber washer 1/8” thick and bolts nuts and extra painting to match the color of building (S.I No.5 P-09)

LAV: 3X1			3 No		270/60		P.No		812/=

5.      Providing G.I pipe special and clamps etc fixing cutting fitting complete i/c the cost of braking through walls and roof making good etc painting two coats after clearing the pipe etc. (S.I No.1 – P-12)

½ ” dia 1x100 Rft		100.0		73/21		P.Rft	            7321/=

¾” dia  1x100 Rft		100.0		95/79		P.Rft		9579/=

1” dia  1x60 Rft		60.0		116/20		P.Rft	             6972/=

6.       Cancealed C.P fittig of superior quality for tiles bath rooms S/ fixing concellied stop cock of   superior quality with C.P head ½” dia  (S.I No. 11  P-18).

LAV: 5X1			2 No		478/28		Each 		957/=

7.       S/F long bib cock 1/2” dia of superior quality (S.I No.13 a – P-19)

LAV: 3x1 			3 No 		1109/46	P.No		3328/=

9.      Providing laying UPVC pressure pipe of class B equivalent make fixing in trench i/c cutting fitting jointing with Z join one rubber ring i/c testing with water to a head meter or 200 feet (S.I No.01  P-22)

4” inch dia 1x80		80.0		137/- 		P.Rft	           10960/=

10.    S/F fiber glass tank of approved quality and design and wall thickness specified i/c  nuts and     builts and fixing in plate form of CC 1:6 and making ( 250) gallon  (S.I No.3 a – P-21).

1 No                 21989/0            P.No	            21989/=

11.	P/F full way gum metal balves with wheels threaded are flabged & with rubber wishers standared patterns (S.I No: 4  P- 17).

¾ “ dia				2 No		227/92		Each		456/=

1” dia				1 No		271/92		Each		272/=

12.	Boring for tube well in all water bearing soils from grounds level up to 100 ft or 30.5 meter depth i/c sinking & with drawing of casing 80 mm . (S.I No : 1 A P- 41)

60.0		160/-		P.Rft		9600/=

13.    P/F approved quality of A.C motor pump set 1 hp single phase with cost of fitting nuts  builts & C.C plate form 1:2:4 (S.I No. 11  P- 30)

1 No	           7625/29	          P.NO	             7625/=

_____________

Total Rs:    96772/=