Part:B  W/S & Fitting

NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF PRIMARY SCHOOLS IN DISTRICT KHAIRPUR (26 UNITS) @ GBELS BANGUL KHAN CHANDIO TALUKA KOTDIJI DISTRICT KHAIRPUR SEMIS CODE: 415050566 (Lav: Block & C/Wall)

___________________________________________________________________________

| 1 | S/F squting type white glazed earth were W.C .Pan with internal fitting and flush papers and making required and making good c.c i/c fixing in position etc.(S.I.No.01B/P-01) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | 2.No | 4802/60 | P.No | 9605/0 |
| 2 | Providing G.I pipe special and clamps etc fixing cutting and fitting complete with all nuts and builts cutting trench upto 24” feet deep rafling watering ramming (S.I.No. 01/P-12) |  |  |  |  |
|  | 1”dia |  |  | P.Rft |  |
|  | ¾”dia | 40.0 | 95/79 | P.Rft | 3832/0 |
|  | ½”dia | 50.0 | 73/21 | P.Rft | 3661/0 |
| 3 | S/F Long bib cock ½”dia of superior quality.(S.I.No. 2ii P/-16) |  |  |  |  |
|  | G/Lav | 2Nos | 337/92 | P.No | 676/0 |
| 4 | S/F C.P Stop cock ½”dia of superior Quality. (S.I.No. 1/P-16) |  |  |  |  |
|  | G/Lav | 2.No | 337/92 | P.No | 676/0 |
| 5 | P/F 4”x4”x4” dia C.I branched of the required degree i/c the cost of waishers 1/3” thick and (S.I.No. 3/P-9) |  |  |  |  |
|  | Lav. | 2 No | 702/0 | P.No | 1404/0 |
| 6 | P/F 4”dia C.I plain branched of the required degree pipe cutting & fitting and extra painting to match the colour of building. |  |  |  |  |
|  | Lav: |  |  |  |  |
| 7 | P/F Handle Values etc.(S.I.No. 5/P-11) |  |  |  |  |
|  | ¾”dia | 2.Nos | 200/42 | P.No | 400/0 |
| 8 | S/F Fiber glass Tank of approved quality and design and wall thickness specified i/c nuts and builts and fixing in plate form pf c.c 1:6 and making (250 Galon) (S.I.No. 3 a P-21) |  |  |  |  |
|  |  | 1.Nos | 21989/0 | P.No | 21989/0 |
| 9 | R.C.C pipe with collars class “B” digging the trench of the required etc and fixing in position i/c cutting and fitting with maxphalate and cement mortor (S.I.No. 2 c /P-23). |  |  |  |  |
|  | 6”dia | 50.0 | 199/25 | P.Rft | 9962/0 |
| 10 | Conseel G.I Pipe (Extra Labour) |  |  |  |  |
|  |  |  |  | Total: | 52203/0 |