(W/S & S/FITTING)

NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF SECONDARY SCHOOLS IN DISTRICT KHAIRPUR (24 UNITS) @ GBHS MANGHANWARI TALUKA KINGRI DISTRICT KHAIRPUR SEMIS CODE: 415040382 (Lev: Block & C/Wall)

| S.No: | Item of Work | QTY | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

- P/F squatting type w.c pan with 19” clear opening between flushing rims and 2     . ..       Gallons flushing tank wit 1” dia without lazed etc completed.(SI:NO:10 P-1)

2.0                                                    @Rs:4802/60  P/Each.   9605/-

2.  P/F 22” X 16” lavatory basin in white glazed ware complete with and i.c the cost of w.i                                                   or c.i cantilever brackets 6” built to into walls paited etc complete (SI No: 12 /P-4)

--                                                 4694\80                        Each      ---

3.   S/Fixing padestle

--                          	     416/55	                      Each	  Rs:---

4.   P/F 6’x2” or 6”x3” C I Floor trap of the approved self cleaning design

With A c etc. (SI No: 20 /P-61)

2024\43                       Each.       Rs:

210/10                   	Each         RS     --

5.   Providing G I pipe specials and clamps etc i/c fixing complete

With and i/c the cost of breaking through walls and roof making through walls

Etc complete (SI No: 19 /P-12)

½” dia      115.0                                             72\21                         P.Rft         RS:8304/-

¾” dia  35.0                                                   95\74                      P.Rft           RS:3357/-

1” dia     20.0                                               128\55                       P.Rft         Rs:2571/-

1 ½” dia   --             	            	188\97	                    P.RFT	    RS:--                        6. S/F in position long bib cocks ½” dia standard pattern

(SI No: 1-b /P-16)

2.0                                          337/92                          Each         Rs; 676/-               7. S/f in position ½” dia stop cock standard pattern

(SI No1:-a /P-16)

2.0                                             337\92                               Each        Rs;676/-

8. P/f  6”x4” floor trap with 4” outlet complete with 4” thick.(SI:NO:2 p-18)

Off:lav:     2.0                                            244/35                               Each.   Rs:489/-

9.  P/F 6”x4’ dia c.c gully trap with 4” outlet complete with 4” thick

c.c 1:2:4 for bend ½” thick etc complete.(SI No4  /P11)

1193\17                           Each        RS:

10.  S/f Fiber glass tank of approved quality and design and wall thickness

Etc complete 250 gallons. (SI No:3a  /P-21)

1.0                                          21989\61                             Each        Rs:21990/-

11. P/F chrome plated brass toil rail complete brackets fixing on wooden cleats with

1” long C-P brass screw.(SI:NO:1 a P-7)

1269/95                           each            Rs:

12. P/F 15”x12” edges mirror of belguim glass complete with screw and ½” thick

Hard board fixed wooden cleats.(SI:NO:4 b P-7)

2047/76                           each.          Rs:

13.   P/f 3” dia C.i soil and vent pipe including cutting fitting and extra painting to

Match the colour of the building.

(SI No:13 /P-10)

289\25                                 Each        Rs

14.  Providing R C C Pipe with collars class ‘B’ digging the tranches to required1

With etc complete.

(SI No:20 /P-33)

6” dia      ----                                     199\25                         p/RFT.       Rs:

4 “ dia   20.0                                        146/57                              P/Rft    RS:2931/-

15.  P/f 4’x4’x4’ dia C I branch of  the required degree with aware rubber wash  ,. ..       .                ..    1/8”thick and bolts and nuts extra paint to match the colour of the building.

(SI No:4 /P -9)

270\60                                   Each         Rs

16.  P/F Nyloon connection etc complete.

(SI No: 7/P-12)

2.0                                   447/15                                       Each  Rs:894/-

17.  P/F Gun metal volve with wheels threaded or flanged ends with rubber washer ¾” dia  etc complete

(SI No:22 /P-36)

271/92                                     Each         Rs

18. S/F Piller cock superior with eheels threated or flanged ends with rubber washer ¾” thick.

795/-                                  Each.      Rs:

- F bath room accessories set (7) pieces i/c towel rod brush holder soap shelf of approved desigain including cost of screws nuts etc complete master hand (SI:NO:25 p-16)

10322/40                            Each      Rs;

20.    S/F piston pump 1”x1” local made of best approved quality complete with 1- H-P

220 volts A.C .Motor china and i/c the fitting G.I.nuts and bolts etc

(SI:NO:11 p-30)

1 NO:                                    5494/59                            Each      Rs:5495/-

- Boring for tube will in all water boring soil from G.I to % 30.50 meter etc.(SI:NO:1(A)p-41).

3” dia  40.0                                   160/-                                  P/Rft.      Rs:6400/-

- Consturction of main hole or inspection chamber for the required diameter of circular

Sewer with walls of B.B. in cement sand mortor 1;3.(SI:NO:1(a) p-46)

14748/-                             P/No:      Rs;

_________

Total Rs:     60000/-

I