S. No: 21

BILL OF QUANTITES

(A) Description and rate of items based on composite schedule of rates.

NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF PRIMARY SCHOOLS IN DISTRICT KHAIRPUR (26 UNITS) @ GGELS JAN MUHAMMAD VANDIAR TALUKA KOTDIJI DISTRICT KHAIRPUR SEMIS CODE: 415050550 (Lav: Block & C/Wall)

(Part A  Lav: Block)

| S.NO | NAME OF ITEMS |  |  | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Excavation in foundation of building bridges and other str:with excavated earth lead unto one chain and lift upto 5 feet" ft in ordinary soil. (S.I.N-18-b/P-5) |  |  |  |  |  |  |
|  |  |  | 448.0 |  | 3176/25 | %ocft | 1423/0 |
| 2 | Cement concrete brick or stone ballast 1 ½” to 2" guage ratio 1:5:10 (S.I.N:4/P-14) |  |  |  |  |  |  |
|  |  |  | 106.0 |  | 8694/95 | %cft | 9217/0 |
| 3 | Pacca brick work in foundation and plinth in cement sand mortar ratio 1:6 (S.I.No: 4e P-20) |  |  |  |  |  |  |
|  |  |  | 324.0 |  | 11948/36 | %cft | 38713/0 |
| 4 | RCC work in roof slab columns rafts lintel and other structure member laid in situ or recast laid in position complete in all respect ratio 1:2:4.( S.I.No:6-A/P-16) |  |  |  |  |  |  |
|  |  |  | 91.0 |  | 337/0 | P.cft | 30667/0 |
| 5 | Fabraction of tor steel reinforcement for cement concrete i/c cutting, bending, and laying in position i/c the cost of binding wire also removal of rust from bars.(S.I.N:7-ii/P-19) |  |  |  |  |  |  |
|  |  |  | 4.062 |  | 5001/70 | P.cwt | 20317/0 |
| 6 | Supplying and filling sand under floor and %CFT plugging in Walls.(S.I.No.29-P/26) |  |  |  |  |  |  |
|  |  |  | 121.0 |  | 1141/25 | %cft | 1381/0 |
| 7 | Extra lead from 3 miles. |  |  |  |  |  |  |
|  |  |  | 121.0 |  | 579/41 | %cft | 701/0 |
| 8 | Pacca brick work in G/Floor i/c stricking of joints cement sand mortar ratio1: .(S.I.N: 5e/P-20) |  |  |  |  |  |  |
|  |  |  | 257.0 |  | 12674/36 | %cft | 32573/0 |
| 9 | S/Fixing G.I frame chowkata steel door frame size 7”x2” or 4 ½”x3” type i/c fixing in position using 20 guage sheet welding fixing (S.I.N.29-P/92) |  |  |  |  |  |  |
|  |  |  | 33.0 |  | 228/90 | P.rft | 7554/0 |
| 10 | S/Fixing G.I frame chowkata steel Window frame size 7”x2” or 4 ½”x3” type i/c fixing in position using 20 guage sheet welding fixing (S.I.N.28-P/92) |  |  |  |  |  |  |
|  |  |  | 14.0 |  | 240/50 | P.rft | 3367/0 |
| 11 | Cement plaster 1:6 uotp 20ht 1/2"thick.(S.I.N. 13 b/P-51) |  |  |  |  |  |  |
|  |  |  | 580.0 |  | 2206/60 | %sft | 12798/0 |
| 12 | Cement plaster 1:4 uotp 20ht 3/8"thick (S.I.No: 11 a/ P-51) |  |  |  |  |  |  |
|  |  |  | 580.0 |  | 2197/52 | %sft | 12746/0 |
| 13 | Cement pointing struck joints on walls ratio 1:2 (S.I.No.19 a P-52) |  |  |  |  |  |  |
|  |  |  | 282.0 |  | 1213/58 | %sft | 3422/0 |
| 14 | First class deodar wod wrought joinery in door and windows any type i/c fixing in position (Only shelters) (S.I.N.7b/ P-57) |  |  |  |  |  |  |
|  |  |  | 30.0 |  | 902/93 | P.sft | 27088/0 |
| 15 | P/Laying 2" C C Topping 1.2.4. i/c surface finishing & dividing into panels(S.I.No: 16 C / P-41) |  |  |  |  |  |  |
|  |  |  | 230.0 |  | 3275/50 | %sft | 7534/0 |
| 16 | White wash two coats.(S.I.No.26b/P.No.53) |  |  |  |  |  |  |
|  |  |  | 40.0 |  | 425/84 | %sft | 170/0 |
| 17 | Colour wash two coat. (S.I.No.25 B/P-53) |  |  |  |  |  |  |
|  |  |  | 862.0 |  | 859/90 | %sft | 7410/0 |
| 18 | Preparing surface painting to doors & windows any type three coats. (S.I.No.4c(ii) P-67) |  |  |  |  |  |  |
|  |  |  | 82.0 |  | 1506/45 | %sft | 1235/0 |
|  |  |  |  |  | Total: |  | 218316/0 |