NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF PRIMARY SCHOOLS IN DISTRICT KHAIRPUR (26 UNITS) @ GGELS JAN MUHAMMAD VANDIAR TALUKA KOTDIJI DISTRICT KHAIRPUR SEMIS CODE: 415050550 (Lav: Block & C/Wall)

(Part B Compound Wall)

| S.NO | NAME OF ITEMS |  |  |  | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Dismentling of Pacca brick work. (S.I.No.13, P-10) |  |  |  |  |  |  |  |
|  |  |  |  | 127.0 |  | 1285/63 | %cft | 1633/0 |
| 2 | Pacca brick work in foundation and plinth in cement sand mortar ratio 1:6 (S.I.No: 4e P-20) |  |  |  |  |  |  |  |
|  |  |  | 187.0 |  |  | 11948/36 | %cft | 22343/0 |
| 3 | Reinforced cement concrecte work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a)RCC work in roof slab columns rafts lintel and other structure member laid in situ or precast laid in position complete in all respect ratio 1:2:4 . ( S.I.No:6-A/P-16) |  |  |  |  |  |  |  |
|  |  |  | 46.0 |  |  | 337/0 | P.cft | 15502/0 |
| 4 | Fabraction of tor steel reinforcement for cement concrete i/c cutting, bending, and laying in position i/c the cost of binding wire also removal of rust from bars.(S.I.N:7-ii/P-19) |  |  |  |  |  |  |  |
|  |  |  | 2.053 |  |  | 5001/70 | P.cwt | 10268/0 |
| 5 | Pacca brick work in other than building i/c strucking joints on walls 1:2. (S.I.N: 7e/P-22) |  |  |  |  |  |  |  |
|  |  |  | 936.0 |  |  | 12346/65 | %cft | 115565/0 |
| 6 | S/Fixing steel grated door with 1/16"thick sheeting angle iron rame 2"x2"x1/8" square bars 4" c.c with locally arrangement.(SI.N.24/P-91) |  |  |  |  |  |  |  |
|  |  |  | 70.0 |  |  | 726/72 | P.sft | 50870/0 |
| 7 | Cement plaster 1:6 uotp 20ht 1/2"thick.(S.I.N. 10-A/P-51) |  |  |  |  |  |  |  |
|  |  |  | 3023.0 |  |  | 2206/60 | %sft | 66706/0 |
| 8 | Cement plaster 1:4 uotp 20ht 3/8"thick (S.I.No: 13 a/ P-51) |  |  |  |  |  |  |  |
|  |  |  | 3023.0 |  |  | 2197/52 | %sft | 66431/0 |
| 9 | Cement pointing struck joints on walls.1:3 (S.I.N: 19 /P-52) |  |  |  |  |  |  |  |
|  |  |  | 991.0 |  |  | 1213/58 | %sft | 12027/0 |
| 10 | White wash two coats.(S.I.No.26/P.No.53) |  |  |  |  |  |  |  |
|  |  |  | 3023.0 |  |  | 425/84 | %sft | 12873/0 |
| 11 | Colour wash two coat. (S.I.No.25 B/P-53) |  |  |  |  |  |  |  |
|  |  |  | 4014.0 |  |  | 859/90 | %sft | 34516/0 |
| 12 | Painting guarders barse gates iron barse 3 coats. (S.I.No.5 d/P-69) |  |  |  |  |  |  |  |
|  |  |  | 140.0 |  |  | 896/39 | %sft | 1255/0 |
|  |  |  |  |  |  | Total: |  | 409989/0 |