S. No: 33

BILL OF QUANTITES

(A) Description and rate of items based on composite schedule of rates.

NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF SECONDARY SCHOOLS IN DISTRICT KHAIRPUR (24 UNITS) @ GBHS MADD TALUKA S.DERO DISTRICT KHAIRPUR SEMIS CODE: 415080274 (Lev: Block & C/Wall)

| Sr. No. | ITEM OF WORKS | No: L: B: D: | Qty: | Rate | Unit | Amount |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling Pacca Brick work in lime or cement mortar (S.I.No 13 P.No. 10). |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 333 | 1285/63 | %Sft | Rs. 4281/- |  |  |  |  |  |
| 2. | Dismantling Cement Concrete plain 1:2:4 (S.I No; 19 C P- 10) |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 25 | 3327/50 | % SFT | Rs. 832/- |  |  |  |  |  |
| 3. | Removing cement or lime plaster from roof or walls (S.I No; 53 P- 13). |  |  |  |  |  |  | 17 | 3327/50 | %Sft | Rs.566/- |
|  |  |  | 906 | 121/05 | %Sft | Rs. 1097/- |  |  |  |  |  |
| 4. | Excavation in foundation of building bridges and other str: with excavated earth lead into chain and lift upto 5 feet” ft in ordinary soil. (S.I.No: 18, P.No. 4). |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 420 | 3176/25 | %Cft | Rs. 1334/- |  |  |  |  |  |
| 5. | Cement concrete brick or stone ballast 1 ½” to 2” gauge ratio 1:5:10 (S.I.No.4 P.No.16). |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 88 | 8694/95 | %Cft | Rs. 7652/- |  |  |  |  |  |
| 6. | Pacca Brick Work in foundation and plinth in cement sand mortar ratio 1:6. (S.I.No: 4e P.No: 21). |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 665 |  |  | Rs. 79457/- |  |  |  |  |  |
| 7. | Reinforcement Cement Concrete Work i/c all labour and material except the cost of steel reinforcements & its labour for bending & binding which will be paid separately .This rate also i/c all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface @ R.C.C work in roof slab beams columns rafts lintels and other structures members laid in situ or precast laid in position in complete in all respects ratio 1:2:4 . (S.I No: 6 a P-16) |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 175 | 337/- | P.Cft | Rs. 58975/- |  |  |  |  |  |
| 8. | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 7.812 | 5001/70 | P.Cwt | Rs. 39073/- |  |  |  |  |  |
| 9. | Pacca brick work in other then building in cement sand mortar Ratio 1:6. (S.I.No.5 e P.No.20). |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2030 | 12316/65 | %Cft | Rs. 250637/- |  |  |  |  |  |

| Sr. No. | ITEM OF WORKS | No: L: B: D: | Qty: | Rate | Unit | Amount |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10. | Cement plaster 1:6 up to 20 heights ½” thick. (S.I.No.13 b P.No.51). |  |  |  |  |  |  |  |  |
|  |  |  | 2976 | 2206/60 | %Sft | Rs. 65668/- |  |  |  |
| 11 | Cement plaster 1:4 up to 20 heights 3/8” thick. (S.I.No.11 a P.No.51). |  |  |  |  |  |  |  |  |
|  |  |  | 2976 | 2197/52 | %Sft | Rs. 65398/- |  |  |  |
| 12 | Cement pointing struck joints on walls ratio 1:2 (S.I No 19 P.No 52) |  |  |  |  |  |  |  |  |
|  |  |  | 2848 | 1213/58 | % Sft | Rs.34563/- |  |  |  |
| 13. | Supplying and fixing borden glass on coat yard walls including 1:3:6 Cement conrete coping ( S.I NO 61 P-104) |  |  |  |  |  |  |  |  |
|  |  |  | 323 | 70/44 | P.CFT | Rs. 22752/- |  |  |  |
| 14. | Cement concrete plain i/c placing compacting and curing complete i/c screening & washing at stone aggregate without etc complete ratio 1:2:4. (S.I No: 5 A P- 15) |  |  |  |  |  |  |  |  |
|  |  |  | 17 | 14429/25 | % SFT | Rs. 2453/- |  |  |  |
| 15. | Laying floor of approved white glazed tiles ¼ thick in white cement 1:2 over ¾ thick mortor 1:2 complete (S.I No. 25 P-43). |  |  |  |  |  |  |  |  |
|  |  |  | 300 | 27678/86 | %Sft | Rs. 83037/- |  |  |  |
| 16. | White glazed tiles 6x4” thick Dedo jointed in white cement lead over 1:2 cement sand mortor ¾ thick finishing etc (S.I.No.37 P.No.44). |  |  |  |  |  |  |  |  |
|  |  |  | 1080 | 28253/61 | %Sft | Rs.305139/- |  |  |  |
| 17 | P.L Hala tiles glazed 8”x8” x ¼ on floors walls in required pattern of steel specified jointed in white cement pigment over 1:2 gray cement mortor ¾ thick & filling paints with slurry of white cement etc complete.(S.I No: 61 P- 47). |  |  |  |  |  |  |  |  |
|  |  |  | 192 | 34520/31 | %0 Sft | Rs. 66279/- |  |  |  |
| 18. | First class deodar wood wrought, joinery in doors & windows etc. fixed in position i/c chowkhats holds fasts hinges, iron tower blats. Chocks cleats, handles and cords with hooks, etc. Deodar paneled or paneled and glazed or fully glazed (with out chowkhats). (S.I.No.7 b P.No.57). |  |  |  |  |  |  |  |  |
|  |  |  | 56 | 902/93 | P.Sft | Rs. 5564/- |  |  |  |
| 19. | P/F G.I frames chowkats of size 7x2 of 4x3 for door using 20 guage G.I sheet i/c welding fixing in position. (S.I No.29P-92) |  |  |  |  |  |  |  |  |
|  |  |  | 64 | 228/90 | P.Rft | Rs. 14650/- |  |  |  |
| 20 | Colour washing of two coats . (S.I.No 25 (b) P.53) |  |  |  |  |  |  |  |  |
|  |  |  | 5824 | 859/90 | % Sft | Rs. 50081/- |  |  |  |
| 21. | Preparing Painting guard bars gates of iron bars gratings railing i/c standard braces etc & similar of open work any type of two coats in old surface (S.I No: 4 D P – 68 ) |  |  |  |  |  |  |  |  |
|  |  |  | 192 | 896/39 | % SFt | Rs. 1744/- |  |  |  |
| 22. | Preparing Painting doors / windows any type new structures old surface 3 coats.(S.I No: 5 c P – 69) |  |  |  |  |  |  |  |  |
|  |  |  | 175 | 1449/68 | %Sft | Rs. 2636/- |  |  |  |
|  |  |  |  |  | Total | Rs. 1208302/- |  |  |  |

PART “B” WATER SUPPLY & SANITERY FITTING

NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF SECONDARY SCHOOLS IN DISTRICT KHAIRPUR (24 UNITS) @ GBHS MADD TALUKA S.DERO DISTRICT KHAIRPUR SEMIS CODE: 415080274 (Lev: Block & C/Wall)

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

1.      S/F squirting type white glazed earth were W C pan with internal fitting and flush papers and making required and making good CC i/c fixing in position etc .(S.I No.(B) – P-1) LAV:5X1				5 No  		4802/60	Each 	            24013/=

2.      Providing and fixing in position nylon connection complete with ½ dia brass stop cock with

Pair of brass nuts and lining joints to nylon connection. (S.I No.23 P- 06).

LAV: 2X1			12 No		447/15		Each		5366/=

3.      Providing and fixing 4” x 4” inch dia C.I brass brach of the required degree with access doors rubber washer 3/8” thick and nuts and extra painting to match the color of building (S.I No.4 P-09).

LAV: 2X1.			8 No 		224/60		P.No 		1797/=

4.      Providing and fixing 4” x 4”x 4” inch dia C.I  brach of the required degree with access doors rubber washer 1/8” thick and bolts nuts and extra painting to match the color of building (S.I No.5 P-09)

LAV: 5X1			5 No		270/60		P.No		1353/=

5.      Providing G.I pipe special and clamps etc fixing cutting fitting complete i/c the cost of braking through walls and roof making good etc painting two coats after clearing the pipe etc. (S.I No.1 – P-12)

½ ” dia 1x200 Rft		200.0		73/21		P.Rft	            14642/=

¾” dia  1x200 Rft		200.0		95/79		P.Rft	            19158/=

1” dia  1x100 Rft		100.0		116/20		P.Rft	            11620/=

1 1/4” dia  1x100  Rft	100.0		155/27		P.Rft	            15527/=

6.       Cancealed C.P fittig of superior quality for tiles bath rooms S/ fixing concellied stop cock of   superior quality with C.P head ½” dia  (S.I No. 11  P-18).

LAV: 1x10			10 No		478/28		Each 		4783/=

7.       S/F long bib cock 1/2” dia of superior quality (S.I No.13 a – P-19)

LAV: 1x10 			10 No 		1109/46	P.No	            11095/=

8.      Providing laying UPVC pressure pipe of class B equivalent make fixing in trench i/c cutting fitting jointing with Z join one rubber ring i/c testing with water to a head meter or 200 feet (S.I No.01  P-22)

4” inch dia 1x100		100.0		137/- 		P.Rft	           13700/=

9.    S/F fiber glass tank of approved quality and design and wall thickness specified i/c  nuts and     builts and fixing in plate form of CC 1:6 and making ( 250) gallon  (S.I No.3 a – P-21).

1x2			            2 No                 21989/0            P.No	            43978/=

10.    Providing and fixing 24x18 lav: basin in white glazed earth in were complete with and i/c

the cost of W.I or C.I cantilever brackets 6” builts into walls painted white in two coats

after the primary coat of red lead paint (S.I No 10  P-3).

Lav: 1x4			4 No		4928/-		Each	            19712/=

11.    Added extra for labour for providing and fixing of earth in were pedestal white or colored

glazed (foreign equivalnt) (S.I No. 11 p- 3)

Lav: 1x4			4 No		2533/47	Each	            10134/=

12.    Providing and fixing 24x18x8” white glazed fire clay sinks complete with and i/c the cost of

C/I or  W/I brackets 6” builts into walls etc (S.I No. 5  P- 18).

Lav: 1x4			4 No		4722/20	Each	            18889/=

13.    Conceled C.P fitting of superior quality for tiles bath rooms supply and fixing swan type

Pillar cock of superior quality single C/P head ½ dia (S.I No. 16  P- 19)

Lav: 1x4			4 No		795/-		Each		3180/=

14.     Providing and fixing 24x18” ballved edge mirror of Beljium complete with 1/8” thick and

C/P screws fixed to wooden plate (B) of superior quality (S.I No. 3  P- 07).

Lav: 1x2			2 No		2376/-		Each 		4752/=

15.	P/F full way gum metal balves with wheels threaded are flabged & with rubber wishers standared patterns (S.I No: 4  P- 17).

¾ “ dia				2 No		227/92		Each		456/=

1” dia				3 No		271/92		Each		816/=

16.	Boring for tube well in all water bearing soils from grounds level up to 100 ft or 30.5 meter depth i/c sinking & with drawing of casing 80 mm . (S.I No : 1 A P- 41)

60.0		160/-		P.Rft		9600/=

17.    P/F approved quality of A.C motor pump set 1 hp single phase with cost of fitting nuts  builts & C.C plate form 1:2:4 (S.I No. 11  P- 30)

1 No	           7625/29	          P.NO	             7625/=

____________

Total Rs:  242196/=