S. No: 08

BILL OF QUANTITES

(A) Description and rate of items based on composite schedule of rates.

NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF PRIMARY SCHOOLS IN DISTRICT KHAIRPUR (26 UNITS) @ GGELS MEMON MUHALLA GAMBAT TALUKA GAMBAT DISTRICT KHAIRPUR SEMIS CODE: 415020305

(Lav: Block & C/Wall)

| Sr. No. | ITEM OF WORKS | No: L: B: D: | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling Pacca Brick work in lime or cement mortar (S.I.No 13 P.No. 10). |  |  |  |  |  |
|  |  |  | 606 | 1285/63 | %Sft | Rs. 7791/- |
| 2. | Dismantling of RCC work (S.I.NO.20 P.No.10). |  |  |  |  |  |
|  |  |  | 58 | 545/- | %Sft | Rs.3158/- |
| 3. | Pacca Brick Work in foundation and plinth in cement sand mortar ratio 1:6. (S.I.No: 4e P.No: 21). |  |  |  |  |  |
|  |  |  | 414 | 11948/36 | %Cft | Rs. 49468/- |
| 4. | Reinforcement Cement Concrete Work i/c all labour and material except the cost of steel reinforcements & its labour for bending & binding which will be paid separately .This rate also i/c all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface @ R.C.C work in roof slab beams columns rafts lintels and other structures members laid in situ or precast laid in position in complete in all respects ratio 1:2:4 . (S.I No: 6 a P-16) |  |  |  |  |  |
|  |  |  | 168 | 337/- | P.Cft | Rs. 56618/- |
| 5. | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). |  |  |  |  |  |
|  |  |  | 7.50 | 5001/70 | P.Cwt | Rs. 37513/- |
| 6. | Pacca brick work in other then building in cement sand mortar Ratio 1:6. (S.I.No.5 e P.No.20). |  |  |  |  |  |
|  |  |  | 1183 | 12316/65 | %Cft | Rs. 146061/- |

| Sr. No. | ITEM OF WORKS | No: L: B: D: | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 7. | Cement plaster 1:6 up to 20 heights ½” thick. (S.I.No.13 b P.No.51). |  |  |  |  |  |
|  |  |  | 2350 | 2206/60 | %Sft | Rs. 51859/- |
| 8 | Cement plaster 1:4 up to 20 heights 3/8” thick. (S.I.No.11 a P.No.51). |  |  |  |  |  |
|  |  |  | 2350 | 2197/52 | %Sft | Rs. 51642/- |
| 9 | Cement pointing struck joints on walls ratio 1:2 (S.I No 19 P.No 52) |  |  |  |  |  |
|  |  |  | 1480 | 1213/58 | % Sft | Rs.17961/- |
| 10. | Supplying and fixing borden glass on coat yard walls including 1:3:6 Cement conrete coping ( S.I NO 61 P-104) |  |  |  |  |  |
|  |  |  | 185 | 70/44 | P.CFT | Rs. 13031/- |
| 11 | P.L Hala tiles glazed 8”x8” x ¼ on floors walls in required pattern of steel specified jointed in white cement pigment over 1:2 gray cement mortor ¾ thick & filling paints with slurry of white cement etc complete.(S.I No: 61 P- 47). |  |  |  |  |  |
|  |  |  | 1128 | 34520/31 | %0 Sft | Rs. 44190/- |
| 12 | Colour washing of two coats . (S.I.No 25 (b) P.53) |  |  |  |  |  |
|  |  |  | 3830 | 859/90 | % Sft | Rs. 32934/- |
| 13 | Preparing Painting guard bars gates of iron bars gratings railing i/c standard braces etc & similar of open work any type of two coats in old surface (S.I No: 4 D P – 68 ) |  |  |  |  |  |
|  |  |  | 196 | 896/39 | %Sft | Rs. 1080/- |
|  |  |  |  |  | Total: | Rs. 513306/- |