S. No: 43

BILL OF QUANTITES

(A) Description and rate of items based on composite schedule of rates.

NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF SECONDARY SCHOOLS IN DISTRICT KHAIRPUR (24 UNITS) @ GBHS BAKHAR KANASIRA TALUKA KOTDIJI DISTRICT KHAIRPUR SEMIS CODE: 415050568 (Lev: Block & C/Wall)

| S.NO | NAME OF ITEMS |  |  | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Dismentling Cement concrecte reinforcment separating reinforcment from concrecte cleaning and straighting the same. (S.I.No.20/P-10) |  |  |  |  |  |  |
|  |  |  | 46.0 |  | 5445/0 | %cft | 2505/0 |
| 2 | Dismentling C.C plain 1:2:4 (S.I.No.19c- P-10) |  |  |  |  |  |  |
|  |  |  | 80.0 |  | 3327/50 | %cft | 2662/0 |
| 3 | Removing cement or lime plaster. (S.I.No.53, P-13) |  |  |  |  |  |  |
|  |  |  | 346.0 |  | 121/0 | %sft | 369/0 |
| 4 | Excavation in foundation of building bridges and other str:with excavated earth lead unto one chain and lift upto 5 feet" ft in ordinary soil. (S.I.N-18-b/P-5) |  |  |  |  |  |  |
|  |  |  | 1728.0 |  | 3176/25 | %ocft | 5488/0 |
| 5 | Cement concrete brick or stone ballast 1 ½” to 2" guage ratio 1:5:10 (S.I.N:4/P-14) |  |  |  |  |  |  |
|  |  |  | 553.0 |  | 8694/95 | %cft | 48083/0 |
| 6 | Pacca brick work in foundation and plinth in cement sand mortar ratio 1:6 (S.I.No: 4e P-20) |  |  |  |  |  |  |
|  |  |  | 2848.0 |  | 11948/36 | %cft | 340050/0 |
| 7 | Reinforced cement concrecte work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a)RCC work in roof slab columns rafts lintel and other structure member laid in situ or precast laid in position complete in all respect ratio 1:2:4 . ( S.I.No:6-A/P-16) |  |  |  |  |  |  |
|  |  |  | 568.0 |  | 337/0 | P.cft | 191416/0 |
| 8 | Fabraction of tor steel reinforcement for cement concrete i/c cutting, bending, and laying in position i/c the cost of binding wire also removal of rust from bars.(S.I.N:7-ii/P-19) |  |  |  |  |  |  |
|  |  |  | 25.357 |  | 5001/70 | P.cwt | 126828/0 |
| 9 | Pacca brick work in G/Floor i/c stricking of joints cement sand mortar ratio1:6.(S.I.N: 5e/P-20) |  |  |  |  |  |  |
|  |  |  | 59.0 |  | 12674/36 | %cft | 7478/0 |
| 10 | Pacca brick work in other than building i/c strucking joints on walls 1:2. (S.I.N: 7e/P-22) |  |  |  |  |  |  |
|  |  |  | 3564.0 |  | 12346/65 | %cft | 440035/0 |
| 11 | Filling River pit Sand under floor. (S.I.No. 29/P-26) |  |  |  |  |  |  |
|  |  |  | 82.0 |  | 1147/75 | %cft | 941/0 |
| 12 | Applying floating coats. (S.I.No.14, P-52) |  |  |  |  |  |  |
|  |  |  | 305.0 |  | 660/0 | %sft | 2013/0 |
| 13 | Cement plaster 1:6 uotp 20ht 1/2"thick.(S.I.N. 10-A/P-51) |  |  |  |  |  |  |
|  |  |  | 9880.0 |  | 2206/60 | %sft | 218012/0 |
| 14 | Cement plaster 1:4 uotp 20ht 3/8"thick (S.I.No: 13 a/ P-51) |  |  |  |  |  |  |
|  |  |  | 9880.0 |  | 2197/52 | %sft | 217115/0 |
| 15 | Cement pointing struck joints on walls.1:3 (S.I.N: 19 /P-52) |  |  |  |  |  |  |
|  |  |  | 4535.0 |  | 1213/58 | %sft | 55036/0 |
| 16 | P/Laying 2" C C Topping 1.2.4. i/c surface finishing & dividing into panels(S.I.No: 16 C / P-41) |  |  |  |  |  |  |
|  |  |  | 80.0 |  | 3275/50 | %sft | 2620/0 |
| 17 | First class deodar wod wrought joinery in door and windows any type i/c fixing in position (Only shelters) (S.I.N.7b/ P-57) |  |  |  |  |  |  |
|  |  |  | 31.0 |  | 902/93 | P.sft | 27991/0 |
| 18 | S/Fixing G.I frame chowkata steel door frame size 7”x2” or 4 ½”x3” type i/c fixing in position using 20 guage sheet welding fixing (S.I.N.29-P/92) |  |  |  |  |  |  |
|  |  |  | 33.0 |  | 228/90 | P.rft | 7554/0 |
| 19 | S/Fixing G.I frame chowkata steel Window frame size 7”x2” or 4 ½”x3” type i/c fixing in position using 20 guage sheet welding fixing (S.I.N.28-P/92) |  |  |  |  |  |  |
|  |  |  | 14.0 |  | 240/50 | P.rft | 3367/0 |
| 20 | White wash two coats.(S.I.No.26/P.No.53) |  |  |  |  |  |  |
|  |  |  | 9694.0 |  | 425/84 | %sft | 41280/0 |
| 21 | Colour wash two coat. (S.I.No.25 B/P-53) |  |  |  |  |  |  |
|  |  |  | 14229.0 |  | 859/90 | %sft | 122355/0 |
| 22 | Preparing surface painting to doors & windows any type three coats. (S.I.No.4c(ii) P-67) |  |  |  |  |  |  |
|  |  |  | 164.0 |  | 1489/65 | %sft | 2443/0 |
| 23 | Painting guarders barse gates iron barse 3 coats. (S.I.No.5 d/P-69) |  |  |  |  |  |  |
|  |  |  | 96.0 |  | 896/39 | %sft | 860/0 |
|  |  |  |  |  | Total: |  | 1866502/0 |