S. No: 47

BILL OF QUANTITES

(A) Description and rate of items based on composite schedule of rates.

NAME OF WORK: REPAIR & MAINTENANCE OF EXISTING NONFUNCTIONAL TOILETS & DAMAGED BOUNDARY WALLS OF SECONDARY SCHOOLS IN DISTRICT KHAIRPUR (24 UNITS) @ GBHS BABAR WADA TALUKA KOTDIJI DISTRICT KHAIRPUR SEMIS CODE: 415050560 (Lev: Block & C/Wall)

| S.NO | NAME OF ITEMS |  |  | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Dismentling C.C plain 1:2:4 (S.I.No.19c- P-10) |  |  |  |  |  |  |
|  |  |  | 23.0 |  | 3327/50 | %cft | 765/0 |
| 2 | Dismentling of Pacca brick work. (S.I.No.13, P-10) |  |  |  |  |  |  |
|  |  |  | 196.0 |  | 1285/63 | %cft | 2520/0 |
| 3 | Removing cement or lime plaster. (S.I.No.53, P-13) |  |  |  |  |  |  |
|  |  |  | 321.0 |  | 121/0 | %sft | 388/0 |
| 4 | Excavation in foundation of building bridges and other str:with excavated earth lead unto one chain and lift upto 5 feet" ft in ordinary soil. (S.I.N-18-b/P-5) |  |  |  |  |  |  |
|  |  |  | 60.0 |  | 3176/25 | %ocft | 191/0 |
| 5 | Cement concrete brick or stone ballast 1 ½” to 2" guage ratio 1:5:10 (S.I.N:4/P-14) |  |  |  |  |  |  |
|  |  |  | 20 |  | 8694/95 | %cft | 1739/0 |
| 6 | Pacca brick work in foundation and plinth in cement sand mortar ratio 1:6 (S.I.No: 4e P-20) |  |  |  |  |  |  |
|  |  |  | 1060.0 |  | 11948/36 | %cft | 126653/0 |
| 7 | RCC work in roof slab columns rafts lintel and other structure member laid in situ or recast laid in position complete in all respect ratio 1:2:4.( S.I.No:6-A/P-16) |  |  |  |  |  |  |
|  |  |  | 159.0 |  | 337/0 | P.cft | 53583/0 |
| 8 | Fabraction of tor steel reinforcement for cement concrete i/c cutting, bending, and laying in position i/c the cost of binding wire also removal of rust from bars.(S.I.N:7-ii/P-19) |  |  |  |  |  |  |
|  |  |  | 7.098 |  | 5001/70 | P.cwt | 35502/0 |
| 9 | Pacca brick work in other than building i/c strucking joints on walls 1:2. (S.I.N: 7e/P-22) |  |  |  |  |  |  |
|  |  |  | 1196.0 |  | 12346/65 | %cft | 147666/0 |
| 10 | Applying floating coats. (S.I.No.14, P-52) |  |  |  |  |  |  |
|  |  |  | 321.0 |  | 660/0 | %sft | 2119/0 |
| 11 | Cement plaster 1:6 uotp 20ht 1/2"thick.(S.I.N. 10-A/P-51) |  |  |  |  |  |  |
|  |  |  | 3244.0 |  | 2206/60 | %sft | 71582/0 |
| 12 | Cement plaster 1:4 uotp 20ht 3/8"thick (S.I.No: 13 a/ P-51) |  |  |  |  |  |  |
|  |  |  | 3244.0 |  | 2197/52 | %sft | 71288/0 |
| 13 | Cement pointing struck joints on walls.1:3 (S.I.N: 19 /P-52) |  |  |  |  |  |  |
|  |  |  | 1410.0 |  | 1213/58 | %sft | 17111/0 |
| 14 | S/Fixing G.I frame chowkata steel door frame size 7”x2” or 4 ½”x3” type i/c fixing in position using 20 guage sheet welding fixing (S.I.N.29-P/92) |  |  |  |  |  |  |
|  |  |  | 50.0 |  | 228/90 | P.rft | 11445/0 |
| 15 | S/Fixing G.I frame chowkata steel Window frame size 7”x2” or 4 ½”x3” type i/c fixing in position using 20 guage sheet welding fixing (S.I.N.28-P/92) |  |  |  |  |  |  |
|  |  |  | 21.0 |  | 240/50 | P.rft | 5051/0 |
| 16 | C.C Plain i/c placing compacting finishing and curring ratio 1:2:4(S.I.No: 5/ P-15) |  |  |  |  |  |  |
|  |  |  | 12.0 |  | 14429/25 | %cft | 1732/0 |
| 17 | First class deodar wod wrought joinery in door and windows any type i/c fixing in position (Only shelters) (S.I.N.7b/ P-57) |  |  |  |  |  |  |
|  |  |  | 47.0 |  | 902/93 | P.sft | 42438/0 |
| 18 | Laying Floor of approved white glazed tiles ¼” thick in white cement 1:2 over ¾” thick cement 1:2 complete (S.I.N: 24/P-42) |  |  |  |  |  |  |
|  |  |  | 75.0 |  | 27678/86 | %cft | 20759/0 |
| 19 | White glazed tiles ¼” thick dado jointed in white cement and laid over 1:2 cement sand mortor ¾” thick including finishing (S.I.N.37/P-44) |  |  |  |  |  |  |
|  |  |  | 321.0 |  | 28263/51 | %cft | 90726/0 |
| 20 | White wash two coats.(S.I.No.26/P.No.53) |  |  |  |  |  |  |
|  |  |  | 2923.0 |  | 425/84 | %sft | 12447/0 |
| 21 | White wash three coats.(S.I.No.26/P.No.53) |  |  |  |  |  |  |
|  |  |  | 67.0 |  | 829/95 | %sft | 556/0 |
| 22 | Colour wash two coat. (S.I.No.25 B/P-53) |  |  |  |  |  |  |
|  |  |  | 4333.0 |  | 859/90 | %sft | 37259/0 |
| 23 | Preparing surface painting to doors & windows any type three coats. (S.I.No.4c(ii) P-67) |  |  |  |  |  |  |
|  |  |  | 105.0 |  | 1489/65 | %sft | 1564/0 |
| 24 | Painting guarders barse gates iron barse 3 coats. (S.I.No.5 d/P-69) |  |  |  |  |  |  |
|  |  |  | 96.0 |  | 896/39 | %sft | 861/0 |
|  |  |  |  |  | Total: |  | 755945/0 |