BILL OF QUANITITY (B.O.Q)

PART “B” WATER SUPPLY & S/FITTING

| S# | ITEM OF WORK | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | P/F Squatting type white glazed earthen were w.c pan with including the cost of flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe connections & making good in cement concrete 1:2:4 (S.I.N:1(b)P/1) | 2.0 | 4802.60 | P.No | 9605 |
| 2 | Providing G.I pipe specials & clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking rough wall and roof making good etc painting two coats after cleaning the pipe etc white zink point with pigment to match the colour of building (S.I.NO:1P/12) |  |  |  |  |
|  | 1.1/2 | 80.0 | 188.44 | p.Rft | 15075 |
|  | 1/2” dia | 50.0 | 73.21 | p.rft | 3661 |
|  | 3/4” dia | 50.00 | 95.89 | p.rft | 4795 |
| 3 | Providing fixing handle valves (china) (S.I:No:5 | 2.00 | 271.92 | P.No | 544 |
| 4 | S/Fixing long bib-cook of superior quality with c.p head ½” dia (S.I.N.O:13 P/10) | 2.00 | 1109.46 | P.NO | 2219 |
| 5 | S/Fixing concealed tee-stop cock of superior quality with c.p head ½”dia .(S.I.NO: 12(b) P/18) | 2.00 | 889.46 | P.NO | 1779 |
| 6 | Add: Extra labour for concreted G.I pipe & fitting i/c making recess in the wall for pipe & making good in cement motor etc (S.I.N 2P-12) |  |  |  |  |
|  | ¾ dia | 50.0 | 8.45 | P.Rft | 423 |
|  | ¼ Dia | 50.00 | 7.82 | P.Rft | 391 |
| 7 | Providing R.C.C pipe with collars class “B” and digging the to required depth & fixing in positing i/c cutting fitting & jointing with maxphalt composition cement to a head of 4” feet above the top of the heightest pipe & refilling excavated staff 6” pipe class “B” |  |  |  |  |
|  | 6” dia | 50.00 | 199.25 | P.rft | 9963 |
| 8 | Providing laying UPVC pipes of class B’’ fixing in trench i/c cutting to a head of 61 metor or 200ft (S.I.N 4 P/23) | 40.0 | 136 | P.No | 5440 |
| 9 | P/F Hand Pump with all accessories wooden shown i/c boring cutting etc. (R.A) |  |  |  |  |
| A | Filer | 10.0 | 76.05 | P.Rft | 761 |
| B | Boring | 80.0 | 38.50 | P.Rft | 3052 |
| C | Hand Pump | 01.0 | 1442.0 | Each | 1442 |
| 10 | Providing and fixing water pumping set ½ H.P Mono Blck single phase 220 bolts with 1”x1-1/4” suction and delivery 20 ft head including making c.c 1:3:6 platform of required size and fixing with nuts and bolts (local made). (R.A) | 01.0 | 14417.70 | Each | 14418.0 |
|  |  |  | Total: |  | 73596.0 |
|  |  |  | N.S.I |  | 19701.0 |
|  |  |  | S.I |  | 53895.0 |

10 % Above /below 3 on the Rates of CSR				Amount tobe added/aeduted on

Basis of premium quoted Total (b)

Total A+B Rs: (a)____________ Rs: (b)_____________			Rs:_____________________

R.CC (a) 10 & Rs:_______________					Total Amount Rs:____________Fabrication (a) 10 % Above Rs:____________		Total Amount Rs: ____________

Total (A) +b in works & Figure_____________________________________________________________

NOTE:-	Quantities/Rates can be changed after Technical sanctioned is received from competent authortity.

CONTRACTORT 					         		EXECUTIVE  ENGINEER

EDUCATION WORKS DIVISION

DADU

BILL OF QUANITITY (B.O.Q)

PART “B” WATER SUPPLY & S/FITTING

NAME OF WORK    REPAIR / MAINTENANCE OF GOVT: BOYS PRIMARY SCHOOL URDU MAIN

GHARIBABAD DADU  TALUKA & DISTRICT DADU.

| S# | ITEM OF WORK | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Providing G.I pipe specials & clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking rough wall and roof making good etc painting two coats after cleaning the pipe etc white zink point with pigment to match the colour of building (S.I.NO:1P/12) |  |  |  |  |
|  | 1/2” dia | 50.00 | 73.21 | p.rft | 3661 |
|  | 3/4” dia | 50.00 | 95.89 | p.rft | 4795 |
| 2 | Providing fixing handle valves (china) (S.I:No:5 | 2.00 | 271.92 | P.No | 544 |
| 3 | S/Fixing long bib-cook of superior quality with c.p head ½” dia (S.I.N.O:13 P/10) | 2.00 | 1109.46 | P.NO | 2219 |
| 4 | S/Fixing concealed tee-stop cock of superior quality with c.p head ½”dia .(S.I.NO: 12(b) P/18) | 1.00 | 889.46 | P.NO | 889 |
| 5 | P/F Hand Pump with all accessories wooden shown i/c boring cutting etc. (R.A) |  |  |  |  |
| A | Filer | 10.0 | 76.05 | P.Rft | 761 |
| B | Boring | 80.0 | 38.95 | P.Rft | 3116 |
| C | Hand Pump | 01.0 | 1442.0 | Each | 1442 |
| 6 | Providing and fixing water pumping set ½ H.P Mono Blck single phase 220 bolts with 1”x1-1/4” suction and delivery 20 ft head including making c.c 1:3:6 platform of required size and fixing with nuts and bolts (local made). (R.A) | 01.0 | 14417.70 | Each | 14418.0 |
|  |  |  | Total: |  | 31845/= |
|  |  |  | N.S.I |  | 19737/= |
|  |  |  | S.I |  | 12108/= |

10 % Above /below 3 on the Rates of CSR				Amount tobe added/aeduted on

Basis of premium quoted Total (b)

Total A+B Rs: (a)____________ Rs: (b)_____________			Rs:_____________________

R.CC (a) 10 & Rs:_______________					Total Amount Rs:____________Fabrication (a) 10 % Above Rs:____________		Total Amount Rs: ____________

Total (A) +b in works & Figure_____________________________________________________________

NOTE:-	Quantities/Rates can be changed after Technical sanctioned is received from competent authortity.

CONTRACTORT 					         		EXECUTIVE  ENGINEER

EDUCATION WORKS DIVISION

DADU

BILL OF QUANITITY (B.O.Q)

PART “B” WATER SUPPLY & S/FITTING

NAME OF WORK    REPAIR / MAINTENANCE OF GOVT: BOYS PRIMARY SCHOOL MAKHAN

PANHWAR TALUKA & DISTRICT DADU.

| S# | ITEM OF WORK | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Providing G.I pipe specials & clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking rough wall and roof making good etc painting two coats after cleaning the pipe etc white zink point with pigment to match the colour of building (S.I.NO:1P/12) |  |  |  |  |
|  | 1/2” dia | 50.00 | 73.21 | p.rft | 3661 |
|  | 3/4” dia | 50.00 | 95.89 | p.rft | 4795 |
| 2 | Providing fixing handle valves (china) (S.I:No:5 | 2.00 | 271.92 | P.No | 544 |
| 3 | S/Fixing long bib-cook of superior quality with c.p head ½” dia (S.I.N.O:13 P/10) | 2.00 | 1109.46 | P.NO | 2219 |
| 4 | S/Fixing concealed tee-stop cock of superior quality with c.p head ½”dia .(S.I.NO: 12(b) P/18) | 1.00 | 889.46 | P.NO | 889 |
| 5 | P/F Hand Pump with all accessories wooden shown i/c boring cutting etc. (R.A) |  |  |  |  |
| A | Filer | 10.0 | 76.05 | P.Rft | 761 |
| B | Boring | 80.0 | 38.95 | P.Rft | 3116 |
| C | Hand Pump | 01.0 | 1442.0 | Each | 1442 |
| 6 | Providing and fixing water pumping set ½ H.P Mono Block single phase 220 bolts with 1”x1-1/4” suction and delivery 20 ft head including making c.c 1:3:6 platform of required size and fixing with nuts and bolts (local made). (R.A) | 01.0 | 14417.70 | Each | 14418.0 |
|  |  |  | Total: |  | 31845/= |
|  |  |  | N.S.I |  | 19737/= |
|  |  |  | S.I |  | 12108/= |

10 % Above /below 3 on the Rates of CSR				Amount tobe added/aeduted on

Basis of premium quoted Total (b)

Total A+B Rs: (a)____________ Rs: (b)_____________			Rs:_____________________

R.CC (a) 10 & Rs:_______________					Total Amount Rs:____________Fabrication (a) 10 % Above Rs:____________		Total Amount Rs: ____________

Total (A) +b in works & Figure_____________________________________________________________

NOTE:-	Quantities/Rates can be changed after Technical sanctioned is received from competent authortity.

CONTRACTORT 					         		EXECUTIVE  ENGINEER

EDUCATION WORKS DIVISION

DADU

PART “B” WATER SUPPLY & S/FITTING

ABSTRACT SHEET

| S# | ITEM OF WORK | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | P/F Squatting type white glazed earthen were w.c pan with including the cost of flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe connections & making good in cement concrete 1:2:4 (S.I.N:1(b)P/1) | 2.0 | 5044.60 | P.No | 10089 |
| 2 | Providing G.I pipe specials & clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking rough wall and roof making good etc painting two coats after cleaning the pipe etc white zink point with pigment to match the colour of building (S.I.NO:1P/12) |  |  |  |  |
|  | 1/2” dia | 50.00 | 73.21 | p.rft | 3661 |
|  | 3/4” dia | 50.00 | 95.89 | p.rft | 4795 |
| 3 | Providing fixing handle valves (china) (S.I:No:5 | 2.00 | 271.92 | P.No | 544 |
| 4 | Construction of main hole or inspection diameter of circular sewer and 3”6” (1067mm)depth with wall of B.B in cement plastered 1:3.1/2”thick ,inside of wall and 1”(25 mm))thick over benching and channel i/c etc.complete | 2.00 | 14748 | P.NO | 29496 |
| 5 | S/Fixing long bib-cook of superior quality with c.p head ½” dia (S.I.N.O:13 P/10) | 2.00 | 1109.46 | P.NO | 2219 |
| 6 | S/Fixing concealed tee-stop cock of superior quality with c.p head ½”dia .(S.I.NO: 12(b) P/18) | 2.00 | 889.46 | P.NO | 1779 |
| 7 | Providing R.C.C pipe with collars class “B” and digging the to required depth & fixing in positing i/c cutting fitting & jointing with maxphalt composition cement to a head of 4” feet above the top of the heightest pipe & refilling excavated staff 6” pipe class “B” |  |  |  |  |
|  | 6” dia | 50.00 | 199.25 | P.rft | 9963 |
|  | 4’’ dia | 30.00 | 146.00 | P.Rft | 4380 |
| 8 | P/F Hand Pump with all accessories wooden shown i/c boring cutting etc. (R.A) |  |  |  |  |
| A | Filer | 10.0 | 76.05 | P.Rft | 761 |
| B | Boring | 80.0 | 38.50 | P.Rft | 3052 |
| C | Hand Pump | 01.0 | 1442.0 | Each | 1442 |
| 9 | Providing and fixing water pumping set ½ H.P Mono Blck single phase 220 bolts with 1”x1-1/4” suction and delivery 20 ft head including making c.c 1:3:6 platform of required size and fixing with nuts and bolts (local made). (R.A) | 01.0 | 14417.70 | Each | 14418.0 |
|  |  |  | Total: |  | 86599.0 |
|  |  |  | N.S.I |  | 19673.0 |
|  |  |  | S.I |  | 66926.0 |

SUB-ENGINEER						         ASSISTANT ENGINEER

EDUCATION WORKS SUB-DIVISION

DADU

BILL OF QUANITITY (B.O.Q)

PART “B” WATER SUPPLY & S/FITTING

NAME OF WORK:-	REPAIR / MAINTENANCE OF GOVT: BOYS HIGH SCHOOL MAKHDOOM BILWAL

TALUKA & DISTRICT DADU

| S# | ITEM OF WORK | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | P/F Squatting type white glazed earthen were w.c pan with including the cost of flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe connections & making good in cement concrete 1:2:4 (S.I.N:1(b)P/1) | 6.0 | 5044.60 | P.No | 30267 |
| 2 | Providing G.I pipe specials & clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking rough wall and roof making good etc painting two coats after cleaning the pipe etc white zink point with pigment to match the colour of building (S.I.NO:1P/12) |  |  |  |  |
|  | 1/2” dia | 80.00 | 73.21 | p.rft | 5856 |
|  | 3/4” dia | 50.00 | 95.89 | p.rft | 4795 |
| 3 | Providing fixing handle valves (china) (S.I:No:5 | 4.00 | 271.92 | P.No | 1088 |
| 5 | S/Fixing long bib-cook of superior quality with c.p head ½” dia (S.I.N.O:13 P/10) | 6.00 | 1109.46 | P.NO | 6656 |
| 6 | S/Fixing concealed tee-stop cock of superior quality with c.p head ½”dia .(S.I.NO: 12(b) P/18) | 6.00 | 889.46 | P.NO | 5337 |
| 7 | Providing R.C.C pipe with collars class “B” and digging the to required depth & fixing in positing i/c cutting fitting & jointing with asphalt composition cement to a head of 4” feet above the top of the heights pipe & refilling excavated staff 6” pipe class “B” |  |  |  |  |
|  | 6” dia | 50.00 | 199.25 | P.rft | 9963 |
|  | 4’’ dia | 30.00 | 146.00 | P.Rft | 4380 |
| 8 | P/F Hand Pump with all accessories wooden shown i/c boring cutting etc. (R.A) |  |  |  |  |
| A | Filter | 10.0 | 76.05 | P.Rft | 761 |
| B | Boring | 80.0 | 38.95 | P.Rft | 3080 |
| C | Hand Pump | 01.0 | 1442.0 | Each | 1442 |
| 9 | Providing and fixing water pumping set ½ H.P Mono Block single phase 220 bolts with 1”x1-1/4” suction and delivery 20 ft head including making c.c 1:3:6 platform of required size and fixing with nuts and bolts (local made). (R.A) | 01.0 | 14417.70 | Each | 14418.0 |
|  |  |  | Total: |  | 88045.0 |
|  |  |  | N.S.I |  | 19673.0 |
|  |  |  | S.I |  | 68372.0 |

10 % Above /below 3 on the Rates of CSR				Amount tobe added/aeduted on

Basis of premium quoted Total (b)

Total A+B Rs: (a)____________ Rs: (b)_____________			Rs:_____________________

R.CC (a) 10 & Rs:_______________					Total Amount Rs:____________Fabrication (a) 10 % Above Rs:____________		Total Amount Rs: ____________

Total (A) +b in works & Figure_____________________________________________________________

NOTE:-	Quantities/Rates can be changed after Technical sanctioned is received from competent authortity.

CONTRACTORT 					         		EXECUTIVE  ENGINEER

EDUCATION WORKS DIVISION

DADU

BILL OF QUANITITY (B.O.Q)

PART “B” WATER SUPPLY & S/FITTING

NAME OF WORK:-	REPAIR / MAINTENANCE OF GOVT: BOYS MIDDLE SCHOOL WALI MOHAMMAD

DARWESHANI TALUKA & DISTRICT DADU.

| S# | ITEM OF WORK | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | P/F Squatting type white glazed earthen were w.c pan with including the cost of flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe connections & making good in cement concrete 1:2:4 (S.I.N:1(b)P/1) | 4.0 | 5044.60 | P.No | 20178 |
| 2 | Providing G.I pipe specials & clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking rough wall and roof making good etc painting two coats after cleaning the pipe etc white zink point with pigment to match the colour of building (S.I.NO:1P/12) |  |  |  |  |
|  | 1/2” dia | 50.00 | 73.21 | p.rft | 3661 |
|  | 3/4” dia | 50.00 | 95.89 | p.rft | 4795 |
| 3 | Providing fixing handle valves (china) (S.I:No:5 | 2.00 | 271.92 | P.No | 544 |
| 4 | S/Fixing long bib-cook of superior quality with c.p head ½” dia (S.I.N.O:13 P/10) | 2.00 | 1109.46 | P.NO | 2219 |
| 5 | S/Fixing concealed tee-stop cock of superior quality with c.p head ½”dia .(S.I.NO: 12(b) P/18) | 2.00 | 889.46 | P.NO | 1779 |
| 6 | P/F Hand Pump with all accessories wooden shown i/c boring cutting etc. (R.A) |  |  |  |  |
| A | Filer | 10.0 | 76.05 | P.Rft | 761 |
| B | Boring | 80.0 | 38.95 | P.Rft | 3080 |
| C | Hand Pump | 01.0 | 1442.0 | Each | 1442 |
| 7 | Providing and fixing water pumping set ½ H.P Mono Blck single phase 220 bolts with 1”x1-1/4” suction and delivery 20 ft head including making c.c 1:3:6 platform of required size and fixing with nuts and bolts (local made). (R.A) | 01.0 | 14417.70 | Each | 14418.0 |
|  |  |  | Total: |  | 52877.0 |
|  |  |  | N.S.I |  | 19701.0 |
|  |  |  | S.I |  | 33176.0 |

10 % Above /below 3 on the Rates of CSR				Amount tobe added/aeduted on

Basis of premium quoted Total (b)

Total A+B Rs: (a)____________ Rs: (b)_____________			Rs:_____________________

R.CC (a) 10 & Rs:_______________					Total Amount Rs:____________Fabrication (a) 10 % Above Rs:____________		Total Amount Rs: ____________

Total (A) +b in works & Figure_____________________________________________________________

NOTE:-	Quantities/Rates can be changed after Technical sanctioned is received from competent authortity.

CONTRACTORT 					         		EXECUTIVE  ENGINEER

EDUCATION WORKS DIVISION

DADU

BILL OF QUANITITY (B.O.Q)

PART “B” WATER SUPPLY & S/FITTING

NAME OF WORK:            Repair / Maintenance of Govt: Boys Middle School

Mohammad Ali Burdi Taluka & District Dadu.

| S# | ITEM OF WORK | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | P/F Squatting type white glazed earthen were w.c pan with including the cost of flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe connections & making good in cement concrete 1:2:4 (S.I.N:1(b)P/1) | 4.0 | 5044.60 | P.No | 20178 |
| 2 | Providing G.I pipe specials & clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking rough wall and roof making good etc painting two coats after cleaning the pipe etc white zink point with pigment to match the colour of building (S.I.NO:1P/12) |  |  |  |  |
|  | 1/2” dia | 50.00 | 73.21 | p.rft | 3661 |
|  | 3/4” dia | 50.00 | 95.89 | p.rft | 4795 |
| 3 | Providing fixing handle valves (china) (S.I:No:5 | 2.00 | 271.92 | P.No | 544 |
| 4 | Construction of main hole or inspection diameter of circular sewer and 3”6” (1067mm)depth with wall of B.B in cement plastered 1:3.1/2”thick ,inside of wall and 1”(25 mm))thick over benching and channel i/c etc.complete | 2.00 | 14748 | P.NO | 29496 |
| 5 | S/Fixing long bib-cook of superior quality with c.p head ½” dia (S.I.N.O:13 P/10) | 2.00 | 1109.46 | P.NO | 2219 |
| 6 | S/Fixing concealed tee-stop cock of superior quality with c.p head ½”dia .(S.I.NO: 12(b) P/18) | 2.00 | 889.46 | P.NO | 1779 |
| 7 | Providing R.C.C pipe with collars class “B” and digging the to required depth & fixing in positing i/c cutting fitting & jointing with maxphalt composition cement to a head of 4” feet above the top of the heightest pipe & refilling excavated staff 6” pipe class “B” |  |  |  |  |
|  | 6” dia | 50.00 | 199.25 | P.rft | 9963 |
|  | 4’’ dia | 30.00 | 146.00 | P.Rft | 4380 |
| 8 | P/F Hand Pump with all accessories wooden shown i/c boring cutting etc. (R.A) |  |  |  |  |
| A | Filer | 10.0 | 76.05 | P.Rft | 761 |
| B | Boring | 80.0 | 38.95 | P.Rft | 3052 |
| C | Hand Pump | 01.0 | 1442.0 | Each | 1442 |
| 9 | Providing and fixing water pumping set ½ H.P Mono Blck single phase 220 bolts with 1”x1-1/4” suction and delivery 20 ft head including making c.c 1:3:6 platform of required size and fixing with nuts and bolts (local made). (R.A) | 01.0 | 14417.70 | Each | 14418.0 |
|  |  |  | Total: |  | 96688.0 |
|  |  |  | N.S.I |  | 19673.0 |
|  |  |  | S.I |  | 77015.0 |

10 % Above /below 3 on the Rates of CSR				Amount tobe added/aeduted on

Basis of premium quoted Total (b)

Total A+B Rs: (a)____________ Rs: (b)_____________			Rs:_____________________

R.CC (a) 10 & Rs:_______________					Total Amount Rs:____________Fabrication (a) 10 % Above Rs:____________		Total Amount Rs: ____________

Total (A) +b in works & Figure_____________________________________________________________

NOTE:-	Quantities/Rates can be changed after Technical sanctioned is received from competent authortity.

CONTRACTORT 					         		EXECUTIVE  ENGINEER

EDUCATION WORKS DIVISION

DADU