ANNUAL PROCUREMENT PLAN FOR THE YEAR 2016- 2017 (Revised-2)

NORTH EAST KARACHI (PUMPING & FILTER) OLD DIVISION, KW&SB

| S. # | DESCRIPTION OF PROCUREMENT | QUANTITY (WHERE APPLICABLE) | ESTIMATED UNIT COST (WHERE APPLICABLE) | ESTIMATED TOTAL COST (In Million Rs.) | FUNDS ALLOCATED (In Million Rs.) | SOURCE OF FUNDS ADP / NON-ADP | PROPOSED PROCUREMENT METHOD | TIMING OF PROCUREMENT 2016-2017 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Q1 | Q2 | Q3 | Q4 |
| 1. | EMERGENT WORK OF COMPLETE SERVICING / VARNISHING OF 200HP MOTOR AND OVER- HAULING OF DWT PUMP TYPE B16D OF PUMP NO.4 AND R/M, REPLACEMENT OF BALL BEARINGS, BREAKER / CONTACTORS / M.S. PIPE AND SLUICE VALVE AT N.E.K. PUMP HOUSE (OLD), KW&SB. | ----- | ---- | 0.9881 | 6343-21 (Rs.5.50) | NON-ADP | Single Stage One Envelope System | --- | Nov., 2016 | --- | --- |
| 2. | REPAIR / MAINTENANCE AND REINFORCEMENT OF OVERHEAD WIRING NETWORKING AND STREET LIGHT FOR STAFF COLONY AT N.E.K. PUMP HOUSE (OLD). | ----- | ---- | 0.9945 | 6343-26 (Rs.3.50) | NON-ADP | Single Stage One Envelope System | --- | Nov., 2016 | --- | --- |
| 3. | ESSENTIAL WORK OF ENGINEERING SERVICING / VARNISHING 355KW/ 745RPM MOTOR (MADE BY AEG GERMANY) NO.2 & REPLACEMENT OF BALL BARINGS AT N.E.K. (P&F) OLD DIVISION, KW&SB | ----- | ---- | 0.9357 | 6343-21 (Rs.5.50) | NON-ADP | Single Stage One Envelope System | --- | Dec., 2016 | --- | --- |
| 4. | COMPLETE SERVICING / VARNISHING 150KW / 1486 RPM MOTOR (MADE BY SIEMENS AND OVER-HAULING OF DEEP WELL TURBINE) KSB PUMP SET NO.3 I/C REPLACEMENT OF DEFECTIVE (ELECTRICAL / MECHANICAL) PARTS AT N.E.K. PUMP HOUSE (OLD), KW&SB | ----- | ---- | 0.9991 | 6343-25 (Rs.5.50) | NON-ADP | Single Stage One Envelope System | --- | Dec., 2016 | --- | --- |
| 5. | OVERHAULING OF 3-PHASE A.C. ELECTRIC MOTOR TYPE NO.IMP4.314-4 AA64.200H.P/380 VOLTS I/C R/M REPLACEMENT BALL BEARINGS, VALVES AND MFG./FIXING SHAFT, BOWL, IMPELLER, CAST IRON WEARING RINGS ETC. OF (DWT) PUMP SET NO.2 AT N.E.K. (PUMPING STATION) OLD, KW&SB | ----- | ---- | 0.9699 | 6343-21 (Rs.5.50) | NON-ADP | Single Stage One Envelope System | --- | Dec., 2016 | --- | --- |
| 6. | ENGINEERING SERVICING / RECONDITIONING I/C REPLACEMENT OF ALL MOVING AND FIXING CONTACTS OF STAR DELTA STARTER L.T. PANEL MOTOR NO.1 AND REPLACEMENT OF BALL BEARINGS RELAY AND AMMETER AT N.E.K. (PUMPING STATION) OLD, KW&SB. | ----- | ---- | 0.9904 | 6343-25 (Rs.5.50) | NON-ADP | Single Stage One Envelope System | --- | Dec., 2016 | --- | --- |
| 7 | MANUFACTURING / FIXING BRONZE WEARING RINGS & RE-CONDITIONING OF IMPELLER (MAN) PUMP NO.1 & REPAIRING / REPLACEMENT OF OTHER RELEVANT DAMAGED PARTS AT N.E.K. (PUMPING STATION) OLD, KW&SB | ----- | ---- | 0.8890 | 6343-21 (Rs.5.50) | NON-ADP | Single Stage One Envelope System | --- | --- | Jan., 2017 | --- |
| 8 | REPAIRING & RECONDITIONING OF RAW WATER INLET & WASH WATER OUTLET GATE VALVES OF TWINS GRAVITY FILTER BEDS NO.B & F AT NORTH EAST KARACHI, (FILTER PLANT) OLD, KW&SB | ----- | ---- | 0.7573 | 6343-21 (Rs.5.50) | NON-ADP | Single Stage One Envelope System | --- | --- | Jan., 2017 | --- |

ANNUAL PROCUREMENT PLAN FOR THE YEAR 2016- 2017 (Revised-2)

NORTH EAST KARACHI (PUMPING & FILTER) OLD DIVISION, KW&SB

| S. # | DESCRIPTION OF PROCUREMENT | QUANTITY (WHERE APPLICABLE) | ESTIMATED UNIT COST (WHERE APPLICABLE) | ESTIMATED TOTAL COST (In Million Rs.) | FUNDS ALLOCATED (In Million Rs.) | SOURCE OF FUNDS ADP / NON-ADP | PROPOSED PROCUREMENT METHOD | TIMING OF PROCUREMENT 2016-2017 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Q1 | Q2 | Q3 | Q4 |
| 9. | R/MAINTENANCE OF 745 RPM 140FEET DISCHARGE HED PUMP NO.3 AT N.E.K. (OLD) PUMP HOUSE, KW&SB | ----- | ---- | 0.9818 | 6343-25 (Rs.5.50) | NON-ADP | Single Stage One Envelope System | --- | --- | Feb., 2017 | --- |
| 10. | REWINDING OF 90HP ELECTRIC MOTOR / PUMP NO.1 AND REPAIRING REPLACEMENT OF (F/M) DAMAGED PARTS AT N.E.K. (F/P) OLD, KWS&SB | ----- | ---- | 0.9938 | 6343-25 (Rs.5.50) | NON-ADP | Single Stage One Envelope System | --- | --- | Feb., 2017 | --- |
| 11. | ESSENTIAL WORK OF R/M & RE-ENFORCEMENT AND REPLACEMENT OF DAMAGED BROKEN FILTER BEDS NOZZLES OF BED NO.1,3,6 AT N.E.K. (P&F) OLD. | ----- | ---- | 0.9996 | 6343-46 (Rs.1.00) | NON-ADP | Single Stage One Envelope System | --- | --- | Feb., 2017 | --- |
| 12. | ESSENTIAL WORK OF WASHING / SCREENING OF EXISTING FILTER MEDIA & RE-LAYING FILTER BED NO.1 TO 8 NOS. AT N.E.K. FILTER, KW&SB | ----- | ---- | 0.9551 | 6343-26 (Rs.3.50) | NON-ADP | Single Stage One Envelope System | --- | --- | --- | Apr., 2017 |
| 13. | MFG. / FIXING SHAFTS / S.S. PLATE / VALVES / G.I. PIPE & M.S. PIPES FOR 04NOS. FILTER BEDS OPERATIONS SYSTEM AT N.E.K. FILTER PLANT (OLD), KW&SB | ----- | ---- | 0.9448 | 6343-26 (Rs.3.50) | NON-ADP | Single Stage One Envelope System | --- | --- | --- | Apr., 2017 |
| 14. | ESSENTIAL WORK OF R/M OF 11KV H.T. SWITCH GEAR AND CENTRIFUGING OF 630 KVA TRANSFORMER I/C REPLACEMENT OF RELEVANT PARTS AT N.E.K. (FP) OLD, KW&SB | ----- | ---- | 0.9998 | 6343-25 (Rs.5.50) | NON-ADP | Single Stage One Envelope System | --- | --- | --- | May., 2017 |
| 15. | REWINDING OF 10HP / 40HP ELECTRIC MOTOR OF CLARIFIER AND R/M, REPLACEMENT OF WHEELS, CABLES, CONTACTORS RELAYS, BREAKERS, PIPES, VALVES ETC. AND PAINTING WORK AT CLARIFIER NO.A AT N.E.K. (FILER PLANT) OLD, KW&SB | ----- | ---- | 0.9500 | 6343-47 (Rs.1.10) | NON-ADP | Single Stage One Envelope System | --- | --- | --- | May., 2017 |

Resident Engineer

N.E.K. (P&F) Old Division

KW&SB