## Sheet1
ENGINEER,S ESTIMATE
Subject: T18- BASKET BALL COURT FOR SPORTS COMPLEX AT SUKKUR
SUMMERY OF COST
PRICED OF QUANTITIES
Sr # | Description | Schudle Items | Total | Non-Schudle Items | Total
1 | 2 | 3 | 4 | 5 | 6
1 | ConstructionBASKET BALL for sports complex at Sukkur | 6570190.4353 | 6570190.4353 | 4742500 | 4742500
|  | 6570190.4353 | 6570190.4353 | 4742500 | 4742500
Total:- |  |  |  |  | 11312690.4353

## Basket Ball Court
ENGINEER,S ESTIMATE
SCHEDULE ITEMS
Subject: T18- BASKET BALL COURT FOR SPORTS COMPLEX AT SUKKUR
CONSTRUCTION OF BASKET BALL COURT , TOE WALL & TUFF PAVERS
Sr # | Ref # | Description | Unit | QTY. | Composite | Amount (Rs)
1 | 2 | 3 | 4 | 5 | 6 | 7
a. CIVIL WORKS (SCHEDULED ITEMS)
1 | S.I 1-22 P4 | Filling , Watering & Raming earth under floor with new earth (excavation from out side) lead up to one chain and lift upto 5 feet. | %0Cft | 20928 | 3630 | 75968.64
2 | S.I N0 18-92 P.109 | Excavation on foundation or building bridges and other structure including dabbing dressing refilling around structure with excavated earth watering and remming lead up to 5ft. (B) in Ordinary Soil. | 0%Cft | 950 | 3176.25 | 3017.4375
ANTI TERMITE
3 | S.I N0 18-92 P.110 | Providing Anti -termmite treatment by spraying /sprinkling /spreading Neptachlar 0.5% Emulsion as an overall pre -construction treatment in slab type construction under the slab and along attached perches or entrances etc, complete as per directions of Engineer Incharge. | P.Sft. | 14576 | 9.74 | 141970.24
4 |  | CONCRETE
i | S.I N0 4-2 P15 | Dry rammed brick or stone ballast 1 1/2" to 2" gauge. | % Cft | 3342 | 3327.5 | 111205.05
ii | S.I N0 4-4 P15 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge.i) Ratio. 1: 4 :8 | % Cft | 3780 | 9416.28 | 355935.384
iii | S.I N0 4-6 P17 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle.a)R.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects.(I)Ratio (1 : 2: 4 ) 90 Lbs.cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge. (Use SR. Cement) | Per.Cft | 161 | 337 | 54257
iv | S.I N0 4-8b P17 | Fabrication of Tor steel reinforcement for cement concrete including cutting,bending, laying in position, making joints and fastenings including cost of binding wire (also includes removeal of rust from bars.) | Per Cwt | 10 | 5001.7 | 50017
v | S.I N0 4-23 P19 | Providing and laying 1 :3 : 6 Cement concrete solid Block masorany wall above 6" in thickness set in 1 : 6 cement mortar in G.F ground floor superstructure including raking out joints & curing etc, complete. | % Cft | 1229 | 14621 | 179692.09
5 | S.I N0 4-5 P16 | Cement concrete plain including placing compacting, finishing and curing, comlete (including screening and washing at stone aggregate without shuttering. f) Ratio. 1:2 :4 | % Cft | 1705 | 14429.25 | 246018.7125
6 | S.I N0 9-11 P52 | Cement plaster 1:3 upto 12' height. (d) 3/4¦" thick (only for block manosary work) | % Sft. | 2457 | 3191.76 | 78421.5432
7 | S.I N09-38A P56 | Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. | % Sft. | 2457 | 1328.25 | 32635.1025
i | S.I N09-38B P56 | 2nd & subsequent coat. | % Sft. | 2457 | 619.85 | 15229.7145
8 | S.I N0 8-71 P.49 | Providing & fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi I/c filling the joints with hill sand and laying in specified manner /pattern and design etc: complete. | P.Sft | 4990 | 199.77 | 996852.3
9 | S.I N0 10-66(A) P.50 | P/F GI expanded metal 1/8 -20 gauge fixed to chowkats with 3/4" deodar strips and screws. | P.Sft | 1575 | 178.68 | 281421
10 | PHE N0 1 P.30 | Manufacturing supplying and fixing black steel M.S pipe made out of M.S Sheet confirming to API 5L grade x-24 ERW & externaliy asphalt coated with fiber glass 5mm thick & internally CC lining 8mm thick ( AWWA specfication ) i/c laying jointing with hilical welding in trenches including cost of bending of any dagree & testing with water specified pressure for different idas 4.8 mm thick ( 3"dia) | P.Rft | 243 | 746.53 | 181406.79
|  | Total (a) |  |  |  | 2804048.0042
B. (NON-SCHEDULED ITEMS)
1 |  | PLEXIPAVE SPORTS SURFACING SYSTEMS FOR PARATICE BASKET BALL COURTS
| N.S.I | Supply and installation of Plexipave Surfacing system per spec 10.0 on Concrete ( 1-2mm) thickness I) 1 Coat of Acrilyic resurfacer ii) 2 Coats of Colour base and Plexichrome iii) 1 Coat of Plexichrome Finish | SFT | 6615 | 250 | 1653750
MS POLES / NETS
2 | NSI | Supply and fixing of MS poles and nets on Tennis Court of aproved hieght | SET | 1 | 150000 | 150000
3 | NSI | Poles for the light. 25 +5 ft with installation | Each | 4 | 38000 | 152000
4 | NSI | Tango light with wiring and fitting | Each | 12 | 21500 | 258000
|  | Total (b) |  |  |  | 2213750
|  | Total (a+b) |  |  |  | 5017798.0042

## Seating Steps Along Fibre Kenop
ENGINEER,S ESTIMATE
SCHEDULE ITEMS
Subject: T18- BASKET BALL COURT FOR SPORTS COMPLEX AT SUKKUR
Construction of Seating Steps for Basket Ball Court,Change Room and Toilets Block
Sr # | Ref # | Description | Unit | QTY. | Composite | Amount (Rs)
1 | 2 | 3 | 4 | 5 | 7 | 8
a. CIVIL WORKS (SCHEDULED ITEMS)
1 | S.I N0 18-92 P.109 | Excavtion in foundation of Building Bridges and other structures including dagbelling dressing,refilling around structrure with excavated earth Watering and ramming lead upto 5 ft. b) In ordinary soil. | %0Cft | 3280 | 3176.25 | 10418.1
2 | S.I N0 5-29 P.26 | Supplying and filling sand under floor and plugging in walls. | %Cft | 15801 | 1141.25 | 180328.9125
3 | S.I N0 4-4 P15 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge.i) Ratio. 1: 4 :8 | % Cft | 587 | 9416.28 | 55273.5636
4 | S.I N0 4-6 P17 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle.a)R.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects.(I)Ratio (1 : 2: 4 ) 90 Lbs.cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge. (Use SR. Cement) | Per.Cft | 2677 | 337 | 902149
5 | S.I N0 4-8b P17 | Fabrication of Tor steel reinforcement for cement concrete including cutting,bending, laying in position, making joints and fastenings including cost of binding wire (also includes removeal of rust from bars.) | Per Cwt | 133.85 | 5001.7 | 669477.545
6 | S.I N0 4-23 P19 | Providing and laying 1 :3 : 6 Cement concrete solid Block masorany wall above 6" in thickness set in 1 : 6 cement mortar in G.F ground floor superstructure including raking out joints & curing etc, complete. | % Cft | 3520 | 14621 | 514659.2
7 | S.I N0 4-5 P16 | Cement concrete plain including placing compacting, finishing and curing, comlete (including screening and washing at stone aggregate without shuttering. f) Ratio. 1:2 :4 | % Cft | 29 | 14429.25 | 4184.4825
8 | S.I N0 9-11 P52 | Cement plaster 1:3 upto 12' height. (d) 3/4" thick (only for block manosary work) | % Sft. | 8830 | 3191.76 | 281832.408
9 | S.I N09-38A P56 | Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. | % Sft. | 7386 | 1328.25 | 98104.545
10 | S.I N09-38B P56 | 2nd & subsequent coat. | % Sft. | 7386 | 619.85 | 45782.121
11 | S.I N0 30 P94 | Providing & fixing iron grill using solid square bars of size 1/2" x 1/2" placed at 4" including and frame of flat iron patto of 3/4"x 3/4" including and frame of flat iron equivaltent fitted with screws including painting 3 coats with 1 coat red oxide pait etc. | P.Sft | 114 | 194.16 | 22134.24
12 | S.I N0 25 P43 | Laying floors of approved coloured glazed tiles 1/4" thick laid white cement and pigment on a bed 3/4" thick cement mortar 1:2 | %Sft | 614 | 27747 | 170366.58
13 | S.I N09-40A P56 | Preparing the surface and painting with plastic emulsion paint of approved make I/c rubbing the surface with sand Paper, filling the voids with chalk / plaster of paris and then painting etc. complete. | % Sft. | 5825 | 1080.75 | 62953.6875
14 | S.I N09-40B P56 | 2nd & subsequent coat. | % Sft. | 5825 | 578.6 | 33703.45
15 | S.I N0 18-84 P108 | Supplying & fixing in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminium fly screen I/c handles stoppers & locking arrangement etc. complete. | P. Sft. | 80 | 1647.69 | 131815.2
15.1 | S.I N0 10-7a P58 | Fist class deodar wood wrought, joinery in doors and windows etc, fixxed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords eith hooks, etc Deodar panelled or panelled and glazed or fully glazed. (a) 2" thick | P. Sft. | 133 | 1336.59 | 177766.47
15.2 | S.I N0 17-29 P93 | Providing and fixing G.I frames/ Choukhats of size 7"x2" or 4 1/2" x 3" for door using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cemetn sand slurry or ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing. | P. Rft. | 560 | 228.9 | 128184
15.3 | S.I N0 10-60 P66 | Providing and fixing with sunk iron screws wooden Architrave approved design/shape having width not less thean 2- 1/2 inches as directed by Engineer Incharge. | P. Rft. | 560 | 49.97 | 27983.2
15.4 | S.I N0 10-21 P60 | Providing and fixing approved quality mortice lock. | Each | 14 | 1786.13 | 25005.82
16 | S.I N0 04(c) P68 | Painting Doors and Windows Any. (i) First coat. | % Sft. | 560 | 657.91 | 3684.296
|  | (ii)Second coat. | % Sft. | 560 | 502.15 | 2812.04
17 | PHE 4-1 P03 | Providing G.I Pipes, specials, and clamps etc, including fixing cutting & fitting complete with and I/c the cost of breaking thorugh walls and roof, making good etc. painting two coats after cleaning the Pipe etc. with white zink paint with pigment to match the colour5 of the building and testing with water to a pressure head of 200 feet and handling.ii) 3/4" dia Gi Pipe. | Rft | 80 | 95.79 | 7663.2
18 | PHE 1-13 P02 | Providing & fixing 22" x 16" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into walls, painted white in 2 coats after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or c.p. ba]rass traps, malloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement cencrete 1:2:4 (Foreign or Equiivalant). | Each | 2 | 6237 | 12474
19 | PHE 1-3 P02 | Providing and fixing orisa type white or colour glazed earthen ware w.c pan with cost of low level plastic flush tank of 3 gallons capacity of approved quality i8/c making requisite number of holes in wall, plainth & floor and making good in cement concrete 1: 2: 4.W.C pan orisa type 23" with plastic tank of low down 3 gallons C.I trap & C.I thumble (Superior Quality).(ii) With 4" dia earthen ware trap and plastic thumble. | Each | 1 | 5836 | 5836
20 | PHE 1-4 P02 | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with c.P brass hineges and buffers, 3 gallons white glazed earthen earthen ware low level foushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls, plinth and floor for Pipe connectios and making good in cement concerete 1: 2: 4. (Foreign Quality). | Each | 1 | 5339.4 | 5339.4
21 | PHE 13 P19 | Supply and fixing long bib cock os superior quality with c.p head 1/2: dia. | Each | 6 | 1109.46 | 6656.76
22 | PHE 11b P18 | Supply and fixing cancealed stop cock of superior quality with C.P head 1/2" dia | Each | 4 | 509.74 | 2038.96
23 | PHE 14 P19 | Supply and Fixing wash basin mixture of superior quailty with C.P head 1/2" dia. | Each | 2 | 3179 | 6358
24 | PHE 19a P19 | Suplying and fixing the muslim shower with double bib cock and ring pipe etc complete | Each | 2 | 3432 | 6864
25 | PHE 23 P19 | Supply and fixing the bath room accessories set (7 piecies ) towel rod,brush holder, soap tray shelf of approved design including cost of screws nuts etc complete (Master Brand) | Each | 2 | 10322 | 20644
26 | S.I N0 10-8 P58 | Providing and fixing in position , doors ,windows and ventilator of 2" x2"x1/4" angle iron frame and 3/4" thick Commercial ply wood veneer shutters of deodar wood (3 ply) on both sides, including hold fasts, cheats,iron towe bolts handles. Hinges and one mortic lock, | P.Sft | 147 | 933.75 | 137261.25
27 | S.I N0 123 P15 | Wirirng for light or fan point with 3/0.029 PVC insulated eore in 20mm (3/4") PVC conduit on surface as required. | P.Point | 4 | 797 | 3188
28 | S.I N0 123 P16 | Supply and fixing pf tube light 60 watts complete in all respects ( Philiphs or equivlent) | Each | 4 | 800 | 3200
|  | Total (a) |  |  |  | 3766142.4311
(NON-SCHEDULED ITEMS)
1 |  | FIBRE KENOPY
| N.S.I | Supply and fixing of fibre glass truss 5mm thick od fibre glass including all truss work weather proof extra after soating weather resistant warranty 55 ͦC and -03 ͦ warranty of fibre glass 10 years. | Sft | 2975 | 850 | 2528750
|  | Total (b) |  |  |  | 2528750
|  | Total (a+b) |  |  |  | 6294892.4311

## Drain
ENGINEER,S ESTIMATE
SCHEDULE ITEMS
Sr # | Ref # | Description | Unit | QTY. | Market Rate | Amount (Rs)
1 | 2 | 3 | 4 | 5 | 7 | 8
1 |  | Providing / Supplying of 1 No Bowser size 10 x 4.0 x 5.50 5mm sheet complete with tyre rim etc | P.No | 1
2 |  | P/Supplying of hydrolic trolly size 13.0 x 6.50 x 1.50 5mm sheet complete with tyre rim etc | P.No | 1
3 |  | P/Supplying of messy tractor 33375 H.P Millat | P.No | 1
Total (a)
| CONTRCTOR |  |  |  | PROJECT DIRECTOR
SPORTS COMPLEX SUKKUR