## 1
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 255) Up-Gradation of Middle School to High Schools (230-Units) & High Schools to Higher Secondary Schools (115-Units) in Sindh 2007-08 Programme District Sanghar (20-Units) @ GMS. Shah Baig Mari (M.S to H.S) Taluka Tando Adam.
S.# | Items of Work | Quantity | Rate | Unit | Amount
PART-A CIVIL WORK.
1 | Cement concreate brick or stone ballast 1:1/2"to2" guage ratio 1:5:10 (S.I.No.4/ P.No.16). | 822 | 8694.95 | %Cft | 71472
2 | Pacca brick work in foundation and plinth in cement sand mortor ratio 1:6 (S.No.4(e) P.No.20). | 201 | 11948.36 | %Cft | 24016
3 | R.C.C work in/c all labour and material except the cost of steel reniforcement and its labour for bending bimding wwich will be paid sepretely. This rate also i/c all kinds of forms moulds lifting shuttering curing rendering washing of shingle surface. (a) R.C.C work in roof slabs. Beams, collums, rafts, lintels and other structural members laid situ or precast laid in position ,complete in all respects ratio 1:2:4 (S.I.No.6(A) P.No.16). | 2008 | 337 | P.Cft | 676696
4 | Fabrication of mild steel reniforcement for concreat i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also removal of rust from bars (S.I. No.7. P.20). | 107.57 | 5001.7 | P.Cwt | 538033
5 | Bitumen coating over plasterd surface(S.No:9P/77) | 924 | 187.56 | %Sft | 1733
6 | Pacca brick work in g/floor i/c in strucking of joints in cement sand ratio 1:6. (S.I.No 5 P.24). | 4243 | 12674.36 | %Sft | 537773
7 | Cement Plaster 1:6 upto 20"height (b) 1/2" thick.(S.I.No.13(b) P.No.57). | 8915 | 2206.6 | %Sft | 196718
8 | Cement Plaster 1:4 upto 20"height (c) 3/8" thick.(S.I.No.11 P.No.51). | 8915 | 2197.52 | %Sft | 195909
9 | Cement Plaster 1:4 upto 20"height (c) 3/4" thick.(S.I.No.11 P.No.58). | 206 | 3015.76 | %Sft | 6212
10 | Extera Labour rate making cement Plaster Pattas/Bend around stringht covered opening and around the edges of roof slabs the width not less then 6"with the fine finishing. (S.I.No:-35.P/54) | 412 | 19.36 | P.Sft | 7976
11 | Cement pointing struct joints on walls (1:2).(S.No.:19/P.58) | 1305 | 1287.44 | %Sft | 16801
12 | P/F G.I ftames/chowkets of size 7"x2" or 4 1/2 "x3" for Doors desigen 20 guage G.I sheet G.I sheet i/c welded hinges and fixing at stie with necessary bold fasts, filling with cement sand salry of ratio 1:6 and reparing the jambs. The cost also i/c all ca | 122 | 228.9 | P.Rft | 27926
13 | P/F G.I ftames/chowkets of size 7"x2" or 4 1/2 "x3" for Windows desigen 20 guage G.I sheet G.I sheet i/c welded hinges and fixing at stie with necessary bold fasts, filling with cement sand salry of ratio 1:6 and reparing the jambs. The cost also i/c all | 284 | 240.5 | P.Rft | 68302
14 | S/F in position of iron steel grill of 3/4 x1/4" of size flate iron of desigen i/c panting 3 coats etc complete (weight not to be less tha 37 Ibs /Sft finished grill) (S.I. No. 26 P.97). | 171 | 180.5 | P.Sft | 30866
15 | Notice Board made with Cement Sand. (S.No: 1 P/100). | 108 | 58.11 | P.Sft | 6276
16 | P/F Ornamental Cerment jali 3"thick lower type size (12"x12") with fixing cement sand mortor ratio 1.3 complete as directed by the Engineer Incharge. (S.I No:-11.P/17). | 253 | 226.02 | P.Sft | 57183
17 | First class Deodar wood wrought joinery in doors and Windows etc fixed in position i/c chowkates, hold fasts hinges iron tower bolts, Cleads, handles and cords with hooks etc deaodar paneld or paneled and glazed or fully glazed 1: 3/4" thick. (S.I.No.7(b) | 297 | 902.93 | P.Sft | 268170
18 | Making & fixing grating in opening including fixing at site with flat iron 2" x 3/8" and 3/4" sq. bars at 4" centre to centre (S.No:25/P-92) | 66 | 293.15 | P.Sft | 19348
19 | Hard wood railing of any shape and desgin i/c bend and corners complete i/c polishing complete etc as directed incharge (S.No:30/P69) | 24 | 1080.2 | P.Sft | 25925
20 | Cement concrete plain including placing compacting, finishing and curing, comlete (including screening and washing at stone aggregate without shuttering. 1:2:4 ratio (S.No:05/P.14) | 271 | 14429.25 | % Cft | 39103
21 | Extra labour for making groves pf 1-1/4 or plastered surface with true edges with vertically horzintally with uniforms depth & with groves as per instrucation of Engineer Incharges (S.No:34/P.51) | 657 | 3.54 | P.Sft | 2326
22 | Laying White marbal flooring fin dressed on the surface without winding set lime mortor 1:2 including rubbing and polishing of joints. 3/4"thick. (S.I.No. 28P.No.49). | 2143 | 567.48 | P.Sft | 1216110
23 | P/F 3/8" Thick marbal tiles of approved quality and colour shade size 8"x4/6"x4" in dado skirting and facing removal tucking of existing plaster surface etc over 1/2" thick base of cement bortor 1/3 setting mortor base i/c filling the joints and washing the tiles with white cement slurry curent finishing cleaning and polishing etc complete. (S.I.No.68(ii) P.No.55). | 224 | 186.04 | P.Sft | 41673
24 | Laying floor approved with glazed tiles 1/4 thick in white cement 1:2 grey cement sand martor 1:2 complete (S.No:24/P.48) | 62 | 27678.86 | %Sft | 17161
25 | White glazed tiles 1/4thick dado jointed in white cement and laid over 1:2 cement sand martor 1thick i/c finishing (S.No:38/P.) | 158 | 28253.61 | %Sft | 44641
26 | P/L cement concreat toping 1:2:4 ratio i/c surface finishing and dividing into panneles. 2"thick (S.I.No.16 P.No.47). | 3244 | 3275.5 | %Sft | 106257
27 | Two coat of bitmanlaid hot using 34lbs for %sft over roof and handling with sand one cft per Sft.(S.I.No.13/P.34) | 3244 | 1887.4 | %Sft | 61227
28 | First class deodar wood wrought joinery work in wire guaze door & windows with 22 S .W .G Galvanized wire gauze 144 mash per square inch iron fittings complete. d Galvanized wire guaze fixed to chowkats with 3/4 deodar wood stips and screws (S.I .NO44dP59) | 108 | 190.72 | P.Sft | 20598
29 | White wash three coatas.(S.I.No.26/P.53). | 3244 | 829.95 | %Sft | 26924
30 | Primary coat of chalk under distempring.(S.I.No.23/P.53). | 7871 | 442.75 | %Sft | 34849
31 | Distempering three coats.(S.I.No.23/P.53). | 7871 | 1079.65 | %Sft | 84979
32 | Preparing the surface and panting with weather coat i/c rubbing the surface with rubbing brick / sand paper filling the voids with chalk/plaster of pairs and then panting with weather coat of approved make.(New Surface). (S.I.No.38(a) P.55) | 1305 | 1328.25 | %Sft | 17334
33 | Collour wash Two coatas.(S.I.No.25(b)/P.60). | 1305 | 1303.17 | %Sft | 17006
34 | Preparing surface panting Doors and windows any type i/c edges 3 coats.New surface.(S.I.No.06/P.76). | 630 | 1662.21 | %Sft | 10472
35 | Preparing panting of Guard bars gates iron bars gratting raling i/c standards bracess and similar open work thrtee coats.New Surface. (S.No:5/P.76) | 406 | 977.4 | %Sft | 3968
36 | P/L Hala patern tiles 6"x6"x1/4" on floor or wall facing in required colour and pattern of specification jointed in white cement and pigment over a base of 1:2 greycement mortor 3/4"thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile. (S.I.No.61. P.No.54). | 258 | 47651.56 | %Sft | 122941
|  |  | Total Part A" |  | 4644904
PART- B : PLUMBING WORKS
1 | Providing and fixing squatting type while glazed of flushing cistern with internal fitting & flush pipe with bend and making requisite numbers of holes in wall plinth & floor for pipe connection & making good in cement concreat 1:2:4 W.C With 4"dia earthen ware trap and plasic thumble. (S.No:1/P.01) | 2 | 5486.8 | P.Rft | 10974
2 | Providing R.C.C pipes and collars of class B and fitting in treach i/c cutting fitting and jointing with maxphalt composition and cement mortor 1:1 i/c testing with water preasure to a head of 4"feet above the top of the height pipe and refilling with ex
a | 4"dia | 6 | 146.57 | P.Rft | 879
b | 6"dia | 6 | 199.25 | P.Rft | 1196
3 | Providing G.I pipe special and clamps etc i/c fixing cutting and fittings complete with and i/c the cost of breking through walls and roof making good etc painting two coats the collour of the building and testing with water preasure head of 200 feet and
a | 1/2"dia | 40 | 73.21 | P.Rft | 2928
b | 3/4"dia | 30 | 95.79 | P.Rft | 2874
c | 1"dia | 10 | 128.55 | P.Rft | 1286
d | 1-1/4"dia | 70 | 155.27 | P.Rft | 10869
4 | P/F Handel Valves (China). (S.No:07/P,14)
a | 1/2"dia | 2 | 200.42 | Each | 401
b | 3/4"dia | 2 | 271.92 | Each | 544
5 | P/F Cancealed stop cock of superior quality with c.p head 1/2"dia. (S.No:13(a)/P.15). | 3 | 889.46 | Each | 2668
6 | P/F Cancealed long cock of superior quality with c.p head 1/2"dia. (S.No:13(a)/P.15). | 3 | 1109.46 | Each | 3328
7 | P/F In position Nylon connections of complete with 1/2"dia brass stop cock with pair of brass nuts and lining joints to nylon conection. (S.No:23/P06). | 3 | 447.15 | Each | 1341
8 | Providing and fixing 22"x16"lavatory basin in white glazed earthen ware complete cwith and including the cost of WI or CI cantilever brackets 6"built into walls, pantinted white in two coat of red lead paint a pair of 1/2"dia CI dia chrome (S.I.No:12.P/4) | 1 | 4694.8 | Each | 4695
9 | Add Extera for Labour for providing and fixing earthen ware padistal white or coloured glazed.(S.I.No11.p/3) | 1 | 2533.47 | Each | 2533
10 | P/F 6x"2" or 6"x3" C.I Floor trip of the Approved seld cleaning down etc | 3 | 2042.43 | Each | 6127
11 | Providing and installing hand pump with all accessories 1-1/2"dia coir strainer with wooden shoe i/c boring fitting fixing etc complete.(R.A Approved).
a | Filter Pipe | 10 | 76.05 | P.Rft | 761
b | Boring Pipe | 70 | 38.95 | P.Rft | 2727
12 | S/F Approved quality motor pump set singel phase motor 1.00 H.P etc Complete 1:2:4 Plate from i/c fitting with C.I nuts and bolts.(R.A Approved). | 1 | 18470 | Each | 18470
13 | S/F Swan type Piller Cock of Superior Quality C.P head (S.I.No:18(b) P/16) | 1 | 795.3 | Each | 795
14 | Providing Chamber 15"x19" inside Dimantion 24" depth for homes meters etc | 2 | 5913.22 | Each | 11826
15 | tion of manhole or inspection chamber for the required dia of circular sewer and 3-6"(1067 mm) depth with wallas of BB in Cement mortor 1:3 cement plaster 1:3 1/2"thick inside of walls and l"(250mm) thick over benching and channel fixing 1"(25. a) | 1 | 14748 | Each | 14748
16 | P/F Steel Stainless local make Complete with cast iron or wrought iron bracket 6 inches bulit in wall, 1-1/2" rubber plug chorme plate brass chaina 1-1/2" C.p brass Waste. With 1-1/2" PCV Waste pipe and making requisite number of holes in walls & plinth a | 1 | 5052.3 | Each | 5052
17 | P/F U.P.V.C. P Trap 4"x4" dia Grade-I (AGM or equivilent) i/c Cutting, Fitting, with collars, clamps and rubber solvent. This rate also i/c making holes in walls, plinth, floor and roof for fixing pipe and making good in c.c. 1:2:4 Testing presure head 20 | 2 | 1340 | Each | 2680
18 | P/F U.P.V.C. Floor Trap 4"x4" dia Commode trap dia grade-I (AGM or equivilent) i/c Cutting, Fitting, with collars, clamps and rubber solvent. This rate also i/c making holes in walls, plinth, floor and roof for fixing pipe and making good in c.c. 1:2:4 Te | 2 | 914 | Each | 1828
19 | P/F U.P.V.C. Soil & Vent Pipe AGM make of Approved Quality on Walls & in C.C Flooring Working upto 90"fit Height jointing with UPVC fitting by using Approved paste/solution making good etc. complete as per instruction of the Engineer Incharge Rate i/c. Al | 3 | 350 | Each | 1050
20 | P/F U.P.V.C. Branch 4"x4" dia with Acess door, grade-I (AGM or equivilent) i/c Cutting, Fitting, with collars, clamps and rubber solvent. This rate also i/c making holes in walls, plinth, floor and roof for fixing pipe and making good in c.c. 1:2:4 Testin | 3 | 1199 | Each | 3597
| B" Filter | 20 | 76.05 | P.Rft | 1521
|  |  | Total Pat-B | Rs. | 121889
|  |  | Total A+B | Rs. | 4766793
|  |  | Cost of Carriage | Rs. | 403352
|  |  | G:Total | Rs | 5229000
|  |  | Say | Rs | 5.229
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 2
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 255) Up-Gradation of Middle School to High Schools (230-Units) & High Schools to Higher Secondary Schools (115-Units) in Sindh 2007-08 Programme District Sanghar (20-Units) @ GHS. Mullan Makhan (High to H.Sec) Taluka Tando Adam.
S.# | Items of Work | Quantity | Rate | Unit | Amount
PART-A CIVIL WORK.
Part-A (Foundation)
1 | Cement concreate brick or stone ballast 1:1/2"to2" guage ratio 1:4:8 (S.I.No.4/ P.No.16). | 3117 | 9416.28 | %Cft | 293505
|  |  |  | Total : | 293505
Part-B (Ground Floor)
1 | R.C.C work in/c all labour and material except the cost of steel reniforcement and its labour for bending bimding wwich will be paid sepretely. This rate also i/c all kinds of forms moulds lifting shuttering curing rendering washing of shingle surface. (a) R.C.C work in roof slabs. Beams, collums, rafts, lintels and other structural members laid situ or precast laid in position ,complete in all respects ratio 1:2:4 (S.I.No.6(A) P.No.16).
a | 1:1-1/2:3 Ratio | 956 | 349 | P.Cft | 333644
b | 1:2:4 Ratio | 7252 | 337 | P.Cft | 2443924
2 | Fabrication of mild steel reniforcement for concreat i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also removal of rust from bars (S.I. No.7. P.20). | 329.79 | 5001.7 | P.Cwt | 1649511
3 | Pacca brick work in g/floor i/c in strucking of joints in cement sand ratio 1:6. (S.I.No 5 P.24). | 8283 | 12674.36 | %Sft | 1049817
4 | Cement Plaster 1:6 upto 20"height (b) 1/2" thick.(S.I.No.13(b) P.No.57). | 17598 | 2206.6 | %Sft | 388317
5 | Cement Plaster 1:4 upto 20"height (c) 3/8" thick.(S.I.No.11 P.No.51). | 17598 | 2197.52 | %Sft | 386720
6 | Cement pointing struct joints on walls (1:2).(S.No.:19/P.58) | 4466 | 1287.44 | %Sft | 57497
7 | P/F G.I ftames/chowkets of size 7"x2" or 4 1/2 "x3" for Doors desigen 20 guage G.I sheet G.I sheet i/c welded hinges and fixing at stie with necessary bold fasts, filling with cement sand salry of ratio 1:6 and reparing the jambs. The cost also i/c all ca | 294 | 228.9 | P.Rft | 67297
8 | P/F G.I ftames/chowkets of size 7"x2" or 4 1/2 "x3" for Windows desigen 20 guage G.I sheet G.I sheet i/c welded hinges and fixing at stie with necessary bold fasts, filling with cement sand salry of ratio 1:6 and reparing the jambs. The cost also i/c all | 1245 | 240.5 | P.Rft | 299423
9 | First class Deodar wood wrought joinery in doors and Windows etc fixed in position i/c chowkates, hold fasts hinges iron tower bolts, Cleads, handles and cords with hooks etc deaodar paneld or paneled and glazed or fully glazed 1: 3/4" thick. (S.I.No.7(b) | 842 | 902.93 | P.Sft | 760267
10 | S/F in position of iron steel grill of 3/4 x1/4" of size flate iron of desigen i/c panting 3 coats etc complete (weight not to be less tha 37 Ibs /Sft finished grill) (S.I. No. 26 P.97). | 456 | 180.5 | P.Sft | 82308
| Cement concrete plain including placing compacting, finishing and curing, comlete (including screening and washing at stone aggregate without shuttering. 1:2:4 ratio (S.No:05/P.14) | 914 | 14429.25 | % Cft | 131883
| P/L cement concreat toping 1:2:4 ratio i/c surface finishing and dividing into panneles. 3"thick (S.I.No.16 P.No.47) | 5059 | 4411.82 | %Sft | 223194
| P/L cement concreat toping 1:2:4 ratio i/c surface finishing and dividing into panneles. 2"thick (S.I.No.16 P.No.47). | 1524 | 3275.5 | %Sft | 49919
| Laying White marbal flooring fin dressed on the surface without winding set lime mortor 1:2 including rubbing and polishing of joints. 3/4"thick. (S.I.No. 28P.No.49). | 2268 | 567.48 | P.Sft | 1287045
| P/F 3/8" Thick marbal tiles of approved quality and colour shade size 8"x4/6"x4" in dado skirting and facing removal tucking of existing plaster surface etc over 1/2" thick base of cement bortor 1/3 setting mortor base i/c filling the joints and washing the tiles with white cement slurry curent finishing cleaning and polishing etc complete. (S.I.No.68(ii) P.No.55). | 277 | 186.04 | P.Sft | 51533
| Laying floor approved with glazed tiles 1/4 thick in white cement 1:2 grey cement sand martor 1:2 complete (S.No:24/P.48) | 180 | 27747.06 | %Sft | 49945
| White glazed tiles 1/4thick dado jointed in white cement and laid over 1:2 cement sand martor 1thick i/c finishing (S.No:38/P.) | 580 | 28299.3 | %Sft | 164136
| Notice Board made with Cement Sand. (S.No: 1 P/100). | 200 | 58.11 | P.Sft | 11622
| First class deodar wood wrought joinery work in wire guaze door & windows with 22 S .W .G Galvanized wire gauze 144 mash per square inch iron fittings complete. d Galvanized wire guaze fixed to chowkats with 3/4 deodar wood stips and screws (S.I .NO.44(d)P/59) | 49 | 190.72 | P.Sft | 9345
| Hard wood railing of any shape and desgin i/c bend and corners complete i/c polishing complete etc as directed incharge (S.No:30/P69) | 28 | 1080.2 | P.Sft | 30246
| P/F Aluminum sheet 6" to 9" with V-Notch for expension joints i/c fixing with naila screw.(S.No:87/P.115) | 39 | 207.51 | P.Sft | 8093
| Providing & placing in position chip board 3/4"thick for filling spaces between expension joints building.(S.No:93/P,116) | 13 | 43.26 | P.Sft | 562
| White wash three coatas.(S.I.No.26/P.53). | 8810 | 829.95 | %Sft | 73119
| Primary coat of chalk under distempring.(S.I.No.23/P.53). | 17598 | 442.75 | %Sft | 77915
| Distempering three coats.(S.I.No.23/P.53). | 17598 | 1079.65 | %Sft | 189997
| Preparing surface panting Doors and windows any type i/c edges 3 coats.New surface.(S.I.No.06/P.76). | 1564 | 1662.21 | %Sft | 25997
11 | P/L Hala patern tiles 6"x6"x1/4" on floor or wall facing in required colour and pattern of specification jointed in white cement and pigment over a base of 1:2 greycement mortor 3/4"thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile. (S.I.No.61. P.No.54). | 385 | 47651.56 | %Sft | 183459
|  |  |  | Total : | 9793230
Part-C (Frist Floor)
1 | Pacca brick work in g/floor i/c in strucking of joints in cement sand ratio 1:6. (S.I.No 5 P.24). | 2993 | 12674.36 | %Cft | 379344
| R.C.C work in/c all labour and material except the cost of steel reniforcement and its labour for bending bimding wwich will be paid sepretely. This rate also i/c all kinds of forms moulds lifting shuttering curing rendering washing of shingle surface. (a) R.C.C work in roof slabs. Beams, collums, rafts, lintels and other structural members laid situ or precast laid in position ,complete in all respects ratio 1:2:4 (S.I.No.6(A) P.No.16). | 2928 | 337 | P,Cft | 986736
| Fabrication of mild steel reniforcement for concreat i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also removal of rust from bars (S.I. No.7. P.20). | 117.64 | 5001.7 | P.Cwt | 588400
|  |  |  | Total : | 1954480
PART D" WATER SUPPLY & SANITARY FITTING
1 | Providing and fixing squatting type while glazed of flushing cistern with internal fitting & flush pipe with bend and making requisite numbers of holes in wall plinth & floor for pipe connection & making good in cement concreat 1:2:4 W.C With 4"dia earthen ware trap and plasic thumble. (S.No:1/P.01) | 4 | 5486.8 | P.Rft | 21947
2 | Providing R.C.C pipes and collars of class B and fitting in treach i/c cutting fitting and jointing with maxphalt composition and cement mortor 1:1 i/c testing with water preasure to a head of 4"feet above the top of the height pipe and refilling with ex
a | 4"dia | 10 | 146.57 | P.Rft | 1466
b | 6"dia | 20 | 199.25 | P.Rft | 3985
3 | Providing G.I pipe special and clamps etc i/c fixing cutting and fittings complete with and i/c the cost of breking through walls and roof making good etc painting two coats the collour of the building and testing with water preasure head of 200 feet and
a | 1/2"dia | 70 | 73.21 | P.Rft | 5125
b | 3/4"dia | 50 | 95.79 | P.Rft | 4790
c | 1"dia | 10 | 128.55 | P.Rft | 1286
d | 1-1/4"dia | 90 | 155.27 | P.Rft | 13974
4 | P/F Handel Valves (China). (S.No:07/P,14)
a | 1/2"dia | 2 | 200.42 | Each | 401
b | 3/4"dia | 2 | 271.92 | Each | 544
5 | P/F Cancealed stop cock of superior quality with c.p head 1/2"dia. (S.No:13(a)/P.15). | 4 | 889.46 | Each | 3558
6 | P/F Cancealed long cock of superior quality with c.p head 1/2"dia. (S.No:13(a)/P.15). | 4 | 1109.46 | Each | 4438
7 | P/F In position Nylon connections of complete with 1/2"dia brass stop cock with pair of brass nuts and lining joints to nylon conection. (S.No:23/P06). | 6 | 447.15 | Each | 2683
8 | Providing and fixing 22"x16"lavatory basin in white glazed earthen ware complete cwith and including the cost of WI or CI cantilever brackets 6"built into walls, pantinted white in two coat of red lead paint a pair of 1/2"dia CI dia chrome (S.I.No:12.P/4) | 2 | 4694.8 | Each | 9390
9 | Add Extera for Labour for providing and fixing earthen ware padistal white or coloured glazed.(S.I.No11.p/3) | 2 | 2533.47 | Each | 5067
10 | P/F 6x"2" or 6"x3" C.I Floor trip of the Approved seld cleaning down etc | 2 | 2042.43 | Each | 4085
11 | Providing and installing hand pump with all accessories 1-1/2"dia coir strainer with wooden shoe i/c boring fitting fixing etc complete.(R.A Approved). | 2
a | Filter Pipe | 10 | 76.05 | P.Rft | 761
b | Boring Pipe | 90 | 38.95 | P.Rft | 3506
12 | S/F Approved quality motor pump set singel phase motor 1.00 H.P etc Complete 1:2:4 Plate from i/c fitting with C.I nuts and bolts.(R.A Approved). | 1 | 18470 | Each | 18470
|  |  | Total Pat-D | Rs. | 110173
|  |  | Carriage | Rs. | 716056
|  |  | G:Total | Rs | 12867444
|  |  | Say | Rs | 12.8674
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 3
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 257) Rehabilitation of existing High / Higher Secondary Schools in Sindh 2008-09 Programme District Sanghar (11-Units) @ GBHSS. Bhit Bhaiti (West Wing Balance Work) Taluka Khipro.
S.# | Items of Work | Quantity | Rate | Unit | Amount
PART-A CIVIL WORK.
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | 982 | 3327.5 | %Cft | 32676
2 | Removing cement palster from walls (S.I.No. 53 P-13) | 8325 | 121 | %Sft | 10073
3 | Removing window with chowakts (S.I.No 33-b- P.No 12) | 27 | 102.85 | P.No. | 2777
4 | Removing Doors with chowakts (S.I.No 33-a- P.No 12) | 9 | 142.18 | P.No. | 1280
5 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 384 | 3176.25 | %0Cft | 1220
6 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) | 1299 | 8694.95 | %Sft | 112947
7 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 131 | 11948.36 | %Cft | 15652
8 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 52 | 337 | P.Cft | 17524
9 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | 2.32 | 5001.7 | P.cwt | 11604
10 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 14204 | 2206.6 | %Sft | 313425
11 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 25528 | 2197.52 | %Sft | 560983
12 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . | 765 | 14429.25 | %Cft | 110384
13 | Providing and Laying Vero Marble 3/4" Thick 12"x12"x3/4" in laid over 3/4" thick morter etc complete (R.A) | 5429 | 307 | P.Sft | 1666703
14 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) | 347 | 27747.06 | %Cft | 96282
15 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) | 966 | 28299.3 | %Cft | 273371
16 | Providing and laying Hala or astern tile glazed 8”x8” x ¼” on floor wall i/c in required colour and pattern of stile specification joint in whit cement pigment over a base of 1.2 grey cement marter ¾” thick i/c washing and filling of joints with slarry of | 256 | 34520.31 | %Sft | 88372
17 | Providing and Lying 3" thick C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-B-P.No 41) 3" Thick | 4421 | 4411.82 | %Sft | 195047
18 | Cement Plaste 3/4" thick (1:4) ratio ( S.I.No 13 (d) P.No 5) | 842 | 3015.76 | %Sft | 25393
19 | Two Coat of Bitumen laid hot using 34 Lbs for % Sft over roof and blinded with sand at one C.ft Per % Sft (S.I.No 13 P.No 34) | 8320 | 1887.4 | %Sft | 157032
20 | Providing and Fixing G.I Frames / Chowkats of size 7" x 2" 4-1/2" x 3" for door and window using 20" guage G.I sheet i/c welded hinges and fitting (S.I.No 28 P.No 92)
| A Door | 162 | 228.9 | P.Sft | 37082
| B Window | 630 | 240.52 | P.Sft | 151528
21 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) | 290 | 180.5 | P.Sft | 52345
14 | First Class Deodar wood wrought joinery in door and etc fixed in position i/c chowkats, holds fasts hinges iron tower bolts, handles cords with books etc deodar panled or paneled and glaze or fully glazed 1:3/4" thick (S.I.No 7 (b) P.No 57) ( Only Shulter) | 163 | 902.93 | P.Sft | 147178
15 | White washing 3 coats (S.I.No 26-C-P.No 53) | 6528 | 829.95 | %Sft | 54179
16 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | 25528 | 442.75 | %Sft | 113025
38 | Distempering 3 Coats (S.I.No 24-C-P.No 53) | 25528 | 1079.65 | %Sft | 275613
23 | Preparing Painting Door and windows New Surface (S.I.No …….. P.No………) | 815 | 2116.41 | %Sft | 17249
24 | Preparing / Painting guard bars Old Surface (S.I.No 5-D-P.No 69) | 476 | 674.6 | %Sft | 3211
25 | Colour wash 3 coats ( S.I.No 25 P.No 53) | 1950 | 1303.13 | %Sft | 25411
26 | Making notice Board with cement (S.I.No 2 P.No 94) | 432 | 58.11 | P.Sft | 25104
27 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tils in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, currient finishing cleaning and (New work) (S.I.No 68 P.No 48) | 530 | 186.04 | P.Sft | 98601
28 | Preparing the surface and painting with Weather Coat of approved make to New weather coat surface (S.I.No: 38-B-P.No: 55) | 1512 | 1328.25 | %Sft | 20083
|  |  |  | Total | 4713354
PART B" WATER SUPPLY & SANITARY FITTING
1 | P/F: squanting eurptan type white glazed earthenware W.C Pan with from inlet complete with & i/c the cost of flusing elsiem with internal fitting and flushing pipe bedn and making requisite number of holes wass plinth and floor pipe clear for connection & making good in cement conrcrete 1:2:4 with 4" dia (S.I.No: 1 (ii) P.No: 1) | 9 | 5044.6 | Each | 45401
2 | P/F: Nyloon connection 1/2" dia complete with bracess stop cook with pair of brass nuts and linding joints tonyloon connection (S.I.No: 23 P.No: 6) | 9 | 447.15 | Each | 4024
3 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio | 9 | 2024.42 | Each | 18220
4 | S/F: concaled stop cock of superior quality with C.P head 1/2" dia (S.I.No: 7 (a) P.15) | 9 | 478.28 | Each | 4305
5 | S/F: long bib cock of superier quality with 1/2" thick c.p head | 18 | 337.92 | Each | 6083
6 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling.
| a)---do--- 1/2" dia | 400 | 73.2 | P.Rft | 29280
| b)---do--- 3/4" dia | 250 | 95.79 | P.Rft | 23947.5
7 | S/F 4" dia C.I termical guard i/c extra painting t match the colour of the building (S.I.No 11 P.No 9) | 4 | 333.29 | Each | 1333
8 | S/F 4" dia C.I termical guard i/c extra painting t match the colour of the building (S.I.No 11 P.No 9) | 2 | 389.7 | Each | 779
9 | Providing and Fixing handle valves (Chaina) (S.I.No 7 P.No 14)
| i) 1/2" dia | 8 | 200.42 | Each | 1603
| ii) 3/4" dia | 4 | 271.92 | Each | 1088
10 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No: 3 P.No: 21)
| a) 4" dia | 50 | 146.57 | P.Rft | 7329
| b) 6" dia | 50 | 199.25 | P.Rft | 9963
11 | Providing and fixing water pump set 1HP superior quality piston pumping set single phase II /4x1/4" suction and delivery load make | 2 | 18470 | Each | 36940
12 | Providing UPVC pipe class "D" (S.I.No 6 P.No24) | 500 | 12 | P.Rft | 6000
13 | P/F 24"x1" lavatory basin in white glazed earthen ware complete with and i/c cost of W.I or c.I cantilever brackets 6" inch bolts walls painted white in two coat after primary coat etc complete (S.8 P.3) | 2 | 4253.9 | Each | 8508
14 | Add: Extra for labour for providing and fixing of earthen ware pedestal white or coloured glazed | 2 | 938.47 | Each | 1877
15 | S/F swan type piler cock of superior quality single with C.P head 1/2" dia (S.I.No 18 P.No 16) | 2 | 795 | Each | 1590
16 | P/F 15"x12" bell edge mirrio of belgium glass completew with 1/8" thick hard board & C.P screws fixed to wooden plate (S 4(a) P.7) | 2 | 1161.6 | Each | 2323
17 | P/F chorom plated brass towel rail complete with brackets fixing on wooden glass with 1" long C.P brass screws 3/4" dia round square (S.I.No 1 P.No 7) | 2 | 1269.95 | Each | 2540
18 | S/F Soap Tray Earthenware with CP screw etc complet (S.I.NO 5 P.7) | 2 | 497.2 | Each | 994
19 | Add: Extra labour for cancelled G.I. pipe and fitting i/c making reces in the wall for the pipe and making good in cement morter etc complete (S.I.No 2 P.No 11)
| 1/2" dia | 100 | 7.82 | P.Rft | 782
| 3/4" dia | 50 | 8.45 | P.Rft | 422
20 | S/F hand pump with all accessories 1-1/2" dia cor stainer with wooden shoe i/c boring fitting and finding etc complete (R.A Approved)
| a) Boring pipe | 80 | 38.95 | P.Rft | 3116
| b) Coir Stainer | 10 | 76.05 | P.Rft | 761
21 | S/F Fiber Class Tank approved quality design and wall thickness 500 Gallons | 500 | 87.95 | P.Gallon | 43975
|  |  | Total Pat-B | Rs. | 263183.5
|  |  | Total A+B | Rs. | 4976537.5
|  |  | Cost of Carriage | Rs. | 1178339
|  |  | G:Total | Rs | 6154876.5
|  |  | Say | Rs | 6.1549
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.
Note on E32: Anwer ali:
Note on E33: Anwer ali:
Note on E36: Anwer ali:

## 4
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 205) Rehabilitation/Renovation to existing Primary/ Elementary Schools in Taluka Sanghar District Sanghar 2010-11 Prog (23-Units) @ GPS. Mitha Khan Gaho (B/Work) Taluka Sanghar.
S.# | Items of Work | Quantity | Rate | Unit | Amount
PART-A CIVIL WORK.
1 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 3677 | 2206.6 | %Sft | 81136.682
2 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 3677 | 2197.52 | %Sft | 80802.8104
3 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 320 | 3015.76 | %Sft | 9650.432
4 | S/Grider at Site Of Work. | 11.46 | 3850 | Cwt | 44121
5 | T/Iron at site of work. | 5.69 | 3575 | Cwt | 20341.75
6 | Errection of rolled steel ( S.I.No: 06 P-90) | 5.69 | 186.34 | Cwt | 1060.2746
7 | Second class tiles roofing ( S.I.No: 02 P-32) | 924 | 7607.25 | %Sft | 70290.99
8 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) | 168 | 902.93 | P.Sft | 151692.24
9 | Making Notice Board with Cement Sand ( S.I No:2 P.No: 94) | 64 | 58.11 | P-Sft | 3719.04
10 | Supplying and fixing in position iron/steel grill of 3/4" * 1/4" flat iron of approved design including painting 3 coats etc, complete (weight not less than 3.70 Lbs per sq. ft. of finished grill. ( S.I.No: 26 P.No: 92) | 56 | 180.5 | P.Sft | 10108
11 | Providing & fixing G.I fixed/Chowkhats of size 7"x2" or 4 1/2"x3" for Doors using 20 gauge G.I sheet i/c welded hinges an dfixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1"6 and reparing the jambs. The cost also i/c all carriag tools and plants used in making and fixing. ( DOOR ) | 69 | 228.9 | P.Sft | 15794.1
12 | Providing & fixing G.I fixed/Chowkhats of size 7"x2" or 4 1/2"x3" for Doors using 20 gauge G.I sheet i/c welded hinges an dfixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1"6 and reparing the jambs. The cost also i/c all carriag tools and plants used in making and fixing. ( Windows ) | 102 | 240.5 | P.Sft | 24531
13 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 1386 | 3275.5 | %Sft | 45398.43
14 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 754 | 829.95 | %Sft | 6257.823
15 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | 320 | 442.75 | %Sft | 1416.8
|  |  | Total Part A" |  | 566321.372
|  |  | Cost of Carriage | Rs. | 50969
|  |  | G:Total | Rs | 617290.372
|  |  | Say | Rs | 0.61729
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 5
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 205) Rehabilitation/Renovation to existing Primary/ Elementary Schools in Taluka Sanghar District Sanghar 2010-11 Prog (23-Units) Revised. @ GPS. Sudheer Fakir Mari (B/Work) Taluka Sanghar.
S.# | Items of Work | Quantity | Rate | Unit | Amount
PART-A CIVIL WORK.
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | 447 | 3327.5 | %Sft | 14873.925
2 | Removing cement palster from walls (S.I.No. 53 P-13) | 3140 | 121 | %Sft | 3799.4
3 | Removing window with chowakts (S.I.No 33-b- P.No 12) | 2 | 102.85 | Each | 205.7
4 | Removing Doors with chowakts (S.I.No 33-a- P.No 12) | 1 | 142.18 | Each | 142.18
5 | Dismentling RCC work in salb I/c sepraty(S.I.No. 20 P.No,10) | 18 | 5445 | %Cft | 980.1
6 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 180 | 3176.25 | %OCft | 571.725
7 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No: 4 p-15) | 18 | 8694.95 | %Cft | 1565.091
8 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 64 | 11948.36 | %Cft | 7646.9504
9 | Making Notice Board with Cement Sand ( S.I No:2 P.No: 94) | 64 | 58.11 | P-Sft | 3719.04
10 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 3140 | 2206.6 | %Sft | 69287.24
11 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 3140 | 2197.52 | %Sft | 69002.128
12 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 70 | 3015.76 | %Sft | 2111.032
13 | Supplying and fixing in position iron/steel grill of 3/4" * 1/4" flat iron of approved design including painting 3 coats etc, complete (weight not less than 3.70 Lbs per sq. ft. of finished grill. ( S.I.No: 26 P.No: 92) | 9 | 180.5 | P.Sft | 1624.5
14 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 45 | 726.52 | P.Sft | 32693.4
15 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 829 | 3275.5 | %Sft | 27153.895
16 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 824 | 829.95 | %Sft | 6838.788
17 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | 3140 | 442.75 | %Sft | 13902.35
18 | Distempering 3 Coats (S.I.No 24-C-P.No 53) | 3140 | 1079.65 | %Sft | 33901.01
19 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats OLD Surface (S.i.No 05 P.No 70) | 318 | 862.95 | %Sft | 2744.181
20 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 90 | 2116.41 | %Sft | 1904.769
|  |  | Total Part A" |  | 294667.4044
|  |  | Cost of Carriage | Rs. | 38307
|  |  | G:Total | Rs | 332974.4044
|  |  | Say | Rs | 0.33297
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.