***SCHEDULE OF QUANTITIES***

***WORK No: 08***

# 

**DISTRICT MUNICIPAL CORPORATION (WEST)**

**KARACHI, BALDIA ZONE**

***Estimated Cost Rs: 9,78,950/- Earnest Money Rs: 19,579/-***

***Time Limit: 45 Days Penalty Per Day Rs: 1,000/-***

**SUBJECT: *Desilting of Nallah / Sewerage Line in Different Street, Dawood Goth Nallah to Afradi***

***Chowk Naval Road Ittehad Town Road in UC-37 & 36 DMC (West) Baldia Zone.***

|  |
| --- |
|  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ***S.No:*** | ***DESCRIPTION OF WORK*** | ***QUANTITY*** | ***RATE*** | ***PER*** | ***AMOUNT*** |
| *1.* | *Cleaning inside sewerage lines completely restoring original silt free space / diameter of (Mechanical / electrically driven) including accessories like pulley’s steel rope, bucket and daggers sizing from 6” to 18” dia. Their to and from pulling action (no of passes shall be as many as required ) would be taken in two phase (First phase entire length from downstream to upstream ) bringing down peak hours sewerage to flow inside pipe line (as free flow) and in second phase from upstream to downstream of entire length ensuring no silt is observed in buckets (6”dia to 12”dia ) except only sewage water and finally passing a steel ball of dia 12” lesser that the diameter of pipe but not exceeding 48” dia ball even for larger dia pipe to ensure perfect cleaning. The job including all the hire / cost of equipment and accessories of above winching drum set having, steel rope pulley mounted over it steel bucket from 6” to 18”dia hooks and other protection likes safety barriers, traffic sings. Traffic cones ensuring no damage to pipe along with ensuring safety to labour and other public property / lives and removal of silt / solid during desalting and clearance of site etc. complete as per full satisfaction of site engineer.18’Dia, 15’Dia. 12’Dia* | *4000*  *1000*  *3300* | *128.80*  *96.60*  *80.50* | *P/Rft*  *P/Rft*  *P/Rft* | *515200/-*  *96600/-*  *265650/-* |
| *2.* | *Manufacturing and supplying R.C.C main hole covers cast in situ 1:2:4 C.C. 3” inch deep in center reinforced with 3/8” dia M.S Bars welded on M.S. sheet i/c curing transportation.*  *21” dia.*  *24” dia.* | *30-Nos* | *913.63* | *Each* | *27409/-* |
| *3.* | *Manufacturing and supplying of R.C.C Ring Slab of 21” inside 36” dia outside 7.5 wide and 6 thick i/c 3/8” dia tor steel bar two concentric rings with 3/8” dia Nos. cross links bars welded and two sunk type hook, lasted in 1:1-1/2:3 cons with embedded 15kg C.I frame in per feet position i/c terms partition charges for an average lead of 20 km per trip from casting yard to town office (A minimum of 25 slabs per trip will be transported.)* | *30-Nos* | *1906.60* | *Each* | *57798/-* |
| *4.* | *Rate analysis for shifting to site and fixing 26” dia Ring Slab in perfect position on damage manhole i/c cutting of damage portion of mentioned in past shape and laying of cement concrete mortar of 2” thickness and disport.* | *30-Nos* | *563.09* | *Each* | *16893/-* |
| ***Total Estimated Cost*** | | | | | ***9,78,950.00*** |

***PTO***

*Nomenclature, Quantities and Rates etc checked*

*and found correct.*

***ASSTT: EX-ENGINEER (B&R) EXECUTIVE ENGINEER (B&R)***

*BALDIA ZONE BALDIA ZONE*

*I/We hereby quoted Rates @ % above/below the S/R*

*The total amount is Rs: (Rupees:*

*(In Figure) (In Word)*

## *Contractor’s Signature:*

## 

## *Address:*