KARACHI METROPOLITAN CORPORATION

ENGINEERING DEPARATMENT

Tender Reference No.KMC/CM/ED/ 068  /2016-17

BILL OF QUANTITIES

RATE RUNNING CONTRACT FOR IMPROVEMENT / REHABILITATION IN

E&M WORKS OF KMC HEAD OFFICE.

NOTE: The Condition of contract will be available on KMC website (www.karachicity.gov.pk).

| Estimate Cost: - | Rs.20,00,000/= |
| --- | --- |
| Bid Security: - | Rs.40,000/= |
| Tender Cost: - | Rs.3,000/= |

BIDDING DATA

(This section should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents).

| a) | Name of Procuring Agency: | Karachi Metropolitan Corporation(KMC). |
| --- | --- | --- |
| b) | Brief Description of Works: | Rate Running Contract for Improvement / Rehabilitation in E&M Works of KMC Head Office. |
| c) | Procuring Agency Address: | Plot No.512 JM, New M.A. Jinnah Road near Islamia College Karachi |
| d) | Estimated Cost: | Rs.20,00,000/= (Tender Cost Rs.3,000/=) |
| e) | Amount of Bid Security: | Rs.40,000/= (2%) |
| f) | Period of Bid validity(days): | 90 days. |
| g) | Security Deposit (Including bid security): | 10% of the total cost (2% of bid amount plus 8% from the bill). |
| h) | Percentage, if any, to be deducted from bills: | 8% |
| i) | Deadline for submission of bid along with time: | As per NIT |
| j) | Venue, Time and date of bid Opening: | Chief Engineer (E&M), KMC Plot No.512 JM, New M.A. Jinnah Road near Islamia College Karachi 03-05-2017 at 2.30 P.M. |
| k) | Liquidity damages: | Rs.2,500/= per day |
| l) m) | Method of Procurement: Deposit Receipt No Date & Amount: | Single Stage One Envelope Method. ___________________________ |

MINIMUM QUALIFICATION / ELIGIBILITY CRITERIA

The evidence / documents of the following minimum qualification / eligibility criteria will be checked during opening process of tender & if anyone is missing then the tender will be summarily rejected at the moment by the tender opening committee.

Eligibility / Minimum Qualification Criteria:

- NTN Certificate.

- Valid Professional TAX.

- Registered with Sindh Revenue Board.

- Statement of Turnover at least 3 years with minimum amount of Rs.1.0 Million.

- Having minimum Experience of 3 years in relevant field.

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- Proof of previous experience of works of similar nature.

Signature of the Bidder with Stamp

KARACHI METROPOLITAN CORPORATIN

ENGINEERING DEPARTMENT

| Subject:- | RATE RUNNING CONTRACT FOR IMPROVEMENT / REHABILITATION IN E&M WORKS OF KMC HEAD OFFICE. |
| --- | --- |

Estimated Cost:  Rs.20,00,000/=

Earnest Money:  Rs.40,000/=

Tender Cost:       Rs.3,000/=

| S.No. | DESCRIPTION | QTY | UNIT | Rate (in figure) | Rate (in words) | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Wiring for light or fan point with 3/0.29 PVC insulated copper conductor single core wire in suitable size of PVC conduit / channel patty on surface as required column complete in all aspect. | 1 | Job | 910.00 | Rupees Nine Hundred & Ten Only. | 910 |
| 2. | Wiring for main / sub main / circuit / light plug with following sizes of PVC insulated copper conductor single core wire in suitable size of PVC conduit recessed in the wall or column complete in all aspect. |  |  |  |  |  |
| a) | 2 x 7/0.29 | 1 | Meter | 171.00 | Rupees One Hundred & Seventy One Only | 171 |
| b) | 2 x 7/0.44 | 1 | Meter | 305.00 | Rupees Three Hundred & Five Only | 305 |
| c) | 2 x 7/0.64 | 1 | Meter | 605.00 | Rupees Six Hundred & Five Only | 605 |
| d) | 3-core 4mmsq | 1 | Meter | 274.00 | Rupees Two Hundred & Seventy Four Only | 274 |
| e) | 3-core 1.5mm | 1 | Meter | 140.00 | Rupees One Hundred & Forty Only |  |
| 3. | P/Laying main / sub main with following sizes and core of PVC / PVC 99.99% copper conductor cable in given sizes of PVC conduit / dura duct. |  |  |  |  |  |
| a) | 4-core 10mmsq | 1 | Meter | 742.00 | Rupees Seven Hundred & Forty Two Only |  |
| b) | 4-core 16mmsq | 1 | Meter | 1300.00 | Rupees Thirteen Hundred Only |  |
| c) | 4-core 50mmsq | 1 | Meter | 3312.00 | Rupees Thirty Three Hundred & Twelve Only |  |
| d) | 4-core 95mmsq | 1 | Meter | 6529.00 | Rupees Sixty Five Hundred & Twenty Nine Only |  |
| e) | 4-core 120mmsq | 1 | Meter | 8175.00 | Rupees Eighty One Hundred & Seventy Five Only |  |
| 4. | Providing, fixing, testing & commissioning of 56” ceiling fan complete with all fixing accessories, all pre-wired & ready for use (Pak fans, Millat & Royal / Equivalent). | 1 | No. | 3185.00 | Rupees Thirty One Hundred & Eighty Five Only |  |
| 5. | Providing, fixing, testing & commissioning of 12” exhaust fan complete metal body with all fixing accessories, all pre-wired & ready for use. | 1 | No. | O/R |  |  |
| 6. | Providing, fixing, & connecting of following gang of switch (Clipsal / MK / Orange / Equivalent) make fixed on suitable size of PVC / MS back boxes complete in all respect. | 1 | No. |  |  |  |
| a) | One gang | 1 | No. | O/R |  |  |
| b) | Two gang | 1 | No. | O/R |  |  |
| c) | Three gang | 1 | No. | O/R |  |  |
| d) | Four gang | 1 | No. | O/R |  |  |
| e) | Five gang | 1 | No. | O/R |  |  |
| f) | Switch six gang | 1 | No. | O/R |  |  |
| g) | Fan control dimmers with switch (Fancy/China). | 1 | No. | O/R |  |  |
| 7. | P/F & connecting of 15 Amps 3 pin switch socket outlet (Clipsal / Orange/ MK or Equivalent) complete with suitable size PVC/MS back box recessed in wall. | 1 | No. | O/R |  |  |
| 8. | P/F & connecting of 10 Amps 3 pin switch socket outlet (Clipsal / Orange/ MK or Equivalent) complete with suitable size PVC/MS back box recessed in wall. | 1 | No. | O/R |  |  |
| 9. | P/F & connecting of 10/13 Amps 3 pin switch socket outlet (Germany Socket Clipsal / Orange/ MK or Equivalent) complete with suitable size PVC back box recessed in wall. | 1 | No. | O/R |  |  |
| 10. | Providing, fixing, testing & commissioning of light fixture & other accessories complete with all accessories such as, Chain Rod, Screw, foundation for garden light etc complete in all respect. |  |  |  |  |  |
| a) | P/F of LED tube rod 16 watt. | 1 | No. | O/R |  |  |
| b) | P/F of patti fitting 4ft long. | 1 | No. | O/R |  |  |
| c). | P/F of Energy Saver lamp 24-25 watt. | 1 | No. | O/R |  |  |
| d) | P/F of electromagnetic ballast 400 watt for the son-T lamp. | 1 | No. | 3990.00 | Rupees Three Thousand Nine Hundred & Ninety Only. | 3,990 |
| f) | P/F of igniter for 400 watt son lamp | 1 | No. | 1119.00 | Rupees Eleven Hundred & Nineteen Only. | 1,119 |
| g) | P/F of flood light fitting 400 watt complete with ballast, igniter, capacitor and lamp 400 watt son-T | 1 | No. | 15825.00 | Rupees Fifteen Thousand Eight Hundred & Twenty Five Only. | 15,825 |
| 11. | P/F of light plug 3 pin type E-series Clipsal / Equivalent). | 1 | No. | O/R |  |  |
| 12. | P/F of power plug 3 pin type E-series Clipsal / Equivalent). | 1 | No. | O/R |  |  |
| 13. | P/F of light plug 3 pin German type E-series Clipsal / Equivalent). | 1 | No. | O/R |  |  |
| 14. | P/F of light plug 3 pin type. | 1 | No. | O/R |  |  |
| 15. | P/F of power plug 15 ampere. | 1 | No. | O/R |  |  |
| 16. | P/F of ceiling rose P/F on the wall / roof. | 1 | No. | 72.00 | Rupees Seventy Two Only. | 72 |
| 17. | P/F of bulb holder pin type surface on wall or column. | 1 | No. | O/R |  |  |
| 18. | P/M/F of fan hooks MS make i/c cutting of roof and plaster. | 1 | No. | O/R |  |  |
| 19. | P/F of one way single pole switch 6 ampere piano type. | 1 | No. | 54.00 | Rupees Fifty Four Only | 54 |
| 20. | P/F of tow pine plug socket single pole switch 5 ampere piano type. | 1 | No. | 83.00 | Rupees Eighty Three Only | 83 |
| 21. | P/Installation of following size of circuit breaker and magnetic contactor i/c cost of connection and termination complete in all aspect (Japna/Germany/France or Equivalent). |  |  |  |  |  |
| a) | TP 30 ampere. | 1 | No. | 5521.00 | Rupees Fifty Five Hundred & Twenty One Only | 5,521 |
| b) | TP-60 ampere. | 1 | No. | 5521.00 | Rupees Fifty Five Hundred & Twenty One Only | 5,521 |
| c) | TP 100 ampere. | 1 | No. | 9261.00 | Rupees Ninety Two Hundred & Sixty One Only | 9,261 |
| d) | TP-225 ampere. | 1 | No. | 25541.00 | Rupees Twenty Five Thousand Five Hundred & Forty One Only. | 25,541 |
| 22. | P/F of UPVC Dura duct on surface of the wall or column complete in all aspect with following sizes. |  |  |  |  |  |
| a) | ½ inch size. | 1 | Ft. | 31.00 | Rupees Thirty One Only | 31 |
| b) | ¾ inch size. | 1 | Ft. | 34.00 | Rupees Thirty Four Only | 34 |
| c) | 1 inch size. | 1 | Ft. | 40.00 | Rupees Forty Only | 40 |
| d) | 2 inch size. | 1 | Ft. | 45.00 | Rupees Forty Five Only | 45 |
| 23. | P/F of PVC conduit on surface of the wall or column complete in all aspect with following sizes. |  |  |  |  |  |
| a) | ¾ inch size. | 1 | Ft. | O/R |  |  |
| b) | 1 ½ inch size. | 1 | Ft. | O/R |  |  |
| c) | 2 inch size. | 1 | Ft. | O/R |  |  |
| d) | 4 inch size. | 1 | Ft. | O/R |  |  |
| 24. | P/F of following type of PVC board surface type. |  |  |  |  |  |
| a) | 3” x 3”. | 1 | Each | O/R |  |  |
| b) | 4” x 6”. | 1 | Each | O/R |  |  |
| 25. | Removing & rewinding of ceiling / pedestal / wall bracket / exhaust fan then re-fixing the same. | 1 | Each | O/R |  |  |
| 26. | Removing & Replacement of ball bearing 2 Nos. for ceiling / pedestal / wall bracket / exhaust fan then re-fixing the same. | 1 | Each | O/R |  |  |
| 27. | Scraping & painting of ceiling / pedestal / wall bracket / exhaust fan then re-fixing the same. | 1 | Job | O/R |  |  |
|  | WATER PUMP SET |  |  |  |  |  |
| 28. | Removing of the water pump set 5 hp 2x1 ½ inch size for repairing purpose. | 1 | Job | O/R |  |  |
| a) | Replacement of ball bearing suitable size 2 Nos. | 1 | Job | O/R |  |  |
| b) | Replacement of Shaft. | 1 | Job | O/R |  |  |
| c) | Replacement of impeller | 1 | Job | O/R |  |  |
| d) | Replacement of impeller bush. | 1 | Job | O/R |  |  |
| e) | Lath Machine work. | 1 | Job | O/R |  |  |
| f) | Replacement of fan. | 1 | Job | O/R |  |  |
| 29 | P/F ball valve 2 inch dia. | 1 | No. | O/R |  |  |
| 30. | P/F ball valve 1.5 inch dia. | 1 | No. | O/R |  |  |
| 31. | P/F foot valve 2 inch dia. | 1 | No. | O/R |  |  |
| 32. | P/F foot valve 1 ½ inch dia. | 1 | No. | O/R |  |  |
| 33. | P/F of G.I pipe 2 inch dia. | 1 | Ft. | O/R |  |  |
| 34. | P/F of G.I pipe 1.5 inch dia. | 1 | Ft. | O/R |  |  |

KARACHI METROPOLITAN CORPORATION ENGINEERING DEPARTMENT

| Subject: | RATE RUNNING CONTRACT FOR IMPROVEMENT / REHABILITATION IN E&M WORKS OF KMC HEAD OFFICE. |
| --- | --- |

| Estimated Cost:- | Rs. 20,00,000/= |
| --- | --- |
| Bid Security:- | Rs. 40,000/= |
| Tender Cost: - | Rs.3,000/= |

I / We hereby quoted as follows:

| 1. | PART – A: (Items Based on S/R) ________% Above / Below / At Par the S/R. | Rs.____________________ |
| --- | --- | --- |
| 2. | PART – B: (Items Based on O/R) | Rs.____________________ |

The total amount is Rs.__________________ (Rupees_____________________________

(in Figure)						(In Words)

______________________________________________________ for complete job.

I / We have attached a pay order bearing No. _____________dated ____________issued from

____________________________________ amounting to Rs. ______________ as per NIT.		(Name of Bank)

Completion Time : 60 Days

Penalty per day: Rs. 3,000/=

Note:

- Tender must be quoted in figure & in words both otherwise liable to be cancelled.

- All over writing & correction if any must be initialed & stamped by the bidder.

- All prevailing rules regarding condition of contract will be applicable.

Signature of the Contractor with Stamp

Address: _________________________

_________________________________