## Summry
A B S T R A C T
Repair & Maintenance of Existing Non-Factional Toilets & Damaged Boundary Walls of Difference of Primary School District Korangi Karachi 18 Units.)
S:NO: | Description of Items |  |  | Amount
|  | Lav Block | C/Wall
A) | Civil Works
1 | Cost of Schedule Items | 2180398.9693 | 1883238.4683 | 4063637.4376
2 | Cost of Non Schedule Items | 0 | 0 | 0
3 | Add 10% Above on S.I. | 218039.8969 | 188323.8468 | 406363.7438 | 812727.4875
| Total Part A | 2398438.8662 | 2071562.3151 | 4470001.1814
B) | Water Supply & Sanitary:
| Schedule Item: | 997976.62 |  | 997976.62
| Non-Schedule Item: | 0 |  | 0
| 10% Premium On S.I. | 99797.662 |  | 99797.662
| Total Part A | 1097774.282 |  | 1097774.282
|  | Total A+B |  | 5567775.4634 | 6746443 | 1178667.5366
|  |  | Rs. In million | 5.5678 | mention 5.3
Executive Engineer
Education Works Division-III
Karachi.

## Sheet1 (2)
SCHEDULE OF PRICES.
NAME OF WORK:- |  | Repair & Maintenance of Existing Non-Factional Toilets & Damaged Boundary Walls of Difference of Primary School District Korangi Karachi 18 Units.) | [14 empty] | Repair & Maintenance of Existing Non-Factional Toilets & Damaged Boundary Walls of Difference of Primary School District Korangi Karachi 18 Units.)
S:# | DISCRIPTION OF ITEM |  |  |  |  | RATE |  |  | UNIT |  |  |  |  | QUANTITY |  | AMOUNT
1 | Removing cement or lime plaster (P-13/53)
| Lav:Passage wall | 1 | x | 2 | x( | 8.5 | + | 3 | )x | 2 |  |  |  | = | 46
| Lav:unit | 2 | x | 2 | x( | 4 | + | 4 | )x | 2 |  |  |  | = | 64
| " | 1 | x | 2 | x( | 8.5 | + | 9.5 | )x | 7 |  |  |  | = | 252
[13 empty] | a |  | 362
Deduction
| Door opening | 1 | x | 3 | x | 2 | [7 empty] | = | 6
| " | 2 | x | 2.5 | x | 2 | [7 empty] | = | 10
[13 empty] | b |  | 16
[8 empty] | Net Qty a-b |  |  | 362 | - | 16 | = | 346
| 346 | x |  | 18 | [10 empty] | 6228
| 6228 | Sft |  |  | 121 |  |  |  |  | % Sft |  |  |  |  | Rs. | 7535.88
2 | Dismantling cement concrete plain 1:2:4 (P-10/19c)
| Lav:Roof | 1 | x | 10.5 | x | 11.5 | x | 0.17 | [5 empty] | = | 20.5275
| Lav:Passage floor | 1 | x | 8.5 | x | 3 | x | 0.25 | [5 empty] | = | 6.375
| " unit floor | 2 | x | 4 | x | 4 | x | 0.25 | [5 empty] | = | 8
| " door jams | 1 | x | 3 | x | 0.67 | x | 0.25 | [5 empty] | = | 0.5025
| " | 2 | x | 2.5 | x | 0.67 | x | 0.25 | [5 empty] | = | 0.8375
[13 empty] | Total |  | 36.2425
| 36.2425 | x |  | 18 | [10 empty] | 652.365
| 652.365 | Sft |  |  | 3327.5 |  |  |  |  | % Sft |  |  |  |  | Rs. | 21707.4454
3 | Dismantling cement concrete plain 1:4:8 (P-10/19a)
| Passage floor | 1 | x | 8.5 | x | 3 | x | 0.5 | [5 empty] | = | 12.75
| " units | 2 | x | 4 | x | 4 | x | 0.5 | [5 empty] | = | 16
28.75
| 28.75 | x |  | 18 | [10 empty] | 517.5
| 517.5 | Cft |  |  | 1663.75 |  |  |  |  | % Cft |  |  |  |  | Rs. | 8609.9062
4 | Removing of Debries for 20 miles (R.A)
| Qty:same item No.1 | [12 empty] | = | 6228
| Qty:same item No.2 | [12 empty] | = | 652.365
| Qty:same item No.3 | [12 empty] | = | 517.5
[13 empty] | Total |  | 7397.865
| 7397.865 | Cft |  |  | 1227.8 |  |  |  |  | % Cft |  |  |  |  | Rs. | 90830.9865
5 | Scraping white wash or colour wash (P/13-54,a).
| Lav Passage | 1 | x | 8.5 | x | 3 | [7 empty] | = | 25.5
| Unit Cutng | 2 | x | 4 | x | 4 | [7 empty] | = | 32
| Chajja | 1 | x | 2 | x | 10.5 | x | 1 | [5 empty] | = | 21
| """ | 1 | x | 2 | x | 11.5 | x | 1 | [5 empty] | = | 23
[13 empty] | Total |  | 101.5
| 101.5 | x |  | 18 | [10 empty] | 1827
| 1827 |  |  |  |  | 75.63 |  | %Sft | [6 empty] | Rs. | 1382
6 | Scraping ordinary distemper oil bound distemper or paint on walls.(p-13/54)
| Lav:unit | 2 | x | 2 | x( | 4 | + | 4 | )x | 2 |  |  |  | = | 64
[13 empty] | Total |  | 64
Deduction
| opening | 4 | x | 2 | x | 1.5 | [7 empty] | = | 12
[13 empty] | Total |  | 12
[9 empty] | Total |  | 64 | - | 12 | = | 52
| 52 | x |  | 18 | [10 empty] | 936
| 936 | Sft |  |  |  | 226.88 |  | %Sft | [6 empty] | Rs. | 2124
7 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for door using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing (P-93/29)
| Lav: Passage Door | 1 | x | 16.5 | [9 empty] | = | 16.5
| Lav: Units | 2 | x | 16.5 | [9 empty] | = | 33
[13 empty] | Total |  | 49.5
| 49.5 | x |  | 18 | [10 empty] | 891
| 891 | Rft |  |  | 228.9 |  |  |  |  | P.Rft |  |  |  |  | Rs. | 203949.9
8 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for window using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing (P-93/28)
| ventilation | 2 | x | 7 | [9 empty] | = | 14
[13 empty] | Total |  | 14
| 14 | x |  | 18 | [10 empty] | 252
| 252 | Rft |  |  | 240.5 |  |  |  |  | P.Rft |  |  |  |  | Rs. | 60606
9 | Cement plaster 1:4 upto 12' height 3/4" thick ratio (P-52/11 c)
| Qty Same as Item No. 1 | [13 empty] | 6228
[13 empty] | Total |  | 6228
| 6228 | Sft |  |  | 3191.76 |  |  |  |  | %Sft |  |  |  |  | Rs: | 198782.8128
10 | P/L 2"thick topping c.c. i/c surface finsihing & dividing into the panells ratio 1:2:4 (P-42/16)
| Lav Roof | 1 | x | 10.5 | x | 11.5 | [7 empty] | = | 120.75
[13 empty] | Total |  | 120.75
| 120.75 | x |  | 18 | [10 empty] | 2173.5
| 2173.5 | Sft |  |  | 3275.5 |  |  |  |  | % Sft |  |  |  |  | Rs. | 71192.9925
11 | Two coat of bitumen laid hout using 34 lbs %Sft over roof and blinded with sand at one Cft per %Sft (P/35-13).
| Qty same as item No.10 | [13 empty] | 2173.5
[13 empty] | Total |  | 2173.5
| 2173.5 |  |  |  |  | 1887.4 |  | %Sft | [6 empty] | Rs. | 41023
12 | C,C brick or stone ballast 1-1/2" to 2" guage ration 1:4:8(S.NO. 4-B/P-16/5i)
| Qty same as item No.3 | [13 empty] | 517.5
[13 empty] | Total |  | 517.5
| 517.5 | Cft |  |  | 11288.75 |  |  |  |  | %Cft |  |  |  |  | Rs: | 58419.2812
13 | Cement concrete plain including placing compacting finishing and curing, complete, (including screening and washing at stone aggregate without shuttering Ratio 1:2:4 (P-16/5)
| Qty same as item No.2 | [13 empty] | 652.365
[13 empty] | Total |  | 652.365
| 652.365 | Cft |  |  | 14429.25 |  |  |  |  | %Cft |  |  |  |  | Rs: | 94131.3768
14 | Laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cement mortar 1:2 (p-43/25)
| Units | 2 | x | 4 | x | 4 | [7 empty] | = | 32
| D/Jams | 1 | x | 3 | x | 0.67 | [7 empty] | = | 2.01
| """" | 2 | x | 2.5 | x | 0.67 | [7 empty] | = | 3.35
[13 empty] | Total |  | 32
| 32 | x |  | 18 | [10 empty] | 576
| 576 | Sft |  |  | 27747.06 |  |  |  |  | % Sft |  |  |  |  | Rs: | 159823.0656
15 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing (P-45/38)
| Lav:unit | 2 | x | 2 | x( | 4 | + | 4 | )x | 2 |  |  |  | = | 64
[13 empty] | Total |  | 64
Deduction
| Lav D/ Opening | 1 | x | 3 | x | 2 | [7 empty] | = | 6
| """ | 2 | x | 2.5 | x | 2 | [7 empty] | = | 10
[13 empty] | Total |  | 16
[9 empty] | Total |  | 64 | - | 16 | = | 48
| 48 | x |  | 18 | [10 empty] | 864
| 864 | Sft |  |  | 28299.3 |  |  |  |  | % Sft |  |  |  |  | Rs: | 244505.952
16 | P/F in position door & windows and ventilator for first class deodar wood frames 1 3/4" thick and teak wood ply Shutters of first class deodar wood skelton (Solid) stiled and ply wood stiled and rails core of Partal wood and teak ply wood (3 ply ) on both sides i/c hold fasts hinges al-drops Iron Tower Bolts handles Cleats with Cord etc Complete(Only shutters) (P/58-9).
| Lav Door | 2 | x | 2.25 | x | 6.75 | [7 empty] | = | 30.375
| Ventilator | 2 | x | 2 | x | 1.5 | [7 empty] | = | 6
[13 empty] | Total |  | 36.375
| 36.375 | x |  | 18 | [10 empty] | 654.75
| 654.75 |  |  |  |  | 856.53 |  | P.Sft | [6 empty] | Rs. | 560813
17 | P/F with sunken iron screws wooden Architrave approved design / shape having width not less than 2-1/2" as directed by Engineer Incharge.(P-66/60)
| Lav Door | 2 | x | 2 | x | 16.5 | [7 empty] | = | 66
| Ventilator | 2 | x | 2 | x | 7 | [7 empty] | = | 28
[13 empty] | Total |  | 94
| 94 | x |  | 18 | [10 empty] | 1692
| 1692 |  |  |  |  | 49.97 |  | P.Rft | [6 empty] | Rs. | 84549
18 | Distempring three coats (P-54/24c)
| Qty same item no.5 | [12 empty] | = | 1827
| Qty same item no.6 | [12 empty] | = | 936
[13 empty] | Total |  | 2763
| 2763 | Cft |  |  | 1079.65 |  |  |  |  | % Sft |  |  |  |  | Rs: | 29830.7295
19 | Providing and fixing iron steel grill door with angle iron frame 1:1/2"x 1:1/2"x 1/4" and flat iron of 3/4"x1/4" with approval design and locking arrangement embeded in masonary as per instruction of Engineer/ Incharge. (P-94/31)
| Lav Passage Door | 1 | x | 3.5 | x | 7.5 | [7 empty] | = | 26.25
| Ventilator | 2 | x | 2 | x | 1.5 | [7 empty] | = | 6
[13 empty] | Total |  | 32.25
| 32.25 | x |  | 18 | [10 empty] | 580.5
| 580.5 | Sft |  |  | 231.6 |  |  |  |  | P.Sft |  |  |  |  | Rs. | 134443.8
20 | Preparing surface and painting of doors and windows any type (including edges) (P-69/5c)
| Lav Passage Door | 1 | x | 2 | x | 3 | x | 7 | [5 empty] | = | 42
| Units | 2 | x | 2 | x | 2.5 | x | 7 | [5 empty] | = | 70
| Ventilator | 2 | x | 2 | x | 2 | x | 1.5 | [5 empty] | = | 12
[13 empty] | Total |  | 124
| 124 | x |  | 18 | [10 empty] | 2232
| 2232 | Sft |  |  | 1880.19 |  |  |  |  | % Sft |  |  |  |  | Rs. | 41965.8408
21 | Cleaning & decontamination of under ground over head water tank with chemical i/c dewatering and cleaning the walls with hand brush, applying potassium per magnate coat to eliminate all bacteria's germs and removing the algae and vegatal growth and white washing two coats. (P-109/94)
| U.G.Tank | 1 | x | 8 | x | 20 | [7 empty] | = | 160
| O.H.Tank | 1 | x | 6 | x | 4 | [7 empty] | = | 24
[13 empty] | Total |  | 184
| 184 | x |  | 18 | [10 empty] | 3312
| 3312 |  |  |  |  | 7.27 |  | P.Sft | [6 empty] | Rs. | 24078
22 | Cleaning of septic tank/ soak pit I/c dewatering, removing the sewage and soild wastes and throwing outside the municpal, limits and cleaning the walls ceilings and bottom of tank.
| Septic Tank | 1 | x | 8 | x | 12 | [7 empty] | = | 96
[13 empty] | Total |  | 96
| 96 | x |  | 18 | [10 empty] | 1728
| 1728 |  |  |  |  | 13.31 |  | P.Sft | [6 empty] | Rs. | 23000
23 | Cleaning/ desillting of manhall / inspection chambers I/c cleaning and rodding of connected sewers (Average 50'-0 per M.hole Removing sewage and solid wastes and throwing outside KMC limits.
|  | 1 | x | 2 | [9 empty] | = | 2
[13 empty] | Total |  | 2
| 2 | x |  | 18 | [10 empty] | 36
| 36 | Nos |  |  |  | 474.83 |  | Each | [6 empty] | Rs. | 17094
[11 empty] | TOTAL |  |  |  |  | 2180398.9693
%____ABOVE / BELOW / AT PAR
G.TOTAL PART A

## WS & SW
SCHEDULE OF PRICE.
Repair & Maintenance of Existing Non-Factional Toilets & Damaged Boundary Walls of Difference of Primary School District Korangi Karachi 18 Units.)
Water Supply & Sanitary
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT |  | AMOUNT
SCHEDULE ITEMS :.
1 | Providing and fixing position nyloon connections complete with 1/2" dia brass stop cock with pair of brass nuts and linging to nyloon connections (S.I.No. 23/P-6)
|  | 1 | x | 18 |  | 18
|  | 18 | Nos | 447.15 | Each | 8048.7 | 8048.7
2 | S/Fixing lond bib-cock of superir quality with c.p head 1/2" dia (S.I.No. 13-A/P-19)
|  | 2 | x | 18 |  | 36
|  | 36 | Nos | 1109.46 | Each | 39940.56 | 39940.56
3 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia
|  | 1 | x | 18 |  | 18
|  | 18 | Nos | 795.3 | Each | Rs. | 14315
4 | P/F handle valve (China) .
|  | 1 | x | 18 |  | 18
| 1" dia | 18 | Nos | 271.92 | Each | 4894.56 | 4894.56
5 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (600 gallons).
|  | 1 | x | 12 |  | 12
|  | 12 | Nos | 21989.6 | Each | 263875.2 | 263875.2
6 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.
|  | 1 | x | 18 |  | 18
|  | 18 | Nos | 14748 | Each | 265464 | 265464
7 | P/F 24" x 18" lavatory basin in white colour glazed earthen ware (ICL IFC) design with & i/c the cost of all finishing accessaries 1-1/2" dia rubber plug, chrome plated brass chain 1-1/4" dia malleable iron or brass unions earthen ware padestal of matching colour of similar making also i/c the cost of making holes in plinth floor wall etc and making good as dinished originality (P/3-8).
|  | 1 | x | 18 |  | 18
|  | 18 | Nos | 4253.7 | Each | Rs. | 76567
8 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/17-2).
|  | 1 | x | 18 |  | 18
|  | 18 | Nos | 5913.22 | Each | Rs. | 106438
9 | P/F squating type white glazed earthen were W.C.pan 9" with low level flushing cistern 3 gallons capacity (ICL IFC design) i/c making requisite No of holes in walls plinth and floor and making good as finished originality also i/c the cost of C.I.trap and C.I.thumble (P/1-1,a).
|  | 2 | x | 18 |  | 36
|  | 36 | Nos | 5044.6 | Each | Rs. | 181605.6
10 | Providing R.C.C.pipe with collars of class "A" and digging the trencle to required depth & fixing in postion l/c cuttin g,fitting & jointing with maxphalt composition & C.M.1:1 and testing with water pressure to a head of 4ft above the top of the building.
|  | 18 | x | 15 |  | 270
| 6" dia pipe | 270 | Rft | 72.4 | P.Rft | Rs. | 19548
|  | 10 | x | 15 |  | 150
| 9" dia pipe | 150 | Rft | 115.2 | P.Rft | Rs. | 17280
997976.62
|  |  | Total |  |  |  | 997976.62
%_________above / below /at par
Total Part A
NON SCHEDULE ITEMS :.
10 | P/F "U" P.V.C Nepro make schedule 40 i.c cutting and fitting cost of breaking throug walls roof and joints by using solvent (AGM or equivalent) maiking good with C.C. i/c curing finishing and testing water presure to head of 200' ft and handling etc as aprproved by Engineer Incharge(R.A).
|  | 20 | x | 18 |  | 360
| 1/2" dia | 360 | Rft |  | P.Rft | Rs.
|  | 35 | x | 18 |  | 630
| 3/4" dia | 630 | Rft |  | P.Rft | Rs.
11 | P/F P.V.C Elbow of Schedule 90 degree Nepro Make of schedule 40i.c cutiing fittng and desingning of various size fixed to U-PVC pipe, etc complete as approved by Engineer Incharge (R.A).
|  | 2 | x | 18 |  | 36
| 1/2" dia | 36 | Rft |  | P.Rft | Rs.
|  | 2 | x | 18 |  | 36
| 3/4" dia | 36 | Rft |  | P.Rft | Rs.
12 | P/F "U" P.V.C tee 4" dia make of schedule 40 i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 2 | x | 18 |  | 36
| 1/2" dia | 36 | Nos |  | Each | Rs.
|  | 2 | x | 18 |  | 36
| 3/4" dia | 36 | Nos |  | Each | Rs.
13 | P/F "U" P.V.C Pipe Nepro make schedule 40 i.c cutting and fitting and jointing by using solvent (AGM or equivalent) and testing water presure to head of 200' ft and handling etc as aprproved by Engineer Incharge(R.A).
|  | 2 | x | 18 |  | 36
|  | 36 | Nos |  | Each | Rs.
14 | P/F "U" P.V.C Elbow 90 degree Nepro dia make schedule 40 i.c cutting and fitting and jointing by using solvent (AGM or equivalent) aetc as aprproved by Engineer Incharge(R.A).
|  | 2 | x | 18 |  | 36
|  | 36 | Nos |  | Each | Rs.
15 | P/F Waer Sunction Pump set (Single Phase)220-Volts, 3/4" x 1/2" in/c Electric Wiring in all respect approved by Engineer Incharge (L.Q.R.)
|  | 1 | x | 10 |  | 10
|  | 10 |  |  | Each | Rs.
16 | Boring for ube well in all water bearing soils ground level upto 100 ft or 30.50 meter depth i/c sinking and with drawing of casting pipe (150 mm 6" dia
|  | 100 | x | 5 |  | 500
|  | 500 | Rft |  | P.Rft | Rs.
17 | Boring for ube well in all water bearing soils from depth 100 ft or 200.0 ft for 30.51 meter blow ground level i/c sinking and with drawing of casing pipe 150 mm 6" dia
|  | 70 | x | 5 |  | 350
|  | 350 | Rft |  | P.Rft | Rs.
18 | S/F PVC stainers B Class of approved desing quality and make i.c necessary sockers etc complete (b) 150 mm 6" dia
|  | 170 | x | 5 |  | 850
|  | 850 | Rft |  | P.Rft | Rs.
19 | Surounding with graded bajri (3/8" to 1/8") or ( 9 to 3mm) in b/w bore and bind pipe for the following dim meter of stainer (150mm 6" dia )
|  | 170 | x | 5 |  | 850
|  | 850 | Rft |  | P.Rft | Rs.
20 | P/F Water puping set with Semen Motor & javed Pump 5 HP 2800 PRM Single phase 440 volts 2"x1 1/2 sunction and delivery 100ft head i.c base plate and also required size and fixing with nuts and bolts complete in all respect
|  | 1 | x | 5 |  | 5
|  | 5 | Nos |  | Each | Rs.
Total Part 'B' N.S.I.
ABSTRACT PART B (W/S & S/W)
| PART A | [6 empty] | 5148 | 5148
[8 empty] | 10118 | 10118
| PART B | [6 empty] | 7056 | 7056
[8 empty] | 144047 | 144047
| G.TOTAL | [6 empty] | 47104 | 47104
100798
133371
24992
245473
34765
[8 empty] | 213473 | 752872
1595661
[8 empty] | 1382188 | 59757

## Pri. C.Wall
SCHEDULE OF PRICE
NAME OF WORK:- |  | Repair & Maintenance of Existing Non-Factional Toilets & Damaged Boundary Walls of Difference of Primary School District Korangi Karachi 18 Units.)
COMPOUND WALL
S:# | DISCRIPTION OF ITEM |  |  |  |  | RATE |  |  | UNIT |  |  | QUANTITY |  | AMOUNT
1 | Dismantling cement Block masonry. (P/11-14)
| C/wall | 1 | x | 83 | x | 0.5 | x | 3 |  |  |  | = | 124.5
124.5
| 124.5 | Cft |  |  | 1134.38 |  |  |  |  | %Cft |  |  | Rs: | 1412.3031
2 | Removing cement or lime plaster.(P-13/53)
| C/wall | 1 | x | 2 | x | 83 | x | 4 |  |  |  | = | 664
664
| 664 | Sft |  |  | 121 |  |  |  |  | %Sft |  |  | Rs: | 803.44
3 | Providing and laying 1:3:6 cement concrete solid block masonary wall 6 thick below in thickness set in 1:6 cement mortor in ground floor super structure including racking out joints & curring etc, complete. (S.I.NO.22/P-22)
| C/wall | 1 | x | 83 | x | 0.5 | x | 3 |  |  |  | = | 124.5
124.5
| 124.5 | Cft |  |  | 15771.01 |  |  |  |  | %Cft |  |  | Rs: | 19634.9074
4 | Cement plaster 1:4 upto 12' height 3/4" thick ratio (P-52/11 c)
| C/wall | 1 | x | 2 | x | 83 | x | 6 |  |  |  | = | 996
996
| 996 | Sft |  |  | 3015.76 |  |  |  |  | %Sft |  |  | Rs: | 30036.9696
5 | Supplying and fixing broken glasses on courtyard walls including 1:3:6 cement concrete coping
| C/wall | 1 | x | 83 | [7 empty] | = | 83
83
| 83 | Sft |  |  | 70.44 |  |  |  |  | P.Sft |  |  | Rs: | 5846.52
6 | Preparing the surface and painting with weather coat of approved make to old weather coat surface.(P.No.56 Item No.39-A)
| C/wall | 1 | x | 2 | x | 83 | x | 5 |  |  |  | = | 830
| Qty same as item no.4 | [10 empty] | = | 996
1826
| 1826 | Sft |  |  | 2567.92 |  |  |  |  | %Sft |  |  | Rs: | 46890.2192
[13 empty] | TOTAL | 104624.3593
[11 empty] | 104624.3593 | x | 18 | 1883238.4683
[9 empty] | TOTAL |  |  |  |  | 1883238.4683
%________Above / Below / Atpar
G.TOTAL Part C
GENERAL ABSTRACT
PART A "CIVIL WORK"
PART B "W/S & S/W"
PART C "C/WALL
G.TOTAL
TERMS AND CONDITIONS:
1 | Any typographical errors in the schedule "B" are subject to correction with the reference to the schedule of rates General items 2012 in force from 12-07-2012 as approved by the standing rates committee sindh, Karachi.
2 | Water shall be arranged by the contractor at site of work without any extra payment.
3 | No premium shall be paid on non-schedule items.
4 | The work will be carried out as per PWD Specifications.
| CONTRACTOR | [8 empty] | Executive Engineer
Education Works Division-III
Karachi.