## Sch-B
SCHEDULE-B TO BID
NAME OF WORK :- |  |  |  |  | RENOVATION WORK OF CIVIL STRUCTURE RURAL WATER SUPPLY SCHEME DEH: 190.
S.# | DESCRIPTION | [6 empty] | QTY |  |  |  |  | RATE |  |  | UNIT |  | AMOUNT
1 | Dismantling Pacca brick work in lime or cement mortar. (S.I.No:13, P-10)
[5 empty] | 314 | [5 empty] | 0.75 |  | 0.375
| Prapit Wall |  | 4 | x( | 177 | + | 137 | )x | 0.75 | x( | 0.5 | + | 0.25 | )= | 353.25
2
[7 empty] | 2 | x | 1.5 | x | 1.5 | x | 7 | = | 31.5
[11 empty] | Total : |  |  | = | 384.75 | -Cft:
|  |  | 385 |  |  | -Cft: |  |  |  |  | @Rs: | 1285.63 |  |  |  | %-Cft: |  |  | Rs: | 4949.6755
2 | Pacca brick work in foundation and plinth in (I-e) cement sand mortor 1:6 (S.I.No:04(I-e), P-20)
314
| Prapit Wall |  |  |  | 4 | x( | 177 | + | 137 | )x | 0.75 | x | 1 | = | 942 | -Cft:
|  |  | 942 |  |  | -Cft: |  |  |  |  | @Rs: | 11948.36 |  |  |  | %-Cft: |  |  | Rs: | 112553.5512
3 | Dismantling cement concrete plain 1:2:4.(S.I.No:19(c) P-10)
[5 empty] | 17.5 | [5 empty] | 0.58 |  | 0.29
| P.H Roof |  |  |  | 1 | x | 16.5 | x | 14.5 | x( | 0.33 | + | 0.25 | )= | 69.3825
2
| Sump Well |  |  |  | 1 | x | 3.14 | x | 4.75 | x | 0.75 | x | 3 | = | 33.5588
[11 empty] | Total : |  |  | = | 102.9412 | -Cft:
|  |  | 103 |  |  | -Cft: |  |  |  |  | @Rs: | 3227.5 |  |  |  | %-Cft: |  |  | Rs: | 3324.325
4 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (S.I.No:06, P-17)
| P.H Roof | [5 empty] | 1 | x | 16.5 | x | 14.5 | x | 0.42 | = | 100.485
| Sump Well |  |  |  | 1 | x | 3.14 | x | 4.75 | x | 0.75 | x | 3 | = | 33.5588
[11 empty] | Total : |  |  | = | 134.0437 | -Cft:
|  |  | 134 |  |  | -Cft: |  |  |  |  | @Rs: | 337 |  |  |  | P-Cft: |  |  | Rs: | 45158
5 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal rust from bars).(S.I.No:08(b) P-17)
[11 empty] | 134 | x | 4.5 | = | 5.3839 | -Cwt:
112
|  |  | 5.3839 |  |  | -Cwt: |  |  |  |  | @Rs: | 5001.7 |  |  |  | P-Cwt: |  |  | Rs: | 26928.7955
6 | Repair of KSB ETA Pump (50-16) 150 GPM Head 2900 RPM replacement of Shaft ball bearing fland bush etc all labour.
| 3"x4" | [9 empty] | 1 | x | 2 | = | 2 | -Nos:
|  |  | 2 |  |  | -Nos: |  |  |  |  | @Rs: | 10000 |  |  |  | Each: |  |  | Rs: | 20000
7 | M.S Pipe
| 3" Dia | [9 empty] | 2 | x | 12 | = | 24
| " | " | [8 empty] | 2 | x | 15 | = | 30
[11 empty] | Total : |  |  | = | 54 | -Rft:
|  |  | 54 |  |  | -Rft: |  |  |  |  | @Rs: | 190 |  |  |  | P-Rft: |  |  | Rs: | 10260
8 | MCU Stan Delta
[11 empty] | 1 | x | 1 | = | 1 | -Nos:
|  |  | 1 |  |  | -Nos: |  |  |  |  | @Rs: | 48750 |  |  |  | Each: |  |  | Rs: | 48750
9 | Foot Value
| 3" Dia | [9 empty] | 1 | x | 2 | = | 2 | -Nos:
|  |  | 2 |  |  | -Nos: |  |  |  |  | @Rs: | 731.25 |  |  |  | Each: |  |  | Rs: | 1462.5
10 | Cement plaster 1:4 upto 20" height (b) 1/2" thick. (S.I.No:11(b) P-52)
[7 empty] | 314 |  |  |  | 2.75
| Prapit Wall |  |  |  | 4 | x( | 177 | + | 137 | )x( | 2 | + | 0.75 | )= | 3454 | -Sft:
|  |  | 3454 |  |  | -Sft: |  |  |  |  | @Rs: | 2283.93 |  |  |  | %-Sft: |  |  | Rs: | 78886.9422
11 | Jungle Clearance & Removing within 100 ft.(S.I.No:04 (b), P-94)
[9 empty] | 1 | x | 100 | x | 120 | = | 12000
[9 empty] | 1 | x | 75 | x | 65 | = | 4875
[11 empty] | Total : |  |  | = | 16875 | -Sft:
|  |  | 16875 |  |  | -Sft: |  |  |  |  | @Rs: | 151.25 |  |  |  | %-Sft: |  |  | Rs: | 25523.4375
12 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels.(S.I.No:16(c), P-42)
1 1/2” thick topping.
| Pump Room | [7 empty] | 1 | x | 12 | x | 10 | = | 120 | -Sft:
|  |  | 120 |  |  | -Sft: |  |  |  |  | @Rs: | 2548.29 |  |  |  | %-Sft: |  |  | Rs: | 3057.948
13 | Primary coat of chalk under distemper.(S.I.No:23, P-54)
[7 empty] | 22 |  |  |  | 21 |  | 10.5
| P.H O/S |  | 1 | x | 2 | x( | 10 | + | 12 | )x( | 11 | + | 10 | )= | 462
[5 empty] | 25 |  | 21 |  | 10.5 |  | 2
| P.H I/S |  | 1 | x | 2 | x( | 11.5 | + | 13.5 | )x( | 11 | + | 10 | )= | 525
2
[9 empty] | 1 | x | 10 | x | 12 | = | 120
| Celling |  |  |  | 1 | x | 2 | x( | 14.5 | + | 16.5 | )x | 2 | = | 124
| Chajja | [9 empty] | Total : |  |  | = | 1231 | -Sft:
Deduction
| Door | [5 empty] | 1 | x | 2 | x | 4 | x | 7 | = | 56
| Window | [5 empty] | 2 | x | 2 | x | 3 | x | 4 | = | 48
[11 empty] | Total : |  |  | = | 104 | -Sft:
| Net Qty :- | [9 empty] | 1231 | (-) | 104 | = | 1127 | -Sft:
|  |  | 1127 |  |  | -Sft: |  |  |  |  | @Rs: | 442.75 |  |  |  | %-Sft: |  |  | Rs: | 4989.7925
14 | Distempering on walls 02-coats. (S.I.No:24(b) P-54)
| Same Qty: as per Item No: 13. | [7 empty] | 462 | + | 120 | + | 124 | = | 706 | -Sft:
|  |  | 706 |  |  | -Sft: |  |  |  |  | @Rs: | 1043.9 |  |  |  | %-Sft: |  |  | Rs: | 7369.934
15 | Rewinding Of Electric Mortar 3 Phase, 440/440 volts, 50, cycle with best quality insolated copper wire of required gauge i/c testing on load with satisfactory result upto one week time opening and refitting and replacing the bolts if necessary excluding the cost of worn out material. (S.I.No:97(c) P-109)
| 10 BHP | [9 empty] | 1 | x | 1 | = | 1 | -Nos:
|  |  | 1 |  |  | -Nos: |  |  |  |  | @Rs: | 10141 |  |  |  | Each: |  |  | Rs: | 10141
[19 empty] | TOTAL Rs: | 403355.9014
ABSTRACT
[13 empty] | SCHEDULE ITEM |  |  |  | NON-SCHEDULE ITEM
[13 empty] | Rs: |  | 334605.9014 |  |  |  | Rs: | 68750
[11 empty] | TOTAL Rs: |  |  |  | 334605.9014 |  |  |  | Rs: | 68750
| ___________ Contractor | [13 empty] | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION MIRPURKHAS
TERMS & CONDITIONS :-
1) | The work will be carried out as per PWD/PHE specification.
2) | No premium will be allowed on non-schedule items.
3) | The contractor shall have to bring the material to be used in the work from quarries mentioned in the Technically Sanctioned Estimate.
4) | The rate should inclusive of all the taxes ie Sales Tax, Octroi, and Royalties etc, complete if applicable.
5) | Any error and omission in the description of item of work then rate shall be governed with the relevant schedule of rates and Technically Sanctioned Estimate.
6) | The under sign has right to reject all work or part of it if it is found below PWD / PHE Specification..
| ___________ Contractor | [13 empty] | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION MIRPURKHAS