name of work:-	m&r to water Supply scheme rajput goth, mehar muhammad boota, kot mir’s & drainage scheme kot mir’s taluka kot ghulam muhammad district mripurkhas.

Abstract cost of schedule – b to bid

SCHEDULE ITEM    NON SCHEDULE ITEM

“A”  WATER SUPPLY SCHEME RAJPUT GOTH	RS: 91100 /-	 RS: 6610/-

“B”  WATER SUPPLY SCHEME MEHAR M. BOOTA	RS: 21466 /-	RS:  10000/-

“C” DRAINGE SCHEME KOT MIR’S			RS: 101100/-	RS:  81943/-

“D” WATER SUPPLY SCHEME KOT MIR’’S		RS: 14500/-		RS:  10000/-

------------------------------------------------------

TOTAL:-	RS:228166/-	RS: 108553/-

-------------------------------------------------------

_______________CONTRACTOR  					EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

MIRPURKHAS

Terms & Conditions :-

- The work will be carried out as per PWD/PHE specification.

- No premium will be allowed on non-schedule items,

- The contractor shall have to bring the material to be used in the work from quarries mentioned in the technically Sanctioned Estimate.

- The rate should inclusive of all the taxes ie Sales Tax,  Octroi, and Royalties etc complete if applicable .

- Any error and omission in the description of item of work then rate shall be governed with the relevant schedule of rates and Technically Sanctioned Estimate.

- The under sign has right to reject all work or part of it if it is found below PWD / PHE Specification.

_______________CONTRACTOR 					 EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

MIRPURKHAS

Schedule –b to bid

name of work:-	m&r to water Supply scheme rajput goth, mehar muhammad boota, kot mir’s & drainage scheme kot mir’s taluka kot ghulam muhammad district mripurkhas.

| S.# | DESCRIPTION | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

“A” Water Supply Scheme Raj Put Goth

1.	Rewinding of H.T & L.T with modern company wire heavy gauge rate i/c burst wire, varnishing, labor cgarges & cartage up to site of work etc complete . (Rate Approved by C.E).

1 Job 			@Rs:66800/-		P.Job			RS:66800/-

2.	Repair of  bush for transformer i/c synchronize the body of transformer (Rate Approved by C.E).

3.0 Nos		@Rs:2500/-		Each			Rs:7500/-

3.	Transformer oil. (Rate Approved by C.E).

60.00 Liters		@Rs:280/-		P.Liter			Rs:16800/-

4.	Rewinding of electric motor 3 phase 400/440 volts, 50 cycles with best quality insolated copper wire of required gauge i/c testing on load with satisfactory result up to one weeks’s time, opening & refitting & repacing the nuts/bolts if necessary excluding the cost of worn out material, (GSI. NO.97 (d)-P/II).

1.0 Job			@Rs:6610/-		P.Job			Rs:6610/-

--------------------

TOTAL(A)	RS:97710/-													--------------------

“B” Water Supply Scheme Mehar Muhammad Boota.

1.	Rewinding of electric Motor 3 Phase 10 BHP 400/440 VOLTS, 50 cycles with best quality insolated  10 BHP

1.0  Set		@Rs:10141/-		Each			Rs:10141/-

2.	Repair  of  pump i/c thronging & polishing main shaft and changing  of ball bearing and impeller brining the same. M.R

1.0 No			@Rs:10000/-		Each			Rs:10000/-

3.	Manufacturing  & installing M.S Pipe made out of M.S sheet 3/16” thick  cutting drilling holes etc complete.

3” Dia.

20.0 Rft		@Rs:385/89		P.Rft			Rs:7718/-

4.	Manacling and installing M.S flanged made out of M.S sheet 3/8”dirling holes

4.0 Nos		@Rs:500/89		Each			Rs:2004/-

5.	C.I bend with flanged and with hole i/c turning and facing of  flanges for  all sizes .

13.36 Kg		@Rs:120/-		P.Kg			Rs1603/-

---------------

TOTAL(B)	RS:31466/-

“C” Drainage Scheme Kot Mir’s

1.	Rewinding of H.T & L.T with modern company wire heavy gauge rate i/c burst wire, varnishing, labor cgarges & cartage up to site of work etc complete . (Rate Approved by C.E).

1 Job 			@Rs:66800/-		P.Job			RS:66800/-

2.	Repair of  bush for transformer i/c synchronize the body of transformer. (Rate Approved by C.E).

3.0 Nos		@Rs:2500/-		Each			Rs:7500/-

3.	Transformer oil. (Rate Approved by C.E).

60.00 Liters		@Rs:280/-		P.Liter			Rs:16800/-

4.	Rewinding of electric motor 3 phase 400/440 volts, 50 cycles with best quality insolated copper wire of required gauge i/c testing on load with satisfactory result up to one weeks’s time, opening & refitting & repacing the nuts/bolts if necessary excluding the cost of worn out material, (GSI. NO.97 (d)-P/II).

1.0 Job			@Rs:6610/-		P.Job			Rs:6610/-

5	Cement concrete plain i/c placing compacting finishing and curing complete (i/c screening and washing stone aggregate  without shuttering (GSI No.50(I) P-17).1:2:4

329.0 Cft		@Rs:14429/25	P%Cft			Rs: 47472/-

6	Cleaning of collecting Tank / Sump below G.L i/c dewatering of Sullage   water and Disposal of garbage, solid waist etc out side tank etc complete. (GSI No:1 P-59)

1138.0 Cft		@RS:11900/-		P%0Cft		Rs:13542/-

7.	Repair of KSB Pump . R.A.A

1.0 No			@Rs:10000/-		Each			RS:10000/-

8.	Manufacturing  & installing M.S flange made out of M.S flanged made out of M.S                               sheet 3/16” thick cutting drilling holes etc complete.

3” Dia.

20.0 Rft		@Rs:385/89		P.Rft			Rs:7718/-

9.	Manacling and installing M.S flanged made out of M.S sheet 3/8”dirling holes

4.0 Nos		@Rs:500/89		Each			Rs:2004/-

10	C.I bend with flanged and with hole i/c turning and facing of  flanges for  all sizes .

13.36 Kg		@Rs:120/-		P.Kg			Rs1603/-

11	Jointing C.I/M flanged pipes and specials flanged and Inside a trench i/c supplying rubber packing of the Required thickness nuts bolts with washers etc.and other Tools required for jointing and testing the joints in the Specified pressure etc complete(P.H.S.I No.D1 P-35).

3” dia

6.Nos				@Rs:499/- 		Each		Rs: 2994/-

------------------

TOTAL:(C)RS:183043/-

“D” Water Supply Scheme Kot Mir’s

1	Rewinding of electric motor 3 phase 400/440 volts, 50 cycles with best quality insolated copper wire of required gauge i/c testing on load with satisfactory result up to one weeks’s time, opening & refitting & replacing  the nuts/bolts if necessary excluding the cost of worn out material, (GSI. NO.97 (d)-P/II). 15 BHP.

1.0 Job			@Rs:14500/-		P.Job			Rs:14500/-

2.	Repair of starter  M.R

2.0 Nos		@RS:5000/-		Each			Rs:10000/-

------------------

TOTAL:- (D)	Rs: 24500/-

-------------------