- Machinery /Equipments

|  | Staining Rack with Adjustable Table | (China or Equivalent) | 04 |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Plasma Extractor | (Japan, EU, USA) | 01 |  |  |
|  | Hot air Oven | (China or Equivalent) | 2 |  |  |
|  | Vacuum Pump | (China or Equivalent) | 2 |  |  |
|  | Water Distillation | (China or Equivalent) | 02 |  |  |
|  | Microscope Fluorescent with camera Latest Model | (USA,EU,Japan) |  |  |  |
|  | Spectrophotometer (UV Range) | (USA,EU,Japan) | 05 |  |  |
|  | Laboratory Automatic Media Dispenser | (China or Equivalent) |  |  |  |
|  | Safety Media Cabinet | (China or Equivalent) |  |  |  |
|  | Tread Mill | (USA,EU,Japan) | 01 |  |  |
|  | Vitalograph Compact | (USA,EU,Japan) | 01 |  |  |
|  | Animal Operation Table | (China or Equivalent) |  |  |  |
|  | Gas Liquid Chromatography | (USA,EU,Japan) |  |  |  |
|  | Histology Slides | (US,EU,Japan) | 03 sets |  |  |
|  | Embryology Slides | (US, EU,Japan) | 04 Sets |  |  |
|  | Histopatho Slides (60 slides 01 set ) | (US, EU,Japan) | 03 |  |  |
|  | Autopsy Kit | (China or Equivalent) | 03 |  |  |
|  | Lap top 6th Gen Ci3 04 GB DDR4 1TB HD Webcam 15.6” 720p | (Lenovo, ACER, DEL) | 10 |  |  |
|  | ASA 5515-X Firewall (hardware) | CISCO or Equivalent | 01 |  |  |
| - 4 | Server Machine IBMx3650 M5 Server | HB / Dell/Lenovo | 01 |  |  |
|  | Desktop Server Rack -42U | IBM / HP / Lenovo | 01 |  |  |
|  | Mikrotik Server VPN, Load Balancer Hotspot, wireless, with installation. | Microtel /HP/Lenovo | 02 |  |  |
|  | Point to Point wireless connectivity(10 Kilo meters range) with installation. | CISCO / Linksys/Lenovo | 02 |  |  |
| - 5 | CCTV Surveillance System Based On NVR & POEs with installation | Hik Vision / Panasonic/Lenovo | 01 |  |  |
|  | Camera for CCTV System (Bullet outdoor-10,DOM-5 indoor-10 all camera should be 4Mega pixels, night vision | Hik Vision / Panasonic/Lenovo | 25 |  |  |
|  | Cisco Catalyst 2960 48 port, power over Ethernet(PoE) Switch | Cisco/Link sys/Lenovo | 04 |  |  |
| - 6 | LED, TV 42” For CCTV (1-For Principal Office, 1- For Administrator Office & 1-For IT Department For Technical Monitoring | Sony / Samsung | 04 |  |  |
| - 7 | UPS System (APC) 6 KV ( 1- Servers & lecture halls 1-For CCTV system, 1-For F- Block, with installation . | APC or Tripplite | 04 |  |  |
| 29 | - Solar plates 150 watts (8-Amp D.C) size 1480mmX680X40mm installation (Copper Wiring Grid tie) with Breaket stand, for fixation & warranty. (B)Solar Voltage Controller 80Amp (C) Inverter 5000w,7kv (DC to Ac) with Charge system (D) Dry Battery 200 Amp (12 v D C installation (Copper Wiring Grid tie) with Standard Warranty | ( China or Equivalent) Complete installation and warranty with maintenance | 02 System as per inverter capacity |  |  |

| Models/ Manikins |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Model Items | Specification | Qty |  |  |  | Picture |  |
|  | Loose Bone Models (Anatomy) | (Chinese or equivalent) | 05 sets |  |  |  |  |  |
| - H | Histology Models of Every System 1.(Gastrointestinal Tract) 2. Nervous System 3. Male Urinary System 4. Female Urinary System 5. Respiratory System 6. Cardiovascular System 7. Female Reproductive System .8 Male Reproductive System. Special senses (i.e Skin. Ear. Nose. Tongue. Eye) 9. Endocrine System. 10. Lymphatic System. 11. Osteology. 12. Muscular System. 13. Cartilage. 14. Breast | (US, EU, Japan) | 03 |  |  |  |  |
|  | Embryology Models (from fertilization upto delivery) | (Chinese or equivalent) | 03 |  |  |  |  |
| 4 | Male Muscle Figure 170 cm with internal Organs Models (life size) | (Chinese or equivalent) | 01 |  |  |  |  |
| 5 | Forensic Medicine Models: - Chronic Arsenic poisoning - Passive agent of sodomy - Drowning case death. - Opium poisoning case death - Fabricated wounds. - Cut Throat. - Skull Showing wound of Bullet entry. - Coup and Counter coup - Injury Burn case. (10) Putrefied Body. (11) Adipocere formation. | (Chinese or equivalent) | 11 |  |  |  |  |
| 6 | Community Medicine Models: - Snake Cobra, - Mosquito female anopheles, - Mosquito Male dengue fever - House Fly, - Cockroach, - Cigarette Smoking - Eggs of House fly - Eggs of mosquito flea - Clean House - Green House | (Chinese or equivalent) | 10 |  |  |  |  |
|  | Manikins |  |  |  |  |  |  |
|  | CPR Training (Adult) | (Chinese or equivalent) | 01 |  |  |  |  |
|  | CPR Training (Child) | (Chinese or equivalent) | 01 |  |  |  |  |
|  | Endotracheal Intubation (Adult) | (Chinese or equivalent) | 01 |  |  |  |  |
|  | Endotracheal Intubation (Child) | (Chinese or equivalent) | 01 |  |  |  |  |
|  | Lumbar Puncture | (Chinese or equivalent) | 02 |  |  |  |  |
|  | Suture Puncture | (Chinese or equivalent) | 02 |  |  |  |  |
|  | I/m Injection Arm | (Chinese or equivalent) | 02 |  |  |  |  |
|  | I/m Injection Buttock | (Chinese or equivalent) | 02 |  |  |  |  |
|  | I/v Injection Arm model | (Chinese or equivalent) | 02 |  |  |  |  |
|  | Urinary catheterization | (Chinese or equivalent) | 02 |  |  |  |  |
|  | Chest Intubation | (Chinese or equivalent) | 02 |  |  |  |  |
|  | Stages of Delivery | (Chinese or equivalent) | 01 |  |  |  |  |
|  | Tracheostomy | (Chinese or equivalent) | 02 |  |  |  |  |
|  | Nasogastric Intubation | (Chinese or equivalent) | 02 |  |  |  |  |
|  | CVP – Line | (Chinese or equivalent) | 01 |  |  |  |  |
|  | Respirators Models | (Chinese or equivalent) | 01 |  |  |  |  |
|  | Spirometer (Lung Function Test) Machine | (Chinese or equivalent) | 01 |  |  |  |  |
|  | Auscultation | (Chinese or equivalent) | 02 |  |  |  |  |

|  | ITEM WISE SPECIFICATGIONS: - 6th Generation core I three Ram 4 GB DDR4 HDD 1TB Webcam HD Webcam VGA Output Display LED 15.6” - ASA 5515-XFirewall (hardware): - ASA IPS throughput: 400 Mbps (extra hardware not required) - Memory: 8 GB - Virtual interfaces (VLANs): 100 - Integrated I/O: 6 Gigabit Ethernet (GE) copper - System Bus: Multi bus architecture - Users/Nodes: Unlimited - Triple Data Encryption Standard/Advanced Encryption Standard (3DE/AES) VPN though put: 250 Mbps - IBM Server machine IBM x3650 M5 Server - Specifications - Form factor/height 2U Rack - Processor (max)/Cache (max) Up to two Intel Xeon E5-2600 v3 series processors with up to 18 cores each/Up to 45 MB per processor - Memory (max) Up to 1.5 TB of memory with SK Hynix 64 GB* TruDDR4 Memory LRDIMMs; System supports RDIMM/ LRDIMM - Disk bays Up to 24 front and 2 rear 2.5-inch HDDs/SSDs; or up to 12 3.5-inch and 2 rear 3.5-inch HDDs + 2 rear 2.5inch HDDs/SSDs; or up to 8 3.5-inch HDDs and 2 rear 3.5-inch or 2.5-inch HDDs/SSDs (model dependent) - RAID support 12 Gbps dedicated slot for the first RAID; support for up to four RAID adapters - Power supply (std/max) 1/2 redundant 550 W AC, 750 W AC, 900 W AC 80 PLUS® Platinum, or 750 W AC 80 PLUS Titanium - Hot-swap components Power supplies, fan modules and HDDs/SSDs - Network Interface 4 × 1 GbE (std.) and 1 x IMM; optional 10/40 GbE ML2 or PCIe adapter; Trusted Platform Module built-in - Expansion slots 1 – 8 PCIe 3.0 slots (supports up to 2 x 300 W GPUs and up to 1 x ML2) and 1 dedicated RAID slot - USB Ports/VGA Ports Up to 3 front (1 x USB 3.0, 2 x USB 2.0) and 4 back (2 x USB 3.0, 2 x USB 2.0) and 1 internal (USB 3.0) for hypervisor/1 front and 1 back - Maximum internal storage Up to 86.4 TB - Energy-efficiency compliance† 80 PLUS Platinum, 80 PLUS Titanium; ENERGY STAR® compliance (model dependent) - Systems management IBM IMM2.1; one IMM dedicated port and one shared; optional remote presence; Predictive Failure Analysis; LEDs; optional next-gen light path diagnostics panel - Operating systems (OS) supported Microsoft Windows Server, Red Hat Enterprise Linux, SUSE Linux Enterprise Server, VMware vSphere - (Optional USB Key or SD Media Adapter) - Server Rack:42U Rack Cabinet - 600X1050mm Server Racks - Front Single Mesh Door Rear Split Mesh door - 2Solid Side Panels - Mikrotik Server VPN, DHCP,Routing, Load Balancer hotspot, Wireless, with installation - Point to Point wireless connectivity - Cisco - (10 Kilo meters range) with installation - CCTV NVR Surveillance system with Installation - Hik-vission or Panasonic - 32 Channel NVR - Two 24 port POEs (Gigabit) - Memory: 4 TB hard drive - 6 Port VGA splitter - Camera - CCTV PoE Camera - Bullet Camera outdoor-10 camera with dust/water proof case - Dome-5, indoor-10 - All camera should be 6 pixels, night vision - Cisco Switch - Catalyst 2960 48 port, Power over Ethernet (PoE) Switch - Sony Led 42” - HDMI Ports - USB Ports - Audio Ports - AV Video Ports - Ethernet Ports - Camera - Support all Video formats - Wall Mount Stand - Remote Control - UPS System 6000 KV, 230 V: - Input Frequency: 50/60 Hz +/- 5 Hz (auto sensing) - Nominal Input Voltage: 230V - Full Load Efficiency: 91.9% - Output Frequency (Sync to Mains): 50/60 Hz +/- 3 Hz user adjustable +/- 0.1 - Output Voltage Distortion:Less than 3% - Output Power Capacity: 4200 Watts / 6000 VA - Max Configurable Power: 4200 Watts / 6000 VA - Output Voltage: 220, 240 - 04 batteries bank (4x2) |
| --- | --- |

Supply through Tender for Specification of Provide & fixing

45 KVA Diesel Generators

Technical

Perkins or Equivalents

| SNo | Item | Specification | @Rates |
| --- | --- | --- | --- |
|  | 45 KVA Diesel Generator Perkins | Latest model 1103A-33TGI Engine Perkins, UK RPM-1500 Out put prime rating 45KVA,36KVA Out put standby rating 50KVA,40KVA Alternator Stamford Supply Voltage 220v to 380v, 3 phase, 4 core wire. Frequency 50Hz to 60Hz,power 08.PF With complete inatallation breaker panel, Exhaust silencer, battery, control panel deep sea 7120, power cable 50 mm 4 core, |  |
|  | Sound Proof Canopy | Complete |  |
|  | ATS Panel | Complete 200 Apms 3 phase |  |
|  | Earthing | 12 feets Deep |  |

2). CHEMICALS AND GLASSWARES

| S.NO | DESCRIPTION | BRAND NAME | QTY | @RATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | A). Biochemistry Department Glassware’s |  |  |  |  |
| 1 | Test Tubes 20 ml | China/Equivalent required for medical college | 1000 No’s |  |  |
| 2 | Reagent Bottle With Dropper | China/Equivalent required for medical college | 300 Bottles |  |  |
| 3 | Dropper Rubbers (glass) | China/Equivalent required for medical college | 100 droppers |  |  |
| 4 | Droppers Rubbers (Cap) | China/Equivalent required for medical college | 300 Rubber cap) |  |  |
| 5 | Juster Tips (Pippett) (05 w) | China/Equivalent required for medical college | 05 bags |  |  |
|  | B). Chemicals / Acid |  |  |  |  |
| S.NO | NAME OF ITEM | BRAND NAME | QTY |  |  |
| 01 | Alpha Naphthal | BDH/RDHrequired for medical college | 250 gm |  |  |
| 02 | Ethanol | BDH/RDH required for medical college | 5 lit |  |  |
| 03 | Iodine | BDH/RDH required for medical college | 200g |  |  |
| 04 | Potassium iodide | BDH/RDH required for medical college | 500g |  |  |
| 05 | Sodium Citrate | BDH/RDH required for medical college | 500g |  |  |
| 06 | Sodium Carbonates | BDH/RDH required for medical college | 1kg |  |  |
| 07 | Copper Sulphate | BDH/RDHrequired for medical college | 1kg |  |  |
| 08 | Copper Acetate | BDH/RDHrequired for medical college | 1kg |  |  |
| 09 | Acetie Acid (glacial) | BDH/RDHrequired for medical college | 250 ml |  |  |
| 10 | Mercury | BDH/RDHrequired for medical college | 200g |  |  |
| 11 | Nitric Acid | BDH/RDHrequired for medical college | 250 ml |  |  |
| 12 | Nin Hydrine | BDH/RDHrequired for medical college | 250ml |  |  |
| 13 | Sulpuric Acid | BDH/RDHrequired for medical college | 5 lit |  |  |
| 14 | Phenlye Hydrazine (Glacial) | BDH/RDHrequired for medical college | 1kg |  |  |
| 15 | Sodium Acetate | BDH/RDHrequired for medical college | 250 g |  |  |
| 16 | Ether | BDH/RDHrequired for medical college | 250 ml |  |  |
| 17 | Olive Oil | BDH/RDHrequired for medical college | 250 ml |  |  |
| 18 | Oleic Acid | BDH/RDHrequired for medical college | 250 ml |  |  |
| 19 | Cholesterol Power | BDH/RDHrequired for medical college | 250g |  |  |
| 20 | Mercuric sulphate | BDH/RDHrequired for medical college | 250g |  |  |
| 21 | Sodium Nitrate | BDH/RDHrequired for medical college | 250g |  |  |
| 22 | Silver Nitrate | BDH/RDHrequired for medical college | 250g |  |  |
| 23 | Maltose | BDH/RDHrequired for medical college | 1kg |  |  |
| 24 | Lactose | BDH/RDHrequired for medical college | 1kg |  |  |
| 25 | Fructose | BDH/RDHrequired for medical college | 1kg |  |  |
| 26 | Starch | BDH/RDHrequired for medical college | 1kg |  |  |
| 27 | Albumin | BDH/RDHrequired for medical college | 250g |  |  |
| 28 | Globulin | BDH/RDHrequired for medical college | 250g |  |  |
| 29 | Gelatin | BDH/RDHrequired for medical college | 250g |  |  |
| 30 | Casein | BDH/RDH required for medical college | 250g |  |  |
| 31 | Sodium Chloride | BDH/RDH required for medical college | 250g |  |  |
| 32 | Salphocylic acid | BDH/RDH required for medical college | 250g |  |  |
| 33 | Picric acid | BDH/RDH required for medical college | 250g |  |  |
| 34 | Cylic Acid | BDH/RDH required for medical college | 100 ml |  |  |
| 35 | Potassium Hydroxide | BDH/RDH required for medical college | 500g |  |  |
| 36 | Sodium sulphate | BDH/RDH required for medical college | 500g |  |  |
| 37 | Resorcinol | BDH/RDH required for medical college | 500g |  |  |
| 38 | Uric Acid | BDH/RDH required for medical college | 100g |  |  |
| 39 | Creatinine | BDH/RDH required for medical college | 100g |  |  |
| 40 | Lysine | BDH/RDH required for medical college | 100g |  |  |
| 41 | Phenyl patheline | BDH/RDH required for medical college | 100g |  |  |
| 42 | Egg Albumin | BDH/RDH required for medical college | 250g |  |  |
| 43 | Barim Chloride | BDH/RDH required for medical college | 500g |  |  |
| 44 | Methyl Red (Indicater) | BDH/RDH required for medical college | 100g |  |  |
| 45 | Farmalendehyde | BDH/RDH required for medical college | 250ml |  |  |
| 46 | Grams Iodine | BDH/RDH required for medical college | 100g |  |  |
| 47 | Calcium oxalate | BDH/RDH required for medical college | 250g |  |  |
| 48 | Hipric Acid | BDH/RDH required for medical college | 250g |  |  |
| 49 | Tartasil Acid | BDH/RDH required for medical college | 250g |  |  |
| 50 | Molybdic Acid | BDH/RDH required for medical college | 250g |  |  |
| 51 | Ortho Phosphoric Acid | BDH/RDH required for medical college | 250ml |  |  |
| 52 | DiacetelMonoxime | BDH/RDH required for medical college | 100g |  |  |
| 53 | Urea Crystal | BDH/RDH required for medical college | 500g |  |  |
| 54 | Sodium Tung state | BDH/RDH required for medical college | 500g |  |  |
| 55 | Potassium Sodium Taratrate. | BDH/RDH required for medical college | 500g |  |  |
| 56 | Butanal | BDH/RDH required for medical College | 500g |  |  |
| 57 | Histidine | BDH/RDH required for medical college | 50g |  |  |
| 58 | Glutamic Acid | BDH/RDH required for medical college | 50g |  |  |
| 59 | Lithimin Carbonate | BDH/RDH required for medical college | 250g |  |  |
| 60 | Benzoic Acid | BDH/RDH required for medical college | 250g |  |  |
| 61 | Thio Semi Carboziol | BDH/RDH required for medical college | 250g |  |  |
| 62 | PhonilHydrozine powder | BDH/RDH required for medical college | 500g |  |  |
| 63 | Multi Stix | BDH/RDH required for medical college | 02packs |  |  |
| 65 | Reagent battle 60 ML | BDH/RDH required for medical college | 100 Nos. |  |  |
| 66 | Test Tube (Large) | BDH/RDH required for medical college | 100 Nos. |  |  |
| 67 | Thymol Blue | BDH/RDH required for medical college | 100g |  |  |
| 68 | Bromo Phenol Blue | BDH/RDH required for medical college | 100g |  |  |
| 69 | Methyl red | BDH/RDH required for medical college | 100g |  |  |
| 70 | Potassium Hydroxide | BDH/RDH required for medical college | 250g |  |  |

3). Books and Journals

List of Books

| S. N | Title | Author | Edition | Original | LPE | local edition | Qty |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | ANATOMY |  |  |  |  |  |  |
| 01 | Atlas of Human Anatomy | Netter | Latest |  |  |  | 3 |
| 02 | B D Chaurasia s Human Anatomy Regional and Applied Dissection and Clinical Vol. 1,2,3 with CD | Chaurasia | Latest |  |  |  | 3 |
| 03 | B D Chaurasia,s Handbook of General Anatomy | Garg | Latest |  |  |  | 3 |
| 04 | Clinical anatomy by regions | Snell | Latest |  |  |  | 3 |
| 05 | Clinical Anatomy System with CD | Snell | Latest |  |  |  | 3 |
| 06 | Clinical neuroanatomy | Snell | Latest |  |  |  | 3 |
| 07 | Gra,s Anatomy for students 3rd Edition | Drake | Latest |  |  |  | 3 |
| 08 | Gray,s anatomy for students an Instant Review first South Asia Edition | Drake | Latest |  |  |  | 3 |
| 09 | Grays Anatomy the anatomy Basic of Clinical Practice | Standring | Latest |  |  |  | 3 |
| 10 | Gray,s Atlas of Anatomy | Drake | Latest |  |  |  | 3 |
| 11 | Gray,s Clinical Neuroanatomy the Anatomic Basic for Clinical Neuroscince | Mancall | Latest |  |  |  | 3 |
| 12 | Last,s Anatomy Regional and Applied update and in full colour | Sinnatamby | Latest |  |  |  | 3 |
| 13 | Medical histology | Liaqhussain | Latest |  |  |  | 3 |
| 14 | Netter,s Anatomy and Instant Review South Asia | Hansen | Latest |  |  |  | 3 |
| 15 | Textbook of Histology Colour Atlas | Garg | Latest |  |  |  | 3 |
| 16 | The developing human clinical oriented embryology | Moors | Latest |  |  |  | 3 |
| 17 | VIVA Voce in Anatomy | Gangane | Latest |  |  |  | 3 |
| 18 | Wheater,s Functional Histology A Text and Colour Atlas | Young | Latest |  |  |  | 3 |
| 19 | Wheater,s Review of Histology and Basic Pathology | Baldwin | Latest |  |  |  | 3 |
|  | PHYSIOLOGY |  |  |  |  |  |  |
| 20 | A Text Book of Practical Physiology | Ghai | Latest |  |  |  | 3 |
| 21 | Anatomy and Physiology of Eye | Khurana | Latest |  |  |  | 3 |
| 22 | Board review human series physiology | Costanzo | Latest |  |  |  | 3 |
| 23 | C.C Chatterjee,s Human Physiology Vol. 1 | Chatterjee | Latest |  |  |  | 3 |
| 24 | C.C Chatterjee,s Human Physiology Vol. 2 | Chatterjee | Latest |  |  |  | 3 |
| 25 | Pocket Companion to Medical Physiology | Guyton @ Hall | Latest |  |  |  | 3 |
| 26 | Fundamentals of Human Physiology | Fox | Latest |  |  |  | 3 |
| 27 | Ganong s Review of Medical Physiology 25th Edition | Barrett | Latest |  |  |  | 3 |
| 28 | Guyton and Hall Textbook of Medical Physiology | Hall | Latest |  |  |  | 3 |
| 29 | Human physiology | Fox | Latest |  |  |  | 3 |
| 30 | Introduction to Human Physiology | Sherwood | Latest |  |  |  | 3 |
| 31 | Lippincott’s illustrated reviews physiology | Preston | Latest |  |  |  | 3 |
| 32 | Multiple Choice Questions in Clinical Physiology | Akram | Latest |  |  |  | 3 |
| 33 | Rapid review physiology | Brown | Latest |  |  |  | 3 |
|  | BIOCHEMISTRY |  |  |  |  |  |  |
| 34 | Advance biochemistry | Mehta | Latest |  |  |  | 3 |
| 35 | Biochemistry | Satyanarayana | Latest |  |  |  | 3 |
| 36 | Biochemistry Practical for 1st Year | Aslam | Latest |  |  |  | 3 |
| 37 | Churchill livingstone medical dictionary | Brooker | Latest |  |  |  | 3 |
| 38 | Clinical Biochemistry Metabolic and Clinical ASPECTS | Marshall | Latest |  |  |  | 3 |
| 39 | Dorland’s illustrated medical dictionary | Dorland | Latest |  |  |  | 3 |
| 40 | Fundamental of Biochemistry Multi colour | Jain | Latest |  |  |  | 3 |
| 41 | Harper’s illustrated biochemistry | Rodwell | Latest |  |  |  | 3 |
| 42 | Lippincott’s illustrated reviews biochemistry | Harvey | Latest |  |  |  | 3 |
| 43 | Marks, Basic Medical Biochemistry a clinical Approach | Lieberman | Latest |  |  |  | 3 |
| 44 | MCQS in Biochemistry | Sagar | Latest |  |  |  | 3 |
| 45 | Medical biochemistry | Dominiczak | Latest |  |  |  | 3 |
|  | PHARMACOLOGY |  |  |  |  |  |  |
| 46 | A Text book of Pharmacognosy | Kumar | Latest |  |  |  |  |
| 47 | Basic & Clinical Pharmacology Now in Full-Colour | Katzung | Latest |  |  |  | 3 |
| 48 | Board review Series Pharmacology | Rosenfeld | Latest |  |  |  | 3 |
| 49 | Goodman & Gilman’s The Pharmacogical Basic of Therapeutics | Brunton | Latest |  |  |  | 3 |
| 50 | High-yield pharmacology | Weiss | Latest |  |  |  | 3 |
| 51 | Katzung&trevor’s pharmacology examination & board review | Trevor | Latest |  |  |  | 3 |
| 52 | Lippincott illustrated review pharmacology | Harvey | Latest |  |  |  | 3 |
| 53 | MCQ,S in Pharmacology | Panda | Latest |  |  |  | 3 |
| 54 | The Top 100 Drugs Clinical Pharmacology and Practical Prescribing | Hitchings | Latest |  |  |  | 3 |
|  | FORENSIC MEDICINE |  |  |  |  |  |  |
| 55 | Forensic medicine | Naseem | Latest |  |  |  | 3 |
| 56 | Mcqs In Forensic Medicine and Toxicology | Sharma | Latest |  |  |  | 3 |
| 57 | Parikh’s Textbook of Medical Jurisprudence forensic medicine and toxicology for classrooms & Courtrooms | Parikh | Latest |  |  |  | 3 |
|  | PATHOLOGY |  |  |  |  |  |  |
| 58 | Mnemonics on Pathology and Microbiology | Sharma | Latest |  |  |  | 3 |
| 59 | Rapid review pathology | Goljan | Latest |  |  |  | 3 |
| 60 | Robbins and Cotran Pathology Basic of Disease south Asia 2 Vol. Set | Kumar | Latest |  |  |  | 3 |
| 61 | Robbins basic pathology | Kumar | Latest |  |  |  | 3 |
|  | OPHTHALMOLOGY |  |  |  |  |  |  |
| 62 | Basic ophthalmology | Jogi | Latest |  |  |  | 3 |
| 63 | Clinical ophthalmology | Jatio | Latest |  |  |  | 3 |
|  | ENT |  |  |  |  |  |  |
| 64 | Ent | Iqbal | Latest |  |  |  | 3 |
| 65 | Diseases of Ear, Nose and Throat& Neck surgery | Dhingra | Latest |  |  |  | 3 |
| 66 | Clinical Cases in ENT | Chary | Latest |  |  |  | 3 |
| 67 | Mcqs in ENT | Sahoo | Latest |  |  |  | 3 |
| 68 | Text Book of Ear nose, throat and ¦Head & Neck surgery clinical and Practical revised | Maqbool | Latest |  |  |  | 3 |
|  | MEDICINE |  |  |  |  |  |  |
| 69 | 100 Case Histories in clinical Medicine for MRCP ( Part-!) | Iqbal | Latest |  |  |  | 3 |
| 70 | 1000 Cases Questions & Answers from Kumar & Clark’s Clinical Medicine | Kumar | Latest |  |  |  | 3 |
| 71 | A to z of Diabetes care a practical Guide to Become a well informed Patient | Jain | Latest |  |  |  | 3 |
| 72 | Bedside Techniques Methods of clinical Examination | Inayatullah | Latest |  |  |  | 3 |
| 73 | Current medical diagnosis & treatment 2016 | Papadakis | Latest |  |  |  | 3 |
| 74 | Kaplan Medical Usmle Step 2 ck lecture notes 2016 volume Set | Kaplan | Latest |  |  |  | 3 |
| 75 | Kaplan Usmle steps 2 ckQbook | Kaplan | Latest |  |  |  | 3 |
| 76 | Kumar and Clark’s Medical Management & Therapeutics | Kumar | Latest |  |  |  | 3 |
| 77 | Long Cases in Clinical Medicine | Abdullah | Latest |  |  |  | 3 |
| 78 | Master The Boards Usmle step 2,3 Targeted Review in full color | Fischer | Latest |  |  |  | 3 |
| 79 | Oxford Handbook of Clinical Medicine | Longman | Latest |  |  |  | 3 |
| 80 | The Washington Manual of General Internal Medicine Consult | Cislo | Latest |  |  |  | 3 |
|  | SURGERY |  |  |  |  |  |  |
| 81 | Bailey & Love’s Short Practice of Surgery | Williams | Latest |  |  |  | 3 |
| 82 | A Textbook of Medical Instruments | Ananthi | Latest |  |  |  | 3 |
| 83 | A Bailey & Love Revision Guide mcqs and EMQS in Surgery | Datta | Latest |  |  |  | 3 |
|  | GYNY AND OBS |  |  |  |  |  |  |
| 84 | 100 + Clinical Cases in Gynecology | Daftary | Latest |  |  |  | 3 |
| 85 | 100+ Clinical Cases in Obstetrics with CD | Daftary | Latest |  |  |  | 3 |
| 86 | Five Teachers Textbook of Gynecology | Rashid Latif | Latest |  |  |  | 3 |
| 87 | Obstetrics & Gynecology Correlation & Clinical Scenarios for the Usmle Step3 | August | Latest |  |  |  | 3 |
| 88 | Obstetrics by ten teachers | Baker | Latest |  |  |  | 3 |
| 89 | Ospembbs obstetrics & gynecology | Alia bashir | Latest |  |  |  | 3 |
| 90 | Textbook of Gynaecology | Rashid Latif | Latest |  |  |  | 3 |
|  | PEDIATRICS |  |  |  |  |  |  |
| 91 | 100+ Clinical Cases in Pediatrics | Arvind | Latest |  |  |  | 3 |
| 92 | Basic of Pediatracs | Pervaiz Akbar | Latest |  |  |  | 3 |
| 93 | Nelson Textbook of Pediatrics Vols. 2,3 Set | Kliegman | Latest |  |  |  | 3 |
| 94 | Joshi clinical method | Joshi | Latest |  |  |  | 3 |
|  | Community medicine |  |  |  |  |  | 3 |
| 95 | An Introduction to Public Heath and Epidemiology | Carr | Latest |  |  |  | 3 |
| 96 | Basic Methods of Medical Research | Indrayan | Latest |  |  |  | 3 |
| 97 | Guidelines for The prevention , care and treatment of persons with Hepatitis | Who | Latest |  |  |  | 3 |
| 98 | Guidelines for The Screening , care and treatment of persons with Hepatitis | Who | Latest |  |  |  | 3 |
| 99 | Handbook of Community Medicine | Subramanian | Latest |  |  |  | 3 |
| 100 | Handbooks of Family Planning and Reproductive Healthcare | Glasier | Latest |  |  |  | 3 |

4).Furniture

| S.N | DESCRIPTION | BRAND NAME | QTY | @ RATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
| 1 | Study Chairs (blue) | Shown As a picture /available in College | 50 |  |  |
| 2 | Office Table (5x3) With side Rack having Chesham wood veneer wood computer keyboard tray inside rack. 5 mm glass to Quality should be equivalent of inter wood. | Shown As a picture /available in College | 10 |  |  |
| 3 | Chairs with Cushion Gray | Shown As a picture /available in College | 100 |  |  |
| 4 | Revolving Steel Stools solid Aluminum base | Shown As a picture /available in College | 150 |  |  |
|  | Revolving Chair with imported hydraulic base imported wheel and best quality having imported leatherette cushion as per purchasing committee approval | Shown As a picture /available in College | 20 |  |  |
| 7 | Office table 4x2 1/2 having Formica lamination chipboard, with three draws, Wooden lipping on all edges. Quality should be equivalent of inter wood | Shown As a picture /available in College | 10 |  |  |