**OFFICE OF THE**

DISTRICT EDUCATION OFFICER (PRIMARY) JAMSHORO.

SPECIFICATION OF SOLAR PANEL & DRINKING WATER ITEMS FOR TENDER UNDER SSB 2016-17

|  |  |
| --- | --- |
| **Sr. #** | **Description & Specification** |
| 1 | **Solar Panel**  Solar Panel /Solution 3 KV 300 w Panel (poly06/08) inverter 3 Kv 01 MPPT latest model with batteries 195 Amp:02 Standard Size, Power Panel & Panel stand,  Panel mounting 3 Set wiring solar panel 150 yards with installation charges |
| 2 | **Drinking Water**  200 Gallon Plastic water tank length 48” width 33” & two nozzle with iron stand |
| 3 | **Solar Panel**  Solar Panel /Solution 2 KV 300 w Panel 04 inverter 2Kv 01 MPPT latest model with batteries 195 Amp:02 Standard Size, Power Panel & Panel stand,  Panel mounting 3 Set wiring solar panel 125 yards with installation charges |
| 4 | **Drinking Water**  100 Gallon Plastic water tank length 36” width 24” & two nozzle with iron stand |