**OFFICE OF THE DISTRICT EDUCATION OFFICER**

**(PRIMARY) UMERKOT**

**SHEDULE OF REQUIREMENT OF SOLAR PANEL & DRINKING WATER ITEMS FOR TENDER UNDER SSB 16-17**

|  |  |  |
| --- | --- | --- |
| **S #** | **Description** | **Tentative Quantity** |
| 1 | **Solar Panel**  Solar Panel /Solution 3 KV 300 w Panel (poly06/08) inverter 3 Kv 01 MPPT latest model with batteries 195 Amp:02 Standard Size  Panel mounting 3 Set wiring solar panel 150 yards with installation charges |  |
| 2 | **Drinking Water**  200 Gallon Plastic water tank length 48” width 33” & two nozzle with iron stand |  |
| 3 | **Solar Panel**  Solar Panel /Solution 2 KV 300 w Panel 04 inverter 2Kv 01 MPPT latest model with batteries 195 Amp:02 Standard Size  Panel mounting 3 Set wiring solar panel 125 yards with installation charges |  |
| 4 | **Drinking Water**  100 Gallon Plastic water tank length 36” width 24” & two nozzle with iron stand |  |