(B) Description and rate of Item based on Market (offered Rates)

| S.NO | DESCRIPTION OF WORK / ITEM | QTY. | RATE |  | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Rate in Rupees | Rate in Words |  |  |
|  | Complete dismantling of pump no.2 from the drive shaft of 150 hp electric motor from universal cross and taking out impeller from the pump body and taking out impeller of non return valve, sluice valve and reduce complete in all respect in the pump no.2 at jamila P/S | 01 job |  |  | Each |  |
|  | P/F pump shaft S.S sleeve required 1ft long dia 5 inch per ft of 19 KG (two pumps) 19kg | 01 job |  |  | P/kg |  |
|  | P/F bearing lock inner Dia 250 mm outer dia 270 mm USA (as required of town pump. 2x | 02NO |  |  | Each |  |
|  | P/F universal cross dia 5inch long 10 inch as required welding cutter and big lath machine balancing of shaft after facing welding balancing turning and polishing etc universal size 10 inch long 2 | 02 No |  |  | Each |  |
|  | P/f oil seal inner dia 100 mm outer dia 150 mm thickness 10mm, as required 2 | 02N0 |  |  | Each |  |
|  | P/F BALL BEARING NO.BCBM 324 FAG /SKF | 01 NO |  |  | Each |  |
|  | P/f angular contact ball Bearing no. 7324. BCBM FAG/SKF | 02 NOs |  |  | Each |  |
|  | Repairing of stuffing box housing ( for tow pump s) | 01 Nos |  |  | Each |  |
|  | Complete overhauling of electrical panel N0.2 (Motors) by means of dismantling cleaning of star delta contactor volts WD-40 Spray and replacement of burnt lead with compiling in all respect and i/c replacement of fuse cartages | 01 Jobs |  |  | Each |  |
|  | Repairing of 16 dia non return valve i/e G.M. seal ring for like movement of top valve remaining and machine from market and replacement of required parts G.M Bushes min pin m.s stud with washer as per size and design complete in all respect (for two pumps) | 02 NO |  |  | Each |  |
|  | P/f spindle of sluice valve 16 inch dia i/c replacement of G,M spindle and nuts 3 inch dia and long 3 ½ per 15 KG (G.M) Making of spindle G,M making of spindle color threading and balancing facing of lath machine repairing of spindle nut etc compete in all respect | 02 job |  |  | P/KG |  |
| 12 | 415 Ac, 3 phase . 50 hz under & over voltage realy with phase failure pahse shift, pahse flasing , asymmetric, phase sequence, contactor control/ wire break & switch off time delay | 0 1No |  |  | Each |  |
| 13 | Servicing varnishing 3 phase A.C motor no.,2 150 Hp motor at jps with mine insulin overhauling compete drying to backing oven a required i/e lasting insulation as desired 150 HP | 150HP |  |  | P/Hp |  |
| 14 | Mane contactor (Delta) 2 Nos type F.C 160 4,5 volts Mad in Japan ( motor no.1) | 02 No |  |  | Each |  |
| 15 | P/f circuit breaker 800Amp Tp sealing 500-800Ammp a (xs-800NJ) on prepared board as requied E.I | 02No |  |  | Each |  |
| 16 | Ball bearing 7322 FAG/SKF for motor no.2 //BCBM | 01 No |  |  | Each |  |
| 17 | Rubber packing sheet thick ness 1.5 m 105 p. kg 99.99 | 40 kg |  |  | p/kg |  |
| 18 | SS nut bolt ( full thead | 35kg |  |  | P/kg |  |
| 19 | M.S washer | 15 Kg |  |  | P/kg |  |
| 20 | Grees HT SKF | 02kg |  |  | P/kg |  |
|  | Total |  |  |  |  |  |

EXECUTIVE ENGINEER (SPD-I)

KW&SB.

I /we hereby quoted amounting toRs.___________Inwords)______________________________________________

Signature & stamp of Contractor

Address: ______________________________________________________

Contact#_______________