ANNUAL PROCUREMENT PLAN FOR THE YEAR 2016- 2017

NORTH EAST KARACHI (PUMPING & FILTER) K-II & K-III, KW&SB.                                       (Revised-3)

| S. # | DESCRIPTION OF PROCUREMENT | QUANTITY (WHERE APPLICABLE) | ESTIMATED UNIT COST (WHERE APPLICABLE) | ESTIMATED TOTAL COST (In Million Rs.) | FUNDS ALLOCATED (In Million Rs.) | SOURCE OF FUNDS ADP / NON-ADP | PROPOSED PROCUREMENT METHOD | TIMING OF PROCUREMENT 2016-2017 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Q1 | Q2 | Q3 | Q4 |
| 1. | SERVICING OF 112 KW INDUCTIONS MOTOR I/C COMPLETE OVER HAULING OF KSB PUMP B-14, D-4 LCP "NO. 3" AT N E K (P&F), K-II PLANT. | Copy attached | Copy attached | 0.9 Million | 6253-26 6 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | Dec 2016 | -- | -- |
| 2. | PROVIDING & FIXING BEARINGS FOR SET. "03" KSB PUMP TYPE (SNW 600-720) INSTALLED AT NEK K-III P/H. | Copy attached | Copy attached | 1.6 Million | 6253-41 6 Million | NON-ADP | Single Stage One Envelope System Through Tender | -- | Dec 2016 | -- | -- |
| 3. | EMERGENT REPAIRING OF 11/200 KVA TRANSFORMER AT NEK (P&F) K-II KW&SB | Copy attached | Copy attached | 1.00 Million | 6253-40 2 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | Jan 2017 | -- |
| 4. | NECESSARY SERVICING ELECTRICALLY OPERATOR MOTORS / ELECTRONIC CARDS & REPLACEMENT / REPAIRING BURN/DAMAGE & FUSED COMPONENTS OF ROTOR & PENSTOCK GATE VALVES FOR RAPID TWIN GRAVITY FILTER BEDS NO. M,O& P AT NEK (F/P) K-II KW&SB. | Copy attached | Copy attached | 0.88 Million | 6253-25 5.5 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | Jan 2017 | -- |
| 5. | REPAIRING / MAINTENANCE WORK OF 6660M/H (35 MGD) PUMP (A) AT LOW LIFT P/H AT NEK (P), K-II PLANT. | Copy attached | Copy attached | 2.3 Million | 6253-25 5.5 Million | NON-ADP | Single Stage One Envelope System Through Tender | -- | -- | Feb 2017 | -- |
| 6. | URGENT R/M WORK OF OPERATING ELECTRIC PANEL FOR H.T MOTOR NO. (1,4&5) 525KW, 11KV AT N.E.K, K-III PUMP HOUSE. | Copy attached | Copy attached | 2.3 Million | 6253-41 6 Million | NON-ADP | Single Stage One Envelope System Through Tender | -- | -- | Feb 2017 | -- |
| 7. | RUNNING & MAINTENANCE WORK OF SET NO. "02" AT NEK-KIII PUMP HOUSE. | Copy attached | Copy attached | 1.00 Million | 6253-41 6 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | Feb 2017 | -- |
| 8. | COMPLETE OVERHAULING OF 4500M/H (25MGD) SET (B), AT HIGH LIFT PUMP HOUSE AT NEK (P&F) K-II, PLANT. | Copy attached | Copy attached | 2.3 Million | 6253-26 6 Million | NON-ADP | Single Stage One Envelope System Through Tender | -- | -- | -- | Apr 2017 |
| 9. | REPAIRING & RECONDITIONING, MAINTENANCE OF NON RETURN VALVE 800 MM DIA OF PUMP SET No. “04” AT N.E.K (P&F), K-II & K-III Plant. | Copy attached | Copy attached | 1.85 Million | 6253-41 6 Million | NON-ADP | Single Stage One Envelope System Through Tender | -- | -- | -- | Apr 2017 |
| 10. | ELECTRICAL ENGINEERING SERVICES OF PANEL FOR 11/200 KV TRANSFORMER I/C REPLACEMENT OF CABLE & SERVICING OF PANEL FOR 80 HP WASH WATER MOTOR AT N.E.K (P&F), K-II. | -- | -- | 1.00 Million | 6253-26 6 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | -- | Apr 2017 |
| 11. | SERVICING OF 112 KW, A/C INDUCTION MOTOR I/C COMPLETE OVER HAULING OF K.S.B PUMP B-14, D-4, LCP NO. 1 AT N.E.K (P&F) K-II. | -- | -- | 0.9 Million | 6253-25 5.5 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | -- | Apr 2017 |
| 12. | ELECTRICAL ENGINEERING SERVICES 11/3.3 KV, 412 KW ELECTRIC MOTOR (C), AT HIGH LIFT P/H E AT NEK (P&F), K-II, PLANT. | -- | -- | 1.1 Million | 6253-25 5.5 Million | NON-ADP | Single Stage One Envelope System Through Tender | -- | -- | -- | Apr 2017 |
| 13. | EMERGENT ENGINEERING SERVICES COMPLETE FABRICATION & FIXING OF S.S SLEEVE OF WEIR PUMP 6660M/H (35 MGD) PUMP “A” AT NEK K-II PLANT. | -- | -- | 2.15 Million | 6253-26 6 Million | NON-ADP | Single Stage One Envelope System Through Tender | -- | -- | -- | Apr 2017 |
| 14. | COMPLETE OVERHAULING OF 2008.8 M3/H (WEIR PUMP) # A I/C SERVICING OF ELECTRIC MOTOR & PANEL INSTALLED AT HIGH LIFT P/H N.E.K (P&F), K-II. | -- | -- | 0.5 Million | 6253-25 5.5 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | -- | Apr 2017 |
| 15. | NECESSARY MANUFACTURING & FIXING FLOAT / DRUMS AND SHAFT FOR FILTER BEDS AT N.E.K. K-II FILTER PLANT, KW&SB. | Copy attached | Copy attached | 1.00 Million | 6253-25 5.5 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | -- | May 2017 |
| 16. | MECHANICAL ENGINEERING SERVICES OF NON RETURN VALVE 800 MM DIA OF PUMP SET NO. “B” AT HIGH LIFT PUMP HOUSE NEK (P&F) K-II PLANT. | -- | -- | 1.85 Million | 6253-26 6 Million | NON-ADP | Single Stage One Envelope System Through Tender | -- | -- | -- | May 2017 |
| 17. | REPAIRING & RECONDITIONING, MAINTENANCE OF NON RETURN VALVE 800 MM DIA OF PUMP SET No. “01” AT N.E.K (P&F), K-II & K-III Plant. | -- | -- | 1.85 Million | 6253-41 6 Million | NON-ADP | Single Stage One Envelope System Through Tender | -- | -- | -- | May 2017 |
| 18. | REPAIRING & MAINTENANCE OF IN-LET AND OUT-LET GATE SHUTTER TYPE VALVES OF BEDS NO. P, L & N AT NEK K-II FILTER PLANT. | -- | -- | 1.00 Million | 6253-25 5.5 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | -- | May 2017 |
| 19. | DE SILTING FROM THICKENER POND NO:2 AT NEK-KII | -- | -- | 0.92 Million | 7403-49 2.5 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | -- | May 2017 |
| 20. | DE SILTING FROM OVER FLOW CHANNEL:2 AT NEK-KII | -- | -- | 0.91 Million | 7403-49 2.5 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | -- | May 2017 |
| 21. | RAISING OF BOUNDARY WALL AT NEK-KII. | -- | -- | 2.4 Million | 7404-25 2.5 Million | NON-ADP | Single Stage One Envelope System Through Tender | -- | -- | -- | May 2017 |
| 22. | EMERGENT MAJOR OVERHAULING OF ISUZU TRUCK NO. GS-8092 MODEL 1974, N E K (P&F), K-II PLANT. | -- | -- | 0.6 Million | 6252-02 0.8 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | -- | May 2017 |
| 23. | EMERGENT WORK OF A/C HINO COASTER NO. GA - 4357, N E K (P&F), K-II PLANT. | -- | -- | 0.2 Million | 6252-02 0.8 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | -- | May 2017 |
| 24. | JUNGLE CLEARANCE / LEVELING AND DRESSING IN THE PREMISES OF NEK 100 MGD PLANT. | -- | -- | 0.8 Million | 7403-19 1.5 Million | NON-ADP | Single Stage One Envelope System Through Website | -- | -- | -- | May 2017 |

Resident Engineer

N.E.K. (P&F) K-II & K-III Div.

KW&SB