## iv type quater 12 No
SCHEDULE 'B'
| Name of work:- | Establishment of Bakhtawar Cadet College for Girls Shaheed Benazirabad
at Category-VIth Type Quarter ( 12 Nos ) (Electric Work)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") PVC conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  |  | = | 204 | Points | 1130 | P.Point | Rs: | 230520
2 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 128/P-15)
|  |  | = | 48 | Points | 985 | P.Point | Rs: | 47280
3 | Wiring for Call bell point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 127/P-15)
|  |  | = | 12 | Points | 1764 | P.Point | Rs: | 21168
4 | Providing and laying (Main or Sub-Main) PVC insulated with size
(2-7/.036) copper conductor in 3/4" dia PVC conduct
in the wall or coumns as required (SINO: 10/P-02)
|  |  | = | 360 | Meter | 222 | P.Meter | Rs: | 79920
5 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.036(6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 11/P-N0: 2)
|  |  | = | 240 | Meter | 252 | P.Meter | Rs: | 60480
6 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.044(6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 12/P-N0: 2)
|  |  |  | 336 | Meter | 341 | P.Meter | Rs: | 114576
7 | Providing and fixing one way 5 amps switch flush type (SINO: 219/P-33)
|  |  | = | 204 | Nos | 54 | P.Nos | Rs: | 11016
8 | Providing and fixing Brass pendant lamp holder (SINO: 229/P-33)
|  |  | = | 120 | Nos | 74 | P.Nos | Rs: | 8880
9 | Providing and fixing two pin 5 amp plug and socket (SINO: 222/P-33)
|  |  | = | 48 | Nos | 80 | P.Nos | Rs: | 3840
10 | Providing and fixing three pin 5amps plug and sockets switch (SINO: 226/P-33)
|  |  | = | 12 | Nos | 151 | P.No | Rs: | 1812
11 | Providin and fixing Baklite ceiling Rose with two terminals (SINO: 228,P-33)
|  |  | = | 48 | Nos | 72 | P.No | Rs: | 3456
12 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 48 | Nos | 916 | P.No | Rs: | 43968
13 | Providing and fixing cercuit breaker 6,10,15,20,30,40,50 & 63 amp SP (TB+SS)
on prepared board as required (SINO: 204-P-31)
|  |  | = | 12 | Nos | 2456 | P.No | Rs: | 29472
[7 empty] | Total | Rs: | 656388
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver Superior quality including fixing on
existing holder etc complete. (R.A)
|  |  | = | 132 | Nos |  | P.No | Rs:
2 | Providing and fixing wall / Ceiling mounted light fancy type Superior quality
including necessary electric connectionan with holder without energy sever (R.A)
|  |  | = | 24 | Nos |  | P.No | Rs:
3 | Providin and fixing fan dimmer 220/240 volts fancy type imported make with
necessary connection etc complete (China made)
|  |  | = | 24 | Nos |  | P.No | Rs:
4 | Supplying of ceiling fan 56" sweep (Pure copper winding) i/c down rod, canopy
blade suitable (Double bearing) internal electric connection with 3/029 PVC
|  |  | = | 24 | Nos |  | P.No | Rs:
5 | Providing and fixing distribution board doubdle shutter for accommodate
circuit breacker and bush bar including painting and enamalled paint
|  |  | = | 12 | Sft |  | P.Set | Rs:
[7 empty] | Total (B) | Rs:
| Contractor |  |  |  | Executive Engineer Education Works Division Shaheed Benazirabad