## Fatuhal Zardari
SCHEDULE "B"
| Name of work:- | Up-Gradation of Middle School to High School in Sindh 2008-98 Programme at GBMS Fatuhal Zardari Taluka Sakrand (Electric Work)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC
conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  |  | = | 74 | Points | 1130 | P.Point | Rs: | 83620
2 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 126/P-15)
|  |  | = | 21 | Point | 985 | P.Point | Rs: | 20685
3 | Wiring for Call bell with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 131/P-15)
|  |  | = | 2 | Point | 1764 | P.Point | Rs: | 3528
4 | Providing and laying (Main or Sub-Main) PVC insulated with size
(2-7/.029) copper conductor in 3/4" dia PVC conduct
in the wall or coumns as required (SINO: 10/P-02)
|  |  | = | 22 | Meter | 222 | P.Meter | Rs: | 4884
5 | Providing and laying (Main or Sub- Main ) PVC insulated with size 2-7/.036
(6mm2) copper conductor 3/4" dia PVC coper conduit recessed in the
wall or column as required (SINO: 11/P-N0: 2)
|  |  | = | 200 | Meter | 252 | P.Meter | Rs: | 50400
6 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with
two core copper cunductor 300/500 volts size 10mm2 (SINO: 03/P-8)
|  |  | = | 140 | Meter | 375 | P.Meter | Rs: | 52500
7 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.044(6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 12/P-N0: 2)
|  |  | = | 100 | Meter | 341 | P.Meter | Rs: | 34100
8 | Providing and fixing one way SP 5 amps switch flush type (SINO: 219/P-33)
|  |  |  | 74 | Nos | 54 | P.Nos | Rs: | 3996
8 | Providing and fixing Brass pendant lamp holder (SINO: 228/P-33)
|  |  | = | 44 | Nos | 74 | P.Nos | Rs: | 3256
9 | Providing and fixing two pin SP 5 amp plug and socket (SINO: 222/P-33)
|  |  | = | 21 | Nos | 80 | P.Nos | Rs: | 1680
10 | Providing and fixing three pin 5amps plug and sockets (SINO: 224/P-33)
|  |  | = | 21 | Nos | 151 | P.No | Rs: | 3171
11 | Providin and fixing Baklite ceiling Rose with two terminals (SINO: 228,P-33)
|  |  | = | 30 | Nos | 72 | P.No | Rs: | 2160
12 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 20 | Nos | 916 | P.No | Rs: | 18320
14 | Providing and fixing circuit bracker 15,20,30,40,50 & 60 amo TP
(XE-100CS)(CB) on prepared board as required (SINO: 206/P-31)
|  |  | = | 2 | Nos | 5521 | P.No | Rs: | 11042
15 | Providing and fixing Circuit breacker 100 amps TP (XE 100 CS)
on prepared board as required (SINO: 207/P-No 31)
|  |  | = | 1 | No | 9261 | P.No | Rs: | 9261
16 | Providing and fixing voltmeter meters size 96/96 mm 500 volts , as
required and as per instruction of Engineer Incharge (SINO: 284/P-41)
|  |  | = | 2 | Nos | 999 | P.No | Rs: | 1998
17 | P/F ammeters size 96/96 mm Direct 15A,30A,50A,60A, & 100A as
required and as per instruction of Engineer Incharge (SINO: 284/P-41)
|  |  | = | 2 | Nos | 1054 | P.No | Rs: | 2108
[7 empty] | Total | Rs: | 306709
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver Superior quality including fixing on
existing holder etc complete. (R.A)
|  |  | = | 44 | Nos |  | P.No | Rs:
2 | Providing and fixing wall / Ceiling mounted light fancy type Superior quality
including necessary electric connectionan with holder without energy sever (R.A)
|  |  | = | 3 | Nos |  | P.No | Rs:
3 | Providin and fixing fan dimmer 220/240 volts fancy type imported make with
necessary connection etc complete (China made) (R.A)
|  |  | = | 30 | Nos |  | P.No | Rs:
4 | Supplying of ceiling fan 56" sweep (Pure copper winding) i/c down rod, canopy
blade suitable (Double bearing) internal electric connection with 3/029 PVC (R.A)
|  |  | = | 30 | Nos |  | P.No | Rs:
5 | Providing and fixing main Pannal Board doubdle shutter for accommodate
circuit breacker and busbar including painting and enamalled paint
|  |  | = | 3.75 | Sft |  | P.Set | Rs:
[7 empty] | Total (B) | Rs:
| Contractor | Executive Engineer Education Works Division Shaheed Benazirabad