## Trimor
SCHEDULE 'B'
| Name of work:- | Establishment of Single Section High School in Sindh (53-units) 2008-09 Programme at Trimore Taluka N'Shah District S.Benazirabad (Electrification)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm (3/4")
PVC conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  |  | = | 154 | Points | 1130 | P.Point | Rs: | 174020
2 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 126/P-15)
|  |  | = | 48 | Point | 985 | P.Point | Rs: | 47280
3 | Wiring for Call bell with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 131/P-15)
|  |  | = | 3 | Point | 1764 | P.Point | Rs: | 5292
4 | Providing and laying (Main or Sub-Main) PVC insulated with size
(2-7/.029) copper conductor in 3/4" dia PVC conduct
in the wall or coumns as required (SINO: 10/P-02)
|  |  | = | 1000 | Meter | 222 | P.Meter | Rs: | 222000
5 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.036(6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 11/P-N0: 2)
|  |  | = | 700 | Meter | 252 | P.Meter | Rs: | 176400
6 | Providing and laying (Main or Sub-Main) PVC insulated and PVC sheeted
with 4 core copper conductor 600/1000 volts volts size 25mm2 (SINO: 102/P-12)
|  |  | = | 100 | Meter | 1300 | P.Meter | Rs: | 130000
7 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.044(6mm2) copper conductor 3/4" dia PVC coper conduit recessed
| in the wall or column as required (SINO: 12/P-N0: 2) | [8 empty] | C/Room
Staff Room
|  |  | = | 200 | Meter | 341 | P.Meter | Rs: | 68200 | Chem: Lab:
8 | Providing and fixing one way SP 5 amps switch flush type (SINO: 219/P-33) | [8 empty] | Science Lab:
Store
|  |  |  | 154 | Nos | 54 | P.Nos | Rs: | 8316 | Work Shop
9 | Providing and fixing Brass pendant lamp holder (SINO: 229/P-33) | [8 empty] | Office
Bath
|  |  | = | 82 | Nos | 74 | P.Nos | Rs: | 6068
10 | Providing and fixing two pin SP 5 amp plug and socket (SINO: 222/P-33)
|  |  | = | 48 | Nos | 80 | P.Nos | Rs: | 3840
11 | Providing and fixing three pin 5amps plug and sockets (SINO: 226/P-33)
|  |  | = | 22 | Nos | 151 | P.No | Rs: | 3322
12 | Providin and fixing Baklite ceiling Rose with two terminals (SINO: 228,P-33)
|  |  | = | 42 | Nos | 72 | P.No | Rs: | 3024
13 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 40 | Nos | 916 | P.No | Rs: | 36640
14 | Providing and fixing circuit bracker 15,20,30,40,50 & 60 amo TP
(XE-100CS)(CB) on prepared board as required (SINO: 206/P-31)
|  |  | = | 3 | Nos | 5521 | P.No | Rs: | 16563
15 | Providing and fixing Circuit breacker 100 amps TP (XE 100 CS)
on prepared board as required (SINO: 207/P-No 31)
|  |  | = | 1 | No | 9261 | P.No | Rs: | 9261
16 | Providing and fixing voltmeter meters size 96/96 mm 500 volts , as
required and as per instruction of Engineer Incharge (SINO: 284/P-41)
|  |  | = | 3 | Nos | 999 | P.No | Rs: | 2997
[7 empty] | Total | Rs: | 913223
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver Superior quality including fixing on
existing holder etc complete. (R.A)
|  |  | = | 99 | Nos |  | P.No | Rs:
2 | Providing and fixing wall / Ceiling mounted light fancy type Superior quality
including necessary electric connectionan with holder without energy sever (R.A)
|  |  | = | 17 | Nos |  | P.No | Rs:
3 | Providin and fixing fan dimmer 220/240 volts fancy type imported make with
necessary connection etc complete (China made) (R.A)
|  |  | = | 42 | Nos |  | P.No | Rs:
4 | Supplying of ceiling fan 56" sweep (Pure copper winding) i/c down rod, canopy
blade suitable (Double bearing) internal electric connection with 3/029 PVC (R.A)
|  |  | = | 42 | Nos |  | P.No | Rs:
5 | Providing and fixing main Pannal Board doubdle shutter for accommodate
circuit breacker and busbar including painting and enamalled paint (R.A)
|  |  | = | 12.87 | Sft |  | P.Sft | Rs:
[7 empty] | Total (B) | Rs:
| Contractor | Executive Engineer Education Works Division Shaheed Benazirabad