## Sheet1
SCHEDULE 'B'
| Name of work:- | Establishment of Bakhtawar Cadet College for Girls Shaheed Benazirabad
at Category-Ivth Bungalow 04 Nos (Electric Work)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") PVC conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  |  | = | 120 | Point | 1130 | P.Point | Rs: | 135600
2 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 126/P-15)
|  |  | = | 40 | Point | 985 | P.Point | Rs: | 39400
3 | Wiring fsor call bell point with (3/.029) PVC insulated wire in 20mm
3/4" PVC conduit recessed in the or columns as require (SINO: 128/P-15)
|  |  | = | 4 | Point | 1764 | P.Point | Rs: | 7056
4 | Providing and laying (Main or Sub-Main) PVC insulated with size
(2-7/.029) copper conductor in 3/4" dia PVC conduct
in the wall or coumns as required (SINO: 10/P-02)
|  |  | = | 120 | Meter | 222 | P.Meter | Rs: | 26640
5 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.036 (6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 11/P-N0: 2)
|  |  | = | 128 | Meter | 252 | P.Meter | Rs: | 32256
6 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.044(6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 12/P-N0: 2)
|  |  |  | 168 | Meter | 341 | P.Meter | Rs: | 57288
7 | Providing and fixing one way SP 5 amps switch flush type (SINO: 219/P-33)
|  |  |  | 120 | Nos | 54 | P.Nos | Rs: | 6480
8 | Providing and fixing Brass pendant lamp holder (SINO: 229/P-33)
|  |  | = | 76 | Nos | 74 | P.Nos | Rs: | 5624
9 | Providing and fixing two pin SP 5 amp plug and socket (SINO: 222/P-33)
|  |  | = | 40 | Nos | 80 | P.Nos | Rs: | 3200
10 | Providing and fixing three pin 5amps plug and sockets
(SINO: 226/P-33)
|  |  | = | 8 | Nos | 151 | P.No | Rs: | 1208
11 | Providin and fixing Baklite ceiling Rose with two terminals
(SINO: 228,P-33)
|  |  | = | 32 | Nos | 72 | P.No | Rs: | 2304
12 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 24 | Nos | 916 | P.No | Rs: | 21984
13 | Providing and fixing circuit bracker 15,20,30,40,50 & 60 amo TP
(XE-100CS)(CB) on prepared board as required (SINO: 206/P-31)
|  |  | = | 4 | Nos | 5521 | P.No | Rs: | 22084
[7 empty] | Total | Rs: | 361124
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver Superior quality including fixing on
existing holder etc complete. (R.A)
|  |  | = | 96 | Nos | 600 | P.No | Rs: | 57600
2 | Providing and fixing wall / Ceiling mounted light fancy type Superior quality
including necessary electric connectionan with holder without energy sever (R.A)
|  |  | = | 20 | Nos | 600 | P.No | Rs: | 12000
3 | Providin and fixing fan dimmer 220/240 volts fancy type imported make with
necessary connection etc complete (China made) (R.A)
|  |  | = | 16 | Nos |  | P.No | Rs:
4 | Providing and fixing distribution board doubdle shutter for accommodate
circuit breacker and bush bar including painting and enamalled paint (R.A)
|  |  | = | 7.5 | Sft |  | P.Sft | Rs:
5 | Supplying of ceiling fan 56" sweep (Pure copper winding) i/c down rod, canopy
blade suitable (Double bearing) internal electric connection with 3/029 PVC (R.A)
|  |  | = | 16 | Nos |  | P.No | Rs:
6 | Providing and fixing of exahast fan 10" to 12" Plastic body complete in
all respect (GFC) made pak original good qulaity (R.A)
|  |  | = | 4 | Nos |  | P.No | Rs:
[7 empty] | Total (B) | Rs:
| Contractor | Executive Engineer Education Works Division Shaheed Benazirabad