## Sheet1
SCHEDULE 'B'
| Name of work:- | Establishment of Bakhtawar Cadet College For Girls Shaheed Benazirabad Squash Court (Electric Work)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") channel patti on surface as required (SINO: 129/P-15)
|  |  | = | 46 | Points | 910 | P.Point | Rs: | 41860
2 | Wiring for Plug point with 3/.029 PVC insulated wire
20mm(3/4") channel patti on surface require(SINO: 130/P-15)
|  |  | = | 12 | Points | 742 | P.Point | Rs: | 8904
3 | Providing and laying (Main or Sub-Main) PVC insulated with size
(2-7/.029) copper conductor in 3/4" dia PVC conduct
in the wall or coumns as required (SINO: 10/P-02)
|  |  | = | 200 | Meter | 222 | P.Meter | Rs: | 44400
4 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.036 (6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 11/P-N0: 2)
|  |  | = | 80 | Meter | 252 | P.Meter | Rs: | 20160
5 | Providing and laying (Main or Sub-Main) PVC insulated and PVC sheeted
with two core copper conductor 300/500 volts size 10mm2 (SINO: 63/P-08)
|  |  | = | 95 | Meter | 375 | P.Meter | Rs: | 35625
6 | Providing and fixing one way SP 5 amps switch flush type (SINO: 219/P-33)
|  | 1x46 |  | 46 | Nos | 54 | P.Nos | Rs: | 2484
7 | Providing and fixing two pin SP 5 amp plug and socket.
(SINO: 222/P-33)
|  | 1x12 | = | 12 | Nos | 80 | P.Nos | Rs: | 960
8 | Providing and fixing Brass pendant lamp holder (SINO: 229/P-33)
|  |  | = | 24 | No | 74 | P.Nos | Rs: | 1776
9 | Providin and fixing Baklite ceiling Rose with two terminals
(SINO: 228,P-33)
|  | 1x4 | = | 4 | Nos | 72 | P.No | Rs: | 288
10 | Providing and fixing three pin 5amps plug and sockets A flush type
switch (SINO: 226/P-33)
|  | 1x6 | = | 6 | Nos | 151 | P.No | Rs: | 906
11 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  | 1x18 | = | 18 | Nos | 916 | P.No | Rs: | 16488
12 | Providing and fixing circuit bracker 15,20,30,40,50,60,75 & 100 amo TP
(XS-100NS) on prepared board as required (SINO: 207/P-31)
|  | 1x1 | = | 1 | Nos | 9261 | P.No | Rs: | 9261
[7 empty] | Total | Rs: | 183112
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver Superior quality including fixing on
existing holder etc complete. (R.A)
|  |  | = | 14 | Nos |  | P.No | Rs:
2 | Providing and fixing wall / Ceiling mounted light fancy type Superior quality
including necessary electric connectionan with holder without energy sever (R.A)
|  |  | = | 14 | Nos |  | P.No | Rs:
3 | Providin and fixing fan dimmer 220/240 volts fancy type imported make with
necessary connection etc complete (China make) (R.A)
|  |  | = | 4 | Nos |  | P.No | Rs:
4 | Supplying of ceiling fan 56" sweep (Pure copper winding) i/c down rod, canopy
blade suitable (Double bearing) internal electric connection with 3/029 PVC (R.A)
|  |  | = | 4 | Nos |  | P.No | Rs:
5 | Providing and fixing distribution board doubdle shutter for accommodate
circuit breacker and bush bar including painting and enamalled paint (R.A)
|  |  | = | 4 | Sft |  | P.Set | Rs:
6 | P/F 1-40 watts Tube light complete with 40 watts 4'-0 long rod chowk
starter and putty with flourecent components i/c necessary Electric Connection
and fixing on walls or ceiling etc as approved by Engineer Inharge (R.A)
|  |  | = | 2 | No |  | P.No | Rs:
7 | P/F 2-40 watts Tube light complete with 40 watts 4'-0 long rod chowk
starter and putty with flourecent components i/c necessary Electric Connection
and fixing on walls or ceiling etc as approved by Engineer Inharge (R.A)
|  |  | = | 30 | No |  | P.No | Rs:
9 | Providing and fixing LED Tube light 18 watts (light emitting diod clasification
with LED driver complete Plastic covered atc complete (R.A)
|  |  | = | 14 | No |  | P.No | Rs:
[7 empty] | Total (B) | Rs:
| Contractor |  | Executive Engineer Education Works Division Shaheed Benazirabad