## Sheet1
SCHEDULE 'B'
| Name of work:- | Establishment of Bakhtawar Cadet College for Girls Shaheed Benazirabad
( Construction of Pavilion with Athlotic Area ) (Electrric Work)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm(3/4") PVC
conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  | 3x25 | = | 75 | Point | 1130 | P.Point | Rs: | 84750
2 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 126/P-15)
|  | 3x4 | = | 12 | Point | 985 | P.Point | Rs: | 11820
3 | Providing and laying (Main or Sub-Main) PVC insulated with size (2-7/.029)
copper conductor in 3/4" dia PVC conduct in the wall or columns
as required (SINO: 10/P-02)
|  | 3x50 | = | 150 | Meter
|  |  | = | 150 | Meter | 222 | P.Meter | Rs: | 33300
4 | Providing and laying (Main or Sub- Main ) PVC insulated with size 2-7/.036
(6mm2) copper conductor 3/4" dia PVC coper conduit recessed in the wall
or column as required (SINO: 11/P-N0: 2)
|  | 3x45 | = | 120 | Meter | 252 | P.Meter | Rs: | 30240
5 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.064
(16mm2) copper conductor in 1" dia PVC conduit on surface
(SINO: 07/P-01)
|  | 3x40 | = | 120 | Meter | 605 | P.Meter | Rs: | 72600
6 | Providing and fixing one way SP 5 amps switch flush type (SINO: 219/P-33)
|  | 3x25 |  | 75 | Nos | 54 | P.Nos | Rs: | 4050
7 | Providing and fixing two pin SP 5 amp plug and socket (SINO: 222/P-33).
|  | 3x4 | = | 12 | Nos | 80 | P.Nos | Rs: | 960
8 | Providing and fixing three pin 5amps plug and sockets (SINO: 226/P-33)
|  | 3x1 | = | 3 | Nos | 151 | P.No | Rs: | 453
9 | Providin and fixing Baklite ceiling Rose with two terminals (SINO: 228,P-33)
|  | 3x3 | = | 9 | Nos | 72 | P.No | Rs: | 648
10 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  | 3x6 | = | 18 | Nos | 916 | P.No | Rs: | 16488
11 | Providing and fixing voltmeter meters size 96/96 mm 500 volts , as
required and as per instruction of Engineer Incharge (SINO: 285/P-41)
|  | 3x1 | = | 3 | Nos | 999 | P.No | Rs: | 2997
12 | P/F ammeters size 96/96 mm Direct 15A,30A,50A,60A, & 100A as
required and as per instruction of Engineer Incharge (SINO: 284/P-41)
|  | 3x1 | = | 3 | Nos | 1054 | P.No | Rs: | 3162
13 | Providing and fixing DP i/c change over switch 500 volts 100 amp
pon a prepared board (SINO: 197/P-30)
|  | 3x1 | = | 3 | No | 7612 | P.No | Rs: | 22836
14 | Providing and fixing Brass pendant lamp holder (SINO: 229/P-33)
|  | 3x14 | = | 42 | Nos | 74 | P.Nos | Rs: | 3108
[7 empty] | Total | Rs: | 287412
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver Superior quality including fixing on
existing holder etc complete. (R.A)
|  | 3x19 | = | 57 | Nos |  | P.No | Rs:
2 | Providing and fixing wall / Ceiling mounted light fancy type Superior quality
including necessary electric connectionan with holder without energy sever (R.A)
|  | 3x5 | = | 15 | Nos |  | P.No | Rs:
3 | Providin and fixing fan dimmer 220/240 volts fancy type imported make with
necessary connection etc complete (China made) (R.A)
|  | 3x1 | = | 3 | Nos |  | P.No | Rs:
4 | Supplying of ceiling fan 56" sweep (Pure copper winding) i/c down rod, canopy
blade suitable (Double bearing) internal electric connection with 3/029 PVC (R.A)
|  | 3x1 | = | 3 | Nos |  | P.No | Rs:
5 | Providing and fixing main Pannal Board doubdle shutter for accommodate
circuit breacker and busbar including painting and enamalled paint (R.A)
|  | 3x(1.25x1.50) | = | 5.62 | Sft |  | P.Set | Rs:
6 | Providing and fixing of exahast fan 10" to 12" Plastic body complete in
all respect (GFC) made pak original good qulaity (R.A)
|  | 3x3 | = | 9 | Nos |  | P.No | Rs:
7 | Providing and fixing LED Tube light 18 watts (Light emitting diod) clasification with
LED driver complete plastic covered and base etc complete (R.A)
|  | 3x4 | = | 12 | Nos |  | P.No | Rs:
[7 empty] | Total (B) | Rs:
| Contractor | Executive Engineer Education Works Division Shaheed Benazirabad