## Sheet1
SCHEDULE 'B'
| Name of work:- | Establishment of Bakhtawar Cadet College for Girls Shaheed Benazirabad
at Category-Vth Type Quarter ( 06 Nos )(Electric Work)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") PVC conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  |  | = | 90 | Point | 1130 | P.Point | Rs: | 101700
2 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 126/P-15)
|  |  | = | 24 | Point | 985 | P.Point | Rs: | 23640
3 | Wiring fsor call bell point with (3/.029) PVC insulated wire in 20mm
3/4" PVC conduit recessed in the or columns as require (SINO: 128/P-15)
|  |  | = | 6 | Point | 1764 | P.Point | Rs: | 10584
4 | Providing and laying (Main or Sub-Main) PVC insulated with size
(2-7/.029) copper conductor in 3/4" dia PVC conduct
in the wall or coumns as required (SINO: 10/P-02)
|  |  | = | 300 | Meter | 222 | P.Meter | Rs: | 66600
5 | Providing and fixing one way SP 5 amps switch flush type (SINO: 219/P-33)
|  |  |  | 300 | Nos | 54 | P.Nos | Rs: | 16200
6 | Providing and fixing Brass pendant lamp holder (SINO: 229/P-33)
|  |  | = | 60 | Nos | 74 | P.Nos | Rs: | 4440
7 | Providing and fixing two pin SP 5 amp plug and socket.
(SINO: 222/P-33)
|  |  | = | 6 | Nos | 80 | P.Nos | Rs: | 480
8 | Providing and fixing three pin 5amps plug and sockets (SINO: 226/P-33).
|  |  | = | 6 | Nos | 151 | P.No | Rs: | 906
9 | Providin and fixing Baklite ceiling Rose with two terminals (SINO: 228,P-33)
|  |  | = | 12 | Nos | 72 | P.No | Rs: | 864
10 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 18 | Nos | 916 | P.No | Rs: | 16488
11 | Providing and fixing cercuit breaker 6,10,15,20,30,40,50 & 63 amp SP (TB)
on prepared board as required (SINO: 204-P-31)
|  |  | = | 6 | Nos | 2456 | P.No | Rs: | 14736
12 | Providing and fixing voltmeter meters size 96/96 mm 500 volts , as
required and as per instruction of Engineer Incharge (SINO: 285/P-41)
|  |  | = | 6 | Nos | 999 | P.No | Rs: | 5994
13 | P/F ammeters size 96/96 mm Direct 15A,30A,50A,60A, & 100A as
required and as per instruction of Engineer Incharge (SINO: 284/P-41)
|  |  | = | 6 | Nos | 1054 | P.No | Rs: | 6324
[7 empty] | Total | Rs: | 268956
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver Superior quality including fixing on
existing holder etc complete. (R.A)
|  |  | = | 60 | Nos |  | P.No | Rs:
2 | Providing and fixing wall / Ceiling mounted light fancy type Superior quality
including necessary electric connectionan with holder without energy sever (R.A)
|  |  | = | 12 | Nos |  | P.No | Rs:
3 | Providin and fixing fan dimmer 220/240 volts fancy type imported make with
necessary connection etc complete (China made) (R.A)
|  |  | = | 12 | Nos |  | P.No | Rs:
4 | Supplying of ceiling fan 56" sweep (Pure copper winding) i/c down rod, canopy
blade suitable (Double bearing) internal electric connection with 3/029 PVC (R.A)
|  |  | = | 12 | Nos |  | P.No | Rs:
5 | Providing and fixing distribution board doubdle shutter for accommodate
circuit breacker and bush bar including painting and enamalled paint (R.A)
|  |  | = | 6 | Sft |  | P.Set | Rs:
[7 empty] | Total (B) | Rs:
| Contractor | Executive Engineer Education Works Division Shaheed Benazirabad