## Sheet1
SCHEDULE "B"
| Name of work:- | Establishment of Bakhtawar Cadet College for Girls Shaheed Benazirabad
Auditorium Hall (Electric Work)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") PVC conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  |  | = | 157 | Point | 1130 | P.Point | Rs: | 177410
2 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 126/P-15)
|  |  | = | 20 | Point | 985 | P.Point | Rs: | 19700
3 | Providing and laying (Main or Sub-Main) PVC insulated with size (2-7/.029)
copper conductor in 3/4" dia PVC conduct in the wall or columns
as required (SINO: 10/P-02)
|  |  | = | 300 | Meter | 222 | P.Meter | Rs: | 66600
4 | Providing and laying (Main or Sub- Main ) PVC insulated with size 2-7/.036
(6mm2) copper conductor 3/4" dia PVC coper conduit recessed in the wall
or column as required (SINO: 11/P-N0: 2)
|  |  | = | 150 | Meter | 252 | P.Meter | Rs: | 37800
5 | Providing and laying (Main or Sub-Main)PVC insulated & PVC sheeted
with 4 core copper conductor 300/500 volts size 4mm2 (SINO: 100/12)
|  |  | = | 150 | Meter | 500 | P.Meter | Rs: | 75000
6 | Providing and laying (Main or Sub- Main ) PVC insulated with size 2-7/.044
(6mm2) copper conductor 3/4" dia PVC coper conduit recessed in the wall
or column as required (SINO: 12/P-N0: 2)
|  |  | = | 350 | Meter | 341 | P.Meter | Rs: | 119350
7 | Providing and fixing one way SP 5 amps switch flush type (SINO: 219/P-33)
|  |  |  | 157 | Nos | 54 | P.Nos | Rs: | 8478
8 | Providing and fixing two pin SP 5 amp plug and socket (SINO: 222/P-33).
|  |  | = | 20 | Nos | 80 | P.No | Rs: | 1600
9 | Providing and fixing three pin 10/15 amps plug and sockets flush type
|  |  | = | 19 | Nos | 151 | P.No | Rs: | 2869
10 | Providing and fixing Brass pendant lamp holder (SINO: 229/P-33)
|  |  | = | 26 | Nos | 74 | P.Nos | Rs: | 1924
11 | Providin and fixing Baklite ceiling Rose with two terminals (SINO: 228,P-33)
|  |  | = | 19 | Nos | 72 | P.No | Rs: | 1368
12 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 60 | Nos | 916 | P.No | Rs: | 54960
13 | Providing and fixing circuit bracker 15,20,30,40,50 & 60 amo TP
(XE-100CS)(CB) on prepared board as required (SINO: 206/P-31)
|  |  | = | 5 | Nos | 5521 | P.No | Rs: | 27605
14 | Providing and fixing circuit bracker 1 250 amp TP seting 160--250
(XS-250 NJ) on prepared board as required (SINO: 209/P-31)
|  |  | = | 1 | Nos | 27411 | P.No | Rs: | 27411
15 | Providing and fixing voltmeter meters size 96/96 mm 500 volts , as
required and as per instruction of Engineer Incharge (SINO: 285/P-41)
|  |  | = | 2 | Nos | 999 | P.No | Rs: | 1998
16 | P/F ammeters size 96/96 mm Direct 15A,30A,50A,60A, & 100A as
required and as per instruction of Engineer Incharge (SINO: 284/P-41)
|  |  | = | 2 | Nos | 1054 | P.No | Rs: | 2108
[7 empty] | Total | Rs: | 626181
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver Superior quality including fixing on
existing holder etc complete. (R.A)
|  |  | = | 40 | Nos |  | P.No | Rs:
2 | Providing and fixing wall / Ceiling mounted light fancy type Superior quality
including necessary electric connectionan with holder without energy sever (R.A)
|  |  | = | 14 | Nos |  | P.No | Rs:
3 | Providin and fixing fan dimmer 220/240 volts fancy type imported make with
necessary connection etc complete (China made)(R.A)
|  |  | = | 8 | Nos |  | P.No | Rs:
4 | Supplying of ceiling fan 56" sweep (Pure copper winding) i/c down rod, canopy
blade suitable (Double bearing) internal electric connection with 3/029 PVC (R.A)
|  |  | = | 8 | Nos |  | P.No | Rs:
5 | circuit breacker and busbar including painting and enamalled paint
circuit breacker and busbar including painting and enamalled paint (R.A)
|  |  | = | 9.25 | Sft |  | P.Set | Rs:
6 | Providing and fixing LED Tube light 18 watts (light emitting diod clasification
with LED driver complete Plastic covered atc complete (R.A)
|  |  | = | 85 | No |  | P.No | Rs:
[7 empty] | Total (B) | Rs:
| Contractor | Executive Engineer Education Works Division Shaheed Benazirabad