CONSTRUCION  OF  MCH CENTER  TO THE LEVEL OF BHU AT VILLAGE LUTUF PANHAWAR TALUKA BHIRIA  DISTRICT NAUSHEHRO FEROZE  INTERNAL E.I

SCHEDULE-B

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated wire in 20 mm PVC

Insulated wire in ¾ PVC conduit recessed in the wall or columns as required(SINO:124/p:15)

Light point 	63-Nos:   1130/-      Each	71190/-

Fan point	  20-Nos:	1130/-     Each.	      22600/-

2.  Wiring for call bell point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit  recessed in the wall or columns as required(S.i.No:128-P15)

2-No:          1764/-   Each                   3528/-

3)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit recessed in the wall or columns as required (S.i.no:126P-15

25-Nos:      985/-       Each                  24625/-

4)  Wiring for main with 2-7/.029)PVC insulated wire in 20 mm PVC conduite recessed in the wall or columns as required (SINO:10p-2)	      400-Mtr:	  222/-     P-  Mtr:              88,800/-

5) P/F Circuit breacker 6 amps to 63   SP (TB SS)  on a prepared board(S.I.No: 203-p31)

10-Nos:         916/-   Each                   9160/-

6 P/F brass pandent lamp holder (SINO:232-p33)

63-Nos    	   70/-     Each	                  4410/-

7 P/ backlite ceiling rose with terminals (SINO:229-p33)

83-Nos    	    72/-	  Each                    5976/-

8) P/F SP one way  switch flush type (S.I.NO:219.p33)

83-Nos:          54/-  Each                     4482/-

9) P/F 3 pin 10/15  amps plug  and socket flush type (SINO:227p-33)

10-Nos:       162/-	 Each                    1620/-

10)P/F flush type 2 pin 5amps  switch flush l type on a prepared board  in the wall or columns as required(S.I.No:225 p-25

25-Nos:       80/-     Each                    2000/-

11)  P/F AC brass  ceiling fan  56  good quality (SINO: 2135 –p34)

10-Nos:          3185/-        Each              31850/-

12)  Providing and fixing circuit breaker 6,10,15,20,30,40,50, and 63 amps DP(TB-SS) on a

Prepared as requied (SINO:204 P-31)

5-Nos:	2456/-	Each	12280/-

13 Wiring for(Main or sub Main with 2-7.036 PVC insulated wire in 25 mm 1 PVC conduite recessed    ,     in the wall or columns as required(SINO:

150-Mtr:       252/-       P-Mtr:                37800/

__________

Total=	316,793/-

__________

(PART B NON SCHEDULE ITEMS)

1)  P/F   main Pannel board  double shutter to accommodate heavy duty circuit breackerr

i/c painting  with enemelled paint for other similar job on surface

05-SFT          	       Each

2) P/F mild steel bar fan clamps 15.8mm (5/8”) suitable  for RCC roof.

10-Nos:        	        Each

3)  P/F fancy  dimmer for AC ceiling fan   etc complete

10-Nos:      	Each

4)  Providing and fixing  energy sever  superior quality on existing holder etc complete

63-Nos:                      Each.

5)  P/F Earthing  set with 2x2x1/8 copper plate buried in the ground at  depthof 12 ft  kor less i/c water  comes out from the soil with salt  chkorocoil letc earth plalte to be connected with SWG  No: 8     copper  conductor  in  G .I pipe  ½  dia etc complete.

02-Nos:          	       Each

6)  P/F of tube light  Patti fitting i/c  40 watts  choke starter 4 ft long  tube rod along with

Holder fitting complete  in all respects

05-Nos:          	      Each

7) P/F fancy light fitting superior quality  etc complete

16-Nos:     	          Each

8) P/F Gate light fitting superior quality  etc complete

04Nos:                           Each                    	______________

Total=

_____________

CONTRACTOR                                                            EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

CONSTRUCION  OF  MCH CENTER  TO THE LEVEL OF BHU AT VILLAGE LUTUF PANHAWAR TALUKA BHIRIA  DISTRICT NAUSHEHRO FEROZE  EXTERNAL  E.I

SCHEDULE-B

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

1.Wiring for main with 2-7/.029)PVC insulated wire in 20 mm PVC conduite recessed in the wall or columns as required (SINO:10p-2)

88-Mtr:	  222/-     P-  Mtr:              19536/-

2)P/F circuit  breacket 15 amp to 100 amps  TP ((XS-100NS) on prepared board  As required (S.I.No.207p-31                                           01-Nos:                9261/-   Each          9261/-

3) P/L  main or sub main PVC insulated wire in  with size 4-7/.064 (16  mm2) copper conductor

In ½” dia PVC  conduite lrecessed in the wall or columns as required (S.I.NO;42-p-2)

160-Mtr:         1213/-       P-Mtr:          194080/-

4) P/F  of street light 250 watt s (SON) gavubg IP 54 ckasufucatuib with 250  watt lamp , choke  capacitor and internal wiring complete  in all respect at kathe height up to 31ft as per site requirement

And instruction of E.I.  make of the above light kis as follow;(S.I.NO;161.P-25)

4-Nos:            10105/-       Each           40420/-

5) Manufacturing  providing and fixing GI single larm double  arch as per site requirement with the help  of hydraulic crane instruction of E.I.  with following specification

G.I.Pipe 2” dia10 SWG 7 long l2nno:a MS claps with nuts and bolts(SINO147 P-21

4-Nos:        3196/-          Each           12784/-

_____________

Total=                         276,081/-

_____________

(PART B NON SCHEDULE ITEMS)

1) P/f m.s Tubler pole  24 ft: high with following specification

(6x12”) 5”x6” (4x6”) i/c  base plate  2 coats of silver colour  complete in all respects.

4-Nos:      		Each

2)  P/F   main Pannel board  double shutter to accommodate heavy duty circuit breackerr

i/c painting  with enemelled paint for other similar job on surface

02 SFT          		 Each

_____________

Total=

CONTRACTOR                                                            EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD