## Combined For Tender
"Schedule of Price"
Installation of Solar System in Existing Primary School of District East Karachi. (09 Units)
S.NO | DESCRIPTION OF ITEMS. | QTY | Unit | OFFER RATE | P.UNIT | AMOUNT.
1 | Solar Panels "Crystalline" 320Watt (IEC61215:2005, IEC 61730 certified ISO 9001:2008 / Quality Management system ISO/TS 16949:2009 , ISO 14001:2004 , OHSAS 18001:2007 VDE/MCS /CE / SII / CEC AU / IN METRO UL1703 : CSA/ IEC 61701 UL 1703 : CSA / 61701 ED2: VDE / IEC 62716: VDE / IEC 60068 | 36 | Watts |  | each
2 | Sealed maitenance free, VRLA AGM Solar Dry Battery Bank )IEC61056-1/2:2002 and JIS C8702-1/2:2009,UL and CE life Cycles must be 1200 cycel at 30% DOD ( When the battery is 70% fully charged Size )( 100 AH ) | 28 | AH |  | nos
3 | Sealed maitenance free, VRLA AGM Solar Dry Battery Bank )IEC61056-1/2:2002 and JIS C8702-1/2:2009,UL and CE life Cycles must be 1200 cycel at 30% DOD ( When the battery is 70% fully charged Size )( 150 AH ) | 16 | AH |  | each
4 | Lockable Single Box for Battery Bank & Inverter GI Powder Coated | 10 | Set |  | set
5 | High Efficiency Inverters (Hybird) with built in MPPT and charge Controller.(3 KW-48-V ) Isolated transformer design , LCD Display Multilingual with efficient battery management, Alarm & protection PV reverse protection 65-120Vdc , 97% Efficiency , 62A Charging Current PV : 3.5 KW on builtin charger | 9 | K.W |  | nos
6 | Iron made, Powder coated mounting structure for Solar panels ( Roof/Ground mounted) | 24 | Set |  | nos
7 | Ceiling Fan 50Watt (Pakistan Standard) 220VAC | 50 |  |  | nos
8 | LED Tube Light 16-20W 4ft | 50 |  |  | nos
9 | Timer for Automatic on/off & prevent from the Mis use of the System | 9 |  |  | nos
10 | Standard 7/0.29 cable for internal Electrification | 1700 | ft |  | p.ft
11 | Standard 7/0.36 cable for internal Electrification | 800 | ft |  | p.ft
12 | Multi-strand wire 6mm2 ( 1 core) for balance of System inverters and to main distribution boxe. ( Turnkey wiring scheme/Branded) Newage / Fast / Allied or Equivalent | 250 | Ft |  | P.Ft
13 | Multi-straned electric wire 4-mm2 (1 core) for PV panels inter connections and combiner box. Newage / Fast / Allied or Equivalent | 900 | Ft |  | P.Ft
14 | Multi-stramed electric wire 16-mm2 ( 1 core) for PV combiner box to CC . Fast / Newage / Allied or Equivalent | 500 | Ft |  | P.Ft
15 | Glands | 85 | Nos |  | Each
16 | Circiut Breaker 20 Amps Two pole for PV Pannels . ( Schneider/Hager/ABB or Equivalent ) | 7 | Nos |  | Each
17 | Circiut Breaker 40 Amps Two pole for PV Pannels . ( Schneider/Hager/ABB or Equivalent ) | 5 | Nos |  | Each
19 | Circiut Breaker 63 Amps Battery Bank Single pole for PV Pannels ( Schneider/Hager/ABB or Equivalent) | 5 | Nos |  | Each
20 | Circiut Breaker 32 Amps double pole for AC load. ( Schneider/Hager/ABB or Equivalent ) | 9 | Nos |  | Each
21 | Change Over Switches 15/ 40 Amps. | 9 | Set |  | P.Set
22 | Junction Boxes. | 9 | Nos |  | Each
23 | All Standard accessories for safe installation of Solar power system and electrification including ( Cable tiles,Nuts/Bolts, Screws,Nails, Tape etc ) | 9 | Set |  | P.Set
24 | Main Power distriction cabnet. | 9 | Set |  | P.Set
25 | Installation, Testing and commissioning of Solar PV system .(Hybird ) | 9 | Set |  | P.Set
26 | Transporation. | 9 | Nos |  | Each
| TOAL FOR SOLAR SYSTEM |  | PART-A | Total Rs:

## WS & SW
"Schedule of Price"
Provision of Drinking Water Facilities in Existing Primary School of District East Karachi. (09 Units)
Water Supply & Sanitary
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT |  | Since Com:
SCHEDULE ITEMS :.
1 | Providing and fixing position nyloon connections complete with 1/2" dia brass stop cock with pair of brass nuts and linging to nyloon connections (S.I.No. 23/P-6)
|  | 1 | x | 10 |  | 10
|  | 10 | Nos | 447.15 | Each | 4471.5 | 4471.5
2 | S/Fixing lond bib-cock of superir quality with c.p head 1/2" dia (S.I.No. 13-A/P-19)
|  | 2 | x | 10 |  | 20
|  | 20 | Nos | 1109.46 | Each | 22189.2 | 22189.2
3 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia
|  | 1 | x | 10 |  | 10
|  | 10 | Nos | 795.3 | Each | Rs. | 7953
4 | P/F handle valve (China) .
|  | 1 | x | 8 |  | 8
| 1" dia | 8 | Nos | 271.92 | Each | 2175.36 | 2175.36
5 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (600 gallons).
|  | 1 | x | 6 |  | 6
|  | 6 | Nos | 21989.6 | Each | 131937.6 | 131937.6
6 | Manufacturing and supplyin of 21" R.C.C. manhole cover cast in 1:2:4 concrete ratio 3 inch deep at center, reinforced with 1/2" dia tor steel bars at 4" c/c. welded to 3/16" thick2" wide M.S. plate two hook of 3/8" dia tor bar including compacting i/c. curing, and transportion with in 10 mile. (b) 24 inch dia (S.I. No: 1-b/P-31)
|  | 1 | x | 20 |  | 20
|  | 20 | Nos | 1051.25 | Each | 21025 | 21025
|  |  | Total Part B S.I. |  |  |  | 189751.66
Add: Premium___________% Above
Total S.Items:-
NON SCHEDULE ITEMS :.
10 | P/F "U" P.V.C Nepro make schedule 40 i.c cutting and fitting cost of breaking throug walls roof and joints by using solvent (AGM or equivalent) maiking good with C.C. i/c curing finishing and testing water presure to head of 200' ft and handling etc as aprproved by Engineer Incharge(R.A).
|  | 1 | x | 200 |  | 200
| 1/2" dia | 200 | Rft |  | P.Rft | Rs.
|  | 1 | x | 200 |  | 200
| 3/4" dia | 200 | Rft |  | P.Rft | Rs.
11 | P/F P.V.C Elbow of Schedule 90 degree Nepro Make of schedule 40i.c cutiing fittng and desingning of various size fixed to U-PVC pipe, etc complete as approved by Engineer Incharge (R.A).
|  | 1 | x | 20 |  | 20
| 1/2" dia | 20 | Rft |  | P.Rft | Rs.
|  | 1 | x | 20 |  | 20
| 3/4" dia | 20 | Rft |  | P.Rft | Rs.
12 | P/F "U" P.V.C tee 4" dia make of schedule 40 i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 1 | x | 20 |  | 20
| 1/2" dia | 20 | Nos |  | Each | Rs.
|  | 1 | x | 20 |  | 20
| 3/4" dia | 20 | Nos |  | Each | Rs.
13 | P/F "U" P.V.C Pipe Nepro make schedule 40 i.c cutting and fitting and jointing by using solvent (AGM or equivalent) and testing water presure to head of 200' ft and handling etc as aprproved by Engineer Incharge(R.A).
|  | 1 | x | 225 |  | 225
|  | 225 | Nos |  | Each | Rs.
14 | P/F "U" P.V.C Elbow 90 degree Nepro dia make schedule 40 i.c cutting and fitting and jointing by using solvent (AGM or equivalent) aetc as aprproved by Engineer Incharge(R.A).
|  | 1 | x | 20 |  | 20
|  | 20 | Nos |  | Each | Rs.
15 | P/F Waer Sunction Pump set (Single Phase)220-Volts, 3/4" x 1/2" in/c Electric Wiring in all respect approved by Engineer Incharge (L.Q.R.)
|  | 1 | x | 5 |  | 5
|  | 5 |  |  | Each | Rs.
16 | Boring for ube well in all water bearing soils ground level upto 100 ft or 30.50 meter depth i/c sinking and with drawing of casting pipe (150 mm 6" dia (P/41-1d)
|  | 2 | x | 100 |  | 200
|  | 200 | Rft |  | P.Rft | Rs.
17 | Boring for ube well in all water bearing soils from depth 100 ft or 200.0 ft for 30.51 meter blow ground level i/c sinking and with drawing of casing pipe 150 mm 6" dia (P/42-2b)
|  | 2 | x | 200 |  | 400
|  | 400 | Rft |  | P.Rft | Rs.
18 | S/F PVC stainers B Class of approved desing quality and make i.c necessary sockers etc complete (b) 150 mm 6" dia (P/43-9 d)
|  | 4 | x | 100 |  | 400
|  | 400 | Rft |  | P.Rft | Rs.
19 | Surounding with graded bajri (3/8" to 1/8") or ( 9 to 3mm) in b/w bore and bind pipe for the following dim meter of stainer (150mm 6" dia ) (P/38-16)
|  | 4 | x | 100 |  | 400
|  | 400 | Rft |  | P.Rft | Rs.
Total Part 'B' N.S.I.
[8 empty] | 5148 | 5148
|  |  |  | Total Schedule Items:- |  |  |  | 43307 | 43307
[8 empty] | 68628 | 68628
|  |  |  | G.Total W/S & S/Work:- |  |  |  | 1144140 | 1144140
" G E N E R A L A B S T R A C T "
TOAL PART-A SOLAR SYSTEM
TOAL PART-B W/S & S/WORK
G.TOTAL
TERMS AND CONDITIONS:
1 | Any typographical errors in the schedule "B" are subject to correction with the reference to the schedule of rates
General items 2012 in force from 12-07-2012 as approved by the standing rates committee sindh, Karachi
2 | Water shall be arranged by the contractor at site of work without any extra payment.
3 | No premium shall be paid on non-schedule items.
4 | The work will be carried out as per PWD Specifications.
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-III
KARACHI.