**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 01**

**SUBJECT: - P/L RCC PIPE LINE 12” DIA SECTOR 1-B & 1-C IN UC-08 SITE ZONE**

**DMC (WEST)**

**E/Cost: 9,97,146/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1350/Cft 3327.50%Cft

2. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 9450/Cft 4650 %0 Cft

3. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 900/Rft 412/P.Rft

4. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 48/Nos. 13028 / Each

5. Add or deduct for depth of man holes above or beyond

5 ft (RA). 72/Rft 2245.55/P.Rft

6. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 8505/Cft 2760.0/%0Cft

7. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 1080/Cft 902.20%Cft

8. M/S of Rcc Ring Slab of 21"dia inside 36"dia out side

75" width and 6" thick i/c dia tor steel bars two concrete

ring with 3/8"dia 8 No cross liaked bars welded and two

sunk type hooks cost in a 1:1 1/2 3 concrete with embaded

15kg C.I from in prefund position i/c transportation

cage etc 12 Nos 1906.60/Each

9. M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete

ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars

4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing

stacking and transportation with in 10 Miles 12 Nos 913.63/Each

10. Shifting to the site and fixing of 36”dia Ring Slab in

perfect position on damaged Manholes including cutting

of damage portion of Manhole in proper shape and laying

of cement mortor of 2”thicknes and disposal of debris 12 Nos 563.09/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 02**

**SUBJECT: - REHABILITATION OF SEWERAGE LINE FROM ABDULLAH GEORGE**

**VILLAGE TO SHAH DOST VILLAGE UC-06 SITE ZONE DMC (WEST)**

**E/Cost: 9,92,724/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1125/Cft 3327.50%Cft

2. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 900/Cft 902.20%Cft

3. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 8336/Cft 4650 %0 Cft

4. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 900/Rft 412/P.Rft

5. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 38/Nos. 13028 / Each

6. Add or deduct for depth of man holes above or beyond

5 ft (RA). 38/Rft 2245.55/P.Rft

7. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 7502/Cft 2760.0/%0Cft

8. M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete

ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars

4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing

stacking and transportation with in 10 Miles 38 Nos 913.63/Each

9. M/S of Rcc Ring Slab of 21"dia inside 36"dia out side

75" width and 6" thick i/c dia tor steel bars two concrete

ring with 3/8"dia 8 No cross liaked bars welded and two

sunk type hooks cost in a 1:1 1/2 3 concrete with embaded

15kg C.I from in prefund position i/c transportation

cage etc 38 Nos 1906.60/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 03**

**SUBJECT: - REPAIR OF ROAD THROUGH HAND LAYING AT OLD GOLIMAR**

**UC OFFICE TO EID GAH AND DIFFERENT PLACES IN UC-06**

**SITE ZONE DMC (WEST)**

**E/Cost: 9,98,596/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Earth work of Excavation in ashes sand soft soil or silt

cleanance undressed lead upto 50 ft. 4566/Cft 1663.75%0Cft

2. Dismentaling of Existing asphalt con: road i/c base sub

base and disposal of dismentled material etc 5501/Cft 605%Cft

3. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 8055/Cft 902.20%Cft

4. P/L aggtt base course material over prepared sub-grade

in conformity with lines, grades, thickness and typical

cross section as shown in drawing for new pavements

at grade/widening existing pavements using well graded

granular crushed stone with sand silt having smooth

gradations curve with in the limit for grading C or D as

per AASHTO M-147-65 (1980) and compacting to 100%

of the minium dry density according to AASHTO-180

method D using approved mechanical means of i/c

watering with all lead and lift complete as per

specification as directed by the Engineer Inch. 5501/Cft 5542.24%Cft

5. 1” thick asphalt concrete wearing course plant Mix

laying mechanically to proper line and grade plant

mixed asphalt concrete specified formula according to

job mixed formula approved by the Engineer Incharge

rolling and finishing to design proper grade line level

and comber etc (Machinery with POL’s const of material

carriage Asphalt 60-70 grade content weight 4.5 total

mix: use originally send its Propbihated job mix formulas

prior paving asphalt concrete surface shall be cleaned

rubbish must be strictly to tack prime coat make bondage

during laying temperature 11002/Sft 5093.86%Sft

6. M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete

ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars

4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing

stacking and transportation with in 10 Miles 07 Nos 913.63/Each

7. M/S of Rcc Ring Slab of 21"dia inside 36"dia out side

75" width and 6" thick i/c dia tor steel bars two concrete

ring with 3/8"dia 8 No cross liaked bars welded and two

sunk type hooks cost in a 1:1 1/2 3 concrete with embaded

15kg C.I from in prefund position i/c transportation

cage etc 07 Nos 1906.60/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 04**

**SUBJECT: - HIRING OF LABOUR AND MACHINERY FOR CLEANING OF BACK**

**LANE BLOCK D HASRAT MOHANI COLONY UC-05 SITE ZONE**

**DMC (WEST)**

**E/Cost: 9,99,309/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. **Hiring of Machinery**

Machiner with POL

1. Front Loader 88 Hours 3088.13/P.Hour
2. Dumper (Hino) 352 Hours 2006.90/P.Hour

2. Hiring of Skilled Labour for Cleaning of Nallah

for 8 Hour 22 Nos 750/Each

3. Over Time of Private Labour after 8 hours 37 Nos 125/P.Hour

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 05**

**SUBJECT: - PROVIDING & FIXING PAVER BLOCK FROM NOOR AHMED,**

**ABDUL SATTAR TO IQBAL AHMED AT SHERSHAH UC-07 SITE**

**ZONE DMC (WEST)**

**E/Cost: 9,98,119/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1000/Cft 3327.50%Cft

2. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 800/Cft 902.20%Cft

3. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 1730/Cft 4650 %0 Cft

4. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 200/Rft 412/P.Rft

5. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 08/Nos. 13028 / Each

6. Add or deduct for depth of man holes above or beyond

5 ft (RA). 18/Rft 2245.55/P.Rft

7. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 1557/Cft 2760.0/%0Cft

8. Providing & fixing Cement Paving Blocks / Boring having

size of 197 \* 97 x 60mm of City / Quddra / Cobble Shape

with natural colours having strength between 5000 PSI to

8000 PSI i/c filling the joints with hill sand & laying in

specified manner pattern and design etc complete 4000/Sft 199.77/P.Sft

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 06**

**SUBJECT: - REPAIR OF ROAD FROM MAIN KABARI MARKET TO UC OFFICE**

**AND DIFFERENT PLACES AT UC-07 SHERSHAH SITE ZONE**

**DMC (WEST)**

**E/Cost: 9,99,431/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Earth work of Excavation in ashes sand soft soil or silt

cleanance undressed lead upto 50 ft. 4566/Cft 1663.75%0Cft

2. Dismentaling of Existing asphalt con: road i/c base sub

base and disposal of dismentled material etc 5501/Cft 605%Cft

3. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 8055/Cft 902.20%Cft

4. P/L aggtt base course material over prepared sub-grade

in conformity with lines, grades, thickness and typical

cross section as shown in drawing for new pavements

at grade/widening existing pavements using well graded

granular crushed stone with sand silt having smooth

gradations curve with in the limit for grading C or D as

per AASHTO M-147-65 (1980) and compacting to 100%

of the minium dry density according to AASHTO-180

method D using approved mechanical means of i/c

watering with all lead and lift complete as per

specification as directed by the Engineer Inch. 5501/Cft 5542.24%Cft

5. 1” thick asphalt concrete wearing course plant Mix

laying mechanically to proper line and grade plant

mixed asphalt concrete specified formula according to

job mixed formula approved by the Engineer Incharge

rolling and finishing to design proper grade line level

and comber etc (Machinery with POL’s const of material

carriage Asphalt 60-70 grade content weight 4.5 total

mix: use originally send its Propbihated job mix formulas

prior paving asphalt concrete surface shall be cleaned

rubbish must be strictly to tack prime coat make bondage

during laying temperature 11002/Sft 5093.86%Sft

6. M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete

ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars

4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing

stacking and transportation with in 10 Miles 10 Nos 913.63/Each

7. M/S of Rcc Ring Slab of 21"dia inside 36"dia out side

75" width and 6" thick i/c dia tor steel bars two concrete

ring with 3/8"dia 8 No cross liaked bars welded and two

sunk type hooks cost in a 1:1 1/2 3 concrete with embaded

15kg C.I from in prefund position i/c transportation

cage etc 06 Nos 1906.60/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 07**

**SUBJECT: - PROVIDING & FIXING OF PAVER BLOCK FROM HOUSE**

**NO.F-11/80 TO F-11/73 IN ASIF COLONY AT UC-05 PAK COLONY,**

**DMC (WEST) SITE ZONE**

**E/Cost: 9,96,690/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1000/Cft 3327.50%Cft

2. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 800/Cft 902.20%Cft

3. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 1750/Cft 4650 %0 Cft

4. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 200/Rft 412/P.Rft

5. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 08/Nos. 13028 / Each

6. Add or deduct for depth of man holes above or beyond

5 ft (RA). 18.7/Rft 2245.55/P.Rft

7. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 1575/Cft 2760.0/%0Cft

8. Providing & fixing Cement Paving Blocks / Boring having

size of 197 \* 97 x 60mm of City / Quddra / Cobble Shape

with natural colours having strength between 5000 PSI to

8000 PSI i/c filling the joints with hill sand & laying in

specified manner pattern and design etc complete 4000/Sft 199.77/P.Sft

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 08**

**SUBJECT: - CONST OF CC DRAIN INFRONT OF UMER MASJID IN UC-09**

**GILGITI MOHALLAH SITE ZONE DMC (WEST)**

**E/Cost: 9,98,066/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of Cement Concrete Plain 1:2:4 laying etc 200/Cft 3327.50%Cft

2. Dismantling CC reinf: separating reinforcement from

concrete cleaning the straightening the same. 94/Cft 5445%Cft

3. Excavation for Foundation of building, bridges and other structures

including dagbolling dressing refilling ground structure with

excavated earth watering and ramming lead upto 5 feet in

ordinary soil. 1800/Cft 3176.25%0Cft

4. Cartage of 100 Cft 5 tons all materials like stone

aggregate spwals lime surkhi BG rail fasting points

crossing bridge guders pipe sheet M/S Brass sheets

1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft

timber 100 mould fuel wood by trenches owned by the

contractor withing 10 miles etc comp: 1675/Cft 902.20%Cft

5. S.S Soling 9” to 6” i/c are lead in left etc complete 300/Cft 13596%Cft

6. Cement Concrete brick or stone ballast 1 ½” to gauge 1:4:8 ratio 200/Cft 9416.28%Cft

7. P/L 1:2:4 cc situ i/c placing compacting finishing curing

i/c screening washing stone aggregate without shuttering

etc. 503/Cft 14429.25%Cft

8. Erection or removal centering for Rcc or Plain CC plain

work deador wood 2nd class. 3000/Sft 3588.48%Sft

9. P/L Rcc work i/c all labour materials the cost of reinf:

its labour bending which will be a paid separately i/c

all kind form moulds lifting shuttering washing finishing

single Rcc work roof slab beams lintel columns other

structural members laid in situ or pre cost in position

in all respect. 375/Cft 337/P.Cft

10. Fabrication of mild steel reinforcement cement concrete

i/c cutting binding laying iin position making joints and

fastening i/c cost of bending wire also i.c removal rust

from bars. 13.39/Cwt 5001.70/P.Cwt

11. Dewatering of water 05 Days 1500/P.Days

12. **Hiring of Machinery**

Machiner with POL

1. Front Loader / Excavator 32 Hours 3088.13/P.Hour
2. Dumper (Hino) 64 Hours 2006.90/P.Hour

13. Hiring of Skilled Labour for Cleaning of Nallah for 8 Hour 340 Nos 750/Each

14. Over Time of Private Labour after 8 hours 340 Hours 125/P.Hour

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 09**

**SUBJECT: - REPLACEMENT OF SEWERAGE LINE ASHFAQ CHEIF HOUSE**

**TO ZAHID GENERAL STORE IN “A” AREA UC-08 QASBA COLONY**

**SITE ZONE DMC (WEST)**

**E/Cost: 9,96,120/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 2471/Cft 3327.50%Cft

2. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 10800/Cft 4650 %0 Cft

3. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 900/Rft 412/P.Rft

4. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 40/Nos. 13028 / Each

5. Add or deduct for depth of man holes above or beyond

5 ft (RA). 40/Rft 2245.55/P.Rft

6. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 9720/Cft 2760.0/%0Cft

7. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 1977/Cft 902.20%Cft

8. M/S of Rcc Ring Slab of 21"dia inside 36"dia out side

75" width and 6" thick i/c dia tor steel bars two concrete

ring with 3/8"dia 8 No cross liaked bars welded and two

sunk type hooks cost in a 1:1 1/2 3 concrete with embaded

15kg C.I from in prefund position i/c transportation

cage etc 05 Nos 1906.60/Each

9. M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete

ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars

4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing

stacking and transportation with in 10 Miles 05 Nos 913.63/Each

10. Shifting to the site and fixing of 36”dia Ring Slab in

perfect position on damaged Manholes including cutting

of damage portion of Manhole in proper shape and laying

of cement mortor of 2”thicknes and disposal of debris 05 Nos 563.09/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 10**

**SUBJECT: - IMP OF CC DRAIN CHRISTIAN MOHALLAH TO MUHAMMADI**

**MASJID IN UC-09 SITE ZONE DMC (WEST)**

**E/Cost: 9,98,249/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of Cement Concrete Plain 1:2:4 laying etc 656/Cft 3327.50%Cft

2. Dismantling CC reinf: separating reinforcement from

concrete cleaning the straightening the same. 450/Cft 5445%Cft

3. Cartage of 100 Cft 5 tons all materials like stone

aggregate spwals lime surkhi BG rail fasting points

crossing bridge guders pipe sheet M/S Brass sheets

1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft

timber 100 mould fuel wood by trenches owned by the

contractor withing 10 miles etc comp: 9525/Cft 902.20%Cft

4. P/L 1:2:4 cc situ i/c placing compacting finishing curing

i/c screening washing stone aggregate without shuttering

etc. 240/Cft 14429.25%Cft

5. Erection or removal centering for Rcc or Plain CC plain

work deador wood 2nd class. 640/Sft 3588.48%Sft

6. P/L Rcc work i/c all labour materials the cost of reinf:

its labour bending which will be a paid separately i/c

all kind form moulds lifting shuttering washing finishing

single Rcc work roof slab beams lintel columns other

structural members laid in situ or pre cost in position

in all respect. 825/Cft 337/P.Cft

7. Fabrication of mild steel reinforcement cement concrete

i/c cutting binding laying iin position making joints and

fastening i/c cost of bending wire also i.c removal rust

from bars. 29.46/Cwt 5001.70/P.Cwt

8. **Hiring of Machinery**

Machiner with POL

1. Front Loader / Excavator 32 Hours 3088.13/P.Hour
2. Dumper (Hino) 64 Hours 2006.90/P.Hour

9. Hiring of Skilled Labour for Cleaning of Nallah for 8 Hour 178 Nos 750/Each

10. Over Time of Private Labour after 8 hours 178 Hours 125/P.Hour

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 11**

**SUBJECT: - CONST OF CC DRAIN MUHAMMADI MASJID TO CHAPAL STORE**

**UC-09 GILGITI MOHALLAH DMC (WEST) SITE ZONE**

**E/Cost: 9,96,878/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of Cement Concrete Plain 1:2:4 laying etc 338/Cft 3327.50%Cft

2. Dismantling CC reinf: separating reinforcement from

concrete cleaning the straightening the same. 302/Cft 5445%Cft

3. Excavation for Foundation of building, bridges and other structures

including dagbolling dressing refilling ground structure with

excavated earth watering and ramming lead upto 5 feet in

ordinary soil. 1375/Cft 3176.25%0Cft

4. Cartage of 100 Cft 5 tons all materials like stone

aggregate spwals lime surkhi BG rail fasting points

crossing bridge guders pipe sheet M/S Brass sheets

1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft

timber 100 mould fuel wood by trenches owned by the

contractor withing 10 miles etc comp: 8092/Cft 902.20%Cft

5. S.S Soling 9” to 6” i/c are lead in left etc complete 188/Cft 13596%Cft

6. Cement Concrete brick or stone ballast 1 ½” to gauge 1:4:8 ratio 104/Cft 9416.28%Cft

7. P/L 1:2:4 cc situ i/c placing compacting finishing curing

i/c screening washing stone aggregate without shuttering

etc. 374/Cft 14429.25%Cft

8. Erection or removal centering for Rcc or Plain CC plain

work deador wood 2nd class. 900/Sft 3588.48%Sft

9. P/L Rcc work i/c all labour materials the cost of reinf:

its labour bending which will be a paid separately i/c

all kind form moulds lifting shuttering washing finishing

single Rcc work roof slab beams lintel columns other

structural members laid in situ or pre cost in position

in all respect. 457/Cft 337/P.Cft

10. Fabrication of mild steel reinforcement cement concrete

i/c cutting binding laying iin position making joints and

fastening i/c cost of bending wire also i.c removal rust

from bars. 16.32/Cwt 5001.70/P.Cwt

11. Dewatering of water 08 Days 1500/P.Days

12. **Hiring of Machinery**

Machiner with POL

1. Front Loader / Excavator 32 Hours 3088.13/P.Hour
2. Dumper (Hino) 64 Hours 2006.90/P.Hour

13. Hiring of Skilled Labour for Cleaning of Nallah for 8 Hour 330 Nos 750/Each

14. Over Time of Private Labour after 8 hours 330 Hours 125/P.Hour

15. Dismantling of Cement Concrete Plain 1:2:4 laying etc 200/Cft 3275.50%Cft

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 12**

**SUBJECT: - PROVIDING & FIXING OF PAVER BLOCK FROM HOUSE NO.D-58**

**TO D-28 JALALUDDIN IN HASRAT MOHANI COLONY AT UC-05**

**PAK COLONY DMC (WEST) SITE ZONE**

**E/Cost: 9,98,262/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1000/Cft 3327.50%Cft

2. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 800/Cft 902.20%Cft

3. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 1750/Cft 4650 %0 Cft

4. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 200/Rft 412/P.Rft

5. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 08/Nos. 13028 / Each

6. Add or deduct for depth of man holes above or beyond

5 ft (RA). 18.8/Rft 2245.55/P.Rft

7. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 1575/Cft 2760.0/%0Cft

8. Providing & fixing Cement Paving Blocks / Boring having

size of 197 \* 97 x 60mm of City / Quddra / Cobble Shape

with natural colours having strength between 5000 PSI to

8000 PSI i/c filling the joints with hill sand & laying in

specified manner pattern and design etc complete 4000/Sft 199.77/P.Sft

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**