**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 01**

**SUBJECT: - P/L RCC PIPE LINE REHMAN HOUSE TO IBRAHIM ALI BHAI**

**SCHOOL SECTOR 1-B & 1-C IN UC-08 SITE ZONE DMC (WEST)**

**E/Cost: 9,99,292/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1200/Cft 3327.50%Cft

2. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 9600/Cft 4650 %0 Cft

3. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 800/Rft 412/P.Rft

4. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 44/Nos. 13028 / Each

5. Add or deduct for depth of man holes above or beyond

5 ft (RA). 44/Rft 2245.55/P.Rft

6. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 8640/Cft 2760.0/%0Cft

7. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 960/Cft 902.20%Cft

8. M/S of Rcc Ring Slab of 21"dia inside 36"dia out side

75" width and 6" thick i/c dia tor steel bars two concrete

ring with 3/8"dia 8 No cross liaked bars welded and two

sunk type hooks cost in a 1:1 1/2 3 concrete with embaded

15kg C.I from in prefund position i/c transportation

cage etc 25 Nos 1906.60/Each

9. M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete

ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars

4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing

stacking and transportation with in 10 Miles 18 Nos 913.63/Each

10. Shifting to the site and fixing of 36”dia Ring Slab in

perfect position on damaged Manholes including cutting

of damage portion of Manhole in proper shape and laying

of cement mortor of 2”thicknes and disposal of debris 25 Nos 563.09/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 02**

**SUBJECT: - REHABILITATION OF SEWERAGE LINE FROM HAJI ABDUL**

**GHAOO VILLAGE TO BADAL VILLAGE UC-06 SITE ZONE DMC**

**(WEST)**

**E/Cost: 9,91,442/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1125/Cft 3327.50%Cft

2. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 900/Cft 902.20%Cft

3. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 8156/Cft 4650 %0 Cft

4. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 900/Rft 412/P.Rft

5. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 38/Nos. 13028 / Each

6. Add or deduct for depth of man holes above or beyond

5 ft (RA). 38/Rft 2245.55/P.Rft

7. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 7341/Cft 2760.0/%0Cft

8. M/S of Rcc Ring Slab of 21"dia inside 36"dia out side

75" width and 6" thick i/c dia tor steel bars two concrete

ring with 3/8"dia 8 No cross liaked bars welded and two

sunk type hooks cost in a 1:1 1/2 3 concrete with embaded

15kg C.I from in prefund position i/c transportation

cage etc 38 Nos 1906.60/Each

9. M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete

ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars

4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing

stacking and transportation with in 10 Miles 38 Nos 913.63/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 03**

**SUBJECT: - REPAIR OF ROAD THROUGH HAND LAYING AT SHEEREEN**

**BAKERY TO CHURIYA HOTEL AND DIFFERENT PLACES IN**

**UC-06 SITE ZONE DMC (WEST)**

**E/Cost: 9,99,510 /- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Earth work of Excavation in ashes sand soft soil or silt

cleanance undressed lead upto 50 ft. 4566/Cft 1663.75%0Cft

2. Dismentaling of Existing asphalt con: road i/c base sub

base and disposal of dismentled material etc 5501/Cft 605%Cft

3. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 8055/Cft 902.20%Cft

4. P/L aggtt base course material over prepared sub-grade

in conformity with lines, grades, thickness and typical

cross section as shown in drawing for new pavements

at grade/widening existing pavements using well graded

granular crushed stone with sand silt having smooth

gradations curve with in the limit for grading C or D as

per AASHTO M-147-65 (1980) and compacting to 100%

of the minium dry density according to AASHTO-180

method D using approved mechanical means of i/c

watering with all lead and lift complete as per

specification as directed by the Engineer Inch. 5501/Cft 5542.24%Cft

5. 1” thick asphalt concrete wearing course plant Mix

laying mechanically to proper line and grade plant

mixed asphalt concrete specified formula according to

job mixed formula approved by the Engineer Incharge

rolling and finishing to design proper grade line level

and comber etc (Machinery with POL’s const of material

carriage Asphalt 60-70 grade content weight 4.5 total

mix: use originally send its Propbihated job mix formulas

prior paving asphalt concrete surface shall be cleaned

rubbish must be strictly to tack prime coat make bondage

during laying temperature 11002/Sft 5093.86%Sft

6. M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete

ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars

4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing

stacking and transportation with in 10 Miles 08 Nos 913.63/Each

7. M/S of Rcc Ring Slab of 21"dia inside 36"dia out side

75" width and 6" thick i/c dia tor steel bars two concrete

ring with 3/8"dia 8 No cross liaked bars welded and two

sunk type hooks cost in a 1:1 1/2 3 concrete with embaded

15kg C.I from in prefund position i/c transportation

cage etc 07 Nos 1906.60/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 04**

**SUBJECT: - HIRING OF MACHINERY I.E. EXCAVATOR, DUMPER, LOADER**

**& LABOUR FOR CLEANING CAMPAIGN IN WARD-II SITE ZONE**

**DMC (WEST)**

**E/Cost: 9,99,434/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. **Hiring of Machinery**

Machiner with POL

1. Front Loader / Excavator 88 Hours 3088.13/P.Hour
2. Dumper (Hino) 352 Hours 2006.90/P.Hour

2. Hiring of Skilled Labour for Cleaning of Nallah for 8 Hour 22 Nos 750/Each

3. Over Time of Private Labour after 8 hours 38 Hours 125/P.Hour

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 05**

**SUBJECT: - PROVIDING & FIXING PAVERS BLOCK FROM MUHAMMAD**

**HASSAN TO GHULAM HUSSAIN AT SHERSHAH UC-07 SITE ZONE**

**DMC (WEST)**

**E/Cost: 9,98,262/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1000/Cft 3327.50%Cft

2. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 800/Cft 902.20%Cft

3. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 1750/Cft 4650 %0 Cft

4. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 200/Rft 412/P.Rft

5. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 08/Nos. 13028 / Each

6. Add or deduct for depth of man holes above or beyond

5 ft (RA). 18/Rft 2245.55/P.Rft

7. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 1575/Cft 2760.0/%0Cft

8. Providing & fixing Cement Paving Blocks / Boring having

size of 197 \* 97 x 60mm of City / Quddra / Cobble Shape

with natural colours having strength between 5000 PSI to

8000 PSI i/c filling the joints with hill sand & laying in

specified manner pattern and design etc complete 4000/Sft 199.77/P.Sft

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 06**

**SUBJECT: - REHABILITATION OF SEWERAGE SYSTEM TO MOHALLAH**

**HAROONABAD STREET NO. 20, 21, 22, 23, UC-07 SITE ZONE DMC**

**(WEST)**

**E/Cost: 9,93,452/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1125/Cft 3327.50%Cft

2. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 900/Cft 902.20%Cft

3. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 8438/Cft 4650 %0 Cft

4. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 900/Rft 412/P.Rft

5. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 38/Nos. 13028 / Each

6. Add or deduct for depth of man holes above or beyond

5 ft (RA). 38/Rft 2245.55/P.Rft

7. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 7594/Cft 2760.0/%0Cft

8. M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete

ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars

4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing

stacking and transportation with in 10 Miles 38 Nos 913.63/Each

9. M/S of Rcc Ring Slab of 21"dia inside 36"dia out side

75" width and 6" thick i/c dia tor steel bars two concrete

ring with 3/8"dia 8 No cross liaked bars welded and two

sunk type hooks cost in a 1:1 1/2 3 concrete with embaded

15kg C.I from in prefund position i/c transportation

cage etc 38 Nos 1906.60/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 07**

**SUBJECT: - PROVIDING & FIXING OF PAVER BLOCK FROM HOUSE NO.**

**F-12/82 TO F-12/88 IN ASIF COLONY AT UC-05 PAK COLONY,**

**DMC (WEST) SITE ZONE**

**E/Cost: 9,96,466/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1000/Cft 3327.50%Cft

2. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 800/Cft 902.20%Cft

3. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 1750/Cft 4650 %0 Cft

4. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 200/Rft 412/P.Rft

5. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 08/Nos. 13028 / Each

6. Add or deduct for depth of man holes above or beyond

5 ft (RA). 18.8/Rft 2245.55/P.Rft

7. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 1575/Cft 2760.0/%0Cft

8. Providing & fixing Cement Paving Blocks / Boring having

size of 197 \* 97 x 60mm of City / Quddra / Cobble Shape

with natural colours having strength between 5000 PSI to

8000 PSI i/c filling the joints with hill sand & laying in

specified manner pattern and design etc complete 4000/Sft 199.77/P.Sft

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 08**

**SUBJECT: - REPAIR AND RENOVATION WORK OF SYED ABAN SHAHEED**

**DISPENSARY SECTOR 5 UC-04 SITE ZONE DMC (WEST)**

**E/Cost:9,85,438/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of Cement block Masonary 104/Cft 1134.38%Cft

2. P/L 1:3:6 cc solid block masonry wall 6" thick and

below thickness set in 1:6 cement master in ground

floor superstructure i/c raking out joints and curing etc 140/Cft 14621.44%Cft

3. P/L ½” thick cement plaster 1:4 up to 12’ height 1500/Sft 2283.93%Sft

4. Pre Cast Rcc Slab Cement Concrete i/c Rcc Guirder on

topping 2” thick flooring 48/Sft 210/P.Sft

5. Providing and fixing 1” thick cancelled door and window

fitted in portion complete with Iron fitting without

chowkats 273/Sft 583.67/P.Sft

6. P/F in portion door, windows and ventilators of 1st class

deodar wood from and 1-3/4” thick commercial ply

vanner shutter of 1st class deodar slecton (Hollow)

and commercial ply wood (3 Ply) on both sides Making

and fixing frame for door, windows and c.wind 224/Sft 856.53/P.Sft

7. P/F G.I frames / chowkhats of size 7” x 2” or 4 ½” x 3”

for doors using 20 gauge G.I Sheet i/c welded hingers

and fixing at sets with necessary hold fast filling with

cement sad slurry of ratio 1:6 and repairing the jambs

the cast also i/c all carriage tools and plants used in

making and fixing etc 288/Rft 228.90/P.Rft

8. Making and fixing steel grated door with 1 /16” thick

sheeting i/c angle iron 2” x 2” x 3/8” and ¾” square

bar 4” center to center with locking arrangments 28/Sft 726.72/P.Sft

9. Glazing with penz to 18” dia i/c cast of patty 63/Sft 142.90/P.Sft

10. P/F with sunk iron screw wooden architrave approved

design shape having width not less than 2 ½ inches as

directed by Engineer 1074/Rft 49.97/P.Rft

11. white wash or colour wash

scraping 8297/Sft 75.63%Sft

Ordinary distemper oil bend distemper or paint on walls 13356/Sft 226.88%Sft

12. White Washing two coat 3017/Sft 425.84%Sft

13. Distempering two coat Painting corrugated surface 8856/Sft 1043.90%Sft

14. Pattent roofing etc 1st coat each subsequent 4500/Sft 1072.06%Sft

15. Preparing surface and painting doors and window any

type (New Surface) 920/Sft 1489.68%Sft

16. Painting on guards bars, gates iron bars grating railing

i/c standard bracess (etc) and surface open works 566/Sft 674.60%Sft

17. Colour washing two coat 5280/Sft 859.90%Sft

18. P/F Angle Iron Vertical Port for barbed wire facing of

size 2” x 2” x ¼” embeded in R.C.C Masonary pillars

i/c making cuts / holders C 12’ i/c fixing in pillar by

chisling and filling with cement sand mortar and

finishing surface 68/Rft 169.18/P.Rft

19. P/F barbed wire facing with 12 gauge 4 points 6” apart

barbed wire i/c straigthening and fixing in angle iron

vertical part 1020/Rft 8.38/P.Rft

20. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 625/Cft 4650 %0 Cft

21. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 100/Rft 412/P.Rft

22. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 04/Nos. 13028 / Each

23. Add or deduct for depth of man holes above or beyond

5 ft (RA). 8.0/Rft 2245.55/P.Rft

24. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 563/Cft 2760.0/%0Cft

25. P/L P.V.C pressure pipe of class ‘D’ fixing in trench i/c

cutting fitting and jointing with solution

UPVC 25mm 60/Rft 28/P.Rft

UPVC 38mm 20/Rft 40/P.Rft

UPVC 110mm 20/Rft 262/P.Rft

26. P/F Orisa type white or colour glazed earthenware

W.C pan with cost of low level plastic flush tank of

3 gallons capacity of approved quality 18/C making

requisite numbers of holes in wall paint and floor and

making good in cement concrete 1:2:4 W.C pan Orisa

type 23” with plastic tank C.I trap and C.I thumbles 02 Nos 5044.60/Each

27. P/F 24” x 18” lavaroty basin in white glazed earthenware

complete with and i/c the cost of W.I or C.I in cetilver

brackets 6” built in walls painted white in three coat

after a primary coat of rod lead paint a pairs of ½” dia

crome plated brass chain pipe connection making grade

in C.C 1:2:4 for pedesterak add for extra labour for P/F

earthenware pedestal white or coloured 06 Nos 5192.37/Each

28. S/F Sawan type piller cock of superior quality single

C.P head ½”dia 06 Nos 795.30/Each

29. S/F in portion brass bib cock ½” dia started pattern 12 Nos 337.92/Each

30. P/F C.I Manholes cover and frame i/c cost of material 01 Nos 6985/Each

31. Cleaning and decontemination of under grade / O. Head

water tank with chemical i/c dewatering and cleaning

the walls with hand brush and white washing two coats 1120/Sft 7.27/P.Sft

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 09**

**SUBJECT: - PROVIDING & FIXING OF PAVER BLOCK FROM HOUSE NO.A-4**

**TO A-70 BLOCK B ZUBAIRY COLONY AT UC-05 PAK COLONY DMC**

**(WEST) SITE ZONE**

**E/Cost: 9,96,690/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1000/Cft 3327.50%Cft

2. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 800/Cft 902.20%Cft

3. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 1750/Cft 4650 %0 Cft

4. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 200/Rft 412/P.Rft

5. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 08/Nos. 13028 / Each

6. Add or deduct for depth of man holes above or beyond

5 ft (RA). 18.7/Rft 2245.55/P.Rft

7. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 1575/Cft 2760.0/%0Cft

8. Providing & fixing Cement Paving Blocks / Boring having

size of 197 \* 97 x 60mm of City / Quddra / Cobble Shape

with natural colours having strength between 5000 PSI to

8000 PSI i/c filling the joints with hill sand & laying in

specified manner pattern and design etc complete 4000/Sft 199.77/P.Sft

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 10**

**SUBJECT: - IMP OF CC STREET IN MUSLIMABAD NO.03 STREET NO.06, 07, 08**

**IN UC-10 SITE ZONE DMC (WEST)**

**E/Cost: 9,87,626/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1350/Cft 3327.50%Cft

2. Earth work of Excavation in ashes sand soft soil or silt

cleanance undressed lead up to 50ft 4856/Cft 1663.75%0Cft

3. Cartage of 100 Cft 5 tons all materials like stone

aggregate spwals lime surkhi BG rail fasting points

crossing bridge guders pipe sheet M/S Brass sheets

1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft

timber 100 mould fuel wood by trenches owned by the

contractor withing 10 miles etc comp: 4965/Cft 902.20%Cft

4. CC plain i/c placing compacting finishing and curing

complete i/c screening and washing of stone aggregate

without shuttering ratio 1:4:8 4076/Cft 9416.28%Cft

5. P/L 2" thick toping cement concrete 1:2:4 i/c surface

finishing and dividing into panels eto completed. 12350/Sft3275.50%Sft

6. M/S of Rcc Ring Slab of 21"dia inside 36"dia out side

75" width and 6" thick i/c dia tor steel bars two concrete

ring with 3/8"dia 8 No cross liaked bars welded and two

sunk type hooks cost in a 1:1 1/2 3 concrete with embaded

15kg C.I from in prefund position i/c transportation

cage etc 30 Nos 1906.60/Each

7. M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete

ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars

4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing

stacking and transportation with in 10 Miles 30 Nos 913.63/Each

8. Shifting to the site and fixing of 36”dia Ring Slab in

perfect position on damaged Manholes including cutting

of damage portion of Manhole in proper shape and laying

of cement mortor of 2”thicknes and disposal of debris 30 Nos 563.09/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 11**

**SUBJECT: - CONST OF CC DRAIN IN NOORANI MOHALLAH & CLEANING**

**OF NALLAH’S WARD-II IN UC-14 DMC (WEST) SITE ZONE**

**E/Cost: 9,92,310/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of Cement Concrete Plain 1:2:4 laying etc 1080/Cft 3327.50%Cft

2. Dismantling CC reinf: separating reinforcement from

concrete cleaning the straightening the same. 400/Cft 5445%Cft

3. Cartage of 100 Cft 5 tons all materials like stone

aggregate spwals lime surkhi BG rail fasting points

crossing bridge guders pipe sheet M/S Brass sheets

1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft

timber 100 mould fuel wood by trenches owned by the

contractor withing 10 miles etc comp: 1184/Cft 902.20%Cft

4. P/L 1:2:4 cc situ i/c placing compacting finishing curing

i/c screening washing stone aggregate without shuttering

etc. 94/Cft 14429.25%Cft

5. Erection or removal centering for Rcc or Plain CC plain

work deador wood 2nd class. 450/Sft 3588.48%Sft

6. P/L Rcc work i/c all labour materials the cost of reinf:

its labour bending which will be a paid separately i/c

all kind form moulds lifting shuttering washing finishing

single Rcc work roof slab beams lintel columns other

structural members laid in situ or pre cost in position

in all respect. 413/Cft 337/P.Cft

7. Fabrication of mild steel reinforcement cement concrete

i/c cutting binding laying iin position making joints and

fastening i/c cost of bending wire also i.c removal rust

from bars. 11/Cwt 5001.70/P.Cwt

8. Hiring of Skilled Labour for Cleaning of Nallah for 8 Hour 800 Nos 750/Each

9. Over Time of Private Labour after 8 hours 800 Hours 125/P.Hour

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 12**

**SUBJECT: - PROVIDING & FIXING OF PAVER BLOCK FROM HOUSE NO.A-37**

**TO A-55 IN HASRAT MOHANI COLONY AT UC-05 DMC (WEST)**

**SITE ZONE**

**E/Cost: 9,96,478/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of CC Work 1:2:4 1000/Cft 3327.50%Cft

2. Cartage of 100 Cft 5 tons all materials like stone aggregate

spwals lime surkhi BG rail fasting points crossing bridge

guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3"  
1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood

by trenches owned by the contractor withing 10 miles

etc comp: 800/Cft 902.20%Cft

3. Excavation of pipe line trenches pipe all kind of soil

murum i/c trimming dressing leveling beds trenches

correct level and graded cutting joints holes disposal

of surplus earth with in 1 chains as directed by the

Engg: Inch: P. fence guard lights flags temporary

crossing non vehicler traffic where ever req: a lift up

to 5 ft & lead up to 1 chain. 1500/Cft 4650 %0 Cft

4. P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70

class II wall ‘B’ and fixing in trenches i/c cutting

fitting jointing with rubber ring i/c testing with water

to specified pressure 9″ & 12″dia pipe. 200/Rft 412/P.Rft

5. Const of Main Holes 4 inside with Rcc covers 21″dia

3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC

cost in situ 9″ thick wall and disposal of surplus stuff

etc comp: 08/Nos. 13028 / Each

6. Add or deduct for depth of man holes above or beyond

5 ft (RA). 18/Rft 2245.55/P.Rft

7. Refilling the excavated stuff in trenches 6″ thick layer i/c

watering ramming to full compaction etc comp: 1350/Cft 2760.0/%0Cft

8. Providing & fixing Cement Paving Blocks / Boring having

size of 197 \* 97 x 60mm of City / Quddra / Cobble Shape

with natural colours having strength between 5000 PSI to

8000 PSI i/c filling the joints with hill sand & laying in

specified manner pattern and design etc complete 4000/Sft 199.77/P.Sft

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**OFFICE OF THE EXECUTIVE ENGINEER (B&R) SITE ZONE DMC WEST KARACHI**

**Work 13**

**SUBJECT: - CONST / IMP OF CC DRAIN FROM AQSA MASJID TO DUSTAGIR**

**CHOWK AT NAZERYA MOHALLAH IN UC-15 SITE ZONE DMC**

**(WEST)**

**E/Cost: 9,95,825/- E/Money 20,000/- T/Limit 45 Days Penalty 500/- PD.**

**S.No Description of Work Quantity Rate Per%**

1. Dismantling of Cement Concrete Plain 1:2:4 laying etc 227/Cft 3327.50%Cft

2. Dismantling CC reinf: separating reinforcement from

concrete cleaning the straightening the same. 387/Cft 5445%Cft

3. Cartage of 100 Cft 5 tons all materials like stone

aggregate spwals lime surkhi BG rail fasting points

crossing bridge guders pipe sheet M/S Brass sheets

1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft

timber 100 mould fuel wood by trenches owned by the

contractor withing 10 miles etc comp: 5042/Cft 902.20%Cft

4. P/L 1:2:4 cc situ i/c placing compacting finishing curing

i/c screening washing stone aggregate without shuttering

etc. 1350/Cft 14429.25%Cft

5. Erection or removal centering for Rcc or Plain CC plain

work deador wood 2nd class. 5400/Sft 3588.48%Sft

6. P/L Rcc work i/c all labour materials the cost of reinf:

its labour bending which will be a paid separately i/c

all kind form moulds lifting shuttering washing finishing

single Rcc work roof slab beams lintel columns other

structural members laid in situ or pre cost in position

in all respect. 866/Cft 337/P.Cft

7. Fabrication of mild steel reinforcement cement concrete

i/c cutting binding laying iin position making joints and

fastening i/c cost of bending wire also i.c removal rust

from bars. 27/Cwt 5001.70/P.Cwt

8. Hiring of Skilled Labour for Cleaning of Nallah for 8 Hour 125 Nos 850/Each

**EXECUTIVE ENGINEER (B&R)**

**SITE ZONE DMC (WEST)**

**I / we hereby quoted \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Above / Below the SR.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**