No. of Sheets = 29

TENDER DOCUMENT

###### TENDER NO-58/2016

TENDER FOR RENOVATION WORKS

FOR PRIVATE WARD AS PER BOQ

DUE ON 22-05-2017

| COST OF TENDER | Rs. 1000/- (Rupees One Thousand Only) Non-Refundable |
| --- | --- |
| TENDER SELLING DATE | From 02-05-2017 to 19-05-2017 |
| TENDER SUBMISSION PLACE | Procurement Department |
| TENDER SUBMISSION DATE | 22-05-2017 |
| TENDER SUBMISSION TIME | 08:30 a.m. to 11:30 a.m |
| TENDER OPENING PLACE | Conference Hall / Nursing Hostel of NICVD Building, Karachi. |
| TENDER OPENING DATE | 22-05-2017 |
| TENDER OPENING TIME | 12:00 Noon |

Note:   No tender will be accepted after closing the

tender box, what so ever reason may be.

PROCUREMENT DEPARTMENT

NATIONAL INSTITUTE OF CARDIOVASULAR DISEASES

Rafiqui (H.J) Shaheed Road, Karachi

Tel. No. 35218530, 99201271 Ext.419 , Fax. 99201289

### Website: nicvd.org.pk

###### TENDER NO-58/2016

### TERMS & CONDITIONS

TENDER FOR RENOVATION WORKS

FOR PRIVATE WARD AS PER BOQ

Note:    No tender will be accepted after closing the tender box,

What so ever reason may be.

Bidders are required to comply all the clauses mentioned in the Terms and Conditions of the Tender and any deviation will forbid them in competing for the tender.

- Single stage – Two Envelopes procedure as per SINDH PPRA-2010 Rule 46(2) will be followed (single stage two envelopes procedure) i.e. TECHNICAL and FINANCIAL PROPOSAL will be placed in separate sealed envelopes and marked accordingly.  These two envelopes should be placed in one envelope addressed to the Executive Director, NICVD, Karachi with Tender number and inserted in the tender box on scheduled date and time.

- The Technical Proposal must contain original data sheet, technical brochure and all other relevant documents as mentioned in Annexure-A (b) and photo copy of pay orders / bank draft after hiding the amount.

- The Financial Proposal, the vendor should submit only rate of the equipment / items and a pay order of bid security amounting to 3% value of the quoted items in favour of Executive Director, NICVD, Karachi otherwise, the bid will be rejected.

- The Bid Validity will remain upto 90 days as per SPPRA rules.

- Bid security should be in shape of pay order / bank draft CDR/Bank guarantee or any other form as bid security is not acceptable.

- The disclosure of firm’s quoted rate in any manner at the time of opening of technical bid will result in the rejection of the item / bid.

- The successful bidder will deposit security money in shape of pay order @ 5% of the total value of order in the name of Executive Director, NICVD, Karachi within seven (7) days after the issue of award letter, which will be kept in Accounts Section of NICVD till the completion of the warrantee period of equipment or execution of purchase order.

- The bid security will be forfeited to Government Accounts in case of non-submission of security money within seven (7) days of receipt of the award letter.

- The rate should be in local currency on basis for F.O.R (NICVD) basis for local manufactured items and should be valid upto 30-06-2018.  No escalations in rates are allowed in any case after submission of the tender.

- Contractor shall contain all legal license and certificate necessary as per government of Pakistan / Sindh.

- The procurement committee will initially open only the envelope marked “Technical Proposal” in the presence of vendors or their representative who chose to be present at the time of bid opening date, time and place specified in the tender documents.  The envelope marked “Financial Proposal” shall be retained in the custody of procurement committee without being opened till completion of the technical evaluation.

- The bidder or their representative should be present at the time of opening of tender and shall sign the attendance sheet.

- Job/delivery of items should be completed within allocated time from the date of issuance of work order.

- The Vendor should submit Data Sheet according to the Tender Specifications Format mentioned in the tender document and highlight the tender specifications in their Technical Data Sheet / Literature Additional Feature can be recorded separately.

- First scrutiny of technical bids will be performed by the procurement committee on the basis of data sheet and literature provided.  Financial proposal of only technically qualified firms will be opened.

- Hand written tenders or any over writing, cutting, erasing will not be accepted and will be rejected.

- The bidder shall submit with the bid, an UNDERTAKING on judicial paper of             Rs. 100/- duly attested by Oath Commissioner, stating that the equipment to be supplied is brand new and of latest generation, free from defects in design material and workmanship and will bind himself for availability of spares for a period of 8 years from the date of supply. In case of winding up of business, the supplier shall be bound to make an alternate arrangement of spares and maintenance of equipment. In case of default, necessary action will be taken as per decision of competent authority.

- If bidder doesn’t supply equipment’s/services in accordance with the supply/work order or fails to supply/services according to terms and conditions or in case of any other breach of terms and condition of the tender, necessary action will be taken as per decision of competent authority.

- If the bidder fails to deliver the goods/services according to the terms and condition of the purchase order within the stipulated period (delivery period), penalty will be imposed @ 0.1% of the total value of equipment per day, subject to the maximum of 10%.  Otherwise their security money will be forfeited to Government Account and/or the firm may be black listed by the competent authority.

- After satisfactory completion of delivery/services including installation and commissioning, the vendor shall submit the Bill/Invoice in triplicate, along with three copies of delivery Challan, three copies of installation/commissioning reports, copy of purchase order and a copy of Bill of Entry (for imported items) for payment (if applicable).

- The payment shall be made after receiving the satisfactory work completion certificate including installation and commissioning report from the HOD/Incharge of User Department.

- Income tax and other taxes (if any) will be deducted according to existing Government Rules. NICVD is exempted for the payment of GST.

- Conditional tender(s) will not be entertained.

- Tender which does not fulfill the prescribed conditions according to the tender is liable to be rejected.

- The Executive Director, NICVD Karachi, reserve the right to increase or decrease the quantity mentioned in the tender and the decision will be final.

- The Chairman Procurement Committee reserves the right to reject or accept any/all tender(s)under the relevant provisions of SPPRA Rules 2010.

I/we agreed above mentioned terms & condition:

Name of Contractor____________________________________ Signature___________

Full Address_____________________________________________________________

_______________________________________________________________________

Witness: ________________________________________________________________

N.I.C # : ________________________________________________________________

Annexure-I

Following documents should be attached with Technical Proposal.

- Tender purchase receipt.

- Technical bid (Type or computerized).

- Sole agency certificate from the foreign manufacturer or authorized agent of local manufacturer.

- Active GST Registration Certificate.

- Income Tax Registration Certificate.

- Last year paid Income Tax Challan.

- Original terms and conditions duly signed and stamped.

- Original literature.

- Photocopy of pay order of bid security after the hiding the amount in the technical bid.

- List of Institutions to whom similar equipment/instrument is supplied in Pakistan.

- Undertaking on Judicial stamp paper of Rs. 100/- as per clause # 22.

- Financial position of firm (sealed bank letter).

- Undertaking that firm is not black listed or having pending litigation.

- Good performance certificate from NICVD, in case of new vendor from other institution.

TENDER SPECIFICATIONS

TENDER NO: 58/2016, DATED: 22-05-2017 B.O.Q. (TECHNICAL)

TENDER FOR RENOVATION WORKS FOR PRIVATE WARD AS PER B.O.Q

| A - Civil Works. |  |  |  |
| --- | --- | --- | --- |
| S. No. | Description | Units | Qty |
|  | DISMANTLING |  |  |
| 1 | Dismantling and removing of required items as per instruction of officer including staking of usable items at specify place or go down and disposal (5th Floor) of all dismantled material from hospital. Contractor is fully responsible in case of any damage and will rectify at his own cost. The contractor will use methods for dismantling should be as per engineering standers. Contractor will dismantle all the items which mentioned. complete in all respect. |  |  |
| c | dismantling of floor/tile floor / mozaic floor including base floor including removing all debreis from 5th floor to outside hospital. | Sft | 19,680 |
| d | Removing of existing false ceiling and lights including removing all debreis from 5th floor to outside hospital. | Sft | 8,856 |
| e | Removing all fixture and electrical wiring where required, complete in all respect including removing all debreis from 2nd floor to outside hospital. | Job | 1 |
| g | Removing of existing door including chowkhat, including removing all debreis from 5th floor to outside hospital. | No | 6 |
| h | Removing of existing block masanaory, including removing all debreis from 5th floor to outside hospital. | Sft | 360 |
| 2 | R.C.C WORKS |  |  |
| a | Provide & lay cast in situ 1:3:6, 2000 psi concrete (three parts of gravel or crush three parts of sunheri, three parts of sand & one part of cement by volume with a water/ cement ratio of eight gallons of water per bag of cement) under the plinth beams or elsewhere as required. Mechanically, vibrate, consolidate and cure. Include also for form work. complete in all respect | Sft | 19,680 |
| b | Provide and cast 6"x6" R.C.C. pre cast 1:2:4 lintels, 4-1/4" dia horizontal bar with 1/4" dia rings @ 6" C/C laid on builiding paper (Slip surface) to new openings and where required, complete with curing leveling. (approved cement brand Falcon/Pakland or equivalent) | Rft | 90 |
| 3 | TERMITE, WATER PROOFING: |  |  |
| a | WATER PROOING: Provide and lay water proofing using P-2000 (self adhesive reinforced type) of Hi grip 2mm thick water proofing membrane, the upper surface is covered with polethylene film and lower surface with siliconized release paper to floor of wet areas like kitchen / toilets/ wall/ slab/ floor where reqruied at at any height. Complete in all respects. Floor treated will be measured. | Sft | 90 |
| 4 | BLOCK MASONRY |  |  |
| a | providing and laying at any floor first class block work i n (1:6) cement sand mortar in super structure including curing, finishing racking out joints, scaffolding, lifting, hoisting etc, complete in all respect as per specifications, drawings and ad directed by the Engineer. |  |  |
| i | 4" thick Block | Sft | 100 |
| 5 | FLOORING TILE WORK |  |  |
| a | providing and laying best quality porcelain glazed / matt finish approved tiles, cutting where required including C.C 1:4 base plaster up to required thickness or dry bond, grouting with cement slurry of matching pigment jointing, finishing and cleaning etc laid in pattern, complete in all respects as shown in drawings and as directed by Engineer. |  |  |
| i | 24" x 24" Basic price 1,350/= sq.mm FLOOR Tile | Sft | 19,680 |
| ii | 24" x 12" Basic price 1,350/= sq.mm Wall Tile | Sft | 360 |
| b | Provide and lay on floor, BOTICANA MARBLE Cream/Fancy tiles 3/4" thick or more/ Slab, pre-polished with chemical polish including nosing / beveling / chamfering / anti skid grooves with fine edges on 1-1/2"to 2" thick 1:6 cement and sand bed to required levels, layout and details. Include for grouting with laticrete. (For external platform, Stairs, threashold, Jams, stairs, wall, column etc/ where requried ) | Sft | 90 |
| c | Providing and fixing best quality porcelain glazed / matt finish 4" high approved tile skirting, match with flooring, complete in all respect and directed by the Engineer. |  |  |
| i | 24" x 24" Basic price 1,350/= sq.mm | Rft | 2,200 |
| 6 | EXTERNAL DEVELOPMENT |  |  |
| a | Providing and fixing fully double glazed aluminum slit windows/ fixed panel, ventilators consisting of glazed fixed and sliding panels where required as per site rquirements at any height and floor using high strength aluminum alloy extruded sectionapproved champing shade including galvanized steel screws glazed with distortion free 6mm + 6mm thick imported/ equivalent tinted/ plain glass of approved shade fly proofing panels weather strips between open able and fix portion silicone filling around the frame against masonry together with an edge aluminum trimming handles locks latches rain water slot etc complete in all respects as per drawings & as directed by the Project Inchrge. | Sft | 144 |
| 7 | SURFACE RENDERING |  |  |
| a | providing and applying at any height 1/2'' to 3/4" thick ordinary Portland cement sand plaster (1:6) to external & internal walls and slabs with wire mesh where required including lifting, hosting, scaffolding, preparation of the surface before plastering, curing & finishing etc complete in all respect as directed by the Engineer. (approved cement brand Falcon/Pakland or equivalent) | Sft | 450 |
| b | Providing and applying at any height 03 coats of Matt Finish/ Enamel Oil paint "DELUXE" "Robbialac" or equivalent approved to surface walls ,columns etc. over one primer coat including rubbing or Scrapping , filling etc complete in all respects as per instructions and as directed by the Project Incharge. | Sft | 90,000 |
| 8 | Providing & laying gypsum board ceiling , 24"x24" Elephant Brand or equivelant with aluminum back in straight, curved, tiles or multiple profiles as shown on drawing section, fixed with powder coated aluminum, " T" & "L" section with galvonized metal suspension system, having provisions for light and AC grill complete in all respect as directed by the Project Incharge. | Sft | 8,856 |
| 9 | Beech Wood Timber Rafter 2"x6" with fixing and polish, wooden sikken by jaffar brothers or as equivalent approved complete in all respects as per instructions and as directed by the Engineer. | Rft | 225 |
| 10 | Providing & Laying gypsem plain concealed ceiling type around the gypsum type ceiling including the provision of cieling lights with alumnium / wood frame support solignum treated in straifght / curved tile or multiple profiles sections, fixed with powder coated aluminium "L" section with galvon Including the cost of scaffolding complete in all respect as directed by the Project Incharge. | Sft | 270 |
| 11 | Provding and fixing wooden middle rail 12" wide, 1" thick in orignal OAK wood including lacquer polish with one coat of hardner including all hardware, as directed by project incharge, complete in all respect | Rft | 7,200 |
| 12 | Provding and fixing Aluminum Rail heavey gage /duty for ccurtian as directed by project incharge, complete in all respect | No | 9 |
| 13 | Provding and fixing ccurtian imported cloth / bonanza with jali as directed by project incharge, complete in all respect | No | 9 |
| 14 | Providing / laying Reception counter with double top of corian (imported), block masonry ,plaster , tiles, RCC Slab including 6 mobile drawer units complete in all respects. | Rft | 96 |
| 15 | Providing , fabricating and fixing in position design door shutters with laminated board on both sides with 1/8''x1/8'' grooves, approved polish finish, beading, door handle lever type, door closer all hardware including mild steel hold fasts, screw etc, Aluminum chowkhats Wall thickness x 2''/ requird width red oxide treaqted of approved polish finish/ MS type. Complete in all respects as directed by the Project Incharge. | Sft | 126 |
| 16 | Providing and fixing in position 15'' deep full/ low height type cabinets consisting of 3/4'' thick laminated board boxing with Formica pasted laminated shutters of approved quality and design including all accessories as per drawing and as directed by the Project Incharge. | Sft | 360 |
| 17 | Providing / fixing Roller blinds complete in all as directed by the Project Incharge. | Sft | 2,700 |
| 18 | KITCHENETTE |  |  |
| a | providing and fixing 3/4'' thick polish local marble Botocina fancy / Light grey Badal top round at edges of approved shade, complete in all respects and as per approved by the Project Incharge. | Sft | 14 |
| b | Providing and fixing in position (16'' deep x 28'' high) hanging type cabinets consisting of 3/4'' thick laminated board boxing with Formica pasted laminated shutters of approved quality and design including all accessories as per drawing and as directed by the Project Incharge. | Sft | 16 |
| c | Providing and fixing in position (22'' deep x 30'' high) low height type cabinets consisting of 3/4'' thick laminated board boxing with 3/4'' thick Formica pasted laminated board shutters of approved quality and design, including all accessories complete in all respects as directed by the Project Incharge | Sft | 20 |
| d | Providing and fixing 15mm dia C.P sink mixer of make "SONEX", Master, or equivalent C.P pipe 15mm dia. Complete including pipe connection, all fittings, testing etc. | No | 1 |
| e | Providing and fixing stainless steel kitchen sink bowl 22" dia of 20 gauge make "SONEX" / "MASTER"/ " ATLAS, or equivalent fixed in marble counter pasting with Jelly/silicon with 15mm dia C.P brass T. stop cock of master ,sonex, or equivalent 40mm dia heavy duty waste coupling and PVC flexible waste pipe of approved make and quality complete in all respects. | No | 1 |
| 19 | TOILETS |  |  |
| a | Providing and fixing 5mm looking glass of first quality Belgium make or equivalent approved make fixed with S.S clips etc complete in all respect. | Sft | 12 |
| b | Providing and fixing European type ceramics ware coupled water closet, white / light color including 3 gallons cistern, P/s Trap, PVC flexible pipe connection, C.P tee stop cock with wall cups, "SONEX", " MASTER", "ICL-IFO", or equivalent bacolite seat cover of best quality complete in all respect. | No | 2 |
| c | providing and fixing wash hand basin under counter fixed in Counter 22''x16'' ICL-IFO white/ color "SONEX", "MASTER, or equivalent " waster couple in, plug with C.P brass chain, 1 1/2'' dia . P.V.C (D-type) waste pipe, connections to water lines, C.P grating including C.P bottle trap, testing etc. complete in all respect and as directed by the Engineer. | No | 2 |
| d | providing and fixing wash Padestal Type ICL-IFO white/ color "SONEX", "MASTER", or equivalent waster couple in, plug with C.P brass chain, 1 1/2'' dia . P.V.C (D-type) waste pipe, connections to water lines, C.P grating including C.P bottle trap, testing etc. complete in all respect and as directed by the Project Incharge. | No | 2 |
| e | Providing and fixing 15mm dia C.P bib cock/mixer of make "Make" "SONEX", or equivalent C.P pipe 15mm dia. Complete including pipe connection, all fittings, testing etc. | No | 2 |
| f | C.P Muslim Shower with double bib cock with flexible pipe of "SONEX", "MASTER", or equivalent complete in all respect. | No | 2 |
| g | Provide and fixing soap dipencer complete in all respect. | No | 2 |
| h | Providing and fixing C.P toilet paper holder "SONEX", "MASTER" or equivalent Victorian or approved equivalent complete in all respect. | No | 2 |
| i | providing and fixing chromium plated towel rail 24'' long and 3/4'' dia "SONEX", " MASTER" or equivalent, complete in all respect. | No | 2 |
| 19 | Repiring of Doors along with replacment of harware i.e. locks, door clouser where requried including repalcment of | No | 90 |
| 20 | Providing and laying Lacquer polish including scraping and sand papering, compelte in all respect | No | 90 |
| 21 | Providing and laying, replaced oxygen and air lines , along with concelaed, cutting of wall, RCC, where required oxygen and air lines as per existing setup with all reequired harware, | No | 10 |
| 22 | Provide proposed layout before execution of work for approval, complete in all respect | Job | 1 |
| 23 | Provide Asbuilt layout after execution of work for record , complete in all respect | Job | 1 |

| B- PLUMBING WORKS |  |  |  |
| --- | --- | --- | --- |
| S.No. | DESCRIPTION | Units | Qty |
| A | Polypropylene Piping For Cold Water |  |  |
| 1. | Providing & fixing, jointing, testing of polypropylene pipe as manufactured by AGM (U.A.E) or equivalent including specials fittings such as hanging system, sockets, tees, elbow, bends, reducers, plugs and union etc. supported on walls or buried in walls / floor or suspended from roof slab as per specification including color coding complete in all respect. |  |  |
| i) | ½" dia. | Rft. | 90 |
| ii) | ¾" dia. | Rft. | 117 |
| iii) | 1" dia. | Rft. | 90 |
| v) | 1½" dia. | Rft. |  |
| 2 | Providing and fixing of full way gate valves of bronze trim up to 3" (75mm) dia. With threaded ends and cast iron body bronze trim flanged ends for 4" dia. (100mm) and above Econosto make (Japan) or equivalent or similar for 125 psi together with all additional material required for a complete installation as described in the specification and as shown on drawings and as approved by the Engineer. |  |  |
| i) | ½" dia. | No. | 2 |
| ii) | ¾" dia. | No. | 2 |
| iii) | 1" dia. | No. | 2 |
| B | SOIL, WASTE & VENT SYSTEM |  |  |
| 1. | Providing, fixing, cutting, jointing and testing UPVC piping manufactured by AGM (U.A.E) or equivalent conforming to ISO 3633:19991(wall thickness=3.2mm) including UPVC fitting with solvent cement jointing make "Nikasi type B" or approved equal , rated include cost of clamping to wall and ceiling, hangers, supports cutting through wall and providing sleeved through concrete slabs for pipeline and pipe fitting of the following diameter: |  |  |
| i) | 2" dia. | Rft. | 90 |
| ii) | 3" dia. | Rft. | 90 |
| iii) | 4" dia. | Rft. | 45 |
| 2 | Providing and fixing UPVC cowel manufactured by AGM (U.A.E) or equivalent for vent pipe of the following dia including all complete accessories . |  |  |
| i) | 3" dia. | Nos. | 4 |
| ii) | 4" dia. | Nos. | 4 |
| 3 | Providing and fixing 4'' dia UPVC floor drain/gully manufactured by AGM (U.A.E) or equivalent including , cement concrete (1:2:4) chambers all around with heavy duty Stainless Steel / UPVC grating, hinged on one end of " SONEX", " MASTER" or equivalent complete in all respects. |  |  |
| i) | 3" dia. | Nos. | 10 |
| 4 | Testing and commissioning of water supply lines, shall be tested at 8 hours times the working pressure as approved by Engineer | Job | 1 |
| 5 | Testing of and commissioning of sewer system as per plumbing codes and as approved by Engineer. | Job | 1 |
| 6 | Allied civil works such as chiseling, core cutting, floor cutting for above scope of work and repair work | Job | 1 |
| 7 | Core cutting with Hilti, |  |  |
|  | a) 6" diameter | No. | 2 |

| C- ELECTRICAL WORKS |  |  |  |
| --- | --- | --- | --- |
| S.No. | D E S C R I P T I O N | UNIT | QTY |
| SECTION - A: GENERAL WIRING |  |  |  |
| 1 | Wiring with 2x2.5sqmm + 1x2.5sqmm 1-C PVC insulated cables in 20mm dia or bigger PVC conduit concealed in slab/floor/wall or run above false ceiling, complete with all accessories: |  |  |
| 1.1 | Wiring of light circuit from DB | No. | 5 |
| 1.2 | Wiring of circuit for 5A socket outlets, including connection to first outlet. | No. | 9 |
| 1.3 | Wiring of 13A socket outlet from the nearest outlet. | No. | 9 |
| 2 | Wiring with 2x4sqmm + 1x4sqmm 1-C PVC insulated cables in 20mm dia or bigger PVC conduit concealed in slab/floor/wall, complete with all accessories: |  |  |
| 2.1 | Wiring of circuit for 15A socket outlets including connection to first outlet. | No. | 3 |
| 2.2 | Wiring of circuit for 13A computer socket outlets including connection to first outlet. | No. | 18 |
| 3 | Wiring with 3x1.5sqmm 1-C PVC insulated cables in 20mm dia or bigger PVC conduit concealed in wall/floor or run above false ceiling, complete with all accessories, including rigid PVC junction box for each light point: |  |  |
| 3.1 | Wiring of first light point. | No. | 205 |
| 3.2 | Wiring of other light points | No. | 842 |
| 3.3 | Wiring of fixture to fixture | No. | 360 |
| 3.4 | Wiring of 5 Amps socket outlet from the nearest 5 Amp socket. | No. | 90 |
| 4 | Repairing of all wiring where required inlcuding extention where required including replacment of damage wiring, complete in all respect | Job | 1 |
| 5 | Concealed all wiring where required from chanel pati including cutting, repairing piping, complete in all respect | Job | 1 |
| SECTION - B: WIRING ACCESSORIES |  |  |  |
| 1 | Supply, installation & connection of following accessories on 1.5 mm thick sheet steel powder coated back boxes recessed in wall, complete in all respects: (Clipsal Make or Orange, or equivalent) |  |  |
| 1.1 | Single gang switch plate. | No. | 1 |
| 1.2 | Two gang switch plate. | No. | 3 |
| 1.3 | Three gang switch plate. | No. | 6 |
| 1.4 | Four gang switch plate. | No. | 9 |
| 1.5 | 5 Amps 3 pin switched socket outlet plate. | No. | 90 |
| 1.6 | 13 Amps single switched socket outlet plate. | No. | 18 |
| 1.7 | 15 Amps, 3 pin switched socket outlet plate | No. | 3 |
| 2 | Supply and installation of industrial type socket & plugs of following types: |  |  |
| 2.1 | 25 Amp; 1-Phase; 3-Pin | Set | 4 |
| SECTION - C: LIGHTING & OTHER FIXTURES |  |  |  |
| 1 | Supply, installation, connection, testing & commissioning of following fluorescent light fixtures including lamps and all accessories, complete in all respects: |  |  |
| 1.1 | Philips make TBS 088/418 (M2) with 4 x 18 W lamp,capicitor,starter,TLD 18W/54 and louver or equivalent for ceiling mounting. | No. | 5 |
| 1.2 | Philips make TMS-140 with 1 x 36 W/ 84 lamp or equivalent for surface mounting. | No. | 5 |
| 1.3 | Philips make - D TMS-120 with 1 x 18 W/ 84 lamp or equivalent for surface mounting. | No. | 9 |
| 2 | Supply, installation, connection, testing & commissioning of following light fixtures, complete in all respects: |  |  |
| 2.1 | SMD lights philips 12 W (With one year warranty ) |  |  |
| i | 4" dia | No. | 630 |
| ii | 6" dia | No. | 700 |
| 2.4 | Supply and installation of exhaust fan 8" dia with shutter complete with all accessories. Make (Pak fan,GFC or Millat) with One year warranty | No. | 36 |
| SECTION - D: FLOOR OUTLET BOXES AND PULL BOXES |  |  |  |
| 1 | Supply & installation of following types of Floor outlet boxes as detailed in the drawings, made of 18 gauge imported GI sheet with hinged cover of 16 gauge, complete with provision for installation of outlets and earthing: |  |  |
| 1.1 | Floor Box Type - A | No. | 3 |
| 1.2 | Floor Box Type - B | No. | 3 |
| 1.3 | Supply & installation of 18" x 5" x 4" size Technology Boxes. | No. | 90 |
| 2 | Supply & installation of 12" x 9" x 4" size Pull Boxes made of 18 gauge imported GI sheet with screw able cover of 16 gauge, having knockouts on all sides for conduits of 50 mm dia. and provision for earthing. | No. | 27 |

| SECTION - E: FEEDERS & SUB-FEEDERS |  |  |  |
| --- | --- | --- | --- |
| 1 | Supply, installation, testing & commissioning of the following Copper conductor PVC insulated, unarmored 600/ 1000V grade cables, as per drawings, complete in all respects. [Note: ECC shall be of green color. Multicore cables to have PVC sheath.] Pakistan Cable |  |  |
| 1.1 | 4 Core 50 Sqmm +1X S/C 35 Sqmm As ECC ( KESC TO EDB) | Rft | 45 |
| 1.2 | 4 Core 16 Sqmm +1X S/C 10 Sqmm As ECC ( EDB TO Lighting +Power DB) | Rft | 50 |
| 1.3 | 4 Core 10 Sqmm +1X S/C 6 Sqmm As ECC (EDB TO UPS DB) | Rft | 90 |
| 2 | Supply and Installation of 1 x 200 Amp TPMCCB at in Powder Coated Box. Complete in all respects | No | 2 |
| SECTION - F: DISTRIBUTION BOARDS |  |  |  |
| 1 | Supply, installation, connecting, testing & commissioning of the following indoor Distribution Boards as detailed in the Drawings: (Source: LIBRA, SUNBEAM, BABAR BROTHERS & UNIQUE ENGINEERING, DIAMAND and HUSSAIN & CO or equivalent) |  |  |
| 1.1 | EDB | No. | 1 |
| a | 1 x 150 Amps. TP. 10 KA. MCCB (adjustable) |  |  |
| b | 3 xPhase Indication lamps |  |  |
| c | 3 x control fuses |  |  |
| d | Amp meter, volt meter, selector switch (analoge type) |  |  |
| e | OUTGOING |  |  |
| a | 3 x 100 Amp TP MCCB |  |  |
| b | 3 x 50 Amp TP MCCB |  |  |
| c | complete copper bus bar / powder coated frame etc |  |  |
| 1.2 | Light DB+ROW Power DB | No. | 1 |
| a | 2 x 50 Amp TP MCCB |  |  |
| b | 18 x 10Amp Single Pole |  |  |
| c | 3 x control fuses |  |  |
| d | Amp meter, volt meter, selector switch (analoge type) |  |  |

| D – IT WORKS: |  |  |  |
| --- | --- | --- | --- |
| S.No. | D E S C R I P T I O N | UNIT | QTY |
| SECTION - A: TELEPHONE & COMPUTER NETWORK |  |  |  |
| 1 | Supply, wiring & testing for computer data outlets using Cat 6 cable of between data outlets and Computer Hub in 25mm dia. or bigger size PVC conduit including terminations at the Data outlets. (Termination at Computer Hub by others along with Fluke test reports) make (Clipsal,Orange, 3M or Penduite or equivalent) | No | 6 |
| 2 | Supply & wiring for telephone outlets from PABX using Cat 6 cable laid in 25mm dia. or bigger size PVC conduit recessed in wall/floor including all accessories, and with terminations at both ends. make (Clipsal, Orange, 3M or Penduite or equivalent) | No | 18 |
| 3 | 24 port Cat 6 Data Patch Panel make (Clipsal, Penduite or 3M or equivalent) | No | 1 |
| 4 | Faceplate ( dual I/O) make (Clipsal, Orange, 3M or Penduite or equivalent) | No | 18 |
| 5 | I/O Cat-6 make (Clipsal,Orange, 3M or Penduite or equivalent) | No | 18 |
| 6 | IDF Punch block 10 pair for multipair cable | No | 3 |
| 7 | RJ-11 Cord (Clipsal, Orange, 3M or Penduite or equivalent) | No | 18 |
| 8 | DB box M.S. Powder coated frame | No | 27 |
| 9 | Cable Management | No | 1 |

Note:

Bidders should also fill attached tender proforma (technical) as above.

TENDER SPECIFICATIONS

TENDER NO: 58/2016

TENDER SPECIFICATIONS

TENDER NO: 58/2016, DATED: 22-05-2017 B.O.Q. (COMMERCIAL)

TENDER FOR RENOVATION WORKS FOR PRIVATE WARD AS PER B.O.Q

| A - Civil Works. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. No. | Description | Units | Qty | Rate | Amount |
|  | DISMANTLING |  |  |  |  |
| 1 | Dismantling and removing of required items as per instruction of officer including staking of usable items at specify place or go down and disposal (5th Floor) of all dismantled material from hospital. Contractor is fully responsible in case of any damage and will rectify at his own cost. The contractor will use methods for dismantling should be as per engineering standers. Contractor will dismantle all the items which mentioned. complete in all respect. |  |  |  |  |
| c | dismantling of floor/tile floor / mozaic floor including base floor including removing all debreis from 5th floor to outside hospital. | Sft | 19,680 |  |  |
| d | Removing of existing false ceiling and lights including removing all debreis from 5th floor to outside hospital. | Sft | 8,856 |  |  |
| e | Removing all fixture and electrical wiring where required, complete in all respect including removing all debreis from 2nd floor to outside hospital. | Job | 1 |  |  |
| g | Removing of existing door including chowkhat, including removing all debreis from 5th floor to outside hospital. | No | 6 |  |  |
| h | Removing of existing block masanaory, including removing all debreis from 5th floor to outside hospital. | Sft | 360 |  |  |
| 2 | R.C.C WORKS |  |  |  |  |
| a | Provide & lay cast in situ 1:3:6, 2000 psi concrete (three parts of gravel or crush three parts of sunheri, three parts of sand & one part of cement by volume with a water/ cement ratio of eight gallons of water per bag of cement) under the plinth beams or elsewhere as required. Mechanically, vibrate, consolidate and cure. Include also for form work. complete in all respect | Sft | 19,680 |  |  |
| b | Provide and cast 6"x6" R.C.C. pre cast 1:2:4 lintels, 4-1/4" dia horizontal bar with 1/4" dia rings @ 6" C/C laid on builiding paper (Slip surface) to new openings and where required, complete with curing leveling. (approved cement brand Falcon/Pakland or equivalent) | Rft | 90 |  |  |
| 3 | TERMITE, WATER PROOFING: |  |  |  |  |
| a | WATER PROOING: Provide and lay water proofing using P-2000 (self adhesive reinforced type) of Hi grip 2mm thick water proofing membrane, the upper surface is covered with polethylene film and lower surface with siliconized release paper to floor of wet areas like kitchen / toilets/ wall/ slab/ floor where reqruied at at any height. Complete in all respects. Floor treated will be measured. | Sft | 90 |  |  |
| 4 | BLOCK MASONRY |  |  |  |  |
| a | providing and laying at any floor first class block work i n (1:6) cement sand mortar in super structure including curing, finishing racking out joints, scaffolding, lifting, hoisting etc, complete in all respect as per specifications, drawings and ad directed by the Engineer. |  |  |  |  |
| i | 4" thick Block | Sft | 100 |  |  |
| 5 | FLOORING TILE WORK |  |  |  |  |
| a | providing and laying best quality porcelain glazed / matt finish approved tiles, cutting where required including C.C 1:4 base plaster up to required thickness or dry bond, grouting with cement slurry of matching pigment jointing, finishing and cleaning etc laid in pattern, complete in all respects as shown in drawings and as directed by Engineer. |  |  |  |  |
| i | 24" x 24" Basic price 1,350/= sq.mm FLOOR Tile | Sft | 19,680 |  |  |
| ii | 24" x 12" Basic price 1,350/= sq.mm Wall Tile | Sft | 360 |  |  |
| b | Provide and lay on floor, BOTICANA MARBLE Cream/Fancy tiles 3/4" thick or more/ Slab, pre-polished with chemical polish including nosing / beveling / chamfering / anti skid grooves with fine edges on 1-1/2"to 2" thick 1:6 cement and sand bed to required levels, layout and details. Include for grouting with laticrete. (For external platform, Stairs, threashold, Jams, stairs, wall, column etc/ where requried ) | Sft | 90 |  |  |
| c | Providing and fixing best quality porcelain glazed / matt finish 4" high approved tile skirting, match with flooring, complete in all respect and directed by the Engineer. |  |  |  |  |
| i | 24" x 24" Basic price 1,350/= sq.mm | Rft | 2,200 |  |  |
| 6 | EXTERNAL DEVELOPMENT |  |  |  |  |
| a | Providing and fixing fully double glazed aluminum slit windows/ fixed panel, ventilators consisting of glazed fixed and sliding panels where required as per site rquirements at any height and floor using high strength aluminum alloy extruded sectionapproved champing shade including galvanized steel screws glazed with distortion free 6mm + 6mm thick imported/ equivalent tinted/ plain glass of approved shade fly proofing panels weather strips between open able and fix portion silicone filling around the frame against masonry together with an edge aluminum trimming handles locks latches rain water slot etc complete in all respects as per drawings & as directed by the Project Inchrge. | Sft | 144 |  |  |
| 7 | SURFACE RENDERING |  |  |  |  |
| a | providing and applying at any height 1/2'' to 3/4" thick ordinary Portland cement sand plaster (1:6) to external & internal walls and slabs with wire mesh where required including lifting, hosting, scaffolding, preparation of the surface before plastering, curing & finishing etc complete in all respect as directed by the Engineer. (approved cement brand Falcon/Pakland or equivalent) | Sft | 450 |  |  |
| b | Providing and applying at any height 03 coats of Matt Finish/ Enamel Oil paint "DELUXE" "Robbialac" or equivalent approved to surface walls ,columns etc. over one primer coat including rubbing or Scrapping , filling etc complete in all respects as per instructions and as directed by the Project Incharge. | Sft | 90,000 |  |  |
| 8 | Providing & laying gypsum board ceiling , 24"x24" Elephant Brand or equivelant with aluminum back in straight, curved, tiles or multiple profiles as shown on drawing section, fixed with powder coated aluminum, " T" & "L" section with galvonized metal suspension system, having provisions for light and AC grill complete in all respect as directed by the Project Incharge. | Sft | 8,856 |  |  |
| 9 | Beech Wood Timber Rafter 2"x6" with fixing and polish, wooden sikken by jaffar brothers or as equivalent approved complete in all respects as per instructions and as directed by the Engineer. | Rft | 225 |  |  |
| 10 | Providing & Laying gypsem plain concealed ceiling type around the gypsum type ceiling including the provision of cieling lights with alumnium / wood frame support solignum treated in straifght / curved tile or multiple profiles sections, fixed with powder coated aluminium "L" section with galvon Including the cost of scaffolding complete in all respect as directed by the Project Incharge. | Sft | 270 |  |  |
| 11 | Provding and fixing wooden middle rail 12" wide, 1" thick in orignal OAK wood including lacquer polish with one coat of hardner including all hardware, as directed by project incharge, complete in all respect | Rft | 7,200 |  |  |
| 12 | Provding and fixing Aluminum Rail heavey gage /duty for ccurtian as directed by project incharge, complete in all respect | No | 9 |  |  |
| 13 | Provding and fixing ccurtian imported cloth / bonanza with jali as directed by project incharge, complete in all respect | No | 9 |  |  |
| 14 | Providing / laying Reception counter with double top of corian (imported), block masonry ,plaster , tiles, RCC Slab including 6 mobile drawer units complete in all respects. | Rft | 96 |  |  |
| 15 | Providing , fabricating and fixing in position design door shutters with laminated board on both sides with 1/8''x1/8'' grooves, approved polish finish, beading, door handle lever type, door closer all hardware including mild steel hold fasts, screw etc, Aluminum chowkhats Wall thickness x 2''/ requird width red oxide treaqted of approved polish finish/ MS type. Complete in all respects as directed by the Project Incharge. | Sft | 126 |  |  |
| 16 | Providing and fixing in position 15'' deep full/ low height type cabinets consisting of 3/4'' thick laminated board boxing with Formica pasted laminated shutters of approved quality and design including all accessories as per drawing and as directed by the Project Incharge. | Sft | 360 |  |  |
| 17 | Providing / fixing Roller blinds complete in all as directed by the Project Incharge. | Sft | 2,700 |  |  |
| 18 | KITCHENETTE |  |  |  |  |
| a | providing and fixing 3/4'' thick polish local marble Botocina fancy / Light grey Badal top round at edges of approved shade, complete in all respects and as per approved by the Project Incharge. | Sft | 14 |  |  |
| b | Providing and fixing in position (16'' deep x 28'' high) hanging type cabinets consisting of 3/4'' thick laminated board boxing with Formica pasted laminated shutters of approved quality and design including all accessories as per drawing and as directed by the Project Incharge. | Sft | 16 |  |  |
| c | Providing and fixing in position (22'' deep x 30'' high) low height type cabinets consisting of 3/4'' thick laminated board boxing with 3/4'' thick Formica pasted laminated board shutters of approved quality and design, including all accessories complete in all respects as directed by the Project Incharge | Sft | 20 |  |  |
| d | Providing and fixing 15mm dia C.P sink mixer of make "SONEX", Master or equivalent C.P pipe 15mm dia. Complete including pipe connection, all fittings, testing etc. | No | 1 |  |  |
| e | Providing and fixing stainless steel kitchen sink bowl 22" dia of 20 gauge make "SONEX" / "MASTER"/ " ATLAS or equivalent fixed in marble counter pasting with Jelly/silicon with 15mm dia C.P brass T. stop cock of master ,sonex or equivalent,40mm dia heavy duty waste coupling and PVC flexible waste pipe of approved make and quality complete in all respects. | No | 1 |  |  |
| 19 | TOILETS |  |  |  |  |
| a | Providing and fixing 5mm looking glass of first quality Belgium make or equivalent approved make fixed with S.S clips etc complete in all respect. | Sft | 12 |  |  |
| b | Providing and fixing European type ceramics ware coupled water closet, white / light color including 3 gallons cistern, P/s Trap, PVC flexible pipe connection, C.P tee stop cock with wall cups, "SONEX", " MASTER", "ICL-IFO" or equivalent bacolite seat cover of best quality complete in all respect. | No | 2 |  |  |
| c | providing and fixing wash hand basin under counter fixed in Counter 22''x16'' ICL-IFO white/ color "SONEX", "MASTER" or equivalent waster couple in, plug with C.P brass chain, 1 1/2'' dia . P.V.C (D-type) waste pipe, connections to water lines, C.P grating including C.P bottle trap, testing etc. complete in all respect and as directed by the Engineer. | No | 2 |  |  |
| d | providing and fixing wash Padestal Type ICL-IFO white/ color "SONEX", "MASTER" or equivalent waster couple in, plug with C.P brass chain, 1 1/2'' dia . P.V.C (D-type) waste pipe, connections to water lines, C.P grating including C.P bottle trap, testing etc. complete in all respect and as directed by the Project Incharge. | No | 2 |  |  |
| e | Providing and fixing 15mm dia C.P bib cock/mixer of make "Make" "SONEX" or equivalent, C.P pipe 15mm dia. Complete including pipe connection, all fittings, testing etc. | No | 2 |  |  |
| f | C.P Muslim Shower with double bib cock with flexible pipe of "SONEX", "MASTER" or equivalent complete in all respect. | No | 2 |  |  |
| g | Provide and fixing soap dipencer complete in all respect. | No | 2 |  |  |
| h | Providing and fixing C.P toilet paper holder "SONEX", "MASTER" Victorian or approved equivalent complete in all respect. | No | 2 |  |  |
| i | providing and fixing chromium plated towel rail 24'' long and 3/4'' dia "SONEX", " MASTER" or equivalent, complete in all respect. | No | 2 |  |  |
| 19 | Repiring of Doors along with replacment of harware i.e. locks, door clouser where requried including repalcment of | No | 90 |  |  |
| 20 | Providing and laying Lacquer polish including scraping and sand papering, compelte in all respect | No | 90 |  |  |
| 21 | Providing and laying, replaced oxygen and air lines , along with concelaed, cutting of wall, RCC, where required oxygen and air lines as per existing setup with all reequired harware, | No | 10 |  |  |
| 22 | Provide proposed layout before execution of work for approval, complete in all respect | Job | 1 |  |  |
| 23 | Provide Asbuilt layout after execution of work for record , complete in all respect | Job | 1 |  |  |

| B- PLUMBING WORKS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.No. | DESCRIPTION | Units | Qty | Rate | Amount |
| A | Polypropylene Piping For Cold Water |  |  |  |  |
| 1. | Providing & fixing, jointing, testing of polypropylene pipe as manufactured by AGM (U.A.E) or equivalent including specials fittings such as hanging system, sockets, tees, elbow, bends, reducers, plugs and union etc. supported on walls or buried in walls / floor or suspended from roof slab as per specification including color coding complete in all respect. |  |  |  |  |
| i) | ½" dia. | Rft. | 90 |  |  |
| ii) | ¾" dia. | Rft. | 117 |  |  |
| iii) | 1" dia. | Rft. | 90 |  |  |
| v) | 1½" dia. | Rft. |  |  |  |
| 2 | Providing and fixing of full way gate valves of bronze trim up to 3" (75mm) dia. With threaded ends and cast iron body bronze trim flanged ends for 4" dia. (100mm) and above Econosto make (Japan) or equivalent or similar for 125 psi together with all additional material required for a complete installation as described in the specification and as shown on drawings and as approved by the Engineer. |  |  |  |  |
| i) | ½" dia. | No. | 2 |  |  |
| ii) | ¾" dia. | No. | 2 |  |  |
| iii) | 1" dia. | No. | 2 |  |  |
| B | SOIL, WASTE & VENT SYSTEM |  |  |  |  |
| 1. | Providing, fixing, cutting, jointing and testing UPVC piping manufactured by AGM (U.A.E) or equivalent conforming to ISO 3633:19991(wall thickness=3.2mm) including UPVC fitting with solvent cement jointing make "Nikasi type B" or approved equal , rated include cost of clamping to wall and ceiling, hangers, supports cutting through wall and providing sleeved through concrete slabs for pipeline and pipe fitting of the following diameter: |  |  |  |  |
| i) | 2" dia. | Rft. | 90 |  |  |
| ii) | 3" dia. | Rft. | 90 |  |  |
| iii) | 4" dia. | Rft. | 45 |  |  |
| 2 | Providing and fixing UPVC cowel manufactured by AGM (U.A.E) or equivalent for vent pipe of the following dia including all complete accessories . |  |  |  |  |
| i) | 3" dia. | Nos. | 4 |  |  |
| ii) | 4" dia. | Nos. | 4 |  |  |
| 3 | Providing and fixing 4'' dia UPVC floor drain/gully manufactured by AGM (U.A.E) or equivalent including , cement concrete (1:2:4) chambers all around with heavy duty Stainless Steel / UPVC grating, hinged on one end of " SONEX", " MASTER" or equivalent complete in all respects. |  |  |  |  |
| i) | 3" dia. | Nos. | 10 |  |  |
| 4 | Testing and commissioning of water supply lines, shall be tested at 8 hours times the working pressure as approved by Engineer | Job | 1 |  |  |
| 5 | Testing of and commissioning of sewer system as per plumbing codes and as approved by Engineer. | Job | 1 |  |  |
| 6 | Allied civil works such as chiseling, core cutting, floor cutting for above scope of work and repair work | Job | 1 |  |  |
| 7 | Core cutting with Hilti, |  |  |  |  |
|  | a) 6" diameter | No. | 2 |  |  |

| C- ELECTRICAL WORKS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.No. | D E S C R I P T I O N | UNIT | QTY | Rate | Amount |
| SECTION - A: GENERAL WIRING |  |  |  |  |  |
| 1 | Wiring with 2x2.5sqmm + 1x2.5sqmm 1-C PVC insulated cables in 20mm dia or bigger PVC conduit concealed in slab/floor/wall or run above false ceiling, complete with all accessories: |  |  |  |  |
| 1.1 | Wiring of light circuit from DB | No. | 5 |  |  |
| 1.2 | Wiring of circuit for 5A socket outlets, including connection to first outlet. | No. | 9 |  |  |
| 1.3 | Wiring of 13A socket outlet from the nearest outlet. | No. | 9 |  |  |
| 2 | Wiring with 2x4sqmm + 1x4sqmm 1-C PVC insulated cables in 20mm dia or bigger PVC conduit concealed in slab/floor/wall, complete with all accessories: |  |  |  |  |
| 2.1 | Wiring of circuit for 15A socket outlets including connection to first outlet. | No. | 3 |  |  |
| 2.2 | Wiring of circuit for 13A computer socket outlets including connection to first outlet. | No. | 18 |  |  |
| 3 | Wiring with 3x1.5sqmm 1-C PVC insulated cables in 20mm dia or bigger PVC conduit concealed in wall/floor or run above false ceiling, complete with all accessories, including rigid PVC junction box for each light point: |  |  |  |  |
| 3.1 | Wiring of first light point. | No. | 205 |  |  |
| 3.2 | Wiring of other light points | No. | 842 |  |  |
| 3.3 | Wiring of fixture to fixture | No. | 360 |  |  |
| 3.4 | Wiring of 5 Amps socket outlet from the nearest 5 Amp socket. | No. | 90 |  |  |
| 4 | Repairing of all wiring where required inlcuding extention where required including replacment of damage wiring, complete in all respect | Job | 1 |  |  |
| 5 | Concealed all wiring where required from chanel pati including cutting, repairing piping, complete in all respect | Job | 1 |  |  |
| SECTION - B: WIRING ACCESSORIES |  |  |  |  |  |
| 1 | Supply, installation & connection of following accessories on 1.5 mm thick sheet steel powder coated back boxes recessed in wall, complete in all respects: (Clipsal Make or Orange, or equivalent) |  |  |  |  |
| 1.1 | Single gang switch plate. | No. | 1 |  |  |
| 1.2 | Two gang switch plate. | No. | 3 |  |  |
| 1.3 | Three gang switch plate. | No. | 6 |  |  |
| 1.4 | Four gang switch plate. | No. | 9 |  |  |
| 1.5 | 5 Amps 3 pin switched socket outlet plate. | No. | 90 |  |  |
| 1.6 | 13 Amps single switched socket outlet plate. | No. | 18 |  |  |
| 1.7 | 15 Amps, 3 pin switched socket outlet plate | No. | 3 |  |  |
| 2 | Supply and installation of industrial type socket & plugs of following types: |  |  |  |  |
| 2.1 | 25 Amp; 1-Phase; 3-Pin | Set | 4 |  |  |
| SECTION - C: LIGHTING & OTHER FIXTURES |  |  |  |  |  |
| 1 | Supply, installation, connection, testing & commissioning of following fluorescent light fixtures including lamps and all accessories, complete in all respects: |  |  |  |  |
| 1.1 | Philips make TBS 088/418 (M2) with 4 x 18 W lamp,capicitor,starter,TLD 18W/54 and louver or equivalent for ceiling mounting. | No. | 5 |  |  |
| 1.2 | Philips make TMS-140 with 1 x 36 W/ 84 lamp or equivalent for surface mounting. | No. | 5 |  |  |
| 1.3 | Philips make - D TMS-120 with 1 x 18 W/ 84 lamp or equivalent for surface mounting. | No. | 9 |  |  |
| 2 | Supply, installation, connection, testing & commissioning of following light fixtures, complete in all respects: |  |  |  |  |
| 2.1 | SMD lights philips 12 W (With one year warranty ) |  |  |  |  |
| i | 4" dia | No. | 630 |  |  |
| ii | 6" dia | No. | 700 |  |  |
| 2.4 | Supply and installation of exhaust fan 8" dia with shutter complete with all accessories. Make (Pak fan,GFC or Millat) with One year warranty | No. | 36 |  |  |
| SECTION - D: FLOOR OUTLET BOXES AND PULL BOXES |  |  |  |  |  |
| 1 | Supply & installation of following types of Floor outlet boxes as detailed in the drawings, made of 18 gauge imported GI sheet with hinged cover of 16 gauge, complete with provision for installation of outlets and earthing: |  |  |  |  |
| 1.1 | Floor Box Type - A | No. | 3 |  |  |
| 1.2 | Floor Box Type - B | No. | 3 |  |  |
| 1.3 | Supply & installation of 18" x 5" x 4" size Technology Boxes. | No. | 90 |  |  |
| 2 | Supply & installation of 12" x 9" x 4" size Pull Boxes made of 18 gauge imported GI sheet with screw able cover of 16 gauge, having knockouts on all sides for conduits of 50 mm dia. and provision for earthing. | No. | 27 |  |  |

| SECTION - E: FEEDERS & SUB-FEEDERS |  | UNIT | QTY | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply, installation, testing & commissioning of the following Copper conductor PVC insulated, unarmored 600/ 1000V grade cables, as per drawings, complete in all respects. [Note: ECC shall be of green color. Multicore cables to have PVC sheath.] Pakistan Cable. |  |  |  |  |
| 1.1 | 4 Core 50 Sqmm +1X S/C 35 Sqmm As ECC ( KESC TO EDB) | Rft | 45 |  |  |
| 1.2 | 4 Core 16 Sqmm +1X S/C 10 Sqmm As ECC ( EDB TO Lighting +Power DB) | Rft | 50 |  |  |
| 1.3 | 4 Core 10 Sqmm +1X S/C 6 Sqmm As ECC (EDB TO UPS DB) | Rft | 90 |  |  |
| 2 | Supply and Installation of 1 x 200 Amp TPMCCB at in Powder Coated Box. Complete in all respects. | No | 2 |  |  |
| SECTION - F: DISTRIBUTION BOARDS |  |  |  |  |  |
| 1 | Supply, installation, connecting, testing & commissioning of the following indoor Distribution Boards as detailed in the Drawings: (Source: LIBRA, SUNBEAM, BABAR BROTHERS & UNIQUE ENGINEERING, DIAMAND and HUSSAIN & CO or equivalent). |  |  |  |  |
| 1.1 | EDB | No. | 1 |  |  |
| a | 1 x 150 Amps. TP. 10 KA. MCCB (adjustable) |  |  |  |  |
| b | 3 xPhase Indication lamps |  |  |  |  |
| c | 3 x control fuses |  |  |  |  |
| d | Amp meter, volt meter, selector switch (analoge type) |  |  |  |  |
| e | OUTGOING |  |  |  |  |
| a | 3 x 100 Amp TP MCCB |  |  |  |  |
| b | 3 x 50 Amp TP MCCB |  |  |  |  |
| c | complete copper bus bar / powder coated frame etc |  |  |  |  |
| 1.2 | Light DB+ROW Power DB | No. | 1 |  |  |
| a | 2 x 50 Amp TP MCCB |  |  |  |  |
| b | 18 x 10Amp Single Pole |  |  |  |  |
| c | 3 x control fuses |  |  |  |  |
| d | Amp meter, volt meter, selector switch (analoge type) |  |  |  |  |

| D – IT WORKS: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.No. | D E S C R I P T I O N | UNIT | QTY | Rate | Amount |
| SECTION - A: TELEPHONE & COMPUTER NETWORK |  |  |  |  |  |
| 1 | Supply, wiring & testing for computer data outlets using Cat 6 cable of between data outlets and Computer Hub in 25mm dia. or bigger size PVC conduit including terminations at the Data outlets. (Termination at Computer Hub by others along with Fluke test reports) make (Clipsal,Orange, 3M or Penduite or equivalent) | No | 6 |  |  |
| 2 | Supply & wiring for telephone outlets from PABX using Cat 6 cable laid in 25mm dia. or bigger size PVC conduit recessed in wall/floor including all accessories, and with terminations at both ends. make (Clipsal, Orange, 3M or Penduite or equivalent) | No | 18 |  |  |
| 3 | 24 port Cat 6 Data Patch Panel make (Clipsal, Penduite or 3M or equivalent) | No | 1 |  |  |
| 4 | Faceplate ( dual I/O) make (Clipsal, Orange, 3M or Penduite or equivalent) | No | 18 |  |  |
| 5 | I/O Cat-6 make (Clipsal,Orange, 3M or Penduite or equivalent) | No | 18 |  |  |
| 6 | IDF Punch block 10 pair for multipair cable | No | 3 |  |  |
| 7 | RJ-11 Cord (Clipsal, Orange, 3M or Penduite or equivalent) | No | 18 |  |  |
| 8 | DB box M.S. Powder coated frame | No | 27 |  |  |
| 9 | Cable Management | No | 1 |  |  |

Note:

Bidders should also fill attached tender proforma (commercial) as above.

ANNEXURE- “A”

DATA SHEET

Tender No-58/2016 Dated: 02-05-2017

Tender for the Year 2016-2017 & 2017-2018

Tender For Renovation Works for Private Ward as per BOQ

| S.NO | A- MANDATORY | Tick relevant box |
| --- | --- | --- |
| 1 | Name, Address, Tel, Fax# E-mail Address |  |
| 2 | National tax Number(NTN) |  |
| 3 | Latest Income Tax Certificate or Income Tax exemption certificate. |  |
| 4 | Copy of Sales Tax Registration. |  |
| 5 | Latest Sales Tax Certificate or exemption certificate. |  |
| 6 | Name of Banker with Current Bank statement. |  |
| 7 | Copy of Bid Security (3% of Bid Value of the quoted items) As per clause no 1-b. (Original with commercial bid). |  |
| 8 | Copy of Pakistan Engineering Council Registration (PEC Registration Certificate Copy). |  |

| S.NO | B- DOCUMENTS | Total Points 30 | YES | NO |
| --- | --- | --- | --- | --- |
| 1 | Bio Data of key personnel/staff strength with designation, education & experience and details of man power, | 02 | 02 | 00 |
| 2 | Literature and catalogue of quoted items in English. | 02 | 02 | 00 |
| 3 | Detail of experience of the firm of relevant to the subject | 02 | 02 | 00 |
| 4 | List of projects with cost completed by the firm during last 2 years. | 02 | 02 | 00 |
| 5 | List of litigation with clients(if any) and nature of litigations. | 02 | 02 | 00 |
| 6 | Affidavit that the firm has never been black Listed. | 02 | 02 | 00 |
| 7 | Detail of Registration with major organizations | 02 | 02 | 00 |
| 8 | Original tender purchase receipt. | 02 | 02 | 00 |
| 9 | Original terms and conditions duly signed and stamped. | 02 | 02 | 00 |
| 10 | Each page should be signed and stamped by competent authority. | 02 | 02 | 00 |

| 11 | Undertaking that the firm will complete the job as per agreed timeline | 02 | 02 | 00 |
| --- | --- | --- | --- | --- |
| 12 | Certificate that the prices quoted are not high or more than local/imported market. | 02 | 02 | 00 |
| 13 | A certificate that the firm will abide all terms and conditions of the tender infringement for consequence as recommended by the competent authority. | 02 | 02 | 00 |
| 14 | A certificate that the Quoted price will remain unchanged till the completion of the tender period. | 02 | 02 | 00 |
| 15 | All documents should be attached as per annexures. | 02 | 02 | 00 |
| TOTAL MARKS |  | 30 |  |  |

| S.No | C- TECHNICAL EVALUATION | Total Points 40 | Yes | No |
| --- | --- | --- | --- | --- |
| 1 | As per List / Specifications. | 10 | 10-Nos | 00 |
| 2 | Financially capability as per bank statement (Minimum 10-Million). | 10 | 10-Nos | 00 |
| 3 | Previous working experience with hospital/healthcare organization. | 10 | 10-Nos | 00 |
| 4 | Recommendation of purchase committee with proper justification. | 10 | 10-Nos | 00 |
|  | TOTAL MARKS | 40 |  |  |

| S.NO | D- FINANCIAL EVALUATION | Total Points 30 | Obtain Points |
| --- | --- | --- | --- |
| 1 | 1st Lowest | 30 |  |
| 2 | 2nd Lowest | 25 |  |
| 3 | 3rd Lowest | 20 |  |
| 4 | 4th Lowest | 15 |  |
| 5 | 5th Lowest | 10 |  |
| 6 | 6th Lowest | 05 |  |
|  | TOTAL MARKS | 30 |  |

Total Marks – 100

Qualifying Marks 70 and above

### TENDER PROFORMA (TECHNICAL)

#### Tender No-58/2016

#### TENDER FOR THE YEAR 2016-2017 & 2017-2018

#### Opening Date: 22-05-2017

TENDER FOR RENOVATION WORKS FOR NICVD PRIVATE WARD

Note: Columns to be filled

| S # | Description with specification and Complete Detail of Work | Job Completion Period |
| --- | --- | --- |

Signature																Official Seal

### TENDER PROFORMA (COMMERCIAL)

#### Tender No-58/2016

#### TENDER FOR THE YEAR 2016-2017 & 2017-2018

#### Opening Date: 22-05-2017

TENDER FOR RENOVATION WORKS FOR NICVD PRIVATE WARD

Note: Columns to be filled

| S # | Description with specification And Complete Detail of Work | Rate | Amount | Job Completion Period |
| --- | --- | --- | --- | --- |

Signature																Official Seal