TENDER DOCUMENT

###### TENDER NO-59/2016

TENDER FOR SUPPLY OF PATIENT BEDS

(MANUAL & MOTORIZED), QTY = 30+30

DUE ON 22-05-2017

| COST OF TENDER | Rs. 1000/- (Rupees One Thousand Only) Non-Refundable |
| --- | --- |
| TENDER SELLING DATE | From 02-05-2017 to 19-05-2017 |
| TENDER SUBMISSION PLACE | Procurement Department |
| TENDER SUBMISSION DATE | 22-05-2017 |
| TENDER SUBMISSION TIME | 08:30 a.m. to 11:30 a.m |
| TENDER OPENING PLACE | Conference Hall / Nursing Hostel of NICVD Building, Karachi. |
| TENDER OPENING DATE | 22-05-2017 |
| TENDER OPENING TIME | 12:00 Noon |

Note:   No tender will be accepted after closing the

Tender box, what so ever reason may be.

PROCUREMENT DEPARTMENT

NATIONAL INSTITUTE OF CARDIOVASULAR DISEASES

Rafiqui (H.J) Shaheed Road, Karachi

Tel. No. 35218530, 99201271 Ext. 419, Fax. 99201289

### Website: www.nicvd.org

###### TENDER NO: 59/2016

### TERMS & CONDITIONS

TENDER FOR SUPPLY OF PATIENT BEDS

(MANUAL & MOTORIZED), QTY = 30+30

Note:    No tender will be accepted after closing the tender box,

What so ever reason may be.

Bidders are required to comply all the clauses mentioned in the Terms and Conditions of the Tender and any deviation will forbid them in competing for the tender.

- Single stage – Two Envelopes procedure as per SINDH PPRA-2010 Rule 46(2) will be followed (single stage two envelopes procedure) i.e. TECHNICAL and FINANCIAL PROPOSAL will be placed in separate sealed envelopes ad marked accordingly.  These two envelopes should be placed in one envelope addressed to the Executive Director, NICVD, Karachi with Tender number and inserted in the tender box on scheduled date and time.

- The Technical Proposal must contain original data sheet, technical brochure and all other relevant documents as mentioned in Annexure-A (b) and photo copy of pay orders / bank draft after hiding the amount.

- The Financial Proposal, the vendor should submit only rate of the equipment / items and a pay order of Bid Security amounting to 3% value of the quoted items in favour of Executive Director, NICVD, Karachi otherwise, the bid will be rejected.

- The bid validity will remain upto 90-days as per SPPRA Rules-2010.

- Bid Security should be in shape of pay order / bank draft CDR/Bank guarantee or any other form as Bid Security is not acceptable.

- The disclosure of firm’s quoted rate in any manner at the time of opening of technical bid will result in the rejection of the item / bid.

- The successful bidder will deposit security money in shape of pay order @ 5% of the total value of order in the name of Executive Director, NICVD, Karachi within seven (7) days after the issue of award letter, which will be kept in Accounts Section of NICVD till the completion of the warrantee period of equipment or execution of purchase order.

- The Bid Security will be forfeited to Government Accounts in case of non-submission of security money within seven (7) days of receipt of the award letter.

- The rate should be in local currency on basis for F.O.R (NICVD) basis for local manufactured items and should be valid upto 30-06-2018.  No escalations in rates are allowed in any case after submission of the tender.

- Only manufacturer / authorized distributor or firm can participate.

- The procurement committee will initially open only the envelope marked “Technical Proposal” in the presence of vendors or their representative who chose to be present at the time of bid opening date, time and place specified in the tender documents.  The envelope marked “Financial Proposal” shall be retained in the custody of procurement committee without being opened till completion of the technical evaluation.

- The bidder or their representative should be present at the time of opening of tender and shall sign the attendance sheet.

- Delivery should be completed within allocated time from the date of issuance of purchase order.

- The Vendor should submit Data Sheet according to the Tender Specifications Format mentioned in the tender document and highlight the tender specifications in their Technical Data Sheet / Literature Additional Feature can be recorded separately.

- The first scrutiny of technical bids will be performed by the procurement committee on the basis of data sheet and literature provided. Financial proposal of only technically qualified firms will be opened.

- Bids will be evaluated with following evaluation criteria.

-  Only manufacturer / authorized distributor or firm can participate.

-  The vendor should have proper office setup / workshop and an office with  necessary have Skilled staff.

-  Specifications compliance.

-  All mandatory documents (as per Annexure-A).

-  After sale services facility.

- The item offered must be the latest design and in case the old model is offered, it will not be considered, even though it is as per the tender specifications.

- The bidder will provide as per company warranty along with the parts one year free of cost, and further one year free service (without spare parts).

- The warranty period will commence from the date of supply of items, as per report of the end user and technical person (if applicable).

- The bid will be evaluated on lowest bid evaluation method / quality.  All Furniture Items should be making as per approved designs or sample.

- Hand written tenders or any over writing, cutting, erasing will not be accepted and will be rejected.

- The bidder shall submit with the bid, an UNDERTAKING on judicial paper of Rs. 100/- duly attested by Oath Commissioner, stating that the equipment to be supplied is brand new and of latest generation, free from defects in design material and workmanship and will bind himself for availability of spares for a period of 8 years from the date of supply. In case of winding up of business, the supplier shall be bound to make an alternate arrangement of spares and maintenance of equipment. In case of default, necessary action will be taken as per decision of competent authority.

- Furniture will be handed over to the (Store Department) NICVD, Karachi, through end-user with Delivery Challan.

- If bidder doesn’t supply Furniture in accordance with the supply order or fails to supply according to terms and conditions or in case of any other breach of terms and condition of the tender, necessary action will be taken as per decision of competent authority.

- If the bidder fails to supply, install and fixing  according to the terms and condition of the purchase order within the stipulated period (delivery period), penalty will be imposed @ 0.1% of the total value of furniture per day, subject to the maximum of 10%.  Otherwise their security money will be forfeited to Government Account and/or the firm may be black listed by the competent authority.

- After satisfactory supplies of complete order items  the vendor submit the Bill/Invoice in triplicate, along with three copies of delivery Challan, three copies of installation/commissioning reports, copy of purchase order and a copy of Bill of Entry (for imported items) for payment (if applicable).

- The payment will be made after receiving the items / approval of  the end user.

- Income tax and other taxes (if any) will be deducted according to existing Government Rules.  NICVD is exempted for the payment of GST.

- Conditional tender(s) will not be entertained.

- The Quality of furniture should be as per approved sample.

- The bids, does not fulfill the prescribed conditions according to the tender is liable to be rejected.

- Profile of the technical staff and address of the workshop as well as list of hospitals in which the quoted items supplied must be attached.

- The Executive Director, NICVD Karachi, reserve the right to increase or decrease the quantity mentioned in the tender and the decision will be final.

- The Chairman Procurement Committee reserves the right to reject or accept any/all tender(s) under the relevant provisions of SPPRA Rules 2010.

I/we agreed above mentioned terms & condition:

Name of Contractor____________________________________ Signature___________

Full Address_____________________________________________________________

_______________________________________________________________________

Witness: ________________________________________________________________

N.I.C #: ________________________________________________________________

Annexure-I

Following documents should be attached with Technical Proposal.

- Tender purchase receipt.

- Technical bid (Type or computerized)

- Sole agency certificate from the foreign manufacturer or authorized agent of local manufacturer (if applicable).

- Active GST Registration Certificate.

- Income Tax Registration Certificate.

- NTN Certificate.

- Last year paid Income Tax Challan.

- Original terms and conditions duly signed and stamped.

- Original literature.

- Photocopy of pay order of Bid Security after the hiding the amount in the technical bid.

- List of Institutions to whom similar equipment/instrument is supplied in Pakistan.

- Undertaking on Judicial stamp paper of Rs. 100/-.

- Financial position of firm (sealed bank letter).

- Undertaking that firm is not black listed or having pending litigation.

- Good performance certificate from NICVD, in case of new vendor from other institution.

###### TENDER NO-59/2016

### TERMS & CONDITIONS

TENDER SPECIFICATIONS

PATIENT BEDS FOR N.I.C.V.D

Patient Bed (Manual) QTY = 30-NOS

- 3 Crank  Bed

- Stainless steel  Side Railing

- Bed Wheel with lock.

- Bed Size is as per standard.

Patient Bed (Motorized) QTY = 30-NOS

- Electronic Motorized Bed.

- Stainless Steel Side Railing.

- Bed wheel with manual and electronic lock.

Note:

- Bidder shall arrange the bed (both type) for Demonstration (if require by end user).

- Approval of beds (both type) is mandatory for Bid acceptance.

- Bidder may quote individual items.

ANNEXURE- “A”

DATA SHEET

Tender No: 59/2016 Dated: 22-05-2017

Tender for the Year 2016-2017 & 2017-2018

Tender for Supply of Patient Beds

(Manual & Motorized), Qty = 30+30

| S.NO | A- MANDATORY | Tick relevant box |
| --- | --- | --- |
| 1 | Name, Address, Tel, Fax# E-mail Address |  |
| 2 | National tax Number (NTN) |  |
| 3 | Latest Income Tax Certificate or Income Tax exemption certificate. |  |
| 4 | Copy of Sales Tax Registration. |  |
| 5 | Latest Sales Tax Certificate or exemption certificate. |  |
| 6 | Name of Banker with Current Bank statement. |  |
| 7 | Copy of Bid Security (3% of Bid Value of the quoted items) As per clause no 1-b. (Original with commercial bid). |  |
| 8 | A copy of valid agency certificate/agreement (if any) |  |

Note:  All relevant documents must be tagged.

| S.NO | B- DOCUMENTS | Total Points 30 | YES | NO |
| --- | --- | --- | --- | --- |
| 1 | Bio Data of key personnel / staff strength with designation, education & experience and details of man power. | 02 | 02 | 00 |
| 2 | - Literature and catalogue of quoted items in English. - Demonstration (if required end-user) | 02 | 02 | 00 |
| 3 | Detail of experience of the firm of relevant to the subject | 02 | 02 | 00 |
| 4 | List of orders with cost completed by the firm during last 2 years | 02 | 02 | 00 |
| 5 | List of litigation with clients(if any) and nature of litigations. | 02 | 02 | 00 |
| 6 | Affidavit that the firm has never been black Listed. | 02 | 02 | 00 |
| 7 | Detail of Registration with other organizations | 02 | 02 | 00 |
| 8 | Original tender purchase receipt. | 02 | 02 | 00 |
| 9 | Original terms and conditions duly signed and stamped. | 02 | 02 | 00 |
| 10 | Each page should be signed and stamped by competent authority. | 02 | 02 | 00 |
| 11 | Undertaking that the firm will supply the stock as per agreed timeline. | 02 | 02 | 00 |
| 12 | Certificate that the prices quoted are not high or more than local/imported market. | 02 | 02 | 00 |
| 13 | A certificate that the firm will abide all terms and conditions of the tender infringement for consequence as recommended by the competent authority. | 02 | 02 | 00 |
| 14 | A certificate that the Quoted price will remain unchanged till the completion of the tender period. | 02 | 02 | 00 |
| 15 | A copy of valid agency certificate/agreement or registration certificate of Govt. of Sindh (if any). | 02 | 02 | 00 |
| TOTAL MARKS |  | 30 |  |  |

| S.No | C- TECHNICAL EVALUATION | Total Points 40 | Yes | No |
| --- | --- | --- | --- | --- |
| 1 | As per List / Specifications. | 10 | 10-Nos | 00 |
| 2 | Financially capability as per bank statement (Minimum 10-Lac) | 10 | 10-Nos | 00 |
| 3 | Previous working experience with hospital/healthcare organization. | 10 | 10-Nos | 00 |
| 4 | Recommendation of purchase committee with proper justification. | 10 | 10-Nos | 00 |
|  | TOTAL MARKS | 40 |  |  |

| S.NO | D- FINANCIAL EVALUATION | Total Points 30 | Obtain Points |
| --- | --- | --- | --- |
| 1 | 1st Lowest | 30 |  |
| 2 | 2nd Lowest | 25 |  |
| 3 | 3rd Lowest | 20 |  |
| 4 | 4th Lowest | 15 |  |
| 5 | 5th Lowest | 10 |  |
| 6 | 6th Lowest | 05 |  |
|  | TOTAL MARKS | 30 |  |

Total Marks – 100

Qualifying Marks 70 and above

### TENDER PROFORMA (TECHNICAL)

#### Tender No-59/2016

#### TENDER FOR THE YEAR 2016-2017 & 2017-2018

#### Opening Date: 22-05-2017

TENDER FOR SUPPLY OF PATIENT BEDS (MANUAL & MOTORIZED), QTY = 30+30

Note: Columns to be filled

| S # | Description of items with Complete Specification | Brand | Make | Country of Origin | Warranty | Qty | Delivery Period |
| --- | --- | --- | --- | --- | --- | --- | --- |

Signature														  Official Seal

### TENDER PROFORMA (COMMERCIAL)

#### Tender No-59/2016

#### TENDER FOR THE YEAR 2016-2017 & 2017-2018

#### Opening Date: 22-05-2017

TENDER FOR SUPPLY OF PATIENT BEDS (MANUAL & MOTORIZED), QTY = 30+30

Note: Columns to be filled

| S # | Description of items with Complete Specification | Brand | Make | Country of Origin | Warranty | Qty | Unit Rates | Delivery Period |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Signature														  Official Seal