PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Culverts within limits of Municipal Committee (Sr. No. 16)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 5040.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 16,008 |
| 2. | 840.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.25 | P%Cft | 79,096 |
| 3. | 1710.00 | Pucca brick work cement sand mortar 1.4 0ther then building | 11948.36 | P%Cft | 204,316 |
| 4. | 90.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5(F)P-15) | 14429.25 | P%Cft | 12,986 |
| 5. | 792.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 18,088 |
| 6. | 894.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6(1)P-16). | 337.00 | P. Cft | 301,278 |
| 7. | 51.88 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 259,498 |

| Total Amount | Rs. 891270.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Culverts at Juma Gul Pathan (Sr. No. 51)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 5040.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 16,008 |
| 2. | 840.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.25 | P%Cft | 79,096 |
| 3. | 1710.00 | Pucca brick work cement sand mortar 1.4 0ther then building | 11948.36 | P%Cft | 204,316 |
| 4. | 90.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5(F)P-15) | 14429.25 | P%Cft | 12,986 |
| 5. | 792.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 18,088 |
| 6. | 894.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6(1)P-16). | 337.00 | P. Cft | 301,278 |
| 7. | 51.88 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 259,498 |

| Total Amount | Rs. 891270.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Culverts at various places within limits of Municipal Committee (Sr. No. 61)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 5040.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 16,008 |
| 2. | 840.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.25 | P%Cft | 79,096 |
| 3. | 1710.00 | Pucca brick work cement sand mortar 1.4 0ther then building | 11948.36 | P%Cft | 204,316 |
| 4. | 90.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5(F)P-15) | 14429.25 | P%Cft | 12,986 |
| 5. | 792.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 18,088 |
| 6. | 894.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6(1)P-16). | 337.00 | P. Cft | 301,278 |
| 7. | 51.88 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 259,498 |

| Total Amount | Rs. 891270.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency