PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

(Part-A)

Name of Work: 	Repair and upgrading of Main Disposal, MNA Scheme Disposal, PVC Pipe, IG Pipe, CC Block etc (Sr. No. 25)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 1350.00 | Dismantling of wall (GSI No. 13 P-10) | 1285.63 | P% Sft | 17,356 |
| 2. | 3600.00 | Dismantling (GSI No. 52 P-13) | 60.50 | P% Sft | 2,178 |
| 3. | 80.00 | Dismantling (GSI No. 19(c) P-10) | 3327.50 | P% Sft | 2,662 |
| 4. | 1350.00 | Pucca brick work cement sand mortar 1.4 other then building | 11948.36 | P%Cft | 161,303 |
| 5. | 2837.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No:5(F)P-15) | 14429.25 | P%Cft | 409,359 |
| 6. | 2843.00 | Barrow pit excavation undressed lead upto 100ft. (a). (ordinary soil )(GSI No 3(a) P-I) | 2117.50 | P%0Cft | 6,019 |
| 7. | 2843.00 | Earth work compaction (Soft ordinary or hard soil). (a) laying earth in 6” layer leveling dressing complete. (GSI No 13(a) P-3) | 263.00 | P%0Cft | 748 |
| 8. | 2843.00 | Carriage of 100 cft 5 Tons of all material like Stone aggregate, spawl , coal, lime, surkhi etc. B.G Rail fastening points and crossing bridge, girders, pipes, sheets Tail, Rail. | 502.23 | P%Cft | 14,278 |
| 9. | 948.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%Cft | 89,219 |
| 10. | 155.00 | Erection of removal of centering for R.C.C or plain cement concrete work for partial wood (Vertical) (GSI No 19(b)(II) P-17). | 3127.41 | P%Sft | 4,847 |

|  | Total Amount |  | Rs. 707,969.0 |  |
| --- | --- | --- | --- | --- |
| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted |  | Rs._______________ |  |  |
| Total |  | Rs._______________ |  |  |

(Part-B)

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. |  | G.I Pipe of approved quality to be tested with pressure head of 200 ft (P.H.S.I No. 1 P-5) |  |  |  |
| (i) | 1000.00 | ½” Dia Pipe | 47.72 | P. Rft | 47,720 |
| (ii) | 1463.00 | ¾” Dia Pipe | 62.38 | P. Rft | 91,262 |

| Total Amount | Rs. 138,9280 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Total (a) | Rs._______________ |
| Total (b) | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 		         	                   Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

(Part-A)

Name of Work: 	Upgrading of Abdul Sattar Pump Disposal Station (Sr. No. 68)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 1350.00 | Dismantling of wall (GSI No. 13 P-10) | 1285.63 | P% Sft | 17,356 |
| 2. | 3600.00 | Dismantling (GSI No. 52 P-13) | 60.50 | P% Sft | 2,178 |
| 3. | 80.00 | Dismantling (GSI No. 19(c) P-10) | 3327.50 | P% Sft | 2,662 |
| 4. | 1350.00 | Pucca brick work cement sand mortar 1.4 other then building | 11948.36 | P%Cft | 161,303 |
| 5. | 2837.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No:5(F)P-15) | 14429.25 | P%Cft | 409,359 |
| 6. | 2843.00 | Barrow pit excavation undressed lead upto 100ft. (a). (ordinary soil )(GSI No 3(a) P-I) | 2117.50 | P%0Cft | 6,019 |
| 7. | 2843.00 | Earth work compaction (Soft ordinary or hard soil). (a) laying earth in 6” layer leveling dressing complete. (GSI No 13(a) P-3) | 263.00 | P%0Cft | 748 |
| 8. | 2843.00 | Carriage of 100 cft 5 Tons of all material like Stone aggregate, spawl , coal, lime, surkhi etc. B.G Rail fastening points and crossing bridge, girders, pipes, sheets Tail, Rail. | 502.23 | P%Cft | 14,278 |
| 9. | 948.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%Cft | 89,219 |
| 10. | 155.00 | Erection of removal of centering for R.C.C or plain cement concrete work for partial wood (Vertical) (GSI No 19(b)(II) P-17). | 3127.41 | P%Sft | 4,847 |

|  | Total Amount |  | Rs. 707,969.0 |  |
| --- | --- | --- | --- | --- |
| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted |  | Rs._______________ |  |  |
| Total |  | Rs._______________ |  |  |

(Part-B)

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. |  | G.I Pipe of approved quality to be tested with pressure head of 200 ft (P.H.S.I No. 1 P-5) |  |  |  |
| (i) | 1000.00 | ½” Dia Pipe | 47.72 | P. Rft | 47,720 |
| (ii) | 1463.00 | ¾” Dia Pipe | 62.38 | P. Rft | 91,262 |

| Total Amount | Rs. 138,9280 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Total (a) | Rs._______________ |
| Total (b) | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 		         	                   Engineer/Procuring Agency