PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

(Part-A)

Name of Work: 	Repair and renovation of Compund Wall, CC Street etc at Abdul Gani Park (Sr. No. 77)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 750.00 | Dismantling of Brick Work (GSI No. 13 P-10) | 1285.63 | P% Sft | 9,642 |
| 2. | 1650.00 | Excavation in foundation of building bridges and other structures including dagbelling dressing refilling around structure with excavated earth watering and ramming. lead upto 5 ft (GSI No: 18(b)P-4) | 3176.25 | P%0Cft | 5,240 |
| 3. | 360.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%Cft | 33,899 |
| 4. | 1530 | Pucca brick work cement sand mortar 1.4 other then building | 11948.36 | P%Cft | 182,810 |
| 5. | 4820.00 | Cement Plaster (1:4)½” thick. (GSI No 11(b) P-51). | 2283.93 | P%Sft | 110,085 |

| Total Amount | Rs. 341,676.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |

(Part-B)

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 7500.00 | Barrow pit excavation undressed lead upto 100ft. (a). (ordinary soil )(GSI No 2(a) P-I) | 2117.50 | P%0Cft | 15,881 |
| 2. | 7500.00 | Earth work compaction (Soft ordinary or hard soil). (a) laying earth in 6” layer leveling dressing complete. (GSI No 13(a) P-3) | 263.00 | P%0Cft | 1,973 |
| 3. | 7500.00 | Carriage of 100 cft 5 Tons of all material like Stone aggregate, spawl , coal, lime, surkhi etc. B.G Rail fastening points and crossing bridge, girders, pipes, sheets Tail, Rail. | 502.23 | P%Cft | 37,667 |
| 4. | 2500.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%Cft | 235,407 |
| 5. | 250.00 | Erection of removal of centering for R.C.C or plain cement concrete work for partial wood (Vertical) (GSI No 19(b)(II) P-17). | 3127.41 | P%Sft | 7,819 |
| 6. | 1250.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No:5(F)P-15) | 14429.25 | P%Cft | 180,366 |

| Total Amount | Rs. 479,115.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Total (a) | Rs._______________ |
| Total (b) | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 		         	                   Engineer/Procuring Agency