PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Surface Drains at various places of Ward No:12 (Sr. No. 6)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 9994.60 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft (GSI No. 18(a) P/4) | 3176.25 | P%0Cft | 31,745 |
| 2. | 942.34 | Cement concrete bricks stone ballast 1 ½” to 2”gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%cft | 88,734 |
| 3. | 3380.70 | Pucca brick work cement sand mortar 1.4 0ther then building (GSI No. 4(c) P. 20) | 11948.36 | P%Cft | 403,938 |
| 4. | 1180.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick to the exposed face finished smooth curing etc. (PHED shud.P.no 58 item.06) | 94.00 | P. Rft | 110,920 |
| 5. | 3540.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 80,851 |
| 6. | 321.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 108,177 |
| 7. | 12.89 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 64,472 |

| Total Amount | Rs. 888,837.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Surface Drains at various places of Ward 18 
(Sr. No. 32)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 9994.60 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft (GSI No. 18(a) P/4) | 3176.25 | P%0Cft | 31,745 |
| 2. | 942.34 | Cement concrete bricks stone ballast 1 ½” to 2”gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%cft | 88,734 |
| 3. | 3380.70 | Pucca brick work cement sand mortar 1.4 0ther then building (GSI No. 4(c) P. 20) | 11948.36 | P%Cft | 403,938 |
| 4. | 1180.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick to the exposed face finished smooth curing etc. (PHED shud.P.no 58 item.06) | 94.00 | P. Rft | 110,920 |
| 5. | 3540.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 80,851 |
| 6. | 321.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 108,177 |
| 7. | 12.89 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 64,472 |

| Total Amount | Rs. 888,837.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Surface Drains at various places of Ward No:20 (Sr. No. 41)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 9994.60 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft (GSI No. 18(a) P/4) | 3176.25 | P%0Cft | 31,745 |
| 2. | 942.34 | Cement concrete bricks stone ballast 1 ½” to 2”gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%cft | 88,734 |
| 3. | 3380.70 | Pucca brick work cement sand mortar 1.4 0ther then building (GSI No. 4(c) P. 20) | 11948.36 | P%Cft | 403,938 |
| 4. | 1180.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick to the exposed face finished smooth curing etc. (PHED shud.P.no 58 item.06) | 94.00 | P. Rft | 110,920 |
| 5. | 3540.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 80,851 |
| 6. | 321.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 108,177 |
| 7. | 12.89 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 64,472 |

| Total Amount | Rs. 888,837.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Surface Drains at various places of Ward No:21 (Sr. No. 44)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 9994.60 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft (GSI No. 18(a) P/4) | 3176.25 | P%0Cft | 31,745 |
| 2. | 942.34 | Cement concrete bricks stone ballast 1 ½” to 2”gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%cft | 88,734 |
| 3. | 3380.70 | Pucca brick work cement sand mortar 1.4 0ther then building (GSI No. 4(c) P. 20) | 11948.36 | P%Cft | 403,938 |
| 4. | 1180.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick to the exposed face finished smooth curing etc. (PHED shud.P.no 58 item.06) | 94.00 | P. Rft | 110,920 |
| 5. | 3540.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 80,851 |
| 6. | 321.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 108,177 |
| 7. | 12.89 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 64,472 |

| Total Amount | Rs. 888,837.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Surface Drains at various places of Ward No:22 (Sr. No. 47)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 9994.60 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft (GSI No. 18(a) P/4) | 3176.25 | P%0Cft | 31,745 |
| 2. | 942.34 | Cement concrete bricks stone ballast 1 ½” to 2”gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%cft | 88,734 |
| 3. | 3380.70 | Pucca brick work cement sand mortar 1.4 0ther then building (GSI No. 4(c) P. 20) | 11948.36 | P%Cft | 403,938 |
| 4. | 1180.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick to the exposed face finished smooth curing etc. (PHED shud.P.no 58 item.06) | 94.00 | P. Rft | 110,920 |
| 5. | 3540.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 80,851 |
| 6. | 321.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 108,177 |
| 7. | 12.89 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 64,472 |

| Total Amount | Rs. 888,837.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Surface Drains at various places of Ward No:23 (Sr. No. 57)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 9994.60 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft (GSI No. 18(a) P/4) | 3176.25 | P%0Cft | 31,745 |
| 2. | 942.34 | Cement concrete bricks stone ballast 1 ½” to 2”gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%cft | 88,734 |
| 3. | 3380.70 | Pucca brick work cement sand mortar 1.4 0ther then building (GSI No. 4(c) P. 20) | 11948.36 | P%Cft | 403,938 |
| 4. | 1180.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick to the exposed face finished smooth curing etc. (PHED shud.P.no 58 item.06) | 94.00 | P. Rft | 110,920 |
| 5. | 3540.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 80,851 |
| 6. | 321.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 108,177 |
| 7. | 12.89 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 64,472 |

| Total Amount | Rs. 888,837.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Surface Drain at various places within limits of Municipal Committee (Sr. No. 63)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 9994.60 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft (GSI No. 18(a) P/4) | 3176.25 | P%0Cft | 31,745 |
| 2. | 942.34 | Cement concrete bricks stone ballast 1 ½” to 2”gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%cft | 88,734 |
| 3. | 3380.70 | Pucca brick work cement sand mortar 1.4 0ther then building (GSI No. 4(c) P. 20) | 11948.36 | P%Cft | 403,938 |
| 4. | 1180.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick to the exposed face finished smooth curing etc. (PHED shud.P.no 58 item.06) | 94.00 | P. Rft | 110,920 |
| 5. | 3540.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 80,851 |
| 6. | 321.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 108,177 |
| 7. | 12.89 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 64,472 |

| Total Amount | Rs. 888,837.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Surface Drain Nali at Tando Adam road Tando Allahyar (Sr. No. 83)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 9994.60 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft (GSI No. 18(a) P/4) | 3176.25 | P%0Cft | 31,745 |
| 2. | 942.34 | Cement concrete bricks stone ballast 1 ½” to 2”gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%cft | 88,734 |
| 3. | 3380.70 | Pucca brick work cement sand mortar 1.4 0ther then building (GSI No. 4(c) P. 20) | 11948.36 | P%Cft | 403,938 |
| 4. | 1180.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick to the exposed face finished smooth curing etc. (PHED shud.P.no 58 item.06) | 94.00 | P. Rft | 110,920 |
| 5. | 3540.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 80,851 |
| 6. | 321.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 108,177 |
| 7. | 12.89 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 64,472 |

| Total Amount | Rs. 888,837.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency