PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Supply of various Drainage Schemes and Water Supply Schemes, RCC Pipes 1 and 2 Diameter (Sr. No. 79)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 20783.00 | Excavation for Pipe Line (PHSI No. A-1 P/60) | 3600.00 | P%0Cft | 74,819 |
| 2. |  | Providing and laying R.C.C Pipes (P.H.S.I No. B-2) |  |  |  |
| (i) | 705.00 | 18” dia | 539.00 | P. Rft | 379,995 |
| (ii) | 1200.00 | 12” dia | 367.00 | P. Rft | 440,400 |
| 3. |  | Providing and laying G.I Pipes (P.H.S.I No. 3 (a, d) P-23) |  |  |  |
| (i) | 400.00 | 1” dia | 28.00 | P. Rft | 11,200 |
| (ii) | 600.00 | 2” dia | 66.00 | P. Rft | 41,844 |
| 4. | 18704.00 | Refilling of excavated stuff in trenches 6” thick layer etc (P.H.S.I No. 24 P-77) | 2760.00 | P%0Cft | 51,623 |

| Total Amount | Rs. 999,881.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency