PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

(Part-A)

Name of Work: 	Construction of CC block and Surface Drain at various places in Ward No:13 (Sr. No. 9)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 3974.00 | Barrow pit excavation undressed lead upto 100ft. (a). (ordinary soil )(GSI No 2(a) P-I) | 2117.50 | P%0Cft | 8,415 |
| 2. | 3974.00 | Earth work compaction (Soft ordinary or hard soil). (a) laying earth in 6” layer leveling dressing complete. (GSI No 13(a) P-3) | 263.00 | P%0Cft | 1,045 |
| 3. | 3974.00 | Carriage of 100 cft 5 Tons of all material like Stone aggregate, spawl , coal, lime, surkhi etc. B.G Rail fastening points and crossing bridge, girders, pipes, sheets Tail, Rail. | 502.50 | P%Cft | 19,970 |
| 4. | 1445.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%Cft | 136,065 |
| 5. | 217.00 | Erection of removal of centering for R.C.C or plain cement concrete work for partial wood (Vertical) (GSI No 19(b)(II) P-17). | 3127.41 | P%Sft | 6,786 |
| 6. | 723.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No:5(F)P-15) | 14429.25 | P%Cft | 104,323 |

| Total Amount | Rs. 276,604.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |

(Part-B)

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 678.00 | Excavation in foundation of building bridges and other structures including dagbelling dressing refilling around structure with excavated earth watering and ramming. lead upto 5 ft (GSI No: 18(b)P-4) | 3176.25 | P%0Cft | 2,153 |
| 2. | 128.00 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.28 | P%Cft | 12,053 |
| 3. | 460.00 | Pucca brick work cement sand mortar 1.4 other then building | 11948.36 | P%Cft | 54,962 |
| 4. | 160.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick thick to the exposed face finished smooth curing etc. PHED shed. P. No 58 item.06 | 94.00 | P.Rft | 15,040 |
| 5. | 480.00 | Cement Plaster (1:4)½” thick. (GSI No 11(b) P-51). | 2283.93 | P%Sft | 10,963 |
| 6. | 72.00 | R.C.C in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4). (GSI NO.6 (1) P-16). | 337.0 | P%Cft | 24,264 |
| 7. | 2.89 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position Etc (GSI No 8 (b) P-16). | 5001.70 | P.Cwt | 14,455 |

| Total Amount | Rs. 133,890.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Total (a) | Rs._______________ |
| Total (b) | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 		         	                   Engineer/Procuring Agency