PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Culverts at various places of Ward No:15 
(Sr. No. 15)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 2520.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 8,004 |
| 2. | 418.32 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.25 | P%Cft | 39,390 |
| 3. | 850.50 | Pucca brick work cement sand mortar 1.4 0ther then building | 11948.36 | P%Cft | 101,621 |
| 4. | 45.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5(F)P-15) | 14429.25 | P%Cft | 6,493 |
| 5. | 396.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 9,044 |
| 6. | 441.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6(1)P-16). | 337.00 | P. Cft | 148,617 |
| 7. | 25.59 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.0 | P. Cwt | 127,994 |

| Total Amount | Rs. 441,163.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Culverts at various of Ward No:17 (Sr. No. 23)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 2520.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 8,004 |
| 2. | 418.32 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.25 | P%Cft | 39,390 |
| 3. | 850.50 | Pucca brick work cement sand mortar 1.4 0ther then building | 11948.36 | P%Cft | 101,621 |
| 4. | 45.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5(F)P-15) | 14429.25 | P%Cft | 6,493 |
| 5. | 396.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 9,044 |
| 6. | 441.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6(1)P-16). | 337.00 | P. Cft | 148,617 |
| 7. | 25.59 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.0 | P. Cwt | 127,994 |

| Total Amount | Rs. 441,163.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Culverts at various places of Ward No:18 
(Sr. No. 33)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 2520.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 8,004 |
| 2. | 418.32 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.25 | P%Cft | 39,390 |
| 3. | 850.50 | Pucca brick work cement sand mortar 1.4 0ther then building | 11948.36 | P%Cft | 101,621 |
| 4. | 45.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5(F)P-15) | 14429.25 | P%Cft | 6,493 |
| 5. | 396.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 9,044 |
| 6. | 441.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6(1)P-16). | 337.00 | P. Cft | 148,617 |
| 7. | 25.59 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.0 | P. Cwt | 127,994 |

| Total Amount | Rs. 441,163.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Culverts at various places of Ward No:20 
(Sr. No. 42)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 2520.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 8,004 |
| 2. | 418.32 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.25 | P%Cft | 39,390 |
| 3. | 850.50 | Pucca brick work cement sand mortar 1.4 0ther then building | 11948.36 | P%Cft | 101,621 |
| 4. | 45.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5(F)P-15) | 14429.25 | P%Cft | 6,493 |
| 5. | 396.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 9,044 |
| 6. | 441.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6(1)P-16). | 337.00 | P. Cft | 148,617 |
| 7. | 25.59 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.0 | P. Cwt | 127,994 |

| Total Amount | Rs. 441,163.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Culverts at various places of Ward No:21 
(Sr. No. 45)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 2520.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 8,004 |
| 2. | 418.32 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.25 | P%Cft | 39,390 |
| 3. | 850.50 | Pucca brick work cement sand mortar 1.4 0ther then building | 11948.36 | P%Cft | 101,621 |
| 4. | 45.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5(F)P-15) | 14429.25 | P%Cft | 6,493 |
| 5. | 396.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 9,044 |
| 6. | 441.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6(1)P-16). | 337.00 | P. Cft | 148,617 |
| 7. | 25.59 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.0 | P. Cwt | 127,994 |

| Total Amount | Rs. 441,163.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Culverts at various places of Ward No:22 
(Sr. No. 48)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 2520.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 8,004 |
| 2. | 418.32 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.25 | P%Cft | 39,390 |
| 3. | 850.50 | Pucca brick work cement sand mortar 1.4 0ther then building | 11948.36 | P%Cft | 101,621 |
| 4. | 45.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5(F)P-15) | 14429.25 | P%Cft | 6,493 |
| 5. | 396.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 9,044 |
| 6. | 441.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6(1)P-16). | 337.00 | P. Cft | 148,617 |
| 7. | 25.59 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.0 | P. Cwt | 127,994 |

| Total Amount | Rs. 441,163.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE MUNICIPAL COMMITTEE TANDO ALLAHYAR DISTRICT TANDO ALLAHYAR

Name of Work: 	Construction of Culverts at various places of Ward no:23 
(Sr. No. 58)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 2520.00 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 8,004 |
| 2. | 418.32 | Cement concrete bricks stone ballast 1 ½” to 2” gauge Ratio 1:4:8. (GSI No 4(b) P-14). | 9416.25 | P%Cft | 39,390 |
| 3. | 850.50 | Pucca brick work cement sand mortar 1.4 0ther then building | 11948.36 | P%Cft | 101,621 |
| 4. | 45.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5(F)P-15) | 14429.25 | P%Cft | 6,493 |
| 5. | 396.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 9,044 |
| 6. | 441.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6(1)P-16). | 337.00 | P. Cft | 148,617 |
| 7. | 25.59 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.0 | P. Cwt | 127,994 |

| Total Amount | Rs. 441,163.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency