## 01 (2)
ESTIMATE FOR PROVIDING PAVER BLOCK FOR SINDHI KARBALA NEAR OLD NATIONAL HIGHWAY KHAIRPUR (ELECTRIFICAITON)
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 10 | Nos | 1130 | p.point | 11300
2 | Providng and Laying (Main or Sub Main) Pvc insulated with size 2-7/.029 copper conductor in 3/4" Dia Pvc conduit ressassed on walls are columns as required (S.I.No:10 P.No:2) | 50 | Mtr | 222 | p.mtr | 22200
3 | Providng and Laying (Main or Sub Main) Pvc insulated with size 2-7/.064 copper conductor 300/500 Volts (S.I.No:56 P.No:) | 79 | Mtr | 524 | p.mtr | 41396
4 | Providing and circuit breaker 06,10,15,20,30,40,50 and 73amps SP (TP-5s) on an prepared board as required )S. I. 203 P.NO:31) | 4 | Nos | 916 | p.no | 3664
5 | Providing and circuit breaker 06,10,15,20,30,40and 63amps DP (TP-58) on an prepared board as required )S. I. 204 P.NO:31) | 2 | Nos | 2456 | p.no | 4912
6 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps SP (TP-5s) on an prepared board as required )S. I. 207 P.NO:31) | 1 | Nos | 9261 | p.no | 9261
7 | Providing and fixing AC one way SP 5 amps switch flush type (S.I.NO 219 P.NO:33) | 10 | Nos | 54 | p.no | 540
8 | Providing and fixing brass button holder (S.I NO:232 P.NO:33) | 10 | Nos | 70 | p.no | 700
9 | Providing and fixing brass fan 18" sweep Good quality (S.I NO:236 P.NO:364) | 4 | Nos | 2791 | p.no | 11164
|  | Part "A" Total Amount |  |  |  | 94037
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 10 | Nos | 497 | each | 4970
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 4 | Sft | 1426 | p.sft | 5704
3 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 2 | Nos | 3610 | each | 7220
|  |  | Part "B" Total Amount |  |  | 11894
Part "C" Non Shedule Items
1 | P/F Schandrial of seven arms complete with brass lamps holder and energy sever i/c handing with crystal badams tables and full length of jhallar of jharr etc complete aproved by office incharge | 1 | Nos | 12000 | each | 12000
2 | P/F MS tublar pole 20 ft long with complete socket and duly welded and mild steel of 18"x18" 3/4. etc complete (R.A Pass by chief enginner building hyderabad) | 2 | Nos | 19894 | each | 39788
3 | P/F street light HRC-II complete with chock and 85 watts energy sever etc complete (R.A pass by chief engineer) | 3 | Nos | 9900 | each | 29700
4 | C.C foundation 20ft long tublar pole ratio 1.2.4 (R.A pass by chief engineer) | 2 | Nos | 4000 | each | 8000
5 | S/F anchor bolts fixing in c.c foundation of pole | 12 | Nos | 200 | each | 2400
6 | Colouring of Pole with paint of silver paint two coats | 3 | Nos | 800 | each | 2400
|  |  | Part "C" Total Amount |  |  | 94288
A B S T R A C T
1) Part "A" Total Rs: |  | 94037
2) Part "B" Total Rs: |  | 11894
| 3) Part "C" Total Rs: | 94288
| Grant Total Amount | 200219
| Say Amount | 200000
| SUB: ENGINEER | ASSISTANT ENGINEER
BUILDING (ELECTRIC) SUB:DIVISION
KHAIRPUR

## Sheet2
F A C E S H E E T
FUND HEAD:-
MAJOR HEAD:-
MINOR HEAD:- |  | ESTIMATE FOR PROVIDING PAVER BLOCK FOR SINDHI KARBALA NEAR OLD NATIONAL HIGHWAY KHAIRPUR (ELECTRIFICAITON)
SERVICE HEAD:-
DEPTT:HEAD:-
This estimate has been framed in the office of the Executive Engineer
Building Division Khairpur for the Expenditure that wil be incurred on the above subjected work.
|  |  |  | AMOUNT TO RS: | 200000
…………………………………

## 01
PROVIDING PAVER BLOCK FOR SINDHI KARBALA NEAR OLD NATIONAL HIGHWAY KHAIRPUR (ELECTRIFICAITON) ADP NO: 812
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 10 | Nos | 1130 | p.point | 11300
2 | Providng and Laying (Main or Sub Main) Pvc insulated with size 2-7/.029 copper conductor in 3/4" Dia Pvc conduit ressassed on walls are columns as required (S.I.No:10 P.No:2) | 50 | Mtr | 222 | p.mtr | 22200
3 | Providng and Laying (Main or Sub Main) Pvc insulated with size 2-7/.064 copper conductor 300/500 Volts (S.I.No:56 P.No:) | 79 | Mtr | 524 | p.mtr | 41396
4 | Providing and circuit breaker 06,10,15,20,30,40,50 and 73amps SP (TP-5s) on an prepared board as required )S. I. 203 P.NO:31) | 4 | Nos | 916 | p.no | 3664
5 | Providing and circuit breaker 06,10,15,20,30,40and 63amps DP (TP-58) on an prepared board as required )S. I. 204 P.NO:31) | 2 | Nos | 2456 | p.no | 4912
6 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps SP (TP-5s) on an prepared board as required )S. I. 207 P.NO:31) | 1 | Nos | 9261 | p.no | 9261
7 | Providing and fixing AC one way SP 5 amps switch flush type (S.I.NO 219 P.NO:33) | 10 | Nos | 54 | p.no | 540
8 | Providing and fixing brass button holder (S.I NO:232 P.NO:33) | 10 | Nos | 70 | p.no | 700
9 | Providing and fixing brass fan 18" sweep Good quality (S.I NO:236 P.NO:364) | 4 | Nos | 2791 | p.no | 11164
|  | Part "A" Total Amount |  |  |  | 94037
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 10 | Nos | 497 | each | 4970
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 4 | Sft | 1426 | p.sft | 5704
3 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 2 | Nos | 3610 | each | 7220
|  |  | Part "B" Total Amount |  |  | 11894
Part "C" Non Shedule Items
1 | P/F Schandrial of seven arms complete with brass lamps holder and energy sever i/c handing with crystal badams tables and full length of jhallar of jharr etc complete aproved by office incharge | 1 | Nos |  | each
2 | P/F MS tublar pole 20 ft long with complete socket and duly welded and mild steel of 18"x18" 3/4. etc complete (R.A Pass by chief enginner building hyderabad) | 2 | Nos |  | each
3 | P/F street light HRC-II complete with chock and 85 watts energy sever etc complete (R.A pass by chief engineer) | 3 | Nos |  | each
4 | C.C foundation 20ft long tublar pole ratio 1.2.4 (R.A pass by chief engineer) | 2 | Nos |  | each
5 | S/F anchor bolts fixing in c.c foundation of pole | 12 | Nos |  | each
6 | Colouring of Pole with paint of silver paint two coats | 3 | Nos |  | each
Part "C" Total Amount
A B S T R A C T
1) Part "A" Total Rs: |  | 94037
2) Part "B" Total Rs: |  | 11894
3) Part "C" Total Rs:
Grant Total Amount
Say Amount
_________________%Aboe / Below (Amount to be added / deducted). Rs.___________________
Grant Total Rs.___________________
Total Amount in word: __________________________________________________________________
Note:- Quantities and rates are provisional and may be changed as per / according to the Technical
Sanction by the competent authority.
| CONTRACTOR | EXECUTIVE ENGINEER
BUILDINGS DIVISION
KHAIRPUR