SCHEDULE-B

M/R TO  JUDICIAL BUNGLOWS AT DISTRICT NAUSHEHRO FEROZE INTERNAL ELECTRIFICATION.

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated                                                                  wire in 20 mm PVC Insulated wire in ¾ PVC conduit                                                                       recessed in the wall or columns as required(SINO:129/p:15)

Light point 		68-Nos:	   910/-		Each		61,880/-

Fan point	   38-Nos:	    910/-             Each.	            34,580/-

2)  Wiring for call bell point with  with 3/.029)PVC insulate wire in 20 mm

¾” PVC conduit on surface as required (S.I.No:127 P-15)

04-No:	     1380/-	 Each	   	5,520/-

3)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire                                                             in 20 mm ¾ PVC conduit recessed in the wall or columns as                                                               required (S.i.no:130P-15

42-Nos:            742/-           Each             31,164/-

4)  Wiring for main with 2-7/.029)PVC insulated wire in 20 mm                                                                PVC conduite recessed in the wall or columns as required (SINO:31p-1)

389-Mtr:	    171/-             P-Mtr:            66,519/-

5)  Wiring for main sub-main  with 2-7/..044)PVC insulated wire                                                                  in 25 mm PVC conduit or surface (SINO4.p-1)

264--Nos:             305/-       Each              80,520/-

6) Providing  and fixing  brass baton  holder (S.I.No:232 P=33)

42-Nos:             70/-           Each.            2,940/-

7) P/F Circuit breacker 6 amps to 63   SP (TB SS)  on a prepared                                                     board(S.I.No: 203-p31)

24-Nos:          916/-               Each             22,084/-

8) P/F circuit bracker 15 amps to 60 amps TP XE-100 on a prepared                                                               as required (s.i.no:206 p-31

04-No:            5521/-             Each            22084/-

9) P/F AC One way sp 5amps switch flush type on a prepared board                                                    recessed in the wall or columns as required(SINO:218. p-23)

94-Nos:       58/-                     Each             5452/-

10) P/F two pin 5amps plug and socket (S.I.NO;222/33)

54-No:	80/-               Each           4320/-

11)Providing and fixing  channel politis are required  as per of engineer                                    incharge(S.I.NO;1(iii) P-43)

455.RFT          40/-               Rft             18200/-

12)P/F Backlite ceiling rose  with two terminals(S.I.NO;228-P-33)

48-Nos:           72/-               Each           3456/-

__________

Total=	358,319/-

_________

(PART B NON SCHEDULE ITEMS)

1) P/F energy sever 25 watt superior quality

88-No:                 		  Each

2) S/F  AC ceiling fan56 sweep  size pak fan GFC SK  company  i/c fixing                                                                     and wiring connection etc complete

16-Nos:           		Each

3)   S/F over head service wire 2-7/.054 PVC slacted almunam conductor  i/c connection

Of main supply etc complete

200-.Mtr:                 	 P-Mtr:

3)  P/F of tube light  Patti fitting i/c  40 watts  choke starter 4 ft long  tube rod along with

Holder fitting complete  in all respects

22-Nos:               		  Each

4) P/F of  double tube light  china made electronic chowke  grill framed and 2 Nos:

Tube rod  4 ft long etc complete.

18-Nos:                	Each.

_________

Total=

___________

CONTRACTOR                			                     EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

SCHEDULE-B

M/R TO  DISTRICT AND SESSION COURT BUILDING AT  NAWABSHAH INTERNAL E.I

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated wire in 20 mm PVC

Insulated wire in ¾ PVC conduit recessed in the wall or columns as required(SINO:129/p:15)

Light point                                 	                    10-Nos:   910/-      Each          9100/-	                Fan Point                                  	                    04No:	    910/-      Each     	3640/-

2)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit recessed in the wall or columns as required (S.i.no:130P-15

06-Nos:    742/-	Each	   4452/-

3) P/F two pin 5amps plug and socket  flush type (S.I.NO;225/33)

6-No:	83/-	   Each	  490/-

4  Wiring for( Main or sub Main )with 2-7/.036)(4mm2)copper conductor ¾”dia  PVC conduit on surface (SINO:04p-1)

40-Mtr:       200/-      P-Mtr:        8000/-

5) P/F one way SP 5amps  switch flush type (S.I.NO:219.p33)

14-Nos:         54/-	    Each	756/-

6) P/F circuit bracker 15 amps to 60 amps TP XE-100 on a prepared as required (s.i.no:206 p-31)

,                                                                               04-No:      5521/-        Each          22084/-

Total=       48,522/-

_________

PART B NON SCHEDULE ITEMS)

1)    P/F energy sever superior quality

15-Nos:              	  Each

2)  S/F  LED  light square / round type i/c wiring connection 22 watt

08-Nos: 	      	    Each

3)   P/F Peach Board i/c wiring screws approved by Engineer Incharge

03—Nos:     	Each

_________

Total=

CONTRACTOR                			                     EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

SCHEDULE-B

M/R TO  JUDGES  BUNGLOW AT DISTRICT NAWABSHAH INTERNAL ELECTRIFICATION.

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated                                                                  wire in 20 mm PVC Insulated wire in ¾ PVC conduit                                                                       recessed in the wall or columns as required(SINO:129/p:15)

Light point 		15-Nos:	   910/-		Each		13,650/-

2)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire                                                             in 20 mm ¾ PVC conduit recessed in the wall or columns as                                                               required (S.i.no:130P-15                           10-Nos:            742/-           Each              7,420/-

3)  Wiring for main with 2-7/.029)PVC insulated wire in 20 mm                                                                PVC conduite recessed in the wall or columns as required (SINO:31p-1)

265-Mtr:	    171/-             P-Mtr:            45,315/-

4) P/F AC One way sp 5amps switch flush type on a prepared board                                                    recessed in the wall or columns as required(SINO:218. p-23)

55-Nos:             58/-             Each               3,190/-

5) P/F two pin 5amps plug and socket (S.I.NO;222/33)

40-No:	80/-               Each              3200/-

6)P/F Brass pandent lamp holder (S.I.NO;229-P-33)

40-Nos:           74/-               Each             2960/-

__________

Total=	75,735/-

(PART B NON SCHEDULE ITEMS)

1) P/F energy sever 25 watt superior quality

50-No:             	       Each

02)   S/F over head service wire 2-7/.054 PVC slacted almunam conductor  i/c connection

Of main supply etc complete

93-.Mtr:            	      P-Mtr:

3) P/F of  tube light rod 40 watt 4 ft long  220 volts superior quality.

50-Nos:                      Each.

4) P/F of energy sever 85 watts 220  volts threed type complete in all respect

10-Nos:                     Each.

_________

Total=

___________

CONTRACTOR                			                        EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

SCHEDULE-B

M/R TO DISTRICT JAIL NAWABSHAH  PROVIDING INTERNAL ELECTRFICATION

AND EXTERNAL E.I.

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(Part A Schedule Items)

1) P/L  main or sub main PVC insulated  with single core  copper conductor 250/440 volts size             (2-7/.064) 16mm2 (S.I.NO;49-p6)

300-Mtr:         524/-       P-Mtr:          157,200/-

2) P/F   over  load relays for sizes 2,2,A/B2,3,4,&4A  model lFT 65 as  required as per                        instruction of  E.I.(S.I.NO;161.P-25)

2-Nos:            4986/-/-       Each           9972/-

_______

Total=                            167172/-

(Part B Non Schedule Items)

1) P/F High pressure porcelain    cut out 600 amps 1000 volts 500 amps  on a perepared board  i/c cable  therble etc complete.

4-Nos:                       Each

2) P/F High pressure porcelain    cut out 600 amps 1000 volts 100 amps  on a perepared board  i/c cable  therble etc complete.

4-Nos:                       Each

_____________

Total=

CONTRACTOR                			                     EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

SCHEDULE-B

M/R TO  CENTERAL JAIL KHAIRPUR   INTERNAL E.I AND OVER HEAD SERVICE WIRE

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated wire in 20 mm PVC

Insulated wire in ¾ PVC conduit recessed in the wall or columns as required(SINO:129/p:15)

Light point

20-Nos:   910/-   Each           18200/-	                Fan Point

05No:	910/-      Each     	4550/-

2)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit recessed in the wall or columns as required (S.i.no:130P-15

05-Nos:    742/-	Each	3710/-

3)  Wiring for main or sub mainwith 2-7/.029)PVC insulated wire in 20 mm PVC conduite recessed in the wall or columns as required (SINO:3 p-1)

120-Mtr:  171/-    P-Mtr      20520/-

4  Wiring for( Main or sub Main )with 2-7/.036)(4mm2)copper conductor ¾”dia  PVC conduit on surface (SINO:04p-1)

70-Mtr: 200/-      P-Mtr:        14000/-

5) Providing and fixing  back lite ceiling rose  with two terminals (S.I.No:228/33)

5-Nos:  72/-           Each           360/-

6) Providing and fixing  brass pandent lamp  holder (S.I.No:229/33)

20-Nos:  74/-           Each          1480/-

7) P/F circuit bracker 15 amps to 60 amps TP XE-100 on a prepared as required (s.i.no:206 p-31)

,                                                                               01-No:      5521/-        Each         5521/-

8)  P/F  circuite breacker  6,10,15,20,30,40,50, and 30 amps  SP TB –SS   on prepared board as         ,  ,     required (SINO:203 P/31)

06-Nos:       916/-        Each          5496/-

9) P/F one way SP 5amps  switch flush type (S.I.NO:219.p33)

25-Nos:     54/-	    Each	1350

10) P/F two pin 5amps plug and socket  flush type (S.I.NO;225/33)

5-No:	83/-	   Each	415/-

11)  P/F AC brass  ceiling fan  56 “  good quality (SINO: 235 –p-34)

05-Nos:       3185/-     Each          15925/-

12) Providing and laying (MAIN or SUB- MAIN ) pvc insulated and PVC  sheeted with 4 core

Armoured  copper conducto 600/1000 volts  size 240 mm 2 (S.I.NO;122-p-14)

40-Mtr:     18513/-     P-Mtr:    740520/-

_________

Total=                         832,047/-

________

PART B NON SCHEDULE ITEMS)

1)    P/F energy sever superior quality

20-Nos:           		     Each

2)   P/F   main Pannel board  double shutter to accommodate heavy duty circuit breackerr

i/c painting  with enemelled paint for other similar job on surface

02 SFT            		    P.Sft

3)   S/F over head service wire 2-7/.054 PVC slacted almunam conductor  i/c connection

Of main supply etc complete

50-.Mtr:              		    P-Mtr:

4)   P/F Earthing  set with 2x2x1/8 copper plate buried in the ground at  depthof 12 ft  kor less i/c       .       water   comes out from the soil with salt  chkorocoil letc earth plalte to be connected with SWG                 No: 8   copper  conductor  in  G .I pipe  ½  dia etc complete.

01-Nos:            		   Each

5)   P/F mild steel  bar fan clamps 15.8mm (5/8”) suitable  for RCC roof.

05-Nos:               		   Each

6)   P/F shackle insulator and medium pressure (3”x3”) single without  nut bolt  and strip etc as required.

24-Nos:               		    Each

7)S/F bare copper conductor  SWG No:4 in all type of poles etc complete.

500-RFT              	   P.Rft

_________

Total

__________

CONTRACTOR                			                     EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD