PART “B” WATER SUPPLY & SANITERY FITTING

NAME OF WORK : ESTABLISHMENT OF GOVERNMENT NASRA PUBLIC SCHOOL SoS VILLAGE KHAIRPUR TALUKA KHAIRPURADP NO:353

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

1.      S/F squatting type white glazed earth ware W C pan with internal fitting and flush pipe with fead and making required and making good CC i/c fixing in position etc .(S.I No.(B) – P-1) LAV:2X1						8 No  		4802/60	Each 	            38421/=

2.      Providing and fixing in position nylon connection complete with ½ dia brass stop cock with

Pair of brass nuts and lining joints to nylon connection. (S.I No.23 P- 06).

LAV: 2X1			12 No		447/15		Each		5366/=

3.      Providing and fixing 4” x 4” inch dia C.I brass brach of the required degree with access doors rubber washer 3/8” thick and nuts and extra painting to match the color of building (S.I No.4 P-09).

LAV: 2X1.			8 No 		224/60		P.No 		1797/=

4.      Providing and fixing 4” x 4”x 4” inch dia C.I  brach of the required degree with access doors rubber washer 1/8” thick and bolts nuts and extra painting to match the color of building (S.I No.5 P-09)

LAV: 2X1			8 No		270/60		P.No		2165/=

5.      Providing G.I pipe special and clamps etc fixing cutting fitting complete i/c the cost of braking through walls and roof making good etc painting two coats after clearing the pipe etc. (S.I No.1 – P-12)

½ ” dia 1x200 Rft		200.0		73/21		P.Rft	            14642/=

¾” dia  1x200 Rft		200.0		95/79		P.Rft	            19158/=

1” dia  1x100 Rft		100.0		125/55		P.Rft	            12855/=

6.       Cancealed C.P fittig of superior quality for tiles bath rooms S/ fixing concellied stop cock of   superior quality with C.P head ½” dia  (S.I No. 11  P-18).

LAV: 1x10			10 No		478/28		Each 		4783/=

7.       S/F long bib cock 1/2” dia of superior quality (S.I No.13 a – P-19)

LAV: 1x10 			10 No 		1109/46	P.No	            11095/=

8.      RCC pipe with collars class “B “ digging the trench of the required etc and fixing in position i/c cutting and fitting with makes phalate and cement mortor 1:1 and testing with water pressure  (S.I No.  02 – P-  24  ).

6” inch dia 1x60		60.0		199/25		P.Rft	            11955/=

9.	Add extra labour for concealed G.I Pipe & fittings I/c making recess in the wall  for Pipe & making good in cement mortor etc. complete.

½ ” dia 1x200 Rft		200.0		7/82		P.Rft	            1564/=

¾” dia  1x200 Rft		200.0		8/45		P.Rft	            1690/=

1” dia  1x100 Rft		100.0		9-96		P.Rft	            996/=

10.      Providing laying UPVC pressure pipe of class B equivalent make fixing in trench i/c cutting fitting jointing with Z join one rubber ring i/c testing with water to a head meter or 200 feet (S.I No.01  P-22)

4” inch dia 1x100		100.0		137/- 		P.Rft	           13700/=

11.    S/F fiber glass tank of approved quality and design and wall thickness specified i/c  nuts and     builts and fixing in plate form of CC 1:6 and making ( 500) gallon  (S.I No.3 a – P-21).

1x1			           	1 No                 37505/42	P.No	            38505/=

12.    Providing and fixing 24x18 lav: basin in white glazed earth in were complete with and i/c

the cost of W.I or C.I cantilever brackets 6” builts into walls painted white in two coats

after the primary coat of red lead paint (S.I No 10  P-3).

Lav: 1x4			4 No		4928/-		Each	            19712/=

13.    Added extra for labour for providing and fixing of earth in were pedestal white or colored

glazed (foreign equivalnt) (S.I No. 11 p- 3)

Lav: 1x4			4 No		2533/47	Each	            10134/=

14.    Conceled C.P fitting of superior quality for tiles bath rooms supply and fixing swan type

Pillar cock of superior quality single C/P head ½ dia (S.I No. 16  P- 19)

Lav: 1x4			4 No		795/-		Each		3180/=

15.     Providing and fixing 24x18” ballved edge mirror of Beljium complete with 1/8” thick and

C/P screws fixed to wooden plate (B) of superior quality (S.I No. 3  P- 07).

Lav: 1x4			4 No		2376/-		Each 		9504/=

16.	P/F full way gum metal balves with wheels threaded are flabged & with rubber wishers standared patterns (S.I No: 4  P- 17).

¾ “ dia				2 No		227/92		Each		456/=

1” dia				3 No		271/92		Each		816/=

17.	Boring for tube well in all water bearing soils from grounds level up to 100 ft or 30.5 meter depth i/c sinking & with drawing of casing 80 mm . (S.I No : 1 A P- 41)

60.0		160/-		P.Rft		9600/=

____________

Total Rs:  253084/=

Amount Total (A)

___________________% Above/Below on the rates of CSR Rs.___________/- Amount to be added / deducted

on the basis of premium quoted			Total (B)

Total (A) = A + B in Words & Figuure___________________________________________________________

__________________________________________________________________________________________

CONTRACTOR								EXECUTIVE ENGINEER

EDUCATION WORKS DIVISION

KHAIRPUR